[image: image1.wmf][image: image2.png]


HIGHLY CONFIDENTIAL

MONITORING & SUPPORT SERVICES

FOR ECT

Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

11/13/00 Update

(italicized plants have changed status since last week’s report)
November 2000
ECAR
Cook 1


- In regulatory outage; Restart expected 12/12/00

Perry


- Holding at 98% due to power uprate calculation

Total Regional MWe for month 
= 7713

Average operating MWe for month = 6298.7

ERCOT
Comanche Peak 2
- In derate for heater drain pump leakage; Full power expected 11/15/00

Total Regional MWe for month 
= 4800

Average operating MWe for month = 4471

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3848.9

MAAC
Oyster Creek

- In refueling outage; Restart expected 11/25/00; Full power expected 11/30/00

Salem 2


- In refueling outage; Restart expected 11/14/00; Full power expected 11/19/00

Susquehanna 2

- In derate; Full power expected 11/14/00

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 11,492

MAIN
Clinton


- In power ascension; Full power expected 11/15/00

Kewaunee

- Holding at 96% maximum power 

LaSalle 2                        
- In refueling outage; Restart expected 11/16/00

Point Beach 2

- In refueling outage; Restart expected 11/25/00; Full power expected 11/30/00

Quad Cities 1

- In derate for recirc pump repair; Full power expected 11/14/00

Total Regional MWe for month 
= 12,175

Average operating MWe for month = 10045

MAPP

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3236.7

NPCC

FitzPatrick

- In refueling outage; Restart expected 11/14/00; Full power expected 11/19/00

Indian Point 2

- In steam generator replacement outage; Restart expected 11/29/00

Pilgrim


- In derate for control rod swap; Full power expected 11/14/00

Seabrook

- In refueling outage; Restart expected 11/30/00

Total Regional MWe for month 
= 9292

Average operating MWe for month = 6534.3

SERC
Catawba 1

- In refueling outage; Restart expected 11/18/00; Full power expected 11/23/00

Hatch 1


- In power ascension; Full power expected 11/14/00

Sequoyah 1

- In forced outage; Restart expected 11/14/00; Full power expected 11/18/00

Sequoyah 2

- In refueling outage; Restart expected 11/16/00; Full power expected 11/21/00

Summer


- In refueling outage; Restart expected 12/24/00

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 21,656

SPP

Arkansas Nuclear One 2
- In refueling outage; Restart expected 11/20/00

Waterford 3

- In refueling outage; Restart expected 11/18/00; Full power expected 11/23/00

Total Regional MWe for month 
= 7217

Average operating MWe for month = 5354.8

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 72,693

December 2000
ECAR
Cook 1


- In regulatory outage; Restart expected 12/12/00; Full power expected 12/22/00

Perry


- Holding at 98% due to power uprate calculation

Total Regional MWe for month 
= 7713

Average operating MWe for month = 6526.2

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4717

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3798.4

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12392

MAIN
Kewaunee

- Holding at 96% maximum power 

LaSalle 2

- In refueling outage; restart expected 12/16/00; Full power 12/21/00
Total Regional MWe for month 
= 12,175

Average operating MWe for month = 11,181

MAPP

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3280.8

NPCC
Indian Point 2

- In power ascension; Full power expected 12/4/00
Seabrook

- In power ascension after refueling; Full power expected 12/5/00

Total Regional MWe for month 
= 9292

Average operating MWe for month = 8534.6

SERC
Oconee 1

- In refueling outage; Restart expected 1/2/01

Summer

- In refueling outage; Restart expected 12/24/00; Full power expected 12/29/00

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 23,249

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 80,428

January 2001
ECAR
Perry


- Holding at 98% due to power uprate calculation

Total Regional MWe for month 
= 7713

Average operating MWe for month = 7000.1

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4717

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3798.4

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,392

MAIN
Kewaunee

- Holding at 96% maximum power 

Total Regional MWe for month 
= 12,175

Average operating MWe for month = 11,767

MAPP
Total Regional MWe for month 
= 3460

Average operating MWe for month = 3082.6

NPCC
Total Regional MWe for month 
= 9292

Average operating MWe for month = 8616.5

SERC
Oconee 1

- In refueling outage; Restart expected 1/2/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 24,680

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 82,802

February 2001
ECAR
Perry


- Holding at 98% due to power uprate calculation

Total Regional MWe for month 
= 7713

Average operating MWe for month = 7000.1

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4497.6

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3798.4

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,392

MAIN
Kewaunee

- Holding at 96% maximum power 

Total Regional MWe for month 
= 12,175

Average operating MWe for month = 11,767

MAPP
Prairie Island 1

- In refueling outage;  Restart expected 2/1/00

Total Regional MWe for month 
= 3460

Average operating MWe for month = 2768.7

NPCC
Total Regional MWe for month 
= 9292

Average operating MWe for month = 7589.1

SERC
Total Regional MWe for month 
= 25,589

Average operating MWe for month = 24,770

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 81,332

� EMBED Unknown  ���





� EMBED PBrush  ���








5

[image: image3.png]


[image: image4.wmf]_963988101.unknown

_963987986

