[image: image1.wmf][image: image2.png]


HIGHLY CONFIDENTIAL

MONITORING & SUPPORT SERVICES

FOR ECT

Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

12/12/00 Update

(italicized plants have changed status since last week’s report)
December 2000
ECAR
Beaver Valley 2

- In forced outage due to RCS leak; Restart expected 12/13/00; Full power expected 12/15/00

Cook 1


- In regulatory outage; Restart expected 12/17/00; Full power expected 12/27/00

Perry


- Derate to 85% due to power limit testing; Maximum power (98%) expected 12/6/00

Total Regional MWe for month 
= 7713

Average operating MWe for month = 6470

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4749.1

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3845.6

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,482

MAIN
Kewaunee

- Holding at 96% maximum power 

Point Beach 2

- In refueling outage; Restart expected 12/14/00; Full power expected 12/19/00

Total Regional MWe for month 
= 12,175

Average operating MWe for month = 11,447

MAPP

Prairie Island 1

- In forced outage; Restart expected 12/14/00; Full power expected 12/17/00

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3122.6

NPCC

FitzPatrick

- In derate due to feed pump maintenance; Full power expected 12/13/00

Indian Point 2

- In steam generator replacement outage; Restart expected 12/17/00; Full power expected 12/22/00

Seabrook

- In refueling outage; Restart expected 12/30/00; Full power expected 1/4/01

Total Regional MWe for month 
= 9292

Average operating MWe for month = 7184.3

SERC
Brunswick 2

- In derate; Full power expected 12/13/00

Oconee 1

- In refueling outage; Restart expected 1/7/01

Summer


- In refueling outage; Restart expected 1/11/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 23,347

SPP

Arkansas Nuclear One 2
- In refueling outage; Restart expected 12/12/00; Full power expected 12/17/00

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6566.4

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 79,215

January 2001
ECAR
Perry


- In coastdown to refueling; Refueling start expected 2/17/01

Total Regional MWe for month 
= 7713

Average operating MWe for month = 6836.9

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4717

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3818.2

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,392

MAIN
Kewaunee

- Holding at 96% maximum power 

Total Regional MWe for month 
= 12,175

Average operating MWe for month = 11,767

MAPP
Total Regional MWe for month 
= 3460

Average operating MWe for month = 3088.4

NPCC
Seabrook

- In power ascension; Full power expected 1/4/01

Total Regional MWe for month 
= 9292

Average operating MWe for month = 8585.2

SERC
Oconee 1

- In refueling outage; Restart expected 1/7/01; Full power expected 1/12/01

Summer


- In power ascension; Full power expected 1/11/01; Full power expected 1/16/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 24,206

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 82,159

February 2001
ECAR
Perry


- In coastdown to refueling; Refueling start expected 2/17/01

Total Regional MWe for month 
= 7713

Average operating MWe for month = 6401

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4717

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3818.2

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,392

MAIN
Kewaunee

- Holding at 96% maximum power 

Total Regional MWe for month 
= 12,175

Average operating MWe for month = 11,767

MAPP
Prairie Island 1

- In refueling outage;  Restart expected 3/1/00

Total Regional MWe for month 
= 3460

Average operating MWe for month = 2774

NPCC
Total Regional MWe for month 
= 9292

Average operating MWe for month = 7589.1

SERC
Total Regional MWe for month 
= 25,589

Average operating MWe for month = 24,770

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 80,977

March 2001
ECAR
Perry


- In refueling outage; Restart expected 3/23/01; Full power expected 3/28/01

Total Regional MWe for month 
= 7713

Average operating MWe for month = 6165.1

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 3553.6

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3233.6

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 10,043

MAIN
Kewaunee

- Holding at 96% maximum power 

Total Regional MWe for month 
= 12,175

Average operating MWe for month = 11,767

MAPP
Prairie Island 1

- In power ascension;  Full power expected 3/6/00

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3027.6

NPCC
Millstone 3

- In refueling outage; Restart expected 3/16/00; Full power expected 3/21/00

Total Regional MWe for month 
= 9292

Average operating MWe for month = 7763

SERC
Total Regional MWe for month 
= 25,589

Average operating MWe for month = 22,743

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6345.1

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 74,641

April 2001
ECAR
Total Regional MWe for month 
= 7713

Average operating MWe for month = 6618.9

ERCOT
Comanche Peak 1
- In refueling outage; Restart expected 4/28/01

South Texas 2

- In refueling outage; Restart expected 4/9/01; Full power expected 4/14/01

Total Regional MWe for month 
= 4800

Average operating MWe for month = 3198.7

FRCC

St. Lucie 1

- In refueling outage; Restart expected 4/19/01; Full power expected 4/24/01

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3258.1

MAAC
Calvert Cliffs 2

- In refueling outage; Restart expected 4/29/01

Limerick 2

- In refueling outage; Restart expected 4/26/01

Salem 1


- In refueling outage; Restart expected 4/26/01

Susquehanna 2

- In refueling outage; Restart expected 4/25/01; Full power expected 4/30/01

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 8727.1

MAIN
Kewaunee

- Holding at 96% maximum power 

Total Regional MWe for month 
= 12,175

Average operating MWe for month = 10,194

MAPP
Fort Calhoun

- In refueling outage; Restart expected 4/18/01; Full power expected 4/23/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 2584.5

NPCC
Nine Mile Point 1
- In refueling outage; Restart expected 4/22/01; Full power expected 4/27/01

Total Regional MWe for month 
= 9292

Average operating MWe for month = 7060.6

SERC
Browns Ferry 2

- In refueling outage; Restart expected 4/21/01; Full power expected 4/26/01

Farley 2


- In refueling/steam generator replacement outage; Restart expected 6/4/01

McGuire 1

- In refueling outage; Restart expected 4/25/01

North Anna 2

- In refueling outage; Restart expected 4/14/01; Full power expected 4/19/01

Robinson 

- In refueling outage; Restart expected 4/21/01; Full power expected 4/26/01

Vogtle 2


- In refueling outage; Restart expected 5/4/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 19,425

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 4386.7

Total All Regions MWe for month
= 86,971

Average operating MWe for month = 65,453

� EMBED Unknown  ���





� EMBED PBrush  ���








1

[image: image3.png]


[image: image4.wmf]_963988101.unknown

_963987986

