[image: image1.wmf][image: image2.png]


HIGHLY CONFIDENTIAL

MONITORING & SUPPORT SERVICES

FOR ECT

Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

8/07/01 Update

(italicized plants have changed status since last week’s report)
August 2001
ECAR
Cook 1


- In derate to 98%; Full power expected 8/8/01

Palisades

- In forced outage due to CRD penetration leak; Restart expected early September 2001

Total Regional MWe for month 
= 7702

Average operating MWe for month = 6666.7

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4746.1

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3770.5

MAAC
Peach Bottom 3

- In coastdown to refueling; Refueling start expected 9/1/01

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,116

MAIN
Braidwood 1

- Holding at 97% due to power uprate adjustment

Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Dresden 2

- In derate to 76% due to maintenance; Full power expected 8/8/01

Dresden 3

- In derate to 88% due to maintenance; Full power expected 8/8/01

Kewaunee

- Holding at 96% maximum power 

Quad Cities 1

- In forced outage; Restart expected 8/11/01; Full power expected 8/15/01

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 11,627

MAPP
Cooper


- In derate to 75% due to lake temperature; Full power expected 8/8/01

Monticello

- In derate to 90% due to discharge canal temperature; Full power expected 8/8/01

Prairie Island 1

- In forced outage; Restart expected 8/9/01; Full power expected 8/11/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3219

NPCC (NEPOOL)
Millstone 2

- In derate to 98%; Full power expected 8/8/01

Total Regional MWe for month 
= 4355

Average operating MWe for month = 4284.3

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4744

SERC
North Anna 1

- In coastdown to refueling; Refueling start expected 9/9/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 25,393

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 7023

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 83,007

September 2001
ECAR
Palisades

- In power ascension following forced outage; Full power expected 9/6/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 6613.9

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 3771.9

FRCC

Crystal River

- In coastdown to refueling; Refueling start expected 9/29/01

Turkey Point 3

- In refueling outage; Restart expected 9/30/01

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3011.9

MAAC
Hope Creek

- In coastdown to refueling; Refueling start expected 9/3/01

Peach Bottom 3

- In refueling outage; Restart expected 10/1/01

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 9657.2

MAIN
Braidwood 1

- In coastdown to refueling; Refueling start expected 9/22/01

Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Byron 2


- Holding at 99% due to power uprate adjustment

Kewaunee

- Holding at 96% maximum power 

LaSalle 1

- In coastdown to refueling; Refueling start expected 10/13/01

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 11,235

MAPP
Cooper


- In coastdown to refueling; Refueling start expected 11/4/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3353.8

NPCC (NEPOOL)
Total Regional MWe for month 
= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4687.7

SERC
Catawba 2

- In coastdown to refueling; Refueling start expected 9/9/01

Hatch 2


- In coastdown to refueling; Refueling start expected 9/8/01

North Anna 1

- In coastdown to refueling; Refueling start expected 9/15/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 22,338

SPP

River Bend 

- In coastdown to refueling; Refueling start expected 9/8/01

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6263.5

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 75,197

October 2001
ECAR
Beaver Valley 1

- In refueling outage; Restart expected 10/9/01; Full power expected 10/14/01

Fermi 2


- In coastdown to refueling; Refueling start expected 10/19/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 6426

ERCOT
South Texas 1

- In refueling outage; Restart expected 10/8/01; Full power expected 10/13/01

Total Regional MWe for month 
= 4800

Average operating MWe for month = 4358.4

FRCC

Crystal River 3

- In refueling outage; Restart expected 11/13/01; Full power expected 11/18/01

Turkey Point 3

- In power ascension; Full power expected 10/6/01

Total Regional MWe for month 
= 3889

Average operating MWe for month = 2507.6

MAAC
Hope Creek

- In refueling outage; Restart expected 10/18/01; Full power expected 10/23/01

Peach Bottom 3

- In power ascension following refueling; Full power expected 10/6/01

Three Mile Island
- In refueling outage; Restart expected 10/18/01; Full power expected 10/23/01

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 11,058

MAIN
Braidwood 1

- In refueling outage; Restart expected 10/19/01; Full power expected 10/24/01

Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Byron 2


- Holding at 99% due to power uprate adjustment

Dresden 2

- In coastdown to refueling; Refueling start expected 10/6/01

Kewaunee

- In refueling outage; Restart expected 11/26/01; Full power expected 12/1/01 

LaSalle 1

- In coastdown to refueling; Refueling start expected 10/13/01

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 9331.7

MAPP
Cooper


- In coastdown to refueling; Refueling start expected 11/4/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3065.6

NPCC (NEPOOL)
Total Regional MWe for month 
= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4687.7

SERC
Catawba 2

- In refueling outage; Restart expected 10/13/01; Full power expected 10/18/01

Farley 1


- In refueling outage; Restart expected 11/15/01; Full power expected 11/20/01

Harris


- In refueling outage; Restart expected 11/3/01; Full power expected 11/8/01

Hatch 2


- In refueling outage; Restart expected 10/18/01; Full power expected 10/23/01

North Anna 1

- In refueling outage; Restart expected 10/15/01; Full power expected 10/20/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 20,440

SPP

River Bend

- In refueling outage; Restart expected 10/13/01; Full power expected 10/18/01

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6569

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 72,708

November 2001
ECAR
Cook 2


- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Fermi 2


- In refueling outage; Restart expected 11/19/01; Full power expected 11/24/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 5616.1

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4730.4

FRCC

Crystal River 3

- In refueling outage; Restart expected 11/13/01; Full power expected 11/18/01

St. Lucie 2

- In refueling outage; Restart expected 11/19/01; Full power expected 11/24/01

Total Regional MWe for month 
= 3889

Average operating MWe for month = 2875

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,208

MAIN
Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Byron 2


- Holding at 99% due to power uprate adjustment

Dresden 2

- In refueling outage; Restart expected 11/10/01; Full power expected 11/15/01

Kewaunee

- In refueling outage; Restart expected 11/26/01; Full power expected 12/1/01 

LaSalle 1

- In refueling; Restart expected 11/17/01; Full power expected 11/22/01

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 10,541

MAPP
Cooper


- In coastdown to refueling; Refueling start expected 11/4/01

Prairie Island 2

- In refueling outage; Restart expected 12/5/01; Full power expected 12/10/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 1612.2

NPCC (NEPOOL)
Total Regional MWe for month 
= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4687.7

SERC
Farley 1


- In refueling outage; Restart expected 11/15/01; Full power expected 11/20/01

Harris


- In refueling outage; Restart expected 11/3/01; Full power expected 11/8/01

Oconee 3

- In refueling outage; Restart expected 11/27/01; Full power expected 12/2/01

Sequoyah 1

- In refueling outage; Restart expected 11/15/01; Full power expected 11/20/01

Surry 1


- In refueling outage; Restart expected 11/16/01; Full power expected 11/21/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 22,506

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 76,029

December 2001
ECAR
Cook 2


- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 7124.3

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4730.4

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3822.5

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,208

MAIN
Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Byron 2


- Holding at 99% due to power uprate adjustment

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 11,917

MAPP
Cooper


- In refueling outage; Restart expected 12/14/01; Full power expected 12/19/01

Monticello

- In refueling outage; Restart expected 12/13/01; Full power expected 12/18/01

Prairie Island 2

- In refueling outage; Restart expected 12/5/01; Full power expected 12/10/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 2630.3

NPCC (NEPOOL)
Total Regional MWe for month 
= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4687.7

SERC
Oconee 3

- In power ascension; Full power expected 12/2/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 24,894

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 83,266

� EMBED Unknown  ���





� EMBED PBrush  ���








1

[image: image3.png]


[image: image4.wmf]_963988101.unknown

_963987986

