[image: image1.wmf][image: image2.png]


HIGHLY CONFIDENTIAL

MONITORING & SUPPORT SERVICES

FOR ECT

Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

8/14/01 Update

(italicized plants have changed status since last week’s report)
August 2001
ECAR
Palisades

- In forced outage due to CRD penetration leak; Restart expected early 9/9/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 6727.3

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4761.8

FRCC

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3795.3

MAAC
Peach Bottom 3

- In coastdown to refueling; Refueling start expected 9/14/01

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,318

MAIN
Braidwood 1

- Holding at 97% due to power uprate adjustment

Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Dresden 3

- In derate to 99% due to maintenance; Full power expected 8/15/01

Kewaunee

- Holding at 96% maximum power 

Quad Cities 2

- In forced outage; Restart expected 8/16/01; Full power expected 8/20/01

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 11,573

MAPP
Duane Arnold

- In forced outage due to feedwater pump problem; Restart expected 8/14/01; Full power expected 8/17/01

Prairie Island 1

- In forced outage to repair CRD problems; Restart expected 8/16/01; Full power expected 8/19/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3047.6

NPCC (NEPOOL)
Millstone 2

- In derate to 90% due to high condenser back pressure; Full power expected 9/1/01

Pilgrim


- In forced outage working on RCIC valve; Restart expected 8/16/01; Full power expected 8/18/01

Seabrook

- In derate to repair heater drain system controller; Full power expected 8/15/01

Total Regional MWe for month 
= 4355

Average operating MWe for month = 4152.2

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4799

SERC
North Anna 1

- In coastdown to refueling; Refueling start expected 9/9/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 24,984

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6991.7

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 83,150

September 2001
ECAR
Beaver Valley 1

- In refueling outage; Restart expected 10/8/01; Full power expected 10/13/01

Palisades

- In forced outage; Restart expected 9/9/01; Full power expected 9/14/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 6343.5

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4683.4

FRCC

Crystal River

- In coastdown to refueling; Refueling start expected 9/29/01

Turkey Point 3

- In coastdown to refueling; Restart expected 9/29/01

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3574.4

MAAC
Peach Bottom 3

- In coastdown to refueling; Refueling start expected 9/14/01

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 11,470

MAIN
Braidwood 1

- In coastdown to refueling; Refueling start expected 9/22/01

Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Byron 2


- Holding at 99% due to power uprate adjustment

Kewaunee

- Holding at 96% maximum power 

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 11,394

MAPP
Cooper


- In coastdown to refueling; Refueling start expected 11/3/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3353.8

NPCC (NEPOOL)
Total Regional MWe for month 
= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4687.7

SERC
Catawba 2

- In coastdown to refueling; Refueling start expected 9/14/01

Hatch 2


- In coastdown to refueling; Refueling start expected 9/15/01

North Anna 1

- In coastdown to refueling; Refueling start expected 9/9/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 22,802

SPP

River Bend 

- In coastdown to refueling; Refueling start expected 9/21/01

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6626.3

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 79,200

October 2001
ECAR
Beaver Valley 1

- In refueling outage; Restart expected 10/8/01; Full power expected 10/13/01

Fermi 2


- In coastdown to refueling; Refueling start expected 10/26/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 6821.6

ERCOT
South Texas 1

- In coastdown to refueling; Refueling start expected 10/3/01

Total Regional MWe for month 
= 4800

Average operating MWe for month = 3788.7

FRCC

Crystal River 3

- In refueling outage; Restart expected 11/3/01; Full power expected 11/8/01

Turkey Point 3

- In refueling outage; Restart expected 10/27/01; Full power expected 11/1/01

Total Regional MWe for month 
= 3889

Average operating MWe for month = 2388.6

MAAC
Hope Creek

- In coastdown to refueling; Refueling start expected 10/6/01

Peach Bottom 3

- In refueling outage; Restart expected; 10/4/01; Full power expected 10/9/01

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 10,528

MAIN
Braidwood 1

- In refueling outage; Restart expected 10/8/01; Full power expected 10/13/01

Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Byron 2


- Holding at 99% due to power uprate adjustment

Dresden 2

- In coastdown to refueling; Refueling start expected 10/12/01

Kewaunee

- In refueling outage; Restart expected 12/1/01; Full power expected 12/6/01 

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 10,589

MAPP
Cooper


- In coastdown to refueling; Refueling start expected 11/3/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 3252.7

NPCC (NEPOOL)
Total Regional MWe for month 
= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4687.7

SERC
Catawba 2

- In refueling outage; Restart expected 10/14/01; Full power expected 10/19/01

Farley 1


- In refueling outage; Restart expected 11/10/01; Full power expected 11/15/01

Harris


- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Hatch 2


- In refueling outage; Restart expected 10/30/01; Full power expected 11/4/01

North Anna 1

- In refueling outage; Restart expected 10/7/01; Full power expected 10/12/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 20,847

SPP

River Bend

- In refueling outage; Restart expected 10/19/01; Full power expected 10/24/01

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6393.6

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 73,562

November 2001
ECAR
Cook 2


- In coastdown to refueling; Refueling start expected 11/3/01

Fermi 2


- In refueling outage; Restart expected 12/1/01; Full power expected 12/6/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 5341.6

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4730.4

FRCC

Crystal River 3

- In refueling outage; Restart expected 11/3/01; Full power expected 11/8/01

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3374.5

MAAC
Hope Creek

- In refueling outage; Restart expected 11/17/01; Full power expected 11/22/01

Three Mile Island

- In refueling outage; Restart expected 11/3/01; Full power expected 11/9/01

Total Regional MWe for month 
= 12,836

Average operating MWe for month = 11,480

MAIN
Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Byron 2


- Holding at 99% due to power uprate adjustment

Dresden 2

- In power ascension; Full power expected 11/2/01

Kewaunee

- In refueling outage; Restart expected 12/1/01; Full power expected 12/6/01 

LaSalle 1

- In coastdown to refueling; Refueling start expected 11/23/01

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 11,024

MAPP
Cooper


- In coastdown to refueling; Refueling start expected 11/3/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 2121.5

NPCC (NEPOOL)
Total Regional MWe for month 
= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4687.7

SERC
Farley 1


- In refueling outage; Restart expected 11/10/01; Full power expected 11/15/01

Harris


- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Hatch 2


- In power ascension; Full power expected 12/4/01

Sequoyah 1

- In refueling outage; Restart expected 11/27/01; Full power expected 12/2/01

Surry 1


- In refueling outage; Restart expected 11/7/01; Full power expected 11/12/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 21,890

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 75,902

December 2001
ECAR
Cook 2


- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Fermi 2


- In power ascension; Full power expected 12/6/01

Total Regional MWe for month 
= 7702

Average operating MWe for month = 7046.9

ERCOT
Total Regional MWe for month 
= 4800

Average operating MWe for month = 4730.4

FRCC

St Lucie 2

- In refueling outage; Restart expected 12/17/01; Full power expected 12/22/01

Total Regional MWe for month 
= 3889

Average operating MWe for month = 3334.2

MAAC
Total Regional MWe for month 
= 12,836

Average operating MWe for month = 12,208

MAIN
Braidwood 2

- Holding at 97% due to power uprate adjustment
Byron 1


- Holding at 99% due to power uprate adjustment

Byron 2


- Holding at 99% due to power uprate adjustment

Kewaunee

- In power ascension; Full power expected 12/6/01

LaSalle 1

- In refueling outage; Restart expected 12/11/01; Full power expected 12/16/01

Total Regional MWe for month 
= 12,135

Average operating MWe for month = 11,464

MAPP
Cooper


- In refueling outage; Restart expected 12/13/01; Full power expected 12/18/01

Monticello

- In refueling outage; Restart expected 12/16/01; Full power expected 12/21/01

Total Regional MWe for month 
= 3460

Average operating MWe for month = 2705.4

NPCC (NEPOOL)
Total Regional MWe for month 
= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)
Total Regional MWe for month 
= 4937

Average operating MWe for month = 4687.7

SERC
Harris


- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Oconee 3

- In refueling outage; Restart expected 12/15/01; Full power expected 12/20/01

Sequoyah 1

- In power ascension; Full power expected 12/2/01

Total Regional MWe for month 
= 25,589

Average operating MWe for month = 24,262

SPP

Total Regional MWe for month 
= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month
= 87,010

Average operating MWe for month = 81,690

� EMBED Unknown  ���





� EMBED PBrush  ���








10

[image: image3.png]


[image: image4.wmf]_963988101.unknown

_963987986

