[image: image1.png]E CALIFORNIA ISO






SETTLEMENT DISPUTE FORM

DETAILS OF DISPUTE

Please fill in the boxes below with the details of the dispute. 















BA Number
1005



BA Name

EPMI



BA Contact
Donna Johnson


BA Contact Phone #
(503) 464-7733


Statement Date
10/21/00



Statement #

35154

Charge #
401



Line Item #

18003194, 18003195, 18003273, 18003214


Trade Date
9/4/00



Trade Hours

7, 13, 24

DETAILS OF DEVIATIONS (Charge Type 401)

      
Type of Dispute

Instructed Energy

Location ID’s

PANDOL_6_UNIT, UNCHEM_1_UNIT


Zone ID


SP15, NP15
DISPUTE DOLLAR AMOUNT  (to be completed by the BA)

Please state the dollar amount that you are disputing.  (Difference between the settlement statement and what you believe the bill should be.)

$1,812.56

Additional comments: 

DISPUTE TYPE    (to be completed by BA)

Volume Dispute 

Additional comments: 

DISPUTE DETAIL  (to be completed by BA)

Please give specific details to explain the exact nature of the dispute.

In the following Hours, 

HE 7, Interval 5 and Interval 6, -10Mwh each interval  

HE 13, Interval 1, 2 Mwh 

HE 24 Interval 1, 2 Mwh

EPMI was instructed, accepted and acknowledged by the CAISO for the above referenced Energy.  EPMI was not paid in the Preliminary Settlement statement file. 

DISPUTE REFERENCES   (to be completed by the BA)

Please provide supporting data to prove your claim.

The schedulers support this information, ADS partially supports this information and the ISO web-site supports this information.
ACTION LOG  

HE 7 settled correctly.  No adjustment.

HE13

====

The disputed claim should be granted.

BEEP data is incorrect. ADS data supports client's claim. Counting residual energy the interval 1 through 6 energy total = 1.987 MWh for resource UNCHEM_1_UNIT. The client claims that the unit was instructed to 2 MW(h) interval 1. BEEP data indicates that the resource generated 0.090 of incremental supplement energy and -4.482 MWh of decremental supplemental energy. However, no ADS instructions can be found to support the BEEP data. Furthermore, the client never submitted a bid for the BEEP-recorded decremental energy as the SI database does not even contain a bid for decremental energy from the resource for HE13.  

HE24

====

The disputed claim should be granted.

BEEP data is incorrect. ADS data supports client's claim. Counting residual energy the interval 1 through 6 energy total = 1.997 MWh for resource UNCHEM_1_UNIT. The client claims that the unit was instructed to 2 MW(h) interval 1. BEEP data indicates that the resource generated 0.030 of incremental supplement energy and -35.810 MWh of decremental supplemental energy. However, no ADS instructions can be found to support the BEEP data. Furthermore, the client never submitted a bid for the BEEP-recorded decremental energy as the SI database does not even contain a bid for decremental energy from the resource for HE24.  Rudy Klanseckx5862

Thursday, June 07, 2001 2:40:14 PM Meghna Khatri

Adjustments made based on approved dispute. 

Adjustments made to pay the SC for HE 13 int 1, 2 MWh and HE24 int 1, 2 MWh. The adjustments for this dispute will be on the 4/13/01 Prelim Statement.

RESOLUTION OF DISPUTE

Adjustment made to HE 13 and 24.


STATUS OF DISPUTE

Close.

