25 October 2001

To: John Schelk, Enron

From: Enron Community Forum

Request (25 October):

1. The Barton discussion draft says that FERC's hands would be tied and that they would have to approve a proposed RTO, as to size and scope, if the proposed RTO owns or has operational control over transmission facilities that serve at least 40,000 MW of load. Southern's CEO testified in Congress recently that their load is over 35,000.  I assume the 40,000 MW minimum would permit the SeTrans proposal to meet the proposed statutory minimum since it is Southern plus a few munis, as I understand it.  Is this correct?

2. Who would know how many RTOs there would be if each were

just over the 40,000 MW minimum?

Response:

The load served by the transmission facilities in the proposed SeTrans exceeds 40,000 Mw on a peak basis.  Specifically, the peak loads in Mw recorded for 2000 by the members of SeTrans are:
Southern Co.

 31,702
Ala. Electric Coop.
   1,756
Ga. Trans. Corp              7,052

MEAG


   1,300 (est.)

City of Dalton                   NA

City of Tallahassee           550 

South Mississippi           1,206 (2001 est.)

Jacksonville EA             2,614

Santee Cooper                3,600               

Total


 50,230

2. Other conceivable RTOs above the 40,000 Mw threshold: 13.
Based on existing control areas or regional markets, and coincidence of across those areas, a rough grouping of smaller RTOs can be envisioned with transmission facilities capable of serving load in the range specified in Rep. Barton’s draft.  Peak load was used as a proxy for capacity of transmission facilities. Intellbridge projects that based on the Barton draft, a total of 14 RTOs – SeTrans and 13 others -- could be created.
However, the creation of hypothetical RTOs serving 40,000 Mw of load may result in artificial groupings that would not be validated by commercial arrangements. Existing transmission interties and supply contracts necessitate the recognition of a new set of likely RTOs that are based in part on current arrangements. Groupings with loads of between 40,000 Mw and 50,000 Mw seemed more likely to result. 
 It also appears highly unlikely that the PJM Interconnect, now with a load exceeding 50,000, would be subject to change. Two utilities in Pennsylvania tied to but not part of PJM were added to form a Mid-Atlantic RTO. 

Based on existing control areas or regional markets, and coincidence of across those areas, a rough grouping of smaller RTOs can be envisioned with transmission facilities capable of serving load in the range specified in Rep. Barton’s draft.  Peak load was used as a proxy for capacity of transmission facilities.

Northeast Power Coordinating Council

ISO New England and NYISO, the U.S. Control Areas within the Northeast Power Coordinating Council (NPCC), had a coincident summer peak of just fewer than 50,000.  ISO New England itself peaked at 21,919 MW, and NYISO at 28,138 MW. 

Florida Reliability Coordinating Council
The FRCC’s all time summer peak was 38,730 Mw, near the 40,000 Mw threshold.  Power is frequently exported north from the state when peaks in the Southern Co. control area are not coincident with those in Florida.  NERC forecast FRCC’s 2001 summer internal peak demand to be 38,478 Mw.  
Southwest Power Pool

The Southwest Power Pool (SPP), which had at one point discussed the possibility of forming its own RTO rather than merging with Midwest ISO, fits neatly into the 40,000 MW range specified in Rep. Barton’s draft.  SPP experienced peak demand of 40,101 MW during summer 2000.

Western States: Three RTOs

The Western Systems Coordinating Council reported peak demand for 2000 of 130,892 MW.  Three smaller RTOs could likely be carved out of the WSCC.  

· Northwest Power Pool (NWPP): Net internal demand for the Northwest Power Pool reported an annual peak of 57,107 MW during winter 2000-2001.  Without Canadian demand (with a winter peak of roughly 17,607 MW) the Northwest Power Pool would fall near the 40,000 MW threshold specified by Barton’s draft.

· California: The California system experienced a year 2000 peak demand of 51,213 MW during the summer.  Subtracting Mexican demand puts the figure at just under 50,000 MW.

· Arizona, New Mexico, Southern Nevada (AZ/NM/SNV) and Rocky Mountain Power Area (RMPA): The remaining reliability areas would not, on their own, meet Barton’s 40,000 MW threshold.  AZNM-SNV served only 21,724 MW at its summer 2000 peak, and RMPA, which can vacillates between having a winter and summer peak, served 7,640 MW during summer 2000.  According to the WSCC forecasts, the two regions could see a peak demand near 40,000 by 2010.

An alternative (though less likely) configuration could involve a combination of Southern California with AZNM-SNV and RMPA, leaving Northern California with NWPP.

Mid-Continent Area Power Pool (MAPP) and Mid-American Interconnected Network (MAIN): Separate RTOs, Few Changes
In the Mid-Continent Area Power Pool (MAPP), U.S. systems had a year 2000 summer peak of 26,308 MW.  Load from Canadian systems brings the peak up to just over 30,000 MW.  

The Mid-American Interconnected Network (MAIN) experienced a summer 2000 peak demand of 52,214 MW, which would put it above the 40,000 threshold.  Shifting Wisconsin’s MAIN members -- Wisconsin Electric Power, Wisconsin Public Power and Wisconsin Public Service --  into the MAPP area reduces put peak load for both MAPP and MAIN to close to the Barton bill’s 40,000 Mw mark.  Those three utilities had a 1999 coincident peak of roughly 8500 Mw.
Southeast and Northeast Central States: Five RTOs
The degree which to the transmission system is tied together east of the Mississippi River necessitates approximately five groupings for RTOs in addition to the NPCC. These can best be described as the Virginia-Carolina area (now known as the NERC subregion VACAR), the Mid-Atlantic region (now PJM), a Tennessee-Kentucky RTO (the TVA area is now a NERC subregion) and two groupings for the East Central Area Reliability Council, North ECAR and Central ECAR.
To illustrate how complex it is to redraw boundaries when systems are physically connected, the approximate load in Mw by utility of these fictional groupings is listed below.  Other considerations may play a larger role in the creation of RTOs.   
[image: image1.emf]VACAR

Duke 18000

CPL 11547

SCEG 4200

Dominion 16100

Others 1550

Total 51397

            [image: image2.emf]North ECAR

First Energy 13600

Consumers 8100

Detroit Edison 12000

Michigan Electric  15500

Wolverine 300

Total 49500


[image: image3.emf]Mid-Atlantic

Duquesne 2700

Allegheny 7900

PJM 52,000

Total 62600

            [image: image4.emf]Central ECAR

AEP 20000

AMP Ohio 410

Buckeye Power 1,330

Cinergy 11,000

Dayton 3000

Hooiser 1100

IPALCO 2800

NIPSCO 2900

OVEC 35

SIGECO 1200

Wabash Valley 800

Total 44575


[image: image5.emf]Tenn/Ky

Big Rivers 600

East Kentucky 2000

LG&E 2700

KU 4000

TVA 30000

Others 1000

Total 40300


Sources: 
FERC Form 714
Foster Electric Report

WSCC 2001 Information Summary
WSCC Summer Assessment 2001 

MAPP Annual Report 

NERC 2001 Summer Assessment
NYISO

ISO-NE

PJM

For more information, or to speak with an industry expert, please contact Senior Vice President Kelley Kenyan at (202) 298-6300 x256, or kkenyan@intellibridge.com
