



11/20/00

High level summary of examination of Post Phase V expansions in Florida.

First is a plot of the expected volumes versus the service year.  This gives a flavor of the needs.

[image: image1.wmf]Design Volumes vs Year

0

200

400

600

800

1000

1200

2003

2004

2005

2006

2007

2008

2009

2010

2011


The Land and Sea approaches to the future are very different in terms of capital requirements. 

[image: image2.wmf]Cumlative Capex vs Design Volumes

$0

$200

$400

$600

$800

$1000

$1200

$1400

$1600

$1800

$2000

0

200

400

600

800

1000

1200

By Land

By Sea

By Sea ex PHFFU

This approach here assumes the FGT controls the ocean route such that we can shift existing volumes through the ocean pipeline and thereby idle a considerable amouunt of horsepower for a number of years. 

The horsepower shown for the ocean route is the  net of the new horsepower required and the existing horsepower idled.  By 2011, all the idled horespower is fully utilized.

[image: image3.wmf]Net Horsepower vs Design Volumes

-200,000

-150,000

-100,000

-50,000

0

50,000

100,000

150,000

200,000

250,000

0

200

400

600

800

1000

1200

By Land

By Sea

[image: image4.wmf]Rate with no Volume Tilt vs Design Volumes

20 Year Levelized rate using only Instant Volumes

$0.00

$0.50

$1.00

$1.50

$2.00

$2.50

0

200

400

600

800

1000

1200

By Land

By Sea

The next graph while not truly representative of a rate which would be charged, does provide another means of comparing the cases.  The rate for each data point for each approach is computed as if it were a separate project.  For example, take the 3d year, sea route.  The rate is calculated assuming a 390 mm/d year-round for twenty years with a plant employed of $729mm and plant held for future use of $396mm.

If you run the rates out for a twenty year project, letting the volumes build and the plant idled decline and assume that winter signup is 50% of summer, the rates are as follows:




By Land


By Sea

No Plant HFFU

 $1.02


$0.892

PHFFU@ 8.5%

   N.A.


$0.880

PHFFU@ 13.6%

   N.A.


$0.927

If we start at 90% debt and let it decline to 64% as the volumes pick up, the rate drops by 5 cents (at 8.5%).







