Attachment I

NOTICE OF PROPOSED CONSTRUCTION

Project Name:  CONSTRUCTION OF THE PINEDALE SUBSTATION
ADVICE LETTER NUMBER:  1965-E

Proposed Project:  Pacific Gas and Electric Company proposes to construct a new three bank 115 kilovolt substation in the unincorporated area of Pinedale, in the City of Fresno, as part of the new  Palm Buffs Corporate Center industrial park.  The substation will be located within Lot 103 and shown on Tract No. 4637 recorded in Volume 62 of Plats at pages 39 through 48 Fresno County Records.  Pacific Gas and Electric Company will also construct take down structures from tower 7/38 of the existing Herndon-Bullard 115 kilovolt power line located on Lot 103.  The line will then tie into the proposed substation.  No other properties will be impacted by the construction of the proposed substation.  Construction is scheduled to begin in March 2000, and the new facilities should be in operation by the year 2002.
Electric and Magnetic Fields (EMF):  Pacific Gas and Electric Company will employ “no cost” and “low cost” measures to reduce public exposure to EMF in accordance with California Public Utilities Commission (CPUC) Decision 93-11-013 and Pacific Gas and Electric Company’s “EMF Design Guidelines of New Electrical Facilities:  Transmission, Substation, and Distribution.”  The following measures are proposed for this project:

· Compacting the equipment spacing within the substation.  The 115 kilovolt Pinedale Substation equipment would fit in an approximately 300' x 300' area (two acres).  A conventional three bank substation would require a larger area (approximately three acres) for the substation equipment only.  This compaction reduces the EMF field at the fence line by increasing the distance between equipment and fence line.

· Low-side metal clad switchgear reduces low-side bus phase spacing from three feet (used in low-profile buses) to one foot.  This reduces the EMF contribution from the 21 kilovolt bus. (A BUSS structure is where the wires from the towerline meet the wires from the substation.)

· Use of underground 21 kilovolt feeder termination to the property limit.

Exemption from CPUC Authority:  Pursuant to CPUC General Order 131-D, Section III, B.1, projects meeting specific conditions are exempt from the CPUC’s requirement to file an application requesting authority to construct.  Pacific Gas and Electric Company believes this project qualifies for the following exemptions:

· power lines or substations to be relocated or constructed which have undergone environmental review pursuant to CEQA as part of a larger project, and for which the final CEQA document (Environmental Impact Report (EIR) or Negative Declaration) finds no significant unavoidable environmental impacts caused by the proposed line or substation.

· power line facilities or substations to be located in an existing franchise, road-widening setback easement, or public utility easement; or in a utility corridor designated, precisely mapped and officially adopted pursuant to law by federal, state, or local agencies for which a final Negative Declaration or EIR finds no significant unavoidable environmental impacts.

The City of Fresno prepared an Environmental Impact Report, No. 10096, dated November 9, 1988, for the Bullard Community Plan, State Clearing House No. 1987030914.  Also filed was a Mitigated Negative Declaration for the Palm Bluffs Corporate Center, Environmental Assessment No. E-95-07/R-95-10, dated October 30, 1996.  No significant unavoidable environmental impacts were identified for PG&E’s proposed substation.
Public Review Process:  Persons or groups may protest the proposed construction if they believe that Pacific Gas and Electric Company has incorrectly applied for an exemption or that the conditions set out in Section III.B.2 of GO 131-D exist.

Protests must be filed by February 23, 2000, and should include the following:

1.
Your name, mailing address and daytime telephone number.

2.
Reference to the CPUC Advice Letter Number and Project Name identified.

3.
A clear description of the reason for the protest.

The letter should also indicate whether you believe that evidentiary hearings are necessary to resolve factual disputes.

Protests for this project must be mailed within 20 calendar days to:

California Public Utilities Commission

Director, Energy Division

505 Van Ness Avenue, Fourth Floor

San Francisco, California  94102


WITH A COPY MAILED TO:
Pacific Gas and Electric Company

Law Department (Attn: David Kraska)

P.O. Box 7442

San Francisco, California  94120

Pacific Gas and Electric Company must respond within five business days of receipt and serve copies of its response on each protestant and the Energy Division.  Within 30 days after Pacific Gas and Electric Company has submitted its response, the Executive Director of the CPUC will send you a copy of an Executive Resolution granting or denying the request and stating the reasons for the decision.

Assistance in Filing a Protest:  For assistance in filing a protest, contact the CPUC Public Advisor in San Francisco at (415) 703-2074 or in Los Angeles at (213) 576-7055.

Additional Project Information:  To obtain further information on the proposed project, please call Pacific Gas and Electric Company’s Project Information Line at (415) 973-5530.

Notice Distribution List
Construction of the Pinedale Substation
Advice 1965-E

Energy Commission
Mr. Stephen Rhoads, Executive Director 

California Energy Commission

1516 Ninth Street, Mail Stop 39

Sacramento, CA  95814

Mr. Bob Therleksen

California Energy Commission

1516 Ninth Street, Mail Stop 39

Sacramento, CA  95814

City of Fresno

Nick Yovino, Director

Development Department

Planning Division

2600 Fresno Street

Fresno, CA  93721-3604
Newspaper
The Fresno Bee

