1999 Facilities: 

Brownsville 

Caledonia

New Albany

Size of Brownsville acreage
- floodplain issue


Size of New Albany acreage
- FEMA floodplain map/ floodplain issue


Caledonia
- FEMA floodplain map/ floodplain issue


Review of all executed/ draft documents involving 1999 facilities related to operations & EGC as party
- Agreement w/ T&C ?


Contractor details
· confirm ECT roles

· description of ECT, EE&CC & NEPCO


OEC (Operational Energy Corp- O&M contractor)
- details of experience


Diligence Assessment reports prepared by ENSR consulting

(environmental site assessment)
- need copies


Peaking firing temperature for each of the plants (F)



Water consumption for NOX control @ Brownsville 
-check if 460gpm includes evaporative cooling


Max. water consumption @ Caledonia & New Albany
- [             ]gpm 


Natural gas interconnection @ each site
- check if guarantees for minimum gas pressure available in gas line to each CTG


Confirm that Projects operated w/in ind. O&M guidelines
- Operation w/in generally accepted industry practice & w/ env. Requirements


Reliability & Availability
- HESI on peak availability; specify capacity factors


Status of permits & approvals
- list of all permits


Projected O&M costs
- need budget 


Operating history
- missing all information


· additional Manufacturer/3rd party information on inlet fogging system effect on turbines

H:\GRM\Peakers\1999 Facilities.doc

11/16/00 9:34 AM

