8
[image: image1.wmf]


Revised
Cal. P.U.C. Sheet No.
18065-E

Pacific Gas and Electric Company
Cancelling
Revised
Cal. P.U.C. Sheet No.
18055-E

[image: image1.wmf]San Francisco, California



	schedule E-OBMC—OPTIONAL BINDING MANDATORY CURTAILMENT PLAN
	(N)
|

	APPLICABILITY:
	An Optional Binding Mandatory Curtailment (OBMC) Plan may be an alternative to a rotating outage (RO) for certain customers.  Under an OBMC Plan, PG&E may authorize a customer to reduce their demand to an agreed upon level in lieu of being included in PG&E’s rotating outage (RO) block progression.  This schedule is open to all PG&E customers who can meet the eligibility requirements.  An eligible customer should submit its OBMC Plan to PG&E for review and acceptance.  If the plan is approved by PG&E, PG&E will send such approval to the customer in writing.  The written approval letter will specify the effective start date of the plan.
	|

|

|

|

|

|

|

|

|

	PROGRAM OPERATIONS:
	PG&E shall require a customer to operate its OBMC Plan upon each and every notice from the California Independent System Operator (CAISO) that a firm load curtailment is required within the PG&E service territory.  Additionally, PG&E reserves the right to require a customer to operate its OBMC Plan when PG&E or the ISO has initiated or is planning to initiate firm load curtailments in a local geographic area within the PG&E service territory.  OBMC Plan curtailments shall be required concurrent with each and every firm load curtailment.

Upon notification from PG&E of an OBMC curtailment, OBMC customers must immediately commence implementation of the load curtailment measures contained in their load reduction plan.  Upon notice from PG&E, OBMC customers are required to reduce their load such that the load on their circuit or dedicated substation is at or below the Maximum Load Level (MLL) corresponding to the percent load reduction communicated in the notice.  

The MLLs correspond to a reduction in a circuit’s loading of between five (5) and fifteen (15) percent in five (5) percent increments.  The CAISO may call for load reductions on a required MW level, but PG&E will require the OBMC customers to reduce their load to the next highest five (5) percent increment.  For each operation, PG&E will notify the customer of the required percent reduction, along with the start and end times for the OBMC operation.  PG&E may extend the end time or increase the percentage reduction of any ongoing OBMC operation as necessary to correspond with CAISO directives.

Maximum Load Levels (MLLs) shall be established by PG&E for the circuit or dedicated substation, which correspond to each of the 5, 10, and 15 percent load reduction levels.  The MLL for the 5 percent load reduction is equal to the product of the baseline times 0.95.  The MLL for the 10 percent load reduction is equal to the product of the baseline times 0.90.  The MLL for the 15 percent load reduction is equal to the product of the baseline times 0.85.

The baseline for determining MLLs is equal to the average recorded hourly usage amount (if available) for the same hours as the OBMC operation hours on the immediate past 10 similar days, excluding days when the customer was paid to reduced load and days when the OBMC program operated.  For establishing similar days, if the OBMC event is called on a business day, then 10 prior business days are used; if the OBMC event is called on a weekend or holiday, then 10 prior weekend and holidays are used.  The baseline shall be adjusted to account for any load on the circuit that is participating in a PG&E or a CAISO load reduction program.  The load measurements for the circuit shall be taken at PG&E's distribution substation.

Required load reductions must be achieved as quickly as possible but no later than 15 minutes after the primary customer receives notification from PG&E.  OBMC customers who fail to curtail to or below the required MLL of their circuit within the specific amount of time or who fail to maintain the MLL for the entire duration of the OBMC operation shall be subject to the non‑compliance penalties specified below.

An OBMC Plan is not a guarantee against a customer being subject to a RO, because daily and emergency circuit switching may cause the circuit to become subject to ROs.
	|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

|

(N)


[image: image2.wmf]
	
	
	TABLE OF CONTENTS
(Continued)
	
	
	

	
	
	
	
	
	

	
	
	RATE SCHEDULES
	
	
	

	
SCHEDULE
	
	
TITLE OF SHEET
	
	CAL P.U.C.
SHEET NO.
	

	
	
	LIGHTING RATES
	
	
	

	
	
	
	
	
	

	LS-1
	
	PG&E-Owned Street and Highway Lighting 
15393,17730,15395,15396,17111-E
	

	LS-2
	
	Customer-Owned Street and Highway Lighting 
15398, 17731,15400 to 15403,17112-E
	

	LS-3
	
	Customer-Owned Street and Highway Lighting Electrolier Meter Rate

17732,15406,15407,17113-E
	

	TC-1
	
	Traffic Control Service
17733,15410,17114-E
	

	OL-1
	
	Outdoor Area Lighting Service
17734,15413,15414,17115-E
	

	
	
	
	

	
	
	OTHER
	
	
	

	
	
	
	

	S
	
	Standby Service
17735,17736,   


 17737,15419,16200,15421,16201,16202,15424,15425,16203,16204,16205,16206,16495-E
	

	E-DEPART
	
	Departing Customers
15905-E
	

	E-EXEMPT
	
	Competition Transition Charge Exemption
16068,17116,16070 to 16073-E
	

	E-TD
	
	Transmission and Distribution Bypass Deferral Rate
15694 to 15696,16496-E
	

	E-TDI
	
	Incremental Sales Rate for New Customers
15698,15699,16497-E
	

	E-RRB
	
	Rate Reduction Bonds Bill Credit and Fixed Transition Amount Charge
14798,14799-E
	

	E-NET
	
	Net Energy Metering Service
17358, 17359, 17360-E
	

	E-BID
	
	Price‑Responsive Load Program
17333 to 17335-E
	

	E-EPS
	
	Emergency Procurement Surcharge
17863-E
	

	E-BIP
	
	Base Interruptible Program
18048,18049,18050-E
	

	E-VDRP
	
	Voluntary Demand Response Program
18051,18052,18053,18054-E
	

	E-OBMC
	
	Optional Binding Mandatory Curtailment Plan
18055,18056,18057,18058-E

	(N)

	
	
	
	

	
	
	AGRICULTURAL RATES
	
	
	

	
	
	
	

	AG-1
	
	Agricultural Power 
17738,15446 to 15449,17117,17118, 17119,17120-E
	

	AG-R
	
	Split-Week Time-of-Use Agricultural Power



17121,17739,15456,15457,15458,15459,16499,17122,17123,17124,17125-E
	

	AG-V
	
	Short-Peak Time-of-Use Agricultural Power



17126,17740,15467,15468,15469,15470,16500, 17127,17128,17129,17130-E
	

	AG-4
	
	Time-of-Use Agricultural Power



17131,17741,17742,15479 to 15483,16501,17132,17133,17134,17135-E
	

	AG-5
	
	Large Time-of-Use Agricultural Power

17136,17743,17744,15492 to 15496,16502,17137,17138,17139,17140-E
	

	AG-6
	
	Large Agricultural Power
15502,17745,15504,15505,15506,17141-E
	

	AG-7
	
	Experimental Tiered Time-of-Use Agricultural Power

15701,17229,17746,17747,15705,15706,15707,15708,17142-E
	

	AG-8
	
	Deferral of Gas and Diesel Engine-Driven Pumping Facilities
15710,15711,16504-E
	

	
	
	
	

	
	
	POWER EXCHANGE RATES
	
	
	

	
	
	
	

	PX
	
	Power Exchange Energy Cost
17015,17844,17845,16744,16745,15521,15522-E
	

	
	
	
	

	
	
	DIRECT ACCESS
	
	
	

	E-CREDIT
	
	Revenue Cycle Services Credits
16567 to 16578-E
	

	E-DASR
	
	Direct Access Services Request Fees
14847-E
	

	E-ESP
	
	Service to Energy Service Providers
16109,15828,15829,15830,16221-E
	

	E-ESPNDSF
	
	Energy Service Provider Non-Discretionary Service Fee
16535,16536-E
	

	E-EUS
	
	End User Services
14852,14853,14854-E
	


[image: image3.wmf]
	
	
	TABLE OF CONTENTS
	
	
	

	
	
	
	
	CAL P.U.C.
SHEET NO.
	

	Title Page
8285-E

Table of Contents:

Rate Schedules 
18067,18066-E

Preliminary Statements
17143,18062-E

Rules, Maps, Contracts and Deviations 
17023-E

Sample Forms 
17251,16094,16546,18061, 17337,16759-E
	(T)

	
	
	
	
	
	

	
	
	RATE SCHEDULES
	
	
	

	
SCHEDULE
	
	
TITLE OF SHEET
	
	CAL P.U.C.
SHEET NO.
	

	
	
	RESIDENTIAL RATES
	
	
	

	E-1
	
	Residential Service 
17754,15237,17051-E
	

	EE
	
	Service to Company Employees 
15239-E
	

	EM
	
	Master-Metered Multifamily Service 
17755,15241,15242,17053-E
	

	ES
	
	Multifamily Service 
17756,15245,15246,17055-E
	

	ESR
	
	Residential RV Park and Residential Marina Service
17757,15249,15250,17057-E
	

	ET
	
	Mobilehome Park Service 
17758,15253,15254,17059-E
	

	E-7
	
	Residential Time-of-Use Service 
17060,17759,15257,17061-E
	

	E-A7
	
	Experimental Residential Alternate Peak Time-of-Use Service
17062, 17760,15260, 17063-E
	

	E-8
	
	Residential Seasonal Service Option 
17761, 17065-E
	

	E-9
	
	Experimental Residential Time‑of‑Use Service for Low Emission
Vehicle Customers
17066, 17762,17763,15267,15268,17067-E
	

	EL-1
	
	Residential CARE Program Service 
17764,15274,17069-E
	

	EML
	
	Master-Metered Multifamily CARE Program Service
17765,15277,17071-E
	

	ESL
	
	Multifamily CARE Program Service 
17766,15280,15281,17073-E
	

	ESRL
	
	Residential RV Park and Residential Marina CARE Program Service


17767,15284,15285,17075-E
	

	ETL
	
	Mobilehome Park CARE Program Service 
17768,15289,15290,17077-E
	

	EL-7
	
	Residential CARE Program Time-of-Use Service 
17078, 17769,15293,17079-E
	

	EL-A7
	
	Experimental Residential CARE Program Alternate Peak
Time-of-Use Service
17080, 17770,15296,17081-E
	

	EL‑8
	
	Residential Seasonal CARE Program Service Option
17771,17083‑E
	

	
	
	
	

	
	
	COMMERCIAL/INDUSTRIAL
	
	
	

	A-1
	
	Small General Service
17772,17085-E
	

	A-6
	
	Small General Time-of-Use Service
17086, 17773,16481,17087-E
	

	A-10
	
	Medium General Demand-Metered Service
17774,15307,15308,16482,17089-E
	

	A-T
	
	Nondomestic Interruptible Service
11862-E
	

	A-RTP
	
	Experimental Real-Time-Pricing Service 
17253,16483-E
	

	A-15
	
	Direct-Current General Service 
17712,17090-E
	

	E-19
	
	Medium General Demand-Metered Time-of-Use Service
17091,17092,17093,  


17775,17776,17777,15321,15322,15323,18037,18038,18039,18040,18041,15328,16414,  


15330,17716,17717,17718,16416,16417,16418,16419,16420,16485,17094,17095,18042-E
	

	E-20
	
	Service to Customers with Maximum Demands of 1,000 Kilowatts or More



17097,17254,17719,  

17720,17721,15348,15349,15350,15351,18043,18044,18045,18046,16430,15358,  


17722,17723,17724,16432,16433,16434,16435,16436,16486,17099,17100,17101,18047-E
	

	E-25
	
	Restricted Variable-Peak-Period Time-of-Use Service to
Water Agencies 
17103, 17725,17726,17727,15376 to 15379,17104-E
	

	E-36
	
	Small General Service to Oil and Gas Extraction Customers
17728,17106-E
	

	E-37
	
	Medium General Demand-Metered Time-of-Use Service to Oil and 
Gas Extraction Customers
17107,17108,17729,15690,15691,15692,17109-E
	

	ED
	
	Experimental Economic Development Rate 
16881,17110-E
	

	E-CARE
	
	CARE Program Service for Qualified Nonprofit Group-Living and Qualified Agricultural Employee Housing Facilities
15392-E
	



(Continued)





(Continued)





(Continued)








8
Advice Letter No.
2106-E
Issued by
Date Filed
April 24, 2001
Decision No.
01-04-006
DeAnn Hapner
Effective
April 19, 2001


Vice President
Resolution No.

44319

Regulatory Relations

