EXHIBIT A  ELECTRICAL LOSSES GUARANTEE AND DAMAGES TC "EXHIBIT A  ELECTRICAL LOSSES GUARANTEE AND DAMAGES" \f C \l "1" 
Electrical Losses

Guarantee* @ 64 MVA
Applicable

Liquidated damages

202.2 kW
$2,000/kW

* Electrical Losses Guarantee assumes the cooling fans are not in operation.  Total losses are defined to be the sum of the no load losses (52.5 kW) and the load losses (149.7 kW) as established in Exhibit B-1 for ABB Design HU-Enron-1C.

