[image: image1.wmf]

Correspondence Summary Sheet

By:  Alisa Wade, ENSR
Date: September 11, 2001

Talked With:  Kristie Kilgore
Project Number:  6792162-100

Title:  Aquifer Protection Program Specialist
Project Name: Sun Devil Fatal Flaw Analysis

Of:  Arizona Department of Environmental Quality

Subject: Aquifer Protection/Hydrostatic Test Discharge Permit, Arizona

Telephone Number:  602-207-4696
Facsimile Number: 


Email or Internet Address (if applicable): 

Supplemental Information Attached? 

YES


Indicate Documentation Type:
   Telephone 


Hydrostatic Test Discharge Permit:

Falls under a type 1 general permit, which is a permit by rule as long as all conditions and requirements are met.  Permit is regulated under section R18-9-B301 of the Arizona Administrative Code.  There are two types of permits:

Paragraph B. 1.02 permit for discharges from new pipelines

· quality of the water used for test must not violate any aquifer water quality standard

· discharge is not to waters of the U.S. unless discharge is under NPDES permit

· test site must be restored to natural grade

Paragraph C. 1.03 permit for discharges from existing pipelines

· all liquid discharge must be contained in an impoundment lined with flexible geomembrane material with a thickness of at least 10 mms

· the liner material must be placed over layer, at least 3 inches thick, of sand or finer grained material

· water must be removed from impoundment to appropriate landfill or treatment works within 60 days

· liner must be removed and disposed of an approved landfill unless liner can be reused

· test site must be restored to its natural grade

There is no application, notice, nor fee required.

Construction Dewatering Permit:

Falls under a type 1 general permit, which is a permit by rule as long as all conditions and requirements are met.  Permit is regulated under section R18-9-B301 of the Arizona Administrative Code. 

Paragraph A. 1.01 permit for discharges from construction dewatering

· only physical processes may be employed

· no hazardous substances are in water except those naturally occurring in sand, gravel, or other rock material

There is no application, notice, nor fee required.

Attachments:

1.  Aquifer Protection Program Regulations

_________________________________________

Signature

Distribution:
(1) Author
(2) ENSR File 6792162-100
(3) 

J:\6000\6792-162 Project Sun Devil Fatal Flaw Analysis\Permits\AW_KK091101.doc
Page 1 of 1










[image: image1.wmf]_971789046.doc



