ETS Southeast Operations
UAF/Fuel Over (Under)-Retained Agenda

1/ 29/ 2002  (Tuesday) - 1:30 PM to 3:30 PM - Houston Time

(Houston RM EB 30C2, Orlando, Lafayette, Tallahassee)

Conference Bridge Phone Instructions
Dial: 

1-877-807-5706

Pass code: 
815661

The conference bridge number and pass code listed above has been reserved for all 2002 UAF meetings.

Problems? -  Call Velvet Sugarek    713-345-2988  

OPENING COMMENTS:  





Rick Craig










Kenneth Cessac

Southeast UAF meeting dates for 2002:

Time 1:30PM - 3:30PM

Houston Location: EB30C2

January

29th 

February 
26th 

March  

26th

April

30th 

May

28th

June

25th

July

30th

August

27th

September 
24th 

October

29th

November
26th

PHYSICAL ACTUALS -FGT:

FGT Physical MMBTU UAF  (Discuss the past  month results)

Peggy Sims
Physical 2001 YTD  

PPA’s over 25,000 MMBtu  (Past Quarter)

UAF Results - PRA Summer 2001 Period (April '01 - Sept '01)

UAF Results - Winter 2000 -2001 Period ( Oct '00 -Mar '01 )


FGT Financial Results Review





Porter/Lokey


UAF/FUEL Tracker Update  





· Acct. UAF to Phys UAF Reconciliation-Current Month

· FGT Over (Under)-Retained - Current Tracker

PHYSICAL ACTUALS - EOTT:

Review of Physical UAF results





Don Doerr

UPDATES - High Priority Division Level Items:


Region updates on last month’s efforts including meas. audits

Region MGR/Tech Spec.

· Leaking Valve Initiative





Michael Campo

· Low-End unmetered flow Initiative




Michael Campo
· Leaking Plate Initiative





Michael Campo
· Square Root Error Initiative




Michael Campo
· Unbilled Plant Pilot Gas Initiative




Michael Campo
Improvements in reporting of Unmetered Gas



Sims
Problem Tracking Software update





Ken Cessac

NOTES     1/03/02 Meeting
Attending: Tom Mertz, Steve Cherry, Mike Teal, Bobby Figueroa, Mike Campo, Eddie Tidwell, 

Charlie Thompson, Peggy Sims, Mike Wagoner, Dan Fancler, Theresa Porter, Dannis Bellard, Steven Hearn

1. GMS provided an update on the current UAF values for October and November.  Also report that four PPA’s had been done that was over 25,000 DTH.



November


Year to Date

MCF
-95,875

-0.20%

-130,439

-0.03%

DTH
-134,147
-0.28%

-603,280

-0.11%

Four PPA’s over 25,000 DTH for October’s business.

1.
Mid Louisiana Port Allen
39,890 DTH 
(Invalid gas sample)

2.
Sonat



27,770 DTH    
(Estimates replaced with actual)

3.
Transco St. Helena

105,778 DTH
(Estimates replaced with actual)

4.
Lang Winter Garden

80,976 DTH
(Customer provided incorrect volumes)

GMS was currently working on volume adjustments for stations that reference chromatograph streams 8037 and 8038. 

2. Once again Peggy Sims expressed her concerns on problems with gas quality.  Long delays in correcting problems with gas chromatographs and delays with Field reporting samples when a chromatograph is out-of-service.

3. Mike Wagoner provided an update on a report being developed by the Measurement Desk to monitor performance of field chromatographs.  This report should be ready within the first two months of 2002.

4. Dan Fancler requested that GMS begin including line pack and company use gas on the pipeline recap reports.  These items were dropped when GMS converted to the PGAS system.

5. Gas Control reported that a new section of pipe was added to the FGT system during December.  Steven Hearn will provide GMS with the pack volume for this new section so that line pack change for the month could be adjusted.

6. Theresa Porter reported that they are still having problems with PPA data loading into the TSS system; some PPA’s are being missed.

7. Discussed the problem with installation reports not being sent in for new installations.  Field is holding some reports waiting on GMS to assign meter numbers.  

· Field Teams should complete and send in installation reports for all new installations plus when software changes are made to a flow computer.

· Reports should be completed even if a meter number has not been assigned to the station.

· Mike Teal will begin sending the Field teams a copy of all paperwork received from Gas Logistics.

8. Once again we discussed auditing of OMV / customer chromatographs.  Listed below are the points identified as locations with chromatographs owned and operated by customers.  Need to setup annual audits of these chromatographs plus review the possibility of remote monitoring of problem locations.  Eddie Tidwell is currently working with Mid Louisiana to setup remote monitoring of their gas chromatograph.

	Texas Gas Eunice Receipt

	Texas Gas Eunice Delivery

	FGT Trunkline (LNG) Calcasieu

	Gulf States Orange County

	Sabine Kaplan Interconnect

	Napoleonville Storage- Receipt

	Columbia Gulf Lafayette

	LRC Cow Island

	Koch St.Landry

	NGPL Vermilion

	Texas Eastern St. Landry Receipt

	Texas Eastern St. Landry Delivery

	Napoleonville Storage-Delivery

	Mid Louisiana Port Allen


Field UAF Updates:

· Mike Campo – No UAF meeting during December. Has requested all Field Teams develop an action plan to improve UAF.   Installed gas flow conditioner at OUC Reliant station.

· Eddie Tidwell – Scheduled a local UAF meeting for January 28th.  Working with OMV customers to establish remote monitoring to their chromatographs.

· Mike Wagoner – Indicated that most of the measurement problems relate to four OMV stations.  Mike will document these issues and provide information to Charlie Thompson and gas Logistics.

TO DOs  
1. Steven Hearn will provide GMS with the pack volume for a new section of pipeline that was added during December to the FGT system.

2. GMS – Will add the line pack and company use volumes to the recap reports.

3. Field Specialist – Work with the Teams to assign a point person for each un-metered station number.

4. Theresa Porter – will request from property accounting a list of stations missing work order volumes.

5. Kenneth Cessac will work with GMS to develop a report to track un-metered gas reporting by Field teams.  This report will flag meters with missing volumes.

H:\UAF\UAF_SEopMtg\Agenda SE Ops UAF Meeting 01_29_02.doc         
Page 1 of 3        



