Allegheny Questions: Wheatland, Gleason and Lincoln (Third Batch)

October 25, 2000

1.  We noticed that Schedule 4.1(u) for each facility indicates that an

SPCC is needed but not currently in place.  What is stored that triggers

the SPCC requirement?  How long have these materials been stored at the

facilities?

Wheatland:
Gleason: We have a draft SPCC plan currently in place here. I believe the only material that is stored is the turbine lube oils and the transformer lube oil. All materials have been on-site since the construction period and delivery of the equipment.

Lincoln:

