Appendix 1

Equipment List *

The property to be transferred as part of this Purchase Agreement consists of two (2) complete ABB 11N gas turbines including all auxiliary equipment and interconnecting piping and cables associated with each single unit, consisting exclusively of the following individual items:

1. GAS TURBINE BLOW OFF SILENCER ADDER

2. GAS TURBINE AIR INTAKE MANIFOLD

3. GAS TURBINE PLATFORMS, LADDERS, ETC.

4. GAS TURBINE AIR INTAKE DUCT

5. INTAKE EXPANSION JOINT

6. GAS TURBINE AIR INTAKE FILTER INCLUDING ELECTRICAL/CONTROL PANEL, AIR INTAKE FILTER HOUSING AND FILTER ELEMENTS

7. GAS TURBINE EXHAUST GAS STACK INCLUDING ANCHOR BOLTS, INSULATION, SILENCERS, ETC.

8. CLOSED COOLING WATER EXPANSION VESSEL

9. GAS TURBINE CLOSED COOLING WATER PUMPS

10. GAS TURBINE LUBE-OIL SYSTEM & OIL/WATER COOLER

11. GAS TURBINE WATER/AIR-COOLERS AND ASSOCIATED EQUIPMENT (FANS, MOTORS, PUMPS, VALVES, JUNCTION BOXES, ETC.)

12. FIRE EXTINGUISHING GAS SYSTEM GAS TURBINE-OUTDOOR-ENCLOSURE

13. GAS TURBINE NOx INJECTION WATER FILTERING & PUMP INCLUDING ELECTRICAL MOTOR, ASSOCIATED PIPING AND INSTRUMENTATION WITH JUNCTION BOX, EXCLUDING THE MOTOR CONTROL CUBICLE

14. GAS TURBINE COOLING WATER & VARIOUS VALVES

15. HANGERS

16. GAS TURBINE GENERATOR BUS DUCT WITH ACCESSORIES BETWEEN GENERATOR AND GENERATOR CIRCUIT BREAKER

17. 230 KV STEP-UP TRANSFORMERS

18. GAS TURBINE-OUTDOOR ENCLOSURE INCLUDING LIGHTING & VENTILATION

19. GAS TURBINE THERMAL BLOCK

20. GAS TURBINE COMBUSTION CHAMBER AND BURNER INCLUDING INSULATION, CONTROL PARTS, ETC.

21. MISCELLANEOUS GAS TURBINE EQUIPMENT ASSOCIATED DIRECTLY TO THE UNIT

22. GAS TURBINE HYDRAULIC CONTROL & AUXILIARY BLOCK & CONTROL/COOLING-AIR COOLERS COMPLETE ASSEMBLED AND FOUNDATION ANCHORS. 

23. COMPRESSOR BLOW OFF SYSTEM & SILENCER

24. GAS TURBINE INTERMEDIATE BLOCK & SHAFT & VIBRATION

25. GAS TURBINE WATER INJECTION CONTROL BLOCK

26. GAS TURBINE OIL FUEL PUMP BLOCK

27. GAS TURBINE IGNITION BLOCK

28. GAS TURBINE EXHAUST GAS DIFFUSER INCLUDING INSULATION

29. GAS TURBINE GENERATOR, EXCITER, COOLERS

30. GAS TURBINE GENERATOR BREAKER

31. GAS TURBINE GENERATOR BREAKER MODULE DD

32. GAS TURBINE GENERATOR OUTPUT CUBICLE

33. EGATROL GAS TURBINE CONTROL SYSTEM

34. GAS TURBINE AVR CUBICLE UNITROL

35. GAS TURBINE GENERATOR PROTECTION CUBICLE GSX10

36. CONTROLS ENCLOSURE MODULE AA

37. BATTERIES

38. FUEL FORWARDING (BOOSTER) PUMP

39. HIGH VOLTAGE MOTORIZED DISCONNECT SWITCH – 240 KV

40. STACK (INCLUDING SILENCER)

41. OPERATIONS AND MAINTENANCE MANUALS (1 COPY)

42. DRAWINGS (1 SET)

43. GT STARTING DEVICE **

44. STATION TRANSFORMER (13.8KV TO 4.16KV)**

45. AVAILABLE TOOLS ASSOCIATED WITH MILLBANK UNITS 3&4, INCLUDING PORTABLE COMPUTER WITH ABB DIAGNOSTIC HARDWARE & SOFTWARE

End of Equipment list (45 items)

NOTE:
*The Property excludes all items not listed in this Appendix 1, including, specifically but without limitation, central control room, water treatment plant, fuel tanks and 240 kv transmission structures


**There is only one Starting Device and one Station Service Transformer to service the two combustion turbines.

APPENDIX 2

ASSIGNED CONTRACTS
1. Turbine Purchase Agreement dated October 22, 1999 between Enron Canada Corp. as Buyer and New Brunswick Power Corporation as Seller regarding the acquisition by Enron Canada Corp. of the NBP turbines and related equipment, as amended and assigned by Enron Canada Corp. to Westdeutsche Landesbank Girozentrale, New York Branch by letter agreement dated December 1, 1999 between Enron Canada Corp., New Brunswick Power Corporation and Westdeutsche Landesbank Girozentrale, New York Branch.
2. Conversion Agreement dated March 17, 2000 between Westdeutsche Landesbank Girozentrale, New York Branch, acting through its agent, Enron Canada Corp., and Power Systems Mfg., LLC regarding the purchase of Low Emission Combustor Systems for attachment to the NBP turbines (AGREEMENT NO. ECC-2-01).

3. Maintenance Agreement dated March 31, 2000 between Westdeutsche Landesbank Girozentrale, New York Branch, acting through its agent, Enron Canada Corp., and New Brunswick Power Corporation regarding the maintenance, securing and support of the NBP turbines.

\\ectcal\calgary\secure\Legal\FINANCE\Moore Power Plant\Disposition\Turbine Purch Agmt4.doc

