Appendix 3A1 – Tag Submission and Response Timetable


Appendix 3A1 –Tag Submission and Response Timetables

Version 3

[“E-Tag Reference Document”]

[“Transaction Tagging Process within ERCOT Reference Document”]

Appendix Subsections

A. Eastern Interconnection – New Transactions

B. Western Interconnection – New Transactions

C. Interchange Transaction Corrections

D. Interchange Transaction Modifications

A. Eastern Interconnection – New Transactions

The table below represents the recommended business practices for tag submission and assessment deadlines within the Eastern Interconnection. These are default requirements; some regulatory or provincially approved provider practices may have requirements that are more stringent.  Under these instances, the more restrictive criteria shall be adhered to. The table describes the various minimum submission and assessment timing requirements.

Table 1:  Eastern Interconnection – Timing Requirements

	Transaction Duration
	PSE Submit Deadline*
	Actual Tag Submission Time
	Provider Assessment Time
	Time to Start of Transaction

	Less than 24 Hours
	20 Minutes prior to start    
	<1 Hour prior to start
	( 10 Minutes from tag receipt
	( 10 Min

	
	
	>1 to <4 hours prior to start
	(20 Minutes from tag receipt
	( 40 Min

	
	
	( 4 Hours prior to start
	( 2 Hours from tag receipt
	( 2 Hours

	24 Hours or longer
	4 Hours prior to start 
	Any
	( 2 Hours from tag receipt
	( 2 Hours

	*  Start time references are for start of the transaction not the start of the ramp.


Tag Submission timing requirements are based on the duration of the transaction.  Tags representing transactions that run for less that one day (24 hours) must be submitted at least 20 minutes prior to the start of the transaction (excluding ramp time).  Tags representing transactions running for one day or more (24 hours or more) must be submitted at least four hours prior to the start.  Tags submitted that meet these requirements shall be considered “on-time” by the E-Tag system and may be granted conditional approval.  Tags submitted that do not meet these requirements shall be considered “late” by the E-Tag system, and consequently will be denied if not explicitly approved by all parties.

The E-Tag system accepts tags with a start time up to one hour prior to the current time.  Tags with a start time older than one hour will be rejected as invalid.  This one-hour window shall be used to submit tags to document emergency actions taken to mitigate an Operating Security Limit violation (Policy 3, Section A 2.4.1).  This provision shall not be used to schedule transactions without the proper tag (Policy 3, Section A 6.1).

Tag Assessment timing requirements are based on the submission time of the tag, as well as the duration. Hourly tags submitted one hour or less prior to start must be evaluated in ten minutes.  Hourly tags submitted more than one hour but less than four hours prior to start must be evaluated in twenty minutes. Tags with a duration of less than 24 hours that are submitted four hours or more prior to start must be evaluated in two hours. Tags with a duration of 24 hours or more must be evaluated in two hours.

Timing Requirements for Reallocation when in a TLR Event

During a NERC TLR event, transactions may be submitted to replace existing transactions with a lower transmission priority. The new transaction tag must be received by the Interchange Distribution Calculator no later than 35 minutes prior to the top of the hour to allow time for Security Coordinators to assess the impact of reallocation.

B.
Western Interconnection – New Transactions

The tables below represent the recommended business practices for tag submission and assessment deadlines within the Western Interconnection. These are default requirements. The tables describe the various minimum submission and assessment timing requirements.

Table 2:  Western Interconnection – Timing Requirements

	Transaction Start/Submittal time
	Late Status Deadline
	Actual Tag Submission Time*
	Provider Assessment Time
	Approval/Denial Notes
	Time to Start of Transaction*

	Start 00:00 next day or beyond when submitted prior to 18:00 of the current day
	15:00 day prior to start
	Any
	3 hours
	Passive Approval if submitted before deadline, else Passive Denial. Deferred denial
	( 6 Hours

	Start 00:00 next day and submitted between 18:00 and 23:59:59 on day prior to start-- OR -- start within current day
	
	( 4 Hours prior to start
	2 Hours from tag receipt
	Passive Approval Deferred denial
	( 2 Hours

	
	
	(4 Hours to (1 Hour prior to start
	20 minutes from tag receipt
	Passive Approval Deferred denial
	( 40 Min

	
	
	(1 hour to (30 minutes prior to start
	10 minutes from tag receipt
	Passive Approval Deferred denial
	( 20 Min

	
	
	(30 minutes to (20 minutes prior to start
	10 minutes from tag receipt
	Passive Approval Deferred denial
	( 10 Min

	
	20 minutes prior to start
	 (20 minutes prior to start
	5 minutes from tag receipt
	Passive Denial.  Deferred denial
	Submission time minus maximum time of 5 minutes

	Notes/Clarification:

1. All clock times are in PPT.

2. Tags falling under the criteria in yellow are deemed pre-schedule tags.

3. Tags falling under the criteria in green are deemed real-time tags.

4. Pre-schedule tags submitted between 15:00 and 18:00 will be assigned LATE composite status.

5. Real-time tags submitted after 20 minutes prior to the start of the transaction will be assigned LATE composite status.

*
Start-time references are for start of the transaction, not the start of the ramp.


Tag Submission timing requirements are based on the type and duration of the Transaction.  Tags representing Transactions that run for less that one day (24 hours) within the current day must be submitted at least 20 minutes prior to the start of the Transaction (excluding ramp time).  Tags representing transactions that are Pre-Scheduled to start the next day must be submitted by 1500 PST the day prior to the day the transaction is to start.  Tags submitted that meet these requirements shall be considered “on-time” by the E-Tag system and may be granted conditional approval.  Tags submitted that do not meet these requirements shall be considered “late” by the E-Tag system, and consequently will be denied if not explicitly approved by all parties.

The E-Tag system accepts tags with a start time up to one hour prior to the current time.  Tags with a start time older than one hour will be rejected as invalid.  This one-hour window shall be used to submit tags to document emergency actions taken to mitigate an Operating Security Limit violation (Policy 3, Section A 2.4.1).  This provision shall not be used to schedule transactions without the proper tag (Policy 3, Section A 6.1).

Tag Assessment timing requirements are based on the submission time of the tag, as well as the duration. Hourly tags submitted one hour or less prior to start must be evaluated in ten minutes.  Hourly tags submitted more than one hour but less than four hours prior to start must be evaluated in twenty minutes. Tags with a duration of less than 24 hours that are submitted four hours or more prior to start must be evaluated in two hours. Tags submitted for Pre-Scheduled service starting the next day or a future day must be evaluated in three hours.

C.
Interchange Transaction Corrections

Transaction Corrections (as described in Appendix 3A4) may be provided by Tag Authors to replace non-reliability data listed in a tag.  As each correction is received, the Evaluation Time of the transaction will extend, based on the following rules:

· Each correction shall extend the Evaluation Time by 10 minutes

· At no time can the Evaluation Time be extended past the Start Time of the transaction.

· Each correction shall reset the approval status of those entities affected by the correction

· The segment or segments corrected will be eligible for passive approval if the correction is received within the timelines specified below, except in the case where the transaction has already been set for passive denial.   The segment or segments corrected will be subject to passive denial if the correction is not received within the timelines specified below.  At no point may a transaction segment already under passive denial constraints be returned to passive approval eligibility.

Table 3:  Correction Submission Requirements*

	Eastern Interconnection
	Western Interconnection

	20 minutes prior to start
	20 minutes prior to start

	*  Start time references are for start of the transaction not the start of the ramp.


D.
Interchange Transaction Modifications

Curtailments, Reloads, Market-Initiated modifications, and other transaction modifications that affect energy profiles must be received by and evaluated within certain times.  The following tables describe the submission and evaluation requirements for such changes.

Modification requests received by the deadlines specified below shall be considered “on time,” and are eligible for passive approval.  Modification requests received past the deadlines shall be considered “late,” and are considered denied unless explicitly approved by all parties.  

Table 4:  Eastern Interconnection ( Modifications

	Modification Type
	Requestor Submission Deadline***
	Actual Submission Time***
	Evaluation Time

	Reliability (Curtailments or Reloads)
	20 minutes prior to modification start**
	Less than 30 minutes to start
	10 minutes

	
	
	30 minutes or more prior to start
	15 minutes

	Market – Committed Transmission Reservation(s) Reductions
	N/A
	N/A
	N/A

	Market – Committed Transmission Reservation(s) Increases, Energy Reductions, Energy Increases*
	20 minutes prior to modification start**
	Less than 30 minutes to start
	10 minutes

	
	
	30 minutes or more prior to start
	15 minutes

	***  Start time references are for start of the transaction not the start of the ramp.


Table 5:  Western Interconnection ( Modifications

	Modification Type
	Requestor Submission Deadline***
	Actual Submission Time***
	Evaluation Time

	Reliability (Curtailments or Reloads)
	25 minutes prior to modification start**
	Less than 30 minutes to start
	10 minutes

	
	
	30 minutes or more prior to start
	10 minutes

	Market – Committed Transmission Reservation(s) Reductions
	N/A
	N/A
	N/A

	Market – Committed Transmission Reservation(s) Increases, Energy Reductions, Energy Increases*
	20 minutes prior to modification start**
	Less than 30 minutes to start
	10 minutes

	
	
	30 minutes or more prior to start
	10 minutes

	***  Start time references are for start of the transaction not the start of the ramp.


* See Special Exception for Cancellations below

** If received after deadline, requires active approval or will be passively denied

Special Exception for Cancellations

A Cancellation is defined as setting both Committed Transmission Reservation(s) and energy flow to zero for the duration of the transaction prior to the start of a transaction but following that transactions approval. In the event that a Tag Author elects to Cancel a transaction, the following timelines should be utilized:

Table 6:  Special Exception for Cancellations Submission and Evaluation Timing

	Region
	Submission Deadline*
	Evaluation Time

	Eastern Interconnection 
	15 minutes prior to transaction start
	If received by deadline, no evaluation required.  Request is automatically approved.

	
	
	If not received by deadline, request is not eligible for Special Exception for Cancellations, and must be processed normally.

	Western Interconnection
	20 minutes prior to transaction start
	If received by deadline, no evaluation required.  Request is automatically approved.

	
	
	If not by deadline, request is not eligible for Special Exception for Cancellations, and must be processed normally.

	*  Start time references are for start of the transaction not the start of the ramp.


For Operating Committee Ballot


November 15(16, 2001


For concurrent implementation with E-Tag Version 1.7.





---  Proposed WSCC Corrections  ---




















New timing tables for WSCC with explanations.


Reflects WSCC two-stage adoption of E�tag system.








Version 3
A3A1-6
October 17, 2001
Version 3
A3A1-7
October 17, 2001

