Aquila Questions & Answers: Gleason & Wheatland Plants

October 20, 2000

1) Are the units started in parallel or sequence? (Could you please provide a diagram of the ramp-up sequence to include timing).

These units can be started either in parallel or in sequence.  Additional information will follow.

2) How much start up power is required?

To be provided on Monday.

3) Is start up power purchased from Cinergy &/or IPL?  At what tariff rate?

See 01.02.27 A and 01.02.27 B in DealBench
4) How many Mwh are produced during start up? (May include as part of #1)

To be provided on Monday.
5) How much fuel is burned (MMBTU's) during start up? (May include as part of

#1)

Approximately 100 MMBtu/turbine is burned per start up.

