Aquila Questions and Answers: Wheatland

October 26, 2000

1.  Could you please provide a complete asset listing that will be conveyed to

the new owner (including spare parts).

Please see the Wheatland Purchase and Sale Schedule 4.1 (r) and (s) in DealBench.

2.  There are currently 12 permanent staff assigned to Wheatland. Is

this a requirement due to switchyard interconnects or any other contractual

requirements?

We committed to man the switchyard 24/7/365.  Initially the operations were expected to be more “intensive” than they turned out to be.  Four extra employees were hired to assist with the switchyard operations, however they can be and are used for other purposes. 

3.  Do we understand that you are entering into a switchyard maintenance

contract for five years? Yes If so, may we have a copy and what is the annual

cost? We are unable to release because of confidentiality issues with Cinergy. The costs is approximately $48,000 per year.

4.  Are you willing to enter into an agreement to provide turbine

maintenance after the warranty?

Yes.  Separate discussions would be required with OEC.

5.  Are the warranties assignable? Any "change of control" issues?

6.  Can I get a copy of the completed real estate purchase contracts and

details on pending real estate deals?

7.  Does the warranty cover the DCS System?

