September 12, 2001

Generator Interconnection Procedures

Page 23


September 12, 2001
ATTACHMENT __

Generator Interconnection Procedures
1.
Definitions.  

When used in these Generator Interconnection Procedures (“Procedures”) with initial capitalization, the terms specified below shall have the meanings indicated.   Terms used in these Procedures with initial capitalization but not defined in this Section 1 shall have the meanings specified in the RTO OATT.

1.1
Adjacent System.  A regional transmission organization or a transmission owner that is not a part of a regional transmission organization that is electrically connected to the RTO.

1.2
Affected Transmission Owner.  A Transmission Owner whose facilities are affected by the Interconnection Request.

1.3
Generator.  A person proposing to interconnect a new generator or to increase the capacity of an existing generator that is connected directly to the Transmission System.

1.4
Interconnection Impact Study.  A study of the impact of the interconnection of a proposed new generator or an increase in the capacity of an existing generator on the reliability of the Transmission System.

1.5
Interconnection Facilities Study.  A study of the facilities necessary to accommodate the interconnection of a new generator or an increase in the capacity of an existing generator, including a study of the cost of the facilities, the allocation of facilities costs and the estimated schedule for the construction of the facilities.

1.6
Interconnection and Operating Agreement.  An agreement in the form of the Interconnection and Operating Agreement included in Appendix 5.

1.7
Interconnection Request.  A request to interconnect a new generator or to increase the capacity of an existing generator that meets the requirements of Section 3.2.

1.8
Interconnection System Upgrades.  The minimum upgrades to the Transmission System that would not have been required but for an Interconnection Request, including upgrades necessary to remove overloads and voltage criteria violations and upgrades necessary to remedy short‑circuit and/or stability problems resulting from the connection of the generator to the Transmission System.  Interconnection System Upgrades shall not include upgrades to the Transmission System that are required solely to provide transmission service from the Point of Interconnection to load and shall not include RTO Interconnection Facilities.  
1.9
Optional Study.  A study of the availability of transmission service from the generator; or a study of the impact of alternative proposed generator interconnections on the Interconnection Request or on the availability of transmission service as provided for in Section 9.1.

1.10
Point of Interconnection.  The point at which the Generator’s facilities interconnect with the Transmission System.

1.11
RTO Interconnection Facilities:  All facilities and equipment owned and/or controlled, operated or maintained by the RTO on RTO’s side of the Point of Interconnection that are necessary to physically and electrically interconnect the generator to the Transmission System.  RTO Interconnection Facilities shall not include Interconnection System Upgrades.

1.12
RTO OATT.  The open access transmission tariff of the Regional Transmission Organization, as amended from time to time.

2.
Scope and Application. 

2.1
Application of Procedures.  Sections 2 through 12 apply to any request to interconnect a new generator or to increase the capacity of an existing generator, where the generator is or will be connected directly to the Transmission System.  Section 13 establishes the modified procedures for generating capacity additions of less than 20 MW. 

2.2
Role of the RTO.  The RTO shall receive, process and analyze all Interconnection Requests in a timely manner as set forth in these Procedures.  The RTO will use the same due diligence in processing and analyzing Interconnection Requests from all Generators, whether the generating facilities are owned by the Transmission Owners who are participants in the RTO, their subsidiaries or affiliates or others.  

2.3
No Applicability to Transmission Service.  These Procedures provide only for the interconnection of a generating facility to the Transmission System and do not provide for the delivery portion of transmission service.   A Generator may make a separate request for the delivery portion of transmission service from a generating facility pursuant to the RTO OATT at the time it submits an Interconnection Request or thereafter.  

3.
Interconnection Requests

3.1
General.  A Generator shall submit to the RTO an Interconnection Request in the form of Appendix 1 to these Procedures and a refundable deposit of $10,000.  The RTO shall apply the deposit toward the cost of an Interconnection Impact Study.  The Generator shall submit a separate Interconnection Request for each site, but may submit a single Interconnection Request for multiple generators located at the same site.  

3.2
Valid Interconnection Request.  A request to interconnect a new generator or to increase the capacity of an existing generator shall not be considered to be a valid Interconnection Request until the RTO receives the completed request for interconnection and the deposit.  If a request for interconnection does not include such items, the RTO shall notify the Generator within seven days of the receipt of the request that the request is not valid and the reasons for such invalidity.  The Generator shall provide the RTO the additional information needed to constitute a valid Interconnection Request within fifteen days after receipt of such notice.  If the Generator fails to provide the information within such fifteen-day period, the RTO shall deem the Interconnection Request to be withdrawn. 

3.3
OASIS Posting.  The RTO will maintain on its OASIS a list of all Interconnection Requests.  The list will identify, for each Interconnection Request, the maximum megawatt electrical output, the location by county and state, the station or transmission line or lines where the interconnection will be made, the projected in-service date, the status of the Interconnection Request and the availability of any studies related to the Interconnection Request.  The list will not disclose the identity of the Generator until the Generator executes an Interconnection and Operating Agreement or requests that the RTO file an unexecuted Interconnection and Operating Agreement with the FERC.

3.4
Coordination with Affected Adjacent Systems.  The RTO shall provide notice of an Interconnection Request to any Adjacent System that is affected by such request.  The RTO shall make reasonable efforts to coordinate with such Adjacent Systems any studies that evaluate the impact of the Interconnection Request on such Adjacent Systems.  

3.5
Withdrawal.  The Generator may withdraw its Interconnection Request at any time by written notice of withdrawal to the RTO.  In addition, if the Generator fails to adhere to all requirements of these Procedures except as provided in Section 5.5, the RTO shall deem the Interconnection Request to be withdrawn and shall provide written notice to the Generator of the withdrawal and an explanation of the reasons for such withdrawal.  Withdrawal shall result in the loss of the Generator’s queue position.  A Generator that withdraws its Interconnection Request shall pay to the RTO all costs that the RTO prudently incurs prior to the RTO’s receipt of notice of such withdrawal.  The RTO shall refund to the Generator any portion of the Generator’s deposit or study payments that exceeds the costs that the RTO has incurred.  In the event of such withdrawal, the RTO, subject to the confidentiality provisions of Section 12.1, shall provide the Generator all information that the RTO developed for the purpose of completing any study required with regard to the Interconnection Request if the RTO has not delivered the final study report to the Generator.

4.
Queue Position.

4.1
General.  The queue position of each Interconnection Request, for the purpose of establishing the Generator’s right to the capacity of the Transmission System at the Point of Interconnection, the RTO’s performance of Interconnection Evaluation Studies and Interconnection Facilities Studies and the RTO’s determination of cost responsibility for the facilities necessary to accommodate the interconnection, shall be based upon the date on which the RTO receives a valid Interconnection Request.  
4.2
Transferability of Queue Position.  A Generator may transfer its queue position to another entity only if such entity acquires the specific project identified in the Interconnection Request and the Point of Interconnection does not change. 

4.3
Modifications.  The Generator may submit to the RTO modifications to any information provided in the Interconnection Request.  In such event the Generator shall retain its queue position only if the modifications, in the judgment of the RTO after consultation with the Generator, do not materially affect the Generator’s Interconnection Request, the results of its Interconnection Impact Study or its Interconnection Facilities Study, or the results of any other Interconnection Impact Study or Interconnection Facilities Study.  At the request of the Generator, the RTO shall evaluate the proposed modifications prior to making them and inform the Generator in writing of whether the modifications would have any such material effect.

4.4
Disputes.  The dispute resolution procedures of the Tariff apply to any disagreement between the Generator and the Transmission Provider as to the applicability or interpretation of these Procedures.  The Generator shall retain its queue priority if it complies with the disputed provision of the Procedures promptly after the conclusion of the dispute resolution process.
5.
Procedures for Interconnection Requests Submitted Prior to Effective Date of Interconnection Procedures.  

5.1
Queue Position for Pending Requests.  Each request to a Transmission Owner or the RTO for the interconnection of a generator that was submitted before the effective date of these Procedures shall be assigned a queue position based on the date upon which the Transmission Owner or the RTO received the Interconnection Request.  Except as provided in Section 5.5, the Generator shall comply with all provisions of these Procedures that are applicable after such date.  A Generator that modifies an Interconnection Request that was pending on the effective date of these Procedures in order to comply with these Procedures shall not thereby lose its queue position pursuant to Section 4.3.

5.2
Transfer of Payments.  If the Generator has submitted a deposit or payment to the Transmission Owner, the Transmission Owner shall transfer to the RTO any amount of the deposit or payment that exceeds the cost that it incurred to evaluate the request for interconnection.  Any difference between such net amount and the deposit or payment required by these Procedures shall be paid by or refunded to the Generator, as appropriate.

5.3
Studies.  The RTO shall coordinate with the Transmission Owner to complete any Interconnection Impact Study or Interconnection Facilities Study that the Transmission Owner has begun but has not completed.

5.4
Interconnection and Operating Agreement.  If the Transmission Owner has tendered a draft Interconnection and Operating Agreement to the Generator but the Generator has not either executed the agreement or requested the filing of an unexecuted agreement with the FERC, the RTO shall tender to the Generator an Interconnection and Operating Agreement in the form of the agreement that is included in Appendix 5.  These Procedures shall apply to the negotiation, execution and filing of such Agreement.  
5.5
Request for Reasonable Extension.  The RTO shall provide to a person that has submitted a request for interconnection to a Transmission Owner or the RTO prior to the effective date of these Procedures a reasonable extension of any deadline established by these Procedures if necessary to avoid undue hardship or prejudice to the person making the interconnection request that results from the applicability of these Procedures instead of previously-effective procedures.  

6.
Interconnection Impact Study



6.1
Interconnection Impact Study Agreement.  Within fifteen days of its receipt of an Interconnection Request, the RTO shall provide to the Generator an Interconnection Impact Study Agreement in the form of Appendix 2 to these Procedures.  The Interconnection Impact Study Agreement shall provide that the Generator shall compensate the RTO for the portion of the cost of the Interconnection Impact Study that exceeds the Generator’s $10,000 deposit, and shall specify the RTO’s estimate of the cost of each phase of the study and the technical data that the Generator must provide for the performance of the study.  

6.2
Execution of Interconnection Impact Study Agreement.  The Generator shall execute the Interconnection Impact Study Agreement and deliver the executed Agreement to the RTO within fifteen days of its receipt, together with the required technical data and the payment specified in the Interconnection Impact Study Agreement.  If the Generator does not provide the study payment and required technical data when it delivers the Agreement, the RTO shall notify the Generator of the deficiency within seven days of the receipt of the executed Interconnection Impact Study Agreement and the Generator shall cure the deficiency within fifteen days of receipt of the notice.

6.3
Scope of Interconnection Impact Study.  The Interconnection Impact Study shall evaluate the impact of the proposed generation capacity addition on the reliability of the Transmission System.  The Interconnection Impact Study will consider all generating facilities that, on the date the Interconnection Impact Study is commenced: (i) are directly interconnected to the Transmission System; (ii) are interconnected to Adjacent Systems that may have an impact on the Interconnection Request; and (iii) are not directly interconnected to the Transmission System or to an Adjacent System but as to which a Generator has either executed an Interconnection and Operating Agreement or requested the RTO to file an unexecuted Interconnection and Operating Agreement with the FERC.  The Interconnection Impact Study will be conducted in two phases.  Phase 1 will consist of a power flow analysis.  Phase 2 will consist of a short circuit analysis and a transient stability analysis.  The Interconnection Impact Study will state the assumptions upon which it is based, state the results of the power flow, short circuit and transient stability analyses, and provide a preliminary indication of the cost and length of time that would be necessary to correct any problems identified in those analyses and implement the interconnection.

6.4
Interconnection Impact Study Procedures.  The RTO shall make reasonable efforts to coordinate the Interconnection Impact Study with any Adjacent System that is affected by the Interconnection Request.  The RTO shall utilize existing studies to the extent practicable when it performs the study.  The Generator may request the RTO to perform Phase 1 and Phase 2 concurrently and receive one Interconnection Impact Study report upon the completion of both phases; or may request the RTO to perform Phase 1 and Phase 2 sequentially and issue a preliminary report after the completion of Phase 1 and a final report after the completion of Phase 2.  If the Generator elects to have the RTO perform Phase 1 and Phase 2 concurrently, the RTO shall use due diligence to complete the Interconnection Impact Study within sixty days after receipt of the executed Interconnection Impact Study Agreement, the study payment and technical data.  If the Generator elects to have the RTO perform Phase 1 and Phase 2 of the Interconnection Impact Study sequentially, the RTO shall use due diligence to complete the Phase 1 study within sixty days after receipt of the Interconnection Impact Study Agreement and the Phase 1 study payment and technical data.  The Generator shall notify the RTO in writing of its election to proceed with Phase 2 and to provide the Phase 2 study payment and technical data within fifteen days after the receipt of the Phase 1 report.  The RTO shall use due diligence to complete the Phase 2 study within sixty days after the receipt of such notification, study payment and technical data.  If the RTO is unable to complete the Interconnection Impact Study within the time periods set out above, it shall notify the Generator and provide an estimated completion date with an explanation of the reasons why additional time is required.  Upon request, the RTO shall provide the Generator supporting documentation and workpapers for the Interconnection Impact Study, subject to confidentiality arrangements consistent with Section 12.1.  Any difference between the study payment and the documented cost of the study shall be paid to the RTO or refunded to the Generator, as appropriate.

6.6
Posting on OASIS.  The RTO shall post the availability of the Interconnection Impact Study report on its OASIS.  The name of the Generator shall be redacted from the report.

7.
Interconnection Facilities Study

7.1
Interconnection Facilities Study Agreement.  The Generator shall request an Interconnection Facilities Study within fifteen days after the receipt of the Interconnection Impact Study.  When the RTO provides the Interconnection Impact Study to the Generator, it shall also provide to the Generator an Interconnection Facilities Study Agreement in the form of Appendix 3.  The Interconnection Facilities Study Agreement shall provide that the Generator shall compensate the RTO for the documented cost of the Interconnection Facilities Study and specify the RTO’s estimate of the cost of the study and the technical data that the Generator must provide for the study.  The Generator shall execute the Interconnection Facilities Study Agreement and deliver the executed agreement to the RTO within fifteen days after its receipt, together with the required technical data and the payment specified in the Study Agreement.  

7.2
Scope of Interconnection Facilities Study.  The Interconnection Facilities Study Agreement shall determine the work required in accordance with Good Utility Practice to physically and electrically connect the proposed generating facility or additional capacity to the Transmission System at the Point of Interconnection and to address any problems identified in the Interconnection Impact Study.  The Study shall also identify the electrical switching configuration of the connection equipment, including without limitation transformer, switchgear, meters and other station equipment; the nature and cost of any RTO Interconnection Facilities and Interconnection System Upgrades necessary to accomplish the interconnection; and an estimate of the time required to complete the construction and installation of the facilities.  

7.3
Interconnection Facilities Study Procedures.  The RTO shall make reasonable efforts to coordinate the Interconnection Facilities Study with any Adjacent System that is affected by the Interconnection Request.  The RTO shall utilize existing studies to the extent practicable in performing the study.  The RTO shall use due diligence to complete the study and issue a preliminary Interconnection Facilities Study report to the Generator within sixty days of receipt of an executed Interconnection Facilities Study Agreement, technical data and study payment.  If the RTO is unable to complete the Interconnection Facilities Study and issue a preliminary Interconnection Facilities Study report within sixty days, it shall notify the Generator and provide an estimated completion date and an explanation of the reasons why additional time is required.  The Generator may within thirty days after receipt of the preliminary report provide written comments to the RTO, which the RTO shall consider in preparing the final report.  The RTO shall issue the final Interconnection Facilities Study report within fifteen days of receiving the Generator’s comments or the Generator’s statement that it will not provide comments.  The RTO may reasonably extend such fifteen-day period upon notice to the Generator if the Generator’s comments require the RTO to perform additional analyses or make other significant modifications prior to the issuance of the final Interconnection Facilities Report.  Upon request, the RTO shall provide the Generator supporting documentation and workpapers for the Interconnection Facilities Study, subject to confidentiality arrangements consistent with Section 12.1.  Any difference between the study payment and the actual cost of the study shall be paid to the RTO or refunded to the Generator, as appropriate.

7.5
Posting on OASIS.  The RTO shall post the availability of the Interconnection Facilities Study report on its OASIS.  The name of the Generator shall be redacted from the report.

8.
Preliminary Engineering, Design and Procurement Activities.

8.1
Letter Agreement.  At the request of the Generator after the Generator executes an Interconnection Facilities Study Agreement, the RTO shall provide to the Generator an agreement that authorizes the RTO to begin engineering, design and siting activities and procurement of long lead-time items necessary for the establishment of the interconnection.  The agreement is an optional procedure that the Generator may elect if it desires to accelerate the interconnection process.  It will not alter the Generator’s queue position.  The agreement shall provide for the Generator to pay the cost of all activities authorized by the Generator and to make advance payments or provide other satisfactory security for such costs.  The Generator shall pay the cost of such authorized activities and any cancellation costs for equipment that is already ordered for the project whether or not such items or equipment later become unnecessary.  The RTO is not required to begin any construction activities until after the Generator executes and delivers the Interconnection and Operating Agreement to the RTO or requests that an unexecuted Interconnection and Operating Agreement be filed with the FERC and executes the agreement provided for in Section 10.4.  

9.
Optional Study


9.1
Optional Study Agreement.  On or after the date when the Generator submits an Interconnection Request, the Generator may submit to the RTO a reasonable number of written requests to perform Optional Studies.  Each such request shall describe the assumptions that the Generator wishes the RTO to study within the scope described in Section 9.2.  Within fifteen days after receipt of a request for an Optional Study, the RTO shall provide to the Generator an Optional Study Agreement in the form of Appendix 4.  The Optional Study Agreement shall specify the technical data that the Generator must provide for each phase of the Optional Study and the RTO’s estimate of the cost of each phase of the Optional Study.  To the extent known by the RTO, such estimate shall include any costs expected to be incurred by any Affected Transmission Owner or Adjacent System whose participation is necessary to complete the Optional Study.  The Generator shall execute the Optional Study Agreement and deliver the Agreement, the technical data and the study payment to the RTO.

9.2
Scope of Optional Study.  Phase 1 of the Optional Study will consist of a sensitivity analysis that incorporates: (i) a reasonable number of transmission paths selected by the Generator; (ii) the existence of proposed generator interconnections in the queue, as selected by the Generator, in addition to those interconnections studied as a part of the Interconnection Impact Study; and/or (iii) an evaluation of the Generator’s receipt of electric energy for start-up and station auxiliary service.  Phase 2 of the Optional Study will identify the RTO Interconnection Facilities and the Interconnection System Upgrades, and the estimated cost thereof, that may be required to provide transmission service or interconnection service transmission based upon the results of Phase 1 of the Optional Study.  The Optional Study shall be performed solely for informational purposes.  The RTO shall make reasonable efforts to coordinate the study with any Adjacent Systems that may be affected by the Interconnection Request or request for transmission service.  The RTO shall utilize existing studies to the extent practicable in conducting the Optional Study.

9.3
Optional Study Procedures.  The Generator may request the RTO to perform the entire Optional Study; or may request the RTO to initially perform Phase 1 of the study and perform Phase 2 of the study only after the Generator provides to the RTO a notification to proceed, the Phase 2 technical data and the Phase 2 study payment.  The RTO shall use due diligence to complete Phase 1 of the Optional Study and provide the Generator a Phase 1 report within sixty days after receipt of the Optional Study Agreement or notification, study payment and technical data and to complete Phase 2 of the Optional Study within sixty days after the later of the completion of the Phase 1 study or the receipt of the Phase 2 notification, study payment and technical data.  If the RTO is unable to complete either phase of the Optional Study within sixty days, it shall notify the Generator and provide an estimated completion date and an explanation of the reasons why additional time is required.  Any difference between the study payment and the actual cost of the study shall be paid to the RTO or refunded to the Generator, as appropriate.  Upon request, the RTO shall provide to the Generator supporting documentation and workpapers for the Optional Study, subject to confidentiality arrangements consistent with Section 12.1. 

9.4
Posting on OASIS.  The RTO shall post the availability of each phase of the Optional Study report on its OASIS.  The name of the Generator shall be redacted from the report.

10.
Interconnection and Operating Agreement.

10.1
Tender.  Within twenty days after issuance of the final Interconnection Facilities Study Report to the Generator, the RTO shall tender to the Generator a draft Interconnection and Operating Agreement.  The draft Interconnection and Operating Agreement shall be in the form of the pro forma Interconnection and Operating Agreement included in Appendix 5 to these Procedures with blanks and appendices completed with information available to the RTO.  
10.2
Negotiation.  Notwithstanding Section 10.1, at the request of the Generator the RTO shall begin negotiations with the Generator concerning the terms of the Interconnection and Operating Agreement at any time after the Generator submits an Interconnection Request.  The RTO and the Generator shall negotiate concerning any disputed provisions of the draft Interconnection and Operating Agreement for not more than sixty days after tender of the draft Interconnection and Operating Agreement pursuant to Section 10.1.  If the Generator determines that negotiations are at an impasse, it may request termination of the negotiations at any time after tender of the Agreement pursuant to Section 10.1.  The Generator also may at its discretion extend the negotiation period for an additional thirty days if the RTO has not completed the Optional Study specified in Section 9.1 when the negotiation period begins.  The RTO shall provide to the Generator a final draft of the Interconnection and Operating Agreement within fifteen days after the completion of the negotiation process.
10.3
Execution and Filing.  Within seven days after the Generator receives the final draft of the Interconnection and Operating Agreement, the Generator shall either (i) execute two originals of the tendered Interconnection and Operating Agreement and return them to the RTO; or (ii) request in writing that the RTO file with the FERC the final draft Interconnection and Operating Agreement in unexecuted form.  As soon as practicable, but not later than thirty days after receiving either the two executed originals of the tendered Interconnection and Operating Agreement or the request to file an unexecuted Interconnection and Operating Agreement, the RTO shall file the Interconnection and Operating Agreement with FERC, together with its explanation of any matters as to which the Generator and the RTO disagree and support for the costs that the RTO proposes to charge to the Generator under the agreement.

10.4
Commencement of Interconnection Activities.  If the Generator executes the final draft Interconnection and Operating Agreement, the RTO and the Generator shall perform in accordance with the terms of the Interconnection and Operating Agreement.  If the Generator requests the RTO to file an unexecuted Interconnection and Operating Agreement, it may also execute an agreement in the form set out in Appendix 6 that commits the parties to comply with the unexecuted Interconnection and Operating Agreement, as modified by the FERC.  The RTO shall execute the letter agreement promptly upon receiving it, and both parties shall perform under the Interconnection and Operating Agreement as filed, subject to its modification by the FERC.  If the Generator does not execute an Interconnection and Operating Agreement or an agreement in the form of Appendix 6, the RTO shall not commence interconnection activities until it resolves all disputed issues with the Generator.  In such event, the schedules and costs set out in the unexecuted Interconnection and Operating Agreement shall be modified to reflect the deferred commencement of interconnection activities.

11.
Construction of RTO Interconnection Facilities and Interconnection System Upgrades.

11.1
Schedule.  The RTO, the Affected Transmission Owner and the Generator shall negotiate in good faith concerning a schedule for the construction of the RTO Interconnection Facilities and the Interconnection System Upgrades.

11.2
Permits.  The Interconnection and Operating Agreement shall specify the allocation of the responsibilities of the RTO, the Affected Transmission Owner and the Generator to obtain all permits, licenses and authorizations that are necessary to accomplish the interconnection in compliance with applicable laws and regulations.  The RTO, the Affected Transmission Owner and the Generator shall cooperate with each other in good faith in obtaining any such permits, licenses and authorizations.

12.
Miscellaneous

12.1
Confidentiality.  The RTO and any Affected Transmission Owner shall keep confidential all information that the Generator provides for each study performed pursuant to these Procedures, except to the extent such information is made public in the study report or such disclosure is required by law.  The RTO shall provide the workpapers that support a study to any person who enters into a confidentiality agreement consistent with this section.

12.2
Delegation of Responsibility.  The RTO may use the services of Transmission Owners or subcontractors to perform its obligations under these Procedures.  The RTO shall require such Transmission Owners or subcontractors to comply with these Procedures in providing such services.

13.
Procedures to Connect Generation Under 20 MW

13.1
Applicability.  This Section establishes the modified Procedures that apply to the interconnection of generating capacity additions of less than 20 MW, including the aggregate of distributed generation units or energy collection systems, to the Transmission System or to a distribution system that is connected to the Transmission System.  
13.2
Deposit.  The Generator shall submit a $2,000 deposit with its Interconnection Request instead of a $10,000 deposit.  Despite the reduction of the deposit requirement, the Generator shall be responsible for all documented costs associated with the processing of the Interconnection Request and the performance of the Interconnection Impact Study and the Interconnection Facilities Study related to the Interconnection Request and the RTO shall bill the Generator for the portion of such costs that exceeds the deposit following the completion of such studies.   

13.3
Interconnection Impact Study.  The Interconnection Impact Study will examine a limited contingency set that focuses on the impact of the generating capacity addition on contingency limits in the immediate vicinity of the Point of Interconnection.  If local area performances are known to be limited and marginal, the RTO shall evaluate the generating capacity addition based on its positive or negative impact on the contingencies limiting such local area performance.  The Interconnection Impact Study generally will be completed in less than sixty days.

13.4
Interconnection Facilities Study.  The Interconnection Facilities Study generally will be completed in less than sixty days because of the reduced likelihood that RTO Interconnection Facilities or Interconnection System Upgrades will be required to accommodate the interconnection.  

APPENDIX 1
INTERCONNECTION REQUEST

1.
The undersigned Generator submits this request to interconnect generation with the RTO Transmission System pursuant to the RTO Open Access Transmission Tariff.

2.
This Interconnection Request is for (check one):



_____ A proposed new generating facility.

_____ An increase in the generating capacity of an existing generating facility.

3.
Is the Generator requesting expedited procedures for new generating facilities of less than 20 MW or generating capacity additions of less than 20 MW to existing generating facilities?



_____ Yes



_____ No

4.
The Generator provides the following information:
a.
Address or location of the proposed new generating facility site (to the extent known) or, in the case of an existing generating facility, the name and specific location of the facility:

b.
Maximum megawatt electrical output of the proposed new generating facility or the amount of megawatt increase in the generating capacity of an existing generating facility:

c.
General description of the equipment configuration:

d.
Planned-in-service date by day, month and year:
e.
Name, address, telephone number and e-mail address of the Generator’s contact person:

5.
A refundable deposit in the amount of $10,000.00 ($2,000 in the event of a request to interconnect generating capacity of less than 20 MW) is attached to this Interconnection Request. 

6.
This Interconnection Request shall be submitted to the representative indicated below:

[To be completed by RTO]

7.
Representative of the Generator to contact:


[To be completed by Generator]

8.
This Interconnection Request is submitted by:



Name of Generator:  ______________________________________

By (signature) _____________________________________________
Name (type or print): _______________________________________
Title:
_____________________________________________________


Date: _____________________________________________________

APPENDIX 2

INTERCONNECTION IMPACT STUDY AGREEMENT

THIS AGREEMENT is made and entered into this ____ day of ________, 20__ by and between ________________, a corporation organized and existing under the laws of the State of _________, ("Generator,") and _______________ a corporation existing under the laws of the State of _______, ("RTO").  Generator and RTO each may be referred to as a "Party," or collectively as the "Parties."

RECITALS

WHEREAS, Generator is proposing to develop a ___ MW generation facility or generating capacity addition to an existing generating facility to be located at _________________ (“Facility”); and


WHEREAS, the Facility is not connected to the Transmission System; and


WHEREAS, Generator is proposing to establish an interconnection with the Transmission System; and


WHEREAS, Generator has requested the RTO to perform an Interconnection Impact Study to assess the impact of the proposed Facility on the reliability of the Transmission System, and of any Affected Adjacent Systems; 


NOW, THEREFORE, in consideration of and subject to the mutual covenants contained herein the Parties agreed as follows:

1.0
The terms used in this Agreement with initial capitalization shall have the meanings specified in the RTO OATT.

2.0
RTO shall cause an Interconnection Impact Study to be performed in accordance with the RTO OATT.

3.0
Generator elects to have Phase 1 (power flow) and Phase 2 (short circuit analysis and transient stability analysis) performed (__) concurrently or (__) sequentially (select one option).

4.0
The scope of the Interconnection Impact Study shall be subject to the assumptions set forth in Attachment A to this Agreement.


5.0
The Interconnection Impact Study shall be based on the technical information provided by Generator in Attachment B to this Agreement.  RTO reserves the right to request additional technical information from Generator as may reasonably become necessary consistent with Good Utility Practice during the course of the Interconnection Impact Study.  If Generator modifies its Interconnection Request or the technical information provided in Attachment B is modified, incomplete or inaccurate, the time to complete the Interconnection Impact Study may be extended and/or the results may be inaccurate.


6.0
The Interconnection Impact Study report shall provide the following information:

· Identification of any thermal overload or voltage limit violations resulting from the interconnection.

· Identification of any circuit breaker short circuit capability limits exceeded as a result of the interconnection.

· Identification of any instability or inadequately damped response to system disturbances resulting from the interconnection.

7.0
The estimated cost for performance of the Interconnection Impact Study is $___________.  The Generator shall pay the RTO the amount by which the estimated cost exceeds the deposit the Generator submitted with its Interconnection Request when it executes this Agreement.  The RTO shall charge and Generator shall pay the actual costs of the Interconnection Impact Study.  Any difference between the initial payment and the actual cost of the study shall be paid by or refunded to the Generator, as appropriate.


8.0
This Agreement is subject to the provisions of the RTO OATT.

IN WITNESS WHEREOF, the Parties have caused this Agreement to be duly executed by their duly authorized officers or agents on the day and year first above written.

[Insert name of RTO] 



[Insert name of Generator]

By _________________________________
By __________________________

Name (typed or printed):
Name (typed or printed):

Title
Title

Attachment A to

Interconnection Impact 

Study Agreement
ASSUMPTIONS USED IN CONDUCTING THE STUDY

The Interconnection Impact Study will evaluate the impact of ____ MW of generation located at [DESCRIBE] and connected to the RTO’s Transmission System at [DESCRIBE], with a projected service date of __________ (MONTH, DAY, YEAR).

The Interconnection Impact Study will be based upon the following assumptions:


[To be completed by RTO]

Attachment B to

Interconnection Impact

Study Agreement
TECHNICAL INFORMATION RELATING TO GENERATOR REQUIREMENTS

[INFORMATION REQUIREMENTS ARE TO BE PROVIDED BY RTO]

APPENDIX 3

INTERCONNECTION FACILITIES STUDY AGREEMENT

THIS AGREEMENT is made and entered into this ____ day of ________, 20__ by and between ________________, a corporation organized and existing under the laws of the State of _________, ("Generator,") and ___________, a corporation organized and existing under the laws of the State of _______ (“RTO").  Generator and the RTO each may be referred to as a "Party," or collectively as the "Parties."

RECITALS

WHEREAS, Generator is proposing to develop a ___ MW generation facility or generating capacity addition to an existing generating facility to be located at __________ (“Facility”); and


WHEREAS, the Facility is not connected to the Transmission System; and


WHEREAS, Generator is proposing to establish an interconnection with the Transmission System; and


WHEREAS, Generator has requested the RTO to prepare an Interconnection Facilities Study to determine the facilities necessary to physically and electrically connect the Facility at the Point of Interconnection, and to address any reliability problems identified in the Interconnection Impact Study;


NOW, THEREFORE, in consideration of and subject to the mutual covenants contained herein, it is agree as follows:

1.0
The terms used in this Agreement with initial capitalization shall have the meanings specified in the RTO OATT.

2.0
The RTO shall cause an Interconnection Facilities Study to be performed in accordance with the RTO OATT.


3.0
The Interconnection Facilities Study shall be based on the Interconnection Impact Study Report.  The RTO reserves the right to request additional technical information from Generator as may become reasonably necessary consistent with Good Utility Practice during the course of the Interconnection Facilities Study.  If Generator’s Interconnection Request is modified or the technical information provided in Attachment B to the Interconnection Impact Study Agreement is modified, incomplete or inaccurate, the time to complete the Interconnection Facilities Study may be extended and/or the results may be inaccurate.


4.0
The final Interconnection Facilities Study Report shall provide the following information:

· Identification of RTO Interconnection Facilities and Interconnection System Upgrades.

· An estimate of the cost to install the RTO Interconnection Facilities and Interconnection System Upgrades.

· An estimate of the schedule to complete the installation of the RTO Interconnection Facilities and Interconnection System Upgrades.

5.0
The estimated cost for performance of the Interconnection Facilities Study is $___________.  Generator shall pay the RTO that amount when it executes this Agreement.  The RTO shall charge and the Generator shall pay the actual costs of the Interconnection Facilities Study.  Any difference between the initial payment and the actual cost of the study shall be paid by the Generator or refunded by the RTO, as appropriate. 

6.0
This Agreement is subject to the provisions the RTO OATT.

IN WITNESS WHEREOF, the Parties have caused this Agreement to be duly executed by their duly authorized officers or agents on the day and year first above written.

[Insert name of RTO]



[Insert name of Generator]

By _____________________________

By _____________________________

Name (typed or printed):



Name (typed or printed):

Title






Title

APPENDIX 4

OPTIONAL STUDY AGREEMENT

THIS AGREEMENT is made and entered into this ____ day of ________, 20__ by and between ________________, a corporation organized and existing under the laws of the State of _________, ("Generator,") and ____________, a corporation organized and existing under the laws of the State of __________ ("RTO").  Generator and RTO each may be referred to as a "Party," or collectively as the "Parties."

RECITALS

WHEREAS, Generator is proposing to develop a ___ MW generation facility or generating capacity addition to an existing generating facility to be located at _________________ (“Facility”); and


WHEREAS, the Facility is not connected to the Transmission System; and


WHEREAS, Generator is proposing to establish an interconnection with the Transmission System; and


WHEREAS, Generator has submitted to RTO an Interconnection Request; and 


WHEREAS, Generator has further requested that the RTO prepare an Optional Study;


NOW, THEREFORE, in consideration of and subject to the mutual covenants contained herein the Parties agree as follows:

1.0
The terms used in this Agreement with initial capitalization shall have the meanings specified in the RTO OATT.

2.0
The RTO shall cause an Optional Study to be performed in accordance with the RTO OATT.


3.0
The Optional Study shall be based on the assumptions and technical data set forth in Attachment A and Attachment B to the Generator’s Interconnection Impact Study Agreement.  The RTO reserves the right to request additional technical information from Generator as may become reasonably necessary consistent with Good Utility Practice during the course of the Optional Study.  If Generator’s Interconnection Request is modified or the technical information provided in Attachment B to the Interconnection Impact Study is modified, incomplete or inaccurate, the time to complete the Optional Study may be extended and/or the results may be inaccurate.

4.0
The Optional Study shall be based on the following assumptions, which have been submitted by Generator: [SUPPLY].

5.0
The estimated cost for performance of the Optional Study is $_________. The Generator shall pay the RTO that amount when it executes this Agreement.  The RTO shall charge the Generator the actual cost of the Optional Study.  Any difference between the initial payment and the actual cost of the study shall be paid by or refunded to the Generator, as appropriate. 


6.0
This Agreement is subject to the provisions of the RTO OATT.

IN WITNESS WHEREOF, the Parties have caused this Agreement to be duly executed by their duly authorized officers or agents on the day and year first above written.

[RTO]






[Generator]

By _____________________________

By _____________________________

Name (typed or printed):



Name (typed or printed):

Title:






Title:

APPENDIX 5

INTERCONNECTION AND OPERATING AGREEMENT

Between 

[Regional Transmission Organization]

and

[Generator]

Entered into on the ____ day of ___________, 20__

INTERCONNECTION AND OPERATING AGREEMENT

Table of Contents

1ARTICLE 1
DEFINITIONS

ARTICLE 2
TERM AND TERMINATION
6

2.1
Effective Date
6
2.2
Term
6
2.3
Cost Responsibility upon Early Termination
7
2.4
Survival
7
ARTICLE 3
INTERCONNECTION SERVICE
7
3.1
Scope of Service
7
3.2
Limitations on Scope of Service
7
3.3
Performance Standards
7
3.3
No Transmission Service
8
ARTICLE 4
CONSTRUCTION AND MODIFICATION OF FACILITY, INTERCONNECTION FACILITIES AND INTERCONNECTION  SYSTEM UPGRADES; INTERCONNECTION COSTS; AND TRANSMISSION CREDITS

8
4.1
Construction
8
4.1.1
Generator Obligations
8
4.1.2
Generator Specifications
8
4.1.3
RTO Review
8
4.1.4
RTO Obligations
8
4.1.5
Suspension of Work
9
4.1.6
Construction Reports
9
4.1.7
Land Rights
9
4.1.8
Timely Completion
10
4.1.9
Limited Operation
11
4.1.10
Pre-Operation Date Testing and Modifications
12
4.1.11
Post-Operation Date Testing and Modifications
12
4.2
Drawings
12
4.3
Taxes
12
4.3.1
Indemnification for Contributions in Aid of Construction
12
4.3.2
Private Letter Ruling
13
4.3.3
Other Taxes
13
4.4
Modifications
14
4.4.1
General
14
4.4.2
Standards
14
4.4.3
Modification Costs
14
4.5
Interconnection Costs, and Transmission Credits
15
4.5.1
Generator Obligation for Interconnection Costs
15
4.5.2
Cost Responsibility Upon Suspension
15
4.5.3
Cost Responsibility Upon Termination
16

4.5.4
Transmission Credits
17
ARTICLE 5
OPERATIONS
17

5.1
General
17
5.2
Coordination Contact
18
5.3
RTO Obligations
18
5.4
Generator Obligations
18
5.5
Ancillary Services
18
5.6
Reactive Power
19
5.6.1
Reactive Power Design Criteria
19
5.6.2
Obligation to Supply Reactive Power
19
5.6.3
Payment for Reactive Power
19
5.7
Outages and Disconnection
19
5.7.1
Outages
19
5.7.2
Disconnection
20
5.8
Protection and System Quality
20
5.8.1
Requirements for Protection
20
5.8.2
System Quality
21
5.8.3
Right to Inspect
21
5.9
Access Rights
21
5.10
Switching and Tagging Rules
21
5.11
Use of Interconnection Facilities by Third Parties
22
5.11.1
Purpose of Interconnection Facilities
22
5.11.2
Third Party Users
22
ARTICLE 6
MAINTENANCE
22
6.1
RTO Obligations
22
6.2
Generator Obligations
22
6.3
Coordination
22
6.4
Inspections and Testing
22
6.5
Right to Observe Testing
23
6.6
Secondary Systems
23
6.7
Notice of Abnormal Conditions
23
ARTICLE 7
EMERGENCY CONDITIONS
23
7.1
Obligations
23
7.2
Notice
24
7.3
Immediate Action
24
7.4
RTO Authority
24
7.4.1
General
24
7.4.2
Curtailment, Reduction, and Disconnection
25
7.5
Generator Authority
25
7.6
Generator Compensation for Actions During Emergency Condition
25
7.7
Inoperative System Protection Facilities
26
7.8
Limited Liability
26
ARTICLE 8
SAFETY
26
8.1
General
26
8.2
Environmental Releases
26
ARTICLE 9
METERING
26
9.1
General
26
9.2
Standards
27
9.3
Testing of Metering Equipment
27
9.4
Metering Data
27
9.5
Communications
27
9.5.1
Generator Obligations
27
9.5.2
Remote Terminal Unit
28
ARTICLE 10
FORCE MAJEURE
28
10.1
Notice
28
10.2
Duration of Force Majeure
28
10.3
Obligation to Make Payments
28
ARTICLE 11
INFORMATION REPORTING
29
ARTICLE 12
CREDITWORTHINESS, BILLING AND PAYMENTS
29
12.1
[Transmission Owner Proposal]  Security for Payment
29
12.2
Invoice
29
12.3
[Transmission Owner Proposal]  Final Invoice
30
12.4
Payment
30
12.5
Disputes
30
12.6
Waiver
30
12.7
Interest
30
ARTICLE 13
ASSIGNMENT
31
13.1
Assignment with Prior Consent
31
13.2
Assignment Without Prior Consent
31
13.2.1
Assignment to Owners
31
13.2.2
Assignment to Lenders
31
ARTICLE 14
INSURANCE
32
14.1
Generator Insurance
32
14.1.1
Workers’ Compensation
32
14.1.2
Commercial General Liability
32
14.2
Generator Self-Insurance
33
14.3
RTO Insurance
33
14.3.1
Workers’ Compensation
33
14.3.2
Commercial General Liability
33
14.4
RTO Self-Insurance
34
ARTICLE 15
INDEMNITY
34
15.1
Indemnity
34
15.2
Indemnity Procedures
35
15.3
Indemnified Person
36
15.4
Indemnifying Party
36
15.5
Limitation on Damages
36
ARTICLE 16
BREACH, CURE AND DEFAULT
36
16.1
Events of Breach
36
16.2
Continued Operation
37
16.3
Notice of Breach
37
16.4
Cure and Default
37
16.4.1
Cure of Breach Other than Bankruptcy
37
16.4.2
Cure of Breach Due to Bankruptcy
37
16.5
Right to Compel Performance
38
ARTICLE 17
TERMINATION OF INTERCONNECTION SERVICE
38
17.1
Disposition of Facilities Upon Termination of Agreement
38
17.1.1
RTO Obligations
38
17.1.2
Generator Obligations
39
17.2
Survival of Rights
39
ARTICLE 18
TRANSMISSION OWNERS AND SUBCONTRACTORS
39
18.1
Transmission Owners
39
18.2
Subcontractors
39
18.2.1
Responsibility of Principal
39
18.2.2
No Third-Party Beneficiary
39
18.2.3
No Limitation by Insurance
39
ARTICLE 19
CONFIDENTIALITY
40
19.1
Designation of Confidential Information
40
19.2
RTO Obligations
40
19.3
Return or Destruction of Confidential Information
40
ARTICLE 20
INFORMATION ACCESS AND AUDIT RIGHTS
40
20.1
Information Access
40
20.2
Reporting of Non-Force Majeure Events
40
20.3
Audit Rights
41
ARTICLE 21
DISPUTES
41
21.1
Submission
41
21.2
Rights under The Federal Power Act
41
21.3
Equitable Remedies
41
ARTICLE 22
NOTICES
42
22.1
General
42
22.2
Billings and Payments
42
22.3
Alternative Forms of Notice
42
ARTICLE 23
MISCELLANEOUS
42
23.1
Regulatory Filing
42
23.2
Waiver
43
23.3
Governing Law
43
23.4
Headings not to Affect Meaning
43
23.5
Amendments and Rights under the Federal Power Act
43
23.6
Severability
44
23.7
Entire Agreement
44
23.8
Counterparts
44
23.9
Binding Effect
44
23.10
Conflicts
44
23.11
Regulatory Requirements
44
23.12
No Third Party Beneficiaries
45
ARTICLE 24
REPRESENTATIONS AND WARRANTIES
45
24.1
General
45
24.1.1
Good Standing
45
24.1.2
Authority
45
24.1.3
No Conflict
45
24.1.4
Consent and Approval
45


ATTACHMENT A
POINT OF INTERCONNECTION, RTO INTERCONNECTION FACILITIES, INTERCONNECTION SYSTEM UPGRADES, COST ESTIMATES AND 

RESPONSIBILITY, CONSTRUCTION SCHEDULE, PAYMENT SCHEDULE
47

ATTACHMENT B
FACILITY AND GENERATOR INTERCONNECTION FACILITIES
49

ATTACHMENT C
OPERATION DATE
50

ATTACHMENT D
INTERCONNECTION GUIDELINES
51

ATTACHMENT E
OPERATING GUIDELINES
52

INTERCONNECTION AND OPERATING AGREEMENT

THIS INTERCONNECTION AND OPERATING AGREEMENT (“Agreement”) is made and entered into this ____ day of ________ 20__, by and between ________________, a _________ organized and existing under the laws of the State of _________ ("Generator"), and  _____________, a corporation organized and existing under the laws of the State of ____________ ("RTO").  Generator and RTO each may be referred to as a "Party" or collectively as the "Parties."

RECITALS

WHEREAS, RTO operates the Transmission System; and 

WHEREAS, Generator intends to own and operate the Facility identified in Attachment B; and,

WHEREAS, the Facility is located adjacent to the Transmission System; and,

WHEREAS, Generator and RTO have agreed to enter into this Agreement for the purpose of interconnecting the Facility with the Transmission System;

NOW, THEREFORE, in consideration of and subject to the mutual covenants contained herein, it is agreed:

ARTICLE 1tc "ARTICLE 1
DEFINITIONS " \f 67 \l 01
DEFINITIONS

When used in this Agreement with initial capitalization, the following terms shall have the meanings specified or referred to in this Article 1.  Terms used in this Agreement with initial capitalization that are not defined in this Article 1 shall have the meanings specified in the RTO OATT.  
“Abnormal Condition” means any condition on the Interconnection Facilities which, determined in accordance with Good Utility Practice, is: (i) outside normal operating parameters such that facilities are operating outside their normal ratings or that reasonable operating limits have been exceeded; and (ii) could reasonably be expected to materially and adversely affect the safe and reliable operation of the Interconnection Facilities; but which, in any case, could reasonably be expected to result in an Emergency Condition.  Any condition or situation that results from lack of sufficient generating capacity to meet load requirements or that results solely from economic conditions shall not, standing alone, constitute an Abnormal Condition.

“Access Party” has the meaning set forth in Section 4.1.7.1.

"seq levelfour \r 0 \h Affiliate" shall mean, with respect to a corporation, partnership or other entity, each such other corporation, partnership or other entity that directly or indirectly, through one or more intermediaries, controls, is controlled by, or is under common control with, such corporation, partnership or other entity.
“Applicable Laws and Regulations" shall mean all  duly promulgated applicable federal, state and local laws, regulations, rules, ordinances, codes, decrees, judgments, directives, or judicial or administrative orders, permits and other duly authorized actions of any Governmental Authority having jurisdiction over the Parties or their respective facilities.

"Applicable Reliability Council" shall mean the regional reliability council of NERC in which the Facility is located.

 “Applicable Standards” shall mean the requirements and guidelines of NERC, the Applicable Reliability Council and the Control Area in which the Facility is electrically located.

“Breach” shall mean the failure of a Party to perform or observe any material term or condition of this Agreement as described in Section 16.1.

“Breaching Party” shall mean a Party that is in Breach of this Agreement. 

“Default” shall mean the failure of a Breaching Party to cure its Breach in accordance with Article 16.

“Effective Date” shall mean the date on which this Agreement becomes effective in accordance with Section 2.1.

"Emergency Condition" shall mean a condition or situation (i) that in the judgment of the Party making the claim is imminently likely to endanger life or property; and (ii) that, in the case of RTO, is imminently likely (as determined in a non-discriminatory manner) to cause a material adverse effect on the security of, or damage to the Transmission System, the RTO Interconnection Facilities or the transmission systems of others to which the Transmission System is directly connected; or (iii) that, in the case of Generator, is imminently likely (as determined in a non-discriminatory manner) to cause a material adverse effect on the security of, or damage to, the Facility or the Generator Interconnection Facilities.  System restoration and black start shall be considered Emergency Conditions; provided, that Generator is not obligated by this Agreement to possess black start capability.  Any condition or situation that results from lack of sufficient generating capacity to meet load requirements or that results solely from economic conditions shall not, standing alone, constitute an Emergency Condition.

"Environmental Law" shall mean Applicable Laws or Regulations relating to pollution or protection of the environment, natural resources or human health and safety.

"Facility" shall mean Generator's electric generating facility, but shall not include the Generator Interconnection Facilities.

“Federal Power Act” shall mean the Federal Power Act, 16 U.S.C. §§791a et seq. (2001).

"FERC" shall mean the Federal Energy Regulatory Commission or its successor.

“FERC Interconnection Policy” shall have the meaning set forth in Section 23.6.

"Force Majeure" shall mean any cause beyond the control of the Party affected, including but not restricted to, acts of God, flood, drought, earthquake, storm, fire, lightning, epidemic, war, riot, civil disturbance or disobedience, strike, labor dispute, labor or material shortage, sabotage, acts of public enemy, explosions, orders, regulations or restrictions imposed by governmental, military, or lawfully established civilian authorities, which, in any of the foregoing cases, by exercise of due diligence such Party could not reasonably have been expected to avoid, and which, by the exercise of due diligence, it has been unable to overcome.  Force Majeure does not include (i) a failure of performance that is due to a Party’s own negligence or intentional wrongdoing; (ii) any removable or remediable causes (other than settlement of a strike or labor dispute) which a Party fails to remove or remedy within a reasonable time; or (iii) economic hardship of a Party. 

"Generator Interconnection Facilities" shall mean all facilities and equipment between the Facility and the Point of Interconnection, as identified in Attachment B, including any modifications, additions or upgrades to such facilities and equipment that are necessary to physically and electrically interconnect the Facility to the Transmission System. 

"Good Utility Practice" shall mean any of the practices, methods and acts engaged in or approved by a significant portion of the electric industry during the relevant time period, or any of the practices, methods and acts which, in the exercise of reasonable judgment in light of the facts known at the time the decision was made, could have been expected to accomplish the desired result at a reasonable cost consistent with good business practices, reliability, safety and expedition.  Good Utility Practice is not intended to be limited to the optimum practice, method, or act to the exclusion of all others, but rather to be acceptable practices, methods, or acts generally accepted in the region. Good Utility Practice shall include, but not be limited to, compliance with Applicable Laws and Regulations, Applicable Standards, the National Electric Safety Code, and the National Electrical Code, as they may be amended from time to time, including the criteria, rules and standards of any successor organizations.

"Governmental Authority" means any federal, state, local or other governmental regulatory or administrative agency, court, commission, department, board, or other governmental subdivision, legislature, rulemaking board, tribunal, or other governmental authority with jurisdiction concerning a matter or Party under this Agreement.

“Granting Party” has the meaning set forth in Section 4.1.7.1.

"Hazardous Substances" shall mean any chemicals, materials or substances defined as or included in the definition of "hazardous substances," "hazardous wastes," "hazardous materials," "hazardous constituents," "restricted hazardous materials," "extremely hazardous substances," "toxic substances," “radioactive substances,” "contaminants," "pollutants," "toxic pollutants" or words of similar meaning and regulatory effect under any applicable Environmental Law, or any other chemical, material or substance, exposure to which is prohibited, limited or regulated by any applicable Environmental Law. 

“Indemnified Person” has the meaning set forth in Section 15.2.

“Interconnection Facilities” shall mean the RTO Interconnection Facilities and the Generator Interconnection Facilities collectively.

"Interconnection Guidelines" shall mean the technical guidelines established in Attachment D.

"Interconnection Request" shall mean a request, in accordance with the RTO OATT, to interconnect an electric generator or to the Transmission System or to increase the generating capacity of an existing generator that is interconnected with the Transmission System.

"Interconnection Service" shall mean the interconnection of the Facility to the Transmission System pursuant to RTO’s Generator Interconnection Procedures, as set forth in the RTO OATT, and this Agreement.  

“Interconnection System Upgrades” shall mean the minimum upgrades to the Transmission System that would not have been required but for the Interconnection Request of Generator, including upgrades necessary to remove overloads and voltage criteria violations and upgrades necessary to remedy short-circuit and/or stability problems resulting from the connection of the Facility to the Transmission System.  Interconnection System Upgrades shall not include upgrades to the Transmission System that are required solely to provide transmission service from the Point of Interconnection to load and shall not include RTO Interconnection Facilities.  Interconnection System Upgrades are identified in Attachment A.

“Loss” has the meaning set forth in Section 15.1.

"Metering Equipment" shall mean all metering equipment installed at the metering points designated in Attachment A.

"NERC" shall mean the North American Electric Reliability Council or its successor agency assuming or charged with similar responsibilities related to the operation and reliability of the North American interconnected electric transmission grid.

“Non-Breaching Party” shall mean a Party that is not in Breach of this Agreement with regard to a specific event of Breach by another Party. 

"Operation Date" shall mean the day commencing at 00:01 hours on the day following the day during which all necessary Interconnection Facilities, Interconnection System Upgrades and the Facility have been completed as required by this Agreement and energized in parallel operation with Transmission System as confirmed in a writing substantially in the form shown in Attachment C.

"Operating Guidelines" shall mean the operating guidelines established in Attachment E. 

"Point of Interconnection" shall mean the point or points, as set forth in Attachment A, where the Generator Interconnection Facilities interconnect with the RTO Interconnection Facilities.

“Reasonable Efforts” shall mean, with respect to an action required to be made, attempted, or taken by a Party under this Agreement, efforts that are timely and consistent with Good Utility Practice and are otherwise substantially equivalent to those a Party would use to protect its own interests.

"RTO Interconnection Facilities" shall mean all facilities and equipment owned and/or controlled, operated and maintained by the RTO on RTO’s side of the Point of Interconnection as identified in Attachment A, including any modifications, additions or upgrades to such facilities and equipment, that are necessary to physically and electrically interconnect the Facility to the Transmission System.  RTO Interconnection Facilities shall not include Interconnection System Upgrades. 

"RTO OATT" shall mean the open access transmission tariff of RTO, on file with FERC and in effect, as amended or superseded from time to time. 

[Transmission Owner Proposal]
  “Subsequent Generator” shall mean any person other than Generator that enters into an Interconnection and Operating Agreement with RTO or that requests RTO to file an unexecuted Interconnection and Operating Agreement with FERC on or after the date on which Generator executes this Agreement or requests RTO to file this Agreement with FERC in unexecuted form and before the RTO Interconnection Facilities and the Interconnection System Upgrades have been constructed and paid for hereunder.

"Switching and Tagging Rules" shall mean the switching and tagging procedures of RTO, Transmission Owners and Generator, as set forth in Attachment E, as they may be amended from time to time.

"System Protection Facilities" shall mean the equipment required to protect (i) the Transmission System from faults or other electrical disturbances occurring at the Facility, and (ii) the Facility from faults or other electrical system disturbances occurring on the Transmission System or on other delivery systems and/or other generating systems to which the Transmission System is directly connected.  System Protection Facilities shall include protective and regulating devices that are identified in the Interconnection Guidelines or that are required by Applicable Laws and Regulations or Applicable Standards.

“Transmission Owner” shall mean an entity which owns transmission facilities and has transferred functional control of such transmission facilities to the RTO.

"Transmission System" shall mean the facilities owned, controlled or operated by the RTO that are used to provide transmission service under the RTO OATT. 
ARTICLE 2tc "ARTICLE 2
TERM AND TERMINATION" \f 67 \l 01
TERM AND TERMINATION

2.1
Effective Datetc "2.1
Effective Date" \f 67 \l 02.  This Agreement shall become effective upon execution by the Parties subject to acceptance by the FERC.  RTO shall promptly file this Agreement with FERC upon execution or upon request by Generator in accordance with Section 23.1.

2.2
Termtc "2.2
Term" \f 67 \l 02.  This Agreement shall continue in full force and effect until the earliest of (i) the date as of which the Parties agree to mutually terminate this Agreement; (ii) the date as of which Generator unilaterally terminates this Agreement pursuant to Applicable Laws and Regulations; or (iii) the date on which a non-defaulting Party provides notice of termination for Default of this Agreement. Notwithstanding the foregoing, no termination shall become effective until the Parties have complied with all Applicable Laws and Regulations applicable to such termination, including the filing with the FERC of a notice of termination of this Agreement, which notice has been accepted for filing by the FERC.  

2.3
Cost Responsibility upon Early Terminationtc "2.3
Cost Responsibility upon Early Termination" \f 67 \l 02.  Responsibility for costs in the event of termination of this Agreement shall be allocated in accordance with Sections 4.5.3 and 17.1.

2.4
Survivaltc "2.4
Survival" \f 67 \l 02. This Agreement shall continue in effect after termination to the extent necessary to provide for final billings and payments, including billings and payments pursuant to Section 2.3; to permit the determination and enforcement of liability and indemnification obligations arising from acts or events that occurred while this Agreement was in effect; and to permit each Party to have access to the lands of the other Party pursuant to Section 4.1.7.1(iii) to disconnect, remove or salvage its own facilities and equipment.

ARTICLE 3tc "ARTICLE 3
INTERCONNECTION SERVICE " \f 67 \l 01
INTERCONNECTION SERVICE

3.1
Scope of Servicetc "3.1
Scope of Service" \f 67 \l 02.  RTO shall provide Interconnection Service for the Facility at the Point of Interconnection.

3.2
Limitations on Scope of Servicetc "3.2
Limitations on Scope of Service" \f 67 \l 02.  RTO is not obligated by this Agreement (i) to pay for the transmission of power or energy through the Facility or through the Generator Interconnection Facilities; (ii) to pay for power or energy or ancillary services delivered from the Facility; (iii) to arrange for or pay for power, energy, transmission service or ancillary services associated with the delivery of electricity and ancillary services to or from the Facility; or (iv) to procure electricity or ancillary services to satisfy Generator's station service or other requirements.  Generator is not obligated by this Agreement (a) to pay for the transmission of power or energy through the Transmission System or through the RTO Interconnection Facilities; or (b) to procure electricity or ancillary services to satisfy any RTO requirements.  The Parties may, by separate agreement, agree to terms and conditions for the provision of any services excluded from the Agreement by this Section 3.2.
3.3
Performance Standardstc "3.3
Performance Standards" \f 67 \l 02.  Each Party shall perform all of its actions under this Agreement in accord, as appropriate, with Applicable Laws and Regulations, Applicable Standards and Good Utility Practice.

3.4
No Transmission Servicetc "3.3
No Transmission Service" \f 67 \l 02.  This Agreement does not provide for nor include transmission service.  The availability of transmission service on the Transmission System may not be inferred or implied from RTO's execution of this Agreement. Transmission Service on the Transmission System is available pursuant to the RTO OATT.  

ARTICLE 4
INTERCONNECTION FACILITIES AND INTERCONNECTION 

SYSTEM UPGRADES; INTERCONNECTION COSTS; AND TRANSMISSION CREDITS " \f 67 \l 01

CONSTRUCTION AND MODIFICATION OF FACILITY,

INTERCONNECTION FACILITIES AND INTERCONNECTION 

SYSTEM UPGRADES; INTERCONNECTION COSTS; AND 

TRANSMISSION CREDITS

4.1
Constructiontc "4.1
Construction" \f 67 \l 02.
4.1.1
Generator Obligationstc "4.1.1
Generator Obligations" \f 67 \l 03.  Generator shall, at its expense, design, procure, construct, own and install the Facility and the Generator Interconnection Facilities in accordance with Attachment B.  

4.1.2
Generator Specificationstc "4.1.2
Generator Specifications" \f 67 \l 03.  Generator shall submit final specifications for the Generator Interconnection Facilities, including System Protection Facilities, to RTO for review at least ninety days prior to the Operation Date to enable RTO to ensure that the Generator Interconnection Facilities are consistent with the requirements of RTO.  RTO shall review and comment on such specifications within thirty days.  All specifications provided hereunder shall be deemed to be confidential.

4.1.3
RTO Reviewtc "4.1.3
RTO Review" \f 67 \l 03.  RTO's review of Generator's final specifications shall not be construed as confirming, endorsing or providing a warranty as to the design, fitness, safety, durability or reliability of the Facility or the Generator Interconnection Facilities.  Generator shall make such changes to the Generator Interconnection Facilities as may reasonably be required by RTO.

4.1.4
RTO Obligationstc "4.1.4
RTO Obligations" \f 67 \l 03. RTO shall design, procure, construct, install, and own and/or control all RTO Interconnection Facilities and Interconnection System Upgrades identified in Attachment A.  RTO, in its discretion, may permit Generator to design, procure and/or install all or a portion of the RTO Interconnection Facilities.  
4.1.5
Suspension of Worktc "4.1.5
Suspension of Work" \f 67 \l 03.  
4.1.5.1
Suspension by Generator.  Generator may at any time by written notice to RTO request RTO to suspend further work associated with the construction and installation of the RTO Interconnection Facilities and/or the Interconnection System Upgrades, including the cancellation of any contracts or orders that Generator specifies. RTO shall suspend any such work and cancel any such contracts or orders. Generator shall be responsible for costs that RTO incurs for any suspension hereunder in accordance with Section 4.5.2.

4.1.5.2
Suspension by RTO.  Upon the occurrence of a Default by Generator, RTO may by written notice to Generator suspend further work by RTO associated with the construction and installation of the RTO Interconnection Facilities and the Interconnection System Upgrades.  Such suspension shall not affect RTO’s right to terminate this Agreement.  In the event of a suspension by RTO, Generator shall be responsible for costs that RTO incurs in connection with any suspension hereunder in accordance with Section 4.5.2.

4.1.6
Construction Reports.tc "4.1.6
Construction Reports" \f 67 \l 03  RTO shall inform Generator on a monthly basis, and at such other times as Generator reasonably requests, of the status of the construction and installation of the RTO Interconnection Facilities and the Interconnection System Upgrades, including, but not limited to, the following information: progress to date; an accounting of costs incurred to date; a description of scheduled activities for the next period; and the delivery status of all equipment ordered.  RTO shall promptly identify and notify Generator of any event that RTO reasonably expects may delay construction of, or may increase or decrease the cost of the RTO Interconnection Facilities and/or Interconnection System Upgrades by ten percent or more. 

4.1.7
Land Rightstc "4.1.7
Land Rights" \f 67 \l 03. 

4.1.7.1
Lands of the Parties.  Upon reasonable notice and supervision by a Party, a Party ("Granting Party") shall furnish at no cost to the other Party ("Access Party") any rights of use, licenses, rights of way and easements with respect to lands owned or controlled by the Granting Party and its agents that are necessary to enable the Access Party to construct, operate, maintain, test, inspect, replace or remove facilities and equipment (i) to interconnect the Facility with the Transmission System; (ii) to operate and maintain the Facility, the Interconnection Facilities and the Transmission System; and (iii) to disconnect or remove the Access Party’s facilities and equipment upon termination of this Agreement.  In exercising such licenses, rights of way and easements, the Access Party shall not unreasonably disrupt or interfere with normal operation of the Granting Party’s business and shall adhere to the safety rules and procedures established by the Granting Party.  

4.1.7.2
Lands of Other Property Owners.  If any part of the RTO Interconnection Facilities is to be installed on property owned by persons other than Generator or RTO, Generator shall at its own expense procure from such persons any rights of use, licenses, rights of way and easements that are necessary to construct, operate, maintain, test, inspect, replace or remove the RTO Interconnection Facilities upon such property.  If Generator is unable to secure them, RTO shall make Reasonable Efforts to secure them directly or indirectly through a Transmission Owner.  Generator shall reimburse RTO for all reasonable and documented costs incurred by RTO or the Transmission Owner in securing such rights.
4.1.8
Timely Completiontc "4.1.8
Timely Completion" \f 67 \l 03.

4.1.8.1
Generator Obligations.  Generator shall use Reasonable Efforts to design, procure, construct, install, and test the Generator Interconnection Facilities in accordance with the schedule set forth in Attachment A, which schedule may be revised from time to time by mutual agreement of the Parties, which agreement shall not be unreasonably withheld, conditioned or delayed.   

4.1.8.2
RTO Obligations.  RTO shall use Reasonable Efforts to design, procure, construct, install, and test the RTO Interconnection Facilities and Interconnection System Upgrades in accordance with the schedule set forth in Attachment A, which schedule may be revised from time to time by mutual agreement of the Parties, which agreement shall not be unreasonably withheld, conditioned or delayed.  RTO shall promptly notify Generator of any event that will affect the time for completion of the RTO Interconnection Facilities or the Interconnection System Upgrades, or the ability to complete any of them.  In such circumstances, RTO shall, within fifteen days (or such shorter period upon which the Parties may agree, which agreement shall not be unreasonably withheld, conditioned or delayed) after notifying Generator of such an event, convene a technical meeting with Generator to evaluate the alternatives available to Generator.  RTO shall also make available to Generator all studies and work papers related to the event and corresponding delay, including all information that is in the possession of RTO that Generator reasonably needs to evaluate alternatives.  RTO shall, at Generator’s request and expense, use Reasonable Efforts to accelerate its work under this Agreement in order to meet the schedule set forth in Attachment A. 

[Generator Proposal]
  If RTO fails to procure, construct, install, and test the RTO Interconnection Facilities and Interconnection System Upgrades by the day set forth in Attachment A, RTO shall:  (i) pay the Generator liquidated damages as provided in Attachment A; or (ii) grant the Generator step-in rights for the completion of construction, installation, and testing of the RTO Interconnection Facilities and Interconnection System Upgrades.
4.1.9
Limited Operationtc "4.1.9
Limited Operation" \f 67 \l 03.  If any of the RTO Interconnection Facilities or the Interconnection System Upgrades are not reasonably expected to be completed prior to the commercial operation date of the Facility, RTO shall, upon the request and at the expense of Generator, perform operating studies on a timely basis to determine the extent to which the Facility and the Generator Interconnection Facilities may operate prior to the completion of the RTO Interconnection Facilities and the Interconnection System Upgrades consistent with Applicable Laws and Regulations, Applicable Standards and Good Utility Practice.  RTO shall permit Generator to operate the Facility and the Generator Interconnection Facilities in accordance with the results of such studies.

4.1.10
Pre-Operation Date Testing and Modificationstc "4.1.10
Pre-Operation Date Testing and Modifications" \f 67 \l 03.  Prior to the Operation Date, the RTO shall test the Interconnection Facilities and Interconnection System Upgrades and Generator shall test the Facility and the Generator Interconnection Facilities to ensure their safe and reliable operation.  Similar testing may be required after initial operation.  Each Party shall make any modifications to its facilities that are found to be necessary as a result of such testing.  Generator shall bear the cost of all such testing and modifications.  Generator shall generate test energy at the Facility only if it or some other person has purchased the transmission service under the RTO OATT for the delivery of the test energy.

4.1.11
Post-Operation Date Testing and Modificationstc "4.1.11
Post-Operation Date Testing and Modifications" \f 67 \l 03.  The Parties shall test their respective facilities after the Operation Date in accordance with Section 6.4. 
4.2
Drawingstc "4.2
Drawings" \f 67 \l 02.  Not later than ninety days after the completion of any construction or modification to the Facility and/or the Generator Interconnection Facilities that may reasonably be expected to affect the Transmission System, Generator shall issue "as built" drawings to RTO, unless the Parties agree (such agreement not to be unreasonably withheld, conditioned or delayed) that such drawings are not necessary.  All such drawings shall be deemed to be confidential hereunder.

4.3
Taxes.tc "4.3
Taxes" \f 67 \l 02  


4.3.1
Indemnification for Contributions in Aid of Constructiontc "4.3.1
Indemnification for Contributions in Aid of Construction" \f 67 \l 03.  The Parties intend that all payments made by Generator to RTO for the installation of the RTO Interconnection Facilities and the Interconnection System Upgrades shall be non-taxable contributions to capital in accordance with the Internal Revenue Code and any applicable state tax laws and shall not be taxable as contributions in aid of construction under the Internal Revenue Code and any applicable state tax laws.  RTO shall not include a gross-up for income taxes in the amounts it charges Generator for such contributions.  Notwithstanding the foregoing, to the extent that any Governmental Authority determines that RTO’s receipt of such payments constitutes income by RTO or any Transmission Owner that is subject to taxation, Generator shall protect, indemnify and hold harmless either RTO or Transmission Owner, as applicable, from all claims by any such Governmental Authority for any tax, interest and/or penalties associated with such determination.  Generator’s estimated liability for taxes in the event of such determination shall be stated in Attachment A.  RTO shall notify Generator in writing within thirty days of receiving notification of such determination by a Governmental Authority.  Upon the timely written request by Generator and at Generator’s expense, RTO shall appeal, protest, seek abatement of, or otherwise oppose such determination.  RTO reserves the right to make all decisions with regard to the prosecution of such appeal, protest, abatement or other contest, including the compromise or settlement of the claim.  RTO shall cooperate and consult in good faith with Generator regarding the conduct of such appeal, protest, abatement or other contest.  Generator shall pay to RTO on a periodic basis as invoiced by RTO the documented reasonable cost of prosecuting such appeal, protest, abatement or other contest.  Generator shall not be required to pay RTO for the tax, interest and/or penalties prior to the seventh day before the date on which RTO (i) is required to pay the tax, interest and/or penalties or other amount in lieu thereof pursuant to a compromise or settlement of the appeal, protest, abatement or other contest, (ii) is required to pay the tax, interest and/or penalties as the result of a final, non-appealable order by a Governmental Authority, or (iii) is required to pay the tax, interest and/or penalties as a prerequisite to an appeal, protest, abatement or other contest. If such appeal, protest, abatement or other contest results in a determination that RTO is not liable for any portion of any tax, interest and/or penalties for which Generator has already made payment to RTO, RTO shall promptly refund to Generator any payment attributable to the amount determined to be non-taxable, plus any interest or other payments RTO receives with respect to such payment.  


4.3.2
Private Letter Rulingtc "4.3.2
Private Letter Ruling" \f 67 \l 03.  At Generator’s request and expense, RTO shall (or, as applicable, RTO shall cause Transmission Owner to) file with the Internal Revenue Service a request for a Private Letter Ruling as to whether any of the sums paid, or to be paid, by Generator to RTO pursuant to this Agreement are subject to federal income taxation.  RTO and Generator shall cooperate in good faith with respect to such request for a Private Letter Ruling.  If the Private Letter Ruling concludes that such sums are not subject to federal income taxation, Generator’s obligations under Article 12 shall be reduced accordingly.

4.3.3
Other Taxestc "4.3.3
Other Taxes" \f 67 \l 03.  RTO and Generator shall cooperate to appeal, protest, seek abatement of, or otherwise contest any tax (other than federal income tax) asserted or assessed against either Party for which the other Party may be required to reimburse the taxed Party pursuant to this Agreement.

4.4
Modificationstc "4.4
Modifications" \f 67 \l 02.

4.4.1
Generaltc "4.4.1
General" \f 67 \l 03.  Either Party may undertake modifications to its facilities.  If a Party plans to undertake a modification that reasonably may be expected to affect the other Party's facilities, that Party shall provide to the other Party sufficient information regarding such modification so that the other Party may evaluate the potential impact of such modification prior to commencement of the work.  Such information shall be deemed to be confidential hereunder and shall include information concerning the timing of such modifications and whether such modifications are expected to interrupt the flow of electricity from the Facility.  The Party desiring to perform such work shall provide the relevant drawings, plans, and specifications to the other Party at least ninety days in advance of the commencement of the work or such shorter period upon which the Parties may agree, which agreement shall not unreasonably be withheld, conditioned or delayed.  In the case of Generator modifications that do not require Generator to submit an Interconnection Request, RTO shall provide, within thirty days (or such other time as the Parties may agree), an estimate of any additional modifications to the Transmission System, RTO Interconnection Facilities or Interconnection System Upgrades necessitated by such Generator modification and a good faith estimate of the costs thereof.

4.4.2
Standardstc "4.4.2
Standards" \f 67 \l 03.  Any additions, modifications, or replacements made to a Party’s facilities shall be constructed and operated in accordance with this Agreement, Applicable Laws and Regulations, Applicable Standards and Good Utility Practice.

4.4.3
Modification Coststc "4.4.3
Modification Costs" \f 67 \l 03. Generator shall not be responsible for the costs of any additions, modifications, or replacements that RTO makes to the RTO Interconnection Facilities or the Transmission System to facilitate the interconnection of a third party to the RTO Interconnection Facilities or the Transmission System, or to provide transmission service under the RTO OATT.  Generator shall be responsible for the costs of any additions, modifications, or replacements to the Generator Interconnection Facilities that may be necessary to maintain or upgrade such Generator Interconnection Facilities consistent with Applicable Laws and Regulations, Applicable Standards or Good Utility Practice.

4.5
Interconnection Costs
 and Transmission Creditstc "4.5
Interconnection Costs, and Transmission Credits" \f 67 \l 02. 

4.5.1
Generator Obligation for Interconnection Coststc "4.5.1
Generator Obligation for Interconnection Costs" \f 67 \l 03.  
[Generator Proposal]  Generator shall not be responsible for any costs or expenses associated with the engineering, design, procurement, construction, testing, operation or maintenance of any facilities that are beyond the scope of the projects described in Attachment B.  To the extent that Generator has made payment to RTO for any such costs and expenses, RTO shall refund to Generator all such sums, with interest calculated pursuant to Section 12.8, within thirty days of any determination as to the appropriate allocation of the costs for such modifications or upgrades.

[Transmission Owner Proposal]  Generator shall be responsible for the costs and expenses associated with the engineering, design, procurement, construction and testing of the RTO Interconnection Facilities and the Interconnection System Upgrades identified in Attachment A and the costs and expenses of the operation and maintenance of the RTO Interconnection Facilities.

4.5.2
Cost Responsibility Upon Suspensiontc "4.5.2
Cost Responsibility Upon Suspension" \f 67 \l 03.
  If (a) Generator suspends work under Section 4.1.5.1 or (b) RTO suspends work under Section 4.1.5.2, then Generator shall be responsible for the reasonable documented costs which RTO incurs


[Generator Proposal]  (i) in accordance with this Agreement prior to the suspension; (ii) to suspend such work that is not necessary to implement the interconnection of a Subsequent Generator, including any costs incurred in order to perform work that is necessary to ensure the safety of persons and property and the integrity of the Transmission System and any costs incurred in connection with the cancellation of contracts and orders for material which RTO cannot reasonably avoid; and (iii) (iv) to resume work at the end of the suspension.  RTO shall use Reasonable Efforts to minimize any of its costs hereunder.

[Transmission Owner Proposal]  (i) in accordance with this Agreement prior to the suspension; (ii) to suspend such work that is not necessary to implement the interconnection of a Subsequent Generator, including any costs incurred in order to perform work that is necessary to ensure the safety of persons and property and the integrity of the Transmission System and any costs incurred in connection with the cancellation of contracts and orders for material which RTO cannot reasonably avoid; (iii) in order to implement the interconnection of any Subsequent Generator; provided that RTO shall use its Reasonable Efforts to recover such costs from any person that is not a Subsequent Generator and reimburse Generator to the extent Generator has paid such costs; and (iv) to resume work at the end of the suspension.  RTO shall use Reasonable Efforts to minimize any of its costs hereunder.

4.5.3
Cost Responsibility Upon Termination. If (a) Generator terminates this Agreement (other than due to an RTO Default) or (b) RTO elects to terminate this Agreement due to a Generator Default, then Generator shall be responsible for the reasonable documented costs which RTO incurs:
[Generator Proposal] in the performance of the actions required or permitted by Section 17.1.1.  RTO shall use Reasonable Efforts to minimize costs and shall offset the amounts owed by any salvage value of facilities, if applicable.

[Transmission Owner Proposal] in the performance of the actions required or permitted by Section 17.1.1 and for the cost of any RTO Interconnection Facilities described in Attachment A that are necessary for the provision of Interconnection Service to a Subsequent Generator.  RTO shall use Reasonable Efforts to minimize costs and shall offset the amounts owed by any salvage value of facilities, if applicable.
4.5.4
Transmission Creditstc "4.5.4
Transmission Credits" \f 67 \l 03.
 

4.5.4.1
Generator is entitled to a credit, equal to the total amount paid to RTO for Interconnection System Upgrades, and not refunded to Generator pursuant to Section 4.5.4.3, against the cost of firm and non-firm transmission service reserved under the RTO OATT for delivery of electricity from the Facility.  Generator may assign such credit to any person who takes energy from the Facility. At the request of the entity that is entitled to such credit, RTO shall provide a credit against charges for transmission service from the Facility, on a dollar-for-dollar basis, in an aggregate amount equal to the cost of all Interconnection System Upgrades paid for by Generator. The rights to which Generator is entitled hereunder shall have no expiration date.
4.5.4.2
Notwithstanding any other provision of this Agreement, nothing herein shall be construed as relinquishing or foreclosing any rights, including but not limited to firm transmission rights, capacity rights, or transmission credits, that the Generator, shall be entitled to, now or in the future, under any other agreement or tariff as a result of, or otherwise associated with, the transmission capacity, if any, created by the Interconnection System Upgrades.  
4.5.4.3
If the FERC determines that any costs associated with the design, engineering, construction, procurement, or installation of any of the Interconnection Facilities or Interconnection System Upgrades paid for by Generator pursuant to this Agreement should not be directly assigned to Generator, RTO will refund such costs to Generator in accordance with applicable FERC requirements.

ARTICLE 5tc "ARTICLE 5
OPERATIONS " \f 67 \l 01
OPERATIONS

5.1
Generaltc "5.1
General" \f 67 \l 02. Each Party shall operate, or cause to be operated, its facilities in accord with Applicable Laws and Regulations, the Applicable Standards and Good Utility Practice.  Each Party shall comply with the Interconnection Guidelines set out in Attachment D to this Agreement.  Each Party shall provide to the other Party all information that may reasonably be required by the other Party to comply with the Applicable Laws and Regulations and Applicable Standards. 

5.2
Coordination Contacttc "5.2
Coordination Contact" \f 67 \l 02. Each Party shall notify the other Party in writing of the identity of the person that it designates as the point of contact with respect to the implementation of this Agreement.  
5.3
RTO Obligationstc "5.3
RTO Obligations" \f 67 \l 02.  RTO shall cause the Transmission System and the RTO Interconnection Facilities to be operated, maintained and controlled in a safe and reliable manner and in accordance with this Agreement.  RTO may from time to time provide operating instructions to Generator consistent with this Agreement.  RTO and Generator shall establish normal operating procedures and protocols to be observed prior to the Operation Date.  Generator shall inform RTO of any adverse impacts on the Facility or the Generator Interconnection Facilities of the operating instructions that RTO provides to Generator.  RTO shall factor these impacts into the operating instructions it actually provides to Generator.  Any operating instructions that RTO provides to Generator shall take account of the manufacturer’s design limitations and equipment warranties of the Facility and the Generator Interconnection Facilities and be consistent with this Agreement and Good Utility Practice.  To the extent that the actual operating instructions ultimately provided to Generator by RTO have an adverse impact on the Facility or the Generator Interconnection Facilities, RTO shall compensate Generator in accordance with Generator's FERC tariff then in effect or rates negotiated in advance with RTO, as applicable, except that if such operating instructions are required due to any Default or Breach by Generator under this Agreement, RTO shall not be obligated to pay compensation.
5.4
Generator Obligationstc "5.4
Generator Obligations" \f 67 \l 02.  Generator shall at its own expense operate, maintain and control the Facility and the Generation Interconnection Facilities in a safe and reliable manner and in accordance with this Agreement. Generator is not required to operate the Facility or the Generation Interconnection Facilities as part of any Control Area operated by a Transmission Owner or by the RTO. Generator shall operate the Facility and the Generation Interconnection Facilities in accordance with the requirements of the Control Area of which it is part and in accordance with all directives of its Control Area operator, provided that such requirements and directives are not inconsistent with this Agreement, the RTO OATT, Good Utility Practice, or Applicable Standards.

5.5
Ancillary Servicestc "5.5
Ancillary Services" \f 67 \l 02. Any Generator obligation to provide Ancillary Services to RTO shall be established pursuant to terms and conditions mutually agreed to by the Parties. Generator specifically reserves unto itself the right and option, but not the obligation, to provide Ancillary Services into any Ancillary Services market, whether or not such Ancillary Services are also being provided, by separate agreement, to RTO.

5.6
Reactive Powertc "5.6
Reactive Power" \f 67 \l 02.

5.6.1
Reactive Power Design Criteriatc "5.6.1
Reactive Power Design Criteria" \f 67 \l 03. Generator shall design the Facility to maintain a composite power delivery at continuous rated power output at the Point of Interconnection at a power factor of at least 0.95 leading to 0.90 lagging.
5.6.2
Obligation to Supply Reactive Powertc "5.6.2
Obligation to Supply Reactive Power" \f 67 \l 03.  RTO may require Generator to operate the Facility to produce reactive power within the design limitations of the Facility pursuant to voltage schedules, reactive power schedules or power factor schedules.  RTO’s schedules shall treat all sources of reactive power in the Control Area in an equitable and not unduly discriminatory manner.  RTO shall exercise Reasonable Efforts to provide Generator with such schedules at least one day in advance, and may make changes to such schedules as necessary to maintain the reliability of the Transmission System.
5.6.3
Payment for Reactive Powertc "5.6.3
Payment for Reactive Power" \f 67 \l 03.  RTO shall pay Generator for reactive power that Generator provides from the Facility pursuant to the terms of Generator’s tariff.

5.7
Outages and Disconnectiontc "5.7
Outages and Disconnection" \f 67 \l 02.
5.7.1
Outagestc "5.7.1
Outages" \f 67 \l 03
5.7.1.1
Outage Authority and Coordination.  Each Party may in accordance with Good Utility Practice remove from service its facilities that may impact the other Party's facilities to perform maintenance or testing or to install or replace equipment.  Except in the event of Emergency Conditions such Party shall provide prior notice to the other Party and coordinate its activities.  The Party planning to remove a facility from service shall use Reasonable Efforts to schedule the removal on a date that is acceptable to both Parties.

5.7.1.2
Outage Schedules.  Generator shall submit its planned maintenance schedules for the Facility to RTO for a minimum of a rolling twelve month period. Generator shall update its planned maintenance schedules as necessary.  RTO may require Generator to reschedule its maintenance as necessary to maintain the reliability of the Transmission System.  RTO shall compensate Generator for any costs of rescheduling such maintenance.

5.7.1.3
Outage Restoration.  If an outage on a Party's facility adversely affects the other Party's facilities, the Party that owns or controls the facility that is out of service shall use Reasonable Efforts to promptly restore that facility to service.

5.7.2
Disconnectiontc "5.7.3
Disconnection" \f 67 \l 03.

5.7.2.1
Disconnection after Agreement Terminates. RTO may disconnect the Facility from the Transmission System upon termination of this Agreement.
5.7.2.2
Disconnection after Under-Frequency Load Shed Event.  The Transmission System is designed to automatically activate a load-shed program as described in the Interconnection Guidelines in the event of an under-frequency system disturbance.  Generator shall implement an under-frequency relay set point for the Facility as described in the Interconnection Guidelines to ensure "ridethrough" capability of the Transmission System.
5.7.2.3
Disconnection in Emergency Conditions.  Either Party may disconnect the Facility from the Transmission System in an Emergency Condition.  Disconnection of the Facility by RTO under Emergency Conditions shall be in accordance with Section 7.4.2.

5.8
Protection and System Qualitytc "5.8
Protection and System Quality" \f 67 \l 02.  Generator shall, at its expense, install, and operate and maintain System Protection Facilities as a part of the Facility and the Generator Interconnection Facilities.  RTO shall install at its own expense any System Protection Facilities that may be required on the RTO Interconnection Facilities or the Transmission System in connection with the operation of the Facility and the Generator Interconnection Facilities.

5.8.1
Requirements for Protectiontc "5.8.1
Requirements for Protection" \f 67 \l 03.  In compliance with the Interconnection Guidelines and Applicable Standards, Generator shall provide, install, own, and maintain relays, circuit breakers and all other devices necessary to promptly remove any fault contribution of the Facility to any short circuit occurring on the Transmission System not otherwise isolated by RTO equipment.  Such protective equipment shall include, without limitation, a disconnecting device or switch with load-interrupting capability located between the Facility and the Transmission System site selected upon mutual agreement (not to be unreasonably withheld, conditioned or delayed) of the Parties.  Generator shall be responsible for protection of the Facility and Generator's other equipment from such conditions as negative sequence currents, over- or under-frequency, sudden load rejection, over- or under-voltage, and generator loss-of-field.  Generator shall be solely responsible to disconnect the Facility and Generator's other equipment if conditions on the Transmission System could adversely affect the Facility.

5.8.2
System Qualitytc "5.8.2
System Quality" \f 67 \l 03. Generator shall not design or operate the Facility to cause excessive voltage excursions or cause the voltage to drop below or rise above the range specified in the planning criteria defined in the Interconnection Guidelines and RTO’s voltage schedules.

5.8.3
Right to Inspecttc "5.8.3
Right to Inspect" \f 67 \l 03. Each Party shall have the right, but shall have no obligation to (i) observe the other Party’s tests and/or inspection of any of its System Protection Facilities and other protective equipment, (ii) review the settings of the other Party’s System Protection Facilities and other protective equipment, and (iii) review the other Party’s maintenance records relative to the Facility, the Interconnection Facilities, the System Protection Facilities and other protective equipment.  A Party may exercise these rights from time to time as it deems necessary upon reasonable notice to the other Party.  The exercise or non-exercise by a Party of any such rights shall not be construed as an endorsement or confirmation of any element or condition of the Facility, the Interconnection Facilities or the System Protection Facilities or other protective equipment or the operation thereof, or as a warranty as to the fitness, safety, desirability, or reliability of same.  Any information that RTO obtains through the exercise of any of its rights under this Section 5.8.3 shall be deemed to be confidential hereunder.

5.9
Access Rightstc "5.9
Access Rights" \f 67 \l 02.  Each Party shall provide the other Party access to its property to permit the other Party to perform its obligations under this Agreement, including operation and maintenance obligations.  A Party that obtains access to the other Party’s property shall comply with the rules applicable to that property.

5.10
Switching and Tagging Rulestc "5.10
Switching and Tagging Rules" \f 67 \l 02.  The Parties shall comply with applicable Switching and Tagging Rules as established in Attachment E in obtaining clearances for work or for switching operations on equipment.  Such Switching and Tagging Rules shall be developed in accordance with OSHA standards codified at 29 CFR Part 1910, or successor standards.  Each Party shall provide the other Party a copy of its Switching and Tagging Rules that are applicable to the other Party’s activities.

5.11
Use of Interconnection Facilities by Third Parties.tc "5.11
Use of Interconnection Facilities by Third Parties" \f 67 \l 02
5.11.1
Purpose of Interconnection Facilitiestc "5.11.1
Purpose of Interconnection Facilities" \f 67 \l 03.  Except as may be required by Applicable Laws or Regulations, or as otherwise agreed to among the Parties, the Interconnection Facilities shall be dedicated to the sole purpose of interconnecting the Facility to the Transmission System and shall be used for no other purpose. 

5.11.2
Third Party Userstc "5.11.2
Third Party Users" \f 67 \l 03.  If required by Applicable Laws or Regulations or if the Parties mutually agree to allow one or more third parties to use the Interconnection Facilities, or any part thereof, Generator will be entitled to compensation for the capital expenses it incurred in connection with the Interconnection Facilities based upon the pro rata use of the Interconnection Facilities by RTO, all third party users, and Generator, in accordance with Applicable Laws and Regulations or upon some other mutually-agreed upon methodology.  If the issue of such compensation or allocation cannot be resolved through such negotiations, it shall be submitted to the FERC for resolution.

ARTICLE 6tc "ARTICLE 6
MAINTENANCE " \f 67 \l 01
MAINTENANCE

6.1
RTO Obligationstc "6.1
RTO Obligations" \f 67 \l 02.  RTO shall maintain the Transmission System and the RTO Interconnection Facilities in a safe and reliable manner and in accordance with this Agreement.

6.2
Generator Obligationstc "6.2
Generator Obligations" \f 67 \l 02.  Generator shall maintain the Facility and the Generator Interconnection Facilities in a safe and reliable manner and in accordance with this Agreement.

6.3
Coordinationtc "6.3
Coordination" \f 67 \l 02.  The Parties shall confer regularly to coordinate the planning, scheduling and performance of preventive and corrective maintenance on the Facility and the Interconnection Facilities.

6.4
Inspections and Testingtc "6.4
Inspections and Testing" \f 67 \l 02.  Each Party shall at its own expense perform routine inspection and testing of its facilities and equipment in accordance with Good Utility Practice as may be necessary to ensure the continued interconnection of the Facility with the Transmission System in a safe and reliable manner. Each Party shall have the right, upon advance written notice, to require reasonable additional testing of the other Party’s facilities, at the requesting Party’s expense, as may be in accordance with Good Utility Practice.
6.5
Right to Observe Testingtc "6.5
Right to Observe Testing" \f 67 \l 02.  Each Party shall notify the other Party in advance of its performance of tests of its Interconnection Facilities.  The other Party has the right, at its own expense, to observe such testing.

6.6
Secondary Systemstc "6.6
Secondary Systems" \f 67 \l 02.  Each Party shall cooperate with the other in the inspection, maintenance, and testing of control or power circuits that operate below 600 volts, AC or DC, including, but not limited to, any hardware, control or protective devices, cables, conductors, electric raceways, secondary equipment panels, transducers, batteries, chargers, and voltage and current transformers that directly affect the operation of a Party's facilities and equipment which may reasonably be expected to impact the other Party.  Each Party shall provide advance notice to the other Party before undertaking any work on such circuits, especially on electrical circuits involving circuit breaker trip and close contacts, current transformers, or potential transformers.

6.7
Notice of Abnormal Conditionstc "6.7
Notice of Abnormal Conditions" \f 67 \l 02.  If a Party observes any Abnormal Conditions on, or becomes aware of a lack of scheduled maintenance and testing with respect to, the other Party's facilities and equipment that might reasonably be expected to adversely affect the observing Party's facilities and equipment, the observing Party shall provide prompt notice under the circumstances to the other Party, and the other Party shall consider such notice in accordance with Good Utility Practice.  A Party’s review, inspection, and approval related to the other Party’s facilities and equipment shall be limited to the purpose of assessing the safety, reliability, protection and control of the Transmission System, the Facility and the Interconnection Facilities, and shall not be construed as confirming or endorsing the design of such facilities and equipment, or as a warranty of any type, including safety, durability or reliability.  The inspecting Party shall have no liability whatsoever for failure to give notice of an Abnormal Condition to the other Party and the Party owning the facilities shall remain fully liable for its failure to determine and correct Abnormal Conditions in its facilities and equipment.

ARTICLE 7tc "ARTICLE 7
EMERGENCY CONDITIONS " \f 67 \l 01
EMERGENCY CONDITIONS

7.1
Obligationstc "7.1
Obligations" \f 67 \l 02.  Each Party shall comply with the Emergency Condition procedures of NERC, the Applicable Reliability Council, RTO and Generator.

7.2
Noticetc "7.2
Notice" \f 67 \l 02.  RTO shall notify Generator promptly when it becomes aware of an Emergency Condition that affects the RTO Interconnection Facilities or the Transmission System that may reasonably be expected to affect Generator's operation of the Facility or the Generator Interconnection Facilities.  Generator shall notify RTO promptly when it becomes aware of an Emergency Condition that affects the Facility or the Generation Interconnection Facilities that may reasonably be expected to affect the Transmission System or the RTO Interconnection Facilities.  To the extent information is known, the notification shall describe the Emergency Condition, the extent of the damage or deficiency, the expected effect on the operation of Generator’s or RTO’s facilities and operations, its anticipated duration and the corrective action taken and/or to be taken.  The initial notice shall be followed as soon as practicable with written notice.

7.3
Immediate Actiontc "7.3
Immediate Action" \f 67 \l 02.  A Party becoming aware of an Emergency Condition may take such action as is reasonable and necessary to prevent, avoid, or mitigate injury, danger to or loss of life or property, including disconnection of the Facility from the Transmission System. Unless, in Generator's reasonable judgment, immediate action is required, Generator shall obtain the consent of RTO prior to performing any manual switching operations at the Facility or the Generation Interconnection Facilities.  Each Party shall restore its facilities to normal as promptly as possible after the cessation of the Emergency Condition, consistent with Good Utility Practice.

7.4
RTO Authoritytc "7.4
RTO Authority" \f 67 \l 02.  

7.4.1
Generaltc "7.4.1
General" \f 67 \l 03.  RTO may take whatever actions or inactions with regard to the Transmission System or the RTO Interconnection Facilities it deems necessary during an Emergency Condition in order to (i) preserve public health and safety, (ii) preserve the reliability of the Transmission System or the RTO Interconnection Facilities, (iii) limit or prevent damage, and (iv) expedite restoration of service.  RTO shall use Reasonable Efforts to minimize the effect of such actions or inactions on the Facility or the Generation Interconnection Facilities.  RTO may, on the basis of technical considerations, require the Facility to mitigate a potential or an actual Emergency Condition by taking actions necessary and limited in scope to the remedy the Emergency Condition, including, but not limited to, directing Generator to start-up, shut-down, increase or decrease the real or reactive power output of the Facility; implementing a curtailment,  reduction or disconnection pursuant to Section 7.4.2; directing the Generator to assist with black start (if available) or restoration efforts; or altering the outage schedules of the Facility and the Generator Interconnection Facilities. Generator shall comply with all of RTO's operating instructions concerning Facility real power and/or reactive power output within the manufacturer’s design limitations of the Facility's equipment that is in service and physically available for operation at the time.  

7.4.2
Curtailment, Reduction, and Disconnectiontc "7.4.2
Curtailment, Reduction, and Disconnection" \f 67 \l 03.  RTO may not curtail or reduce Interconnection Service or disconnect the Facility or the Generation Interconnection Facilities, except when such curtailment or, reduction or disconnection is necessary under Good Utility Practice due to Emergency Conditions.  These rights are separate and distinct from any right of curtailment of the RTO pursuant to the RTO OATT.  When the RTO can schedule the curtailment, reduction or disconnection in advance, RTO shall notify Generator of the reasons, timing and expected duration of the curtailment, reduction or disconnection. RTO shall attempt to schedule such curtailment, reduction or disconnection to coincide with the scheduled outages of the Facility or, if that is not possible, to schedule such curtailment, reduction or disconnection during non-peak load periods. Any curtailment, reduction or disconnection shall continue only for so long as reasonably necessary under Good Utility Practice.  The Parties shall cooperate with each other to restore the Facility, the Interconnection Facilities, and the Transmission System to their normal operating state as soon as practicable consistent with Good Utility Practice.

7.5
Generator Authoritytc "7.5
Generator Authority" \f 67 \l 02.  Generator may take whatever actions or inactions with regard to the Facility or the Generator Interconnection Facilities it deems necessary during an Emergency Condition in order to (i) preserve public health and safety, (ii) preserve the reliability of the Facility or the Generator Interconnection Facilities, (iii) limit or prevent damage, and (iv) expedite restoration of service.  Generator shall use Reasonable Efforts to minimize the effect of such actions or inactions on the Transmission System and the RTO Interconnection Facilities.  RTO shall use Reasonable Efforts to assist Generator in such actions.  

7.6
Generator Compensation for Actions During Emergency Conditiontc "7.6
Generator Compensation for Actions During Emergency Condition" \f 67 \l 02.  RTO shall compensate Generator for its provision of real and reactive power, any reasonable documented costs related to changes in maintenance and outage schedules directed by RTO for Emergency Condition purposes and other Emergency Condition services that RTO directs Generator to provide to support the Transmission System during an Emergency Condition in accordance with Generator’s FERC rate schedule then in effect.  If Generator does not have such a rate schedule in effect, RTO shall compensate Generator for the documented costs that Generator incurred in complying with the RTO’s operating instructions.

7.7
Inoperative System Protection Facilitiestc "7.7
Inoperative System Protection Facilities" \f 67 \l 02.  RTO shall have the right to declare an Emergency Condition if it determines that the System Protection Facilities are not operational.  For purposes of this Section 7.7, RTO may deem the System Protection Facilities to be not operating if RTO's review under Section 6.7 discloses that maintenance on the System Protection Facilities is not in accordance with Good Utility Practice or that maintenance records do not exist or are otherwise not in accordance with Good Utility Practice.  In such event, Generator shall have a reasonable opportunity, prior to the declaration of an Emergency Condition to the extent feasible, to demonstrate to the reasonable satisfaction of RTO, that the System Protection Facilities are operating in conformance with Good Utility Practice.

7.8
Limited Liabilitytc "7.8
Limited Liability" \f 67 \l 02.  Except as otherwise provided in Section 7.6 of this Agreement, neither Party shall be liable to the other for any action it takes in responding to an Emergency Condition so long as such action is made in good faith and is consistent with Good Utility Practice.

ARTICLE 8tc "ARTICLE 8
SAFETY " \f 67 \l 01
SAFETY

8.1
Generaltc "8.1
General" \f 67 \l 02.  Each Party shall perform all work hereunder that may reasonably be expected to affect the other Party in accordance with Good Utility Practice, Applicable Standards and Applicable Laws and Regulations pertaining to the safety of persons or property.  A Party performing work within the boundaries of the other Party's facilities must abide by the safety rules applicable to the site.

8.2
Environmental Releasestc "8.2
Environmental Releases" \f 67 \l 02.  Each Party shall notify the other Party, first orally and then in writing, of the release of any Hazardous Substances, any asbestos or lead abatement activities, or any type of remediation activities related to the Facility or the Interconnection Facilities, each of which may reasonably be expected to affect the other Party.  The notifying Party shall (i) provide the notice as soon as possible, (ii) make a good faith effort to provide the notice within twenty-four hours after the Party becomes aware of the occurrence, and (iii) promptly furnish to the other Party copies of any publicly available reports filed with any governmental agencies addressing such events.

ARTICLE 9tc "ARTICLE 9
METERING " \f 67 \l 01
METERING

9.1
Generaltc "9.1
General" \f 67 \l 02.  Unless otherwise agreed by the Parties, RTO shall install Metering Equipment at the Point of Interconnection prior to any operation of the Facility and shall own, operate, test and maintain such Metering Equipment.  Power flows to and from the Facility shall be measured at or, at RTO’s option, compensated to, the Point of Interconnection.  RTO shall provide metering quantities, in analog and/or digital form, to Generator upon request.  Generator shall bear all reasonable documented costs associated with the installation, operation, testing and maintenance of the Metering Equipment.  

9.2
Standardstc "9.2
Standards" \f 67 \l 02.  RTO shall install, calibrate, and test revenue quality Metering Equipment in accordance with applicable ANSI standards.  To the extent this Article 9 conflicts with the manuals, standards or guidelines of the Applicable Reliability Council regarding interchange metering and transactions, the manuals, standards and guidelines of such Applicable Reliability Council shall control. 

9.3
Testing of Metering Equipmenttc "9.3
Testing of Metering Equipment" \f 67 \l 02.  RTO shall inspect and test all RTO-owned Metering Equipment upon installation and at least once every two years thereafter.  If requested to do so by Generator, RTO shall inspect or test Metering Equipment more frequently than every two years.  RTO shall give reasonable notice of the time when any inspection or test shall take place, and Generator may have representatives present at the test or inspection.  If Metering Equipment is found to be inaccurate or defective, it shall be adjusted, repaired or replaced at Generator's expense, in order to provide accurate metering.  If Metering Equipment fails to register, or if the measurement made by Metering Equipment during a test varies by more than one percent from the measurement made by the standard meter used in the test, RTO shall adjust the data by correcting all measurements made by the inaccurate meter for the period during which the inaccurate measurements were made, if the period can be determined.  If the period cannot be determined, the adjustment shall be for the period immediately preceding the test of the Metering Equipment equal to one-half the time from the date of the last previous test of the Metering Equipment.

9.4
Metering Datatc "9.4
Metering Data" \f 67 \l 02. At Generator's expense, the metered data shall be telemetered to a location designated by RTO and one or more locations designated by Generator.  The metered data provided by Generator shall be used, under normal operating conditions, as the official measurement of the amount of energy delivered from the Facility to the Point of Interconnection.

9.5
Communicationstc "9.5
Communications" \f 67 \l 02.

9.5.1
Generator Obligationstc "9.5.1
Generator Obligations" \f 67 \l 03. Generator shall maintain satisfactory operating communications with RTO's system dispatcher or representative designated by RTO.  Generator shall provide standard voice line, dedicated voice line and facsimile communications at its Facility control room through use of the public telephone system.  Generator shall also provide the dedicated data circuit(s) necessary to provide Generator data to RTO as set forth in Attachment E.  The data circuit(s) shall extend from the Facility to the location(s) specified by RTO.  Any required maintenance of such communications equipment shall be performed by Generator.  Operational communications shall be activated and maintained under, but not be limited to, the following events:  system paralleling or separation, scheduled and unscheduled shutdowns, equipment clearances, and hourly and daily load data.

9.5.2
Remote Terminal Unittc "9.5.2
Remote Terminal Unit" \f 67 \l 03.  Prior to any operation of the Facility, a Remote Terminal Unit, or equivalent data collection and transfer equipment acceptable to both Parties, shall be installed by Generator, or by RTO at Generator's expense, to gather accumulated and instantaneous data to be telemetered to the location(s) designated by RTO through use of a dedicated point-to-point data circuit(s) as indicated in Section 9.5.1.  The communication protocol for the data circuit(s) shall be specified by RTO.  Instantaneous bi-directional analog real power and reactive power flow information must be telemetered directly to the location(s) specified by RTO.

ARTICLE 10tc "ARTICLE 10
FORCE MAJEURE " \f 67 \l 01
FORCE MAJEURE

10.1
Noticetc "10.1
Notice" \f 67 \l 02.  A Party that is unable to carry out an obligation imposed on it by this Agreement due to Force Majeure shall notify the other Party in writing or by telephone within a reasonable time after the occurrence of the cause relied on.

10.2
Duration of Force Majeuretc "10.2
Duration of Force Majeure" \f 67 \l 02.  A Party shall not be responsible for any non-performance or considered in Breach or Default under this Agreement due to Force Majeure occurring on or at the Transmission System, the Facility or the Interconnection Facilities.  A Party shall be excused from whatever performance is affected only for the duration of the Force Majeure and while the Party exercises Reasonable Efforts to alleviate such situation.  As soon as the non-performing Party is able to resume performance of its obligations excused because of the occurrence of Force Majeure, such Party shall resume performance and give prompt notice thereof to the other Party.

10.3
Obligation to Make Paymentstc "10.3
Obligation to Make Payments" \f 67 \l 02.  Any Party's obligation to make payments for services provided prior to the occurrence of a Force Majeure event shall not be suspended by Force Majeure.

ARTICLE 11tc "ARTICLE 11
INFORMATION REPORTING " \f 67 \l 01
INFORMATION REPORTING

Each Party shall promptly provide to the other Party all relevant information, documents, or data regarding the Party's facilities and equipment which pertain to the reliability of the other Party's facilities and equipment, and which has been reasonably requested by the other Party.  Such information shall be deemed to be confidential hereunder.

ARTICLE 12tc "ARTICLE 12
CREDITWORTHINESS, BILLING AND PAYMENTS " \f 67 \l 01
CREDITWORTHINESS, BILLING AND PAYMENTS

12.1
[Transmission Owner Proposal]
  Security for Paymenttc "12.1
[Transmission Owner Proposal]  Security for Payment" \f 67 \l 02.  By the earlier of thirty days prior to (i) the due date for Generator’s first payment under the payment schedule specified in Attachment A or (ii) the first date specified in Attachment A on which the RTO orders equipment for the construction or installation of the RTO Interconnection Facilities or Interconnection System Upgrades, Generator shall provide RTO, at Generator’s option, a guarantee, a surety bond, letter of credit or other form of security that is reasonably acceptable to RTO and is consistent with the Uniform Commercial Code of the jurisdiction identified in Section 23.3.  Such security for payment shall be in an amount sufficient to satisfy Generator’s obligation to pay for the construction and installation of the RTO Interconnection Facilities and the Interconnection System Upgrades and shall be reduced on a dollar-for-dollar basis for payments made to RTO under this Agreement during its term.  In addition:

12.1.1
The guarantee must be made by an entity that meets the creditworthiness requirements of RTO, and contain terms and conditions that guarantee payment of any amount that may be due from Generator, up to an agreed-to maximum amount. 

12.1.2
The letter of credit must be issued by a bank reasonably acceptable to RTO and must specify a reasonable expiration date.  

12.1.3
The surety bond must be issued by an insurer reasonably acceptable to RTO and must specify a reasonable expiration date. 
12.2
Invoicetc "12.2
Invoice" \f 67 \l 02.  Each Party shall submit to the other Party, on a monthly basis, invoices of amounts due for the preceding month.  Each invoice shall state the month to which the invoice applies and fully describe the services and equipment provided. The Parties may discharge mutual debts and payment obligations due and owing to each other on the same date through netting, in which case all amounts a Party owes to the other Party under this Agreement, including interest payments or credits, shall be netted so that only the net amount remaining due shall be paid by the owing Party.

12.3
[Transmission Owner Proposal]
  Final Invoicetc "12.4
[Transmission Owner Proposal]  Final Invoice" \f 67 \l 02.  Within six months after completion of the construction of the RTO Interconnection Facilities and the Interconnection System Upgrades, RTO shall provide an invoice of the final cost of the construction of the RTO Interconnection Facilities and the Interconnection System Upgrades and shall set forth such costs in sufficient detail to enable Generator to compare the actual costs with the estimates and to ascertain deviations, if any, from the cost estimates.  RTO shall refund to Generator any amount by which the actual payment by Generator for estimated costs exceeds the actual costs of construction within thirty days of the issuance of such final construction invoice. 

12.4
Paymenttc "12.5
Payment" \f 67 \l 02.  The Party receiving the invoice shall pay the invoice within thirty days of receipt.  All payments shall be made in immediately available funds payable to the other Party, or by wire transfer to a bank named and account designated by the invoicing Party.  Payment of invoices by Generator will not constitute a waiver of any rights or claims Generator may have under this Agreement. 
12.5
Disputestc "12.6
Disputes" \f 67 \l 02.  In the event of a billing dispute between RTO and Generator, RTO shall continue to provide interconnection service under this Agreement as long as Generator (i) continues to make all payments not in dispute, and (ii) pays to RTO or into an independent escrow account the portion of the invoice in dispute, pending resolution of such dispute.  If Generator fails to meet these two requirements for continuation of service, then RTO may provide notice to Generator of a Breach pursuant to Articles 16.  Within thirty days after the resolution of the dispute, the Party that owes money to the other Party shall pay the amount due with interest calculated in accord with Section 12.8.

12.6
Waivertc "12.7
Waiver" \f 67 \l 02.  Payment of an invoice shall not relieve the paying Party from any other responsibilities or obligations it has under this Agreement, nor shall such payment constitute a waiver of any claims arising hereunder.

12.7
Interesttc "12.8
Interest" \f 67 \l 02.  Interest on any unpaid amounts shall be calculated in accordance with the methodology specified for interest on refunds in the FERC's regulations at 18 C.F.R. Section 35.19a(a)(2)(iii).  Interest on delinquent amounts shall be calculated from the due date of the bill to the date of payment.  

ARTICLE 13tc "ARTICLE 13
ASSIGNMENT" \f 67 \l 01
ASSIGNMENT

13.1
Assignment with Prior Consenttc "13.1
Assignment with Prior Consent" \f 67 \l 02.  Except as provided in Section 13.2, neither Party shall voluntarily assign its rights or delegate its duties under this Agreement, or any part of such rights or duties, without the written consent of the other Party, which consent shall not be unreasonably withheld, conditioned or delayed.  Any such assignment or delegation made without such written consent shall be null and void.  A Party may make an assignment in connection with the sale, merger, or transfer of a substantial portion or all of its properties (or in the case of RTO, the Transmission System) including the Interconnection Facilities which it owns so long as the assignee in such a sale, merger, or transfer directly assumes in writing all rights, duties and obligations arising under this Agreement and such assignor shall be, without further action, released from its obligation hereunder.  In addition, RTO shall be entitled to assign this Agreement to any wholly-owned direct or indirect subsidiary of RTO.  Notwithstanding the foregoing, prior to the effective date of any assignment by RTO, the assignee shall demonstrate to Generator that the assignee has the technical and operational competence to comply with the requirements of this Agreement on the effective date of the assignment and assumes all rights, duties, and obligations arising under this Agreement in a writing provided to Generator.

13.2
Assignment Without Prior Consenttc "13.2
Assignment Without Prior Consent" \f 67 \l 02.  

13.2.1
Assignment to Ownerstc "13.2.1
Assignment to Owners" \f 67 \l 03.  Generator may assign this Agreement without RTO's prior consent to any Affiliate or person that purchases or otherwise acquires, directly or indirectly, all or substantially all of the Facility and the Generator Interconnection Facilities, provided that prior to the effective date of any such assignment, the assignee shall demonstrate that, as of the effective date of the assignment, the assignee has the technical and operational competence to comply with the requirements of this Agreement and will comply with the requirements of Section 12.1; and assumes in a writing provided to the RTO all rights, duties, and obligations arising under this Agreement.  Effective upon such assignment, Generator shall be released from all obligations under this Agreement.  

13.2.2
Assignment to Lenderstc "13.2.2
Assignment to Lenders" \f 67 \l 03.  Generator may, without the consent of RTO, assign this Agreement to the persons, entities or institutions providing financing or refinancing for the development, design, construction or operation of all or any part of the Facility and the Generator Interconnection Facilities, provided that such assignment does not affect compliance with Article 12 or with all other rights, duties and obligations arising under this Agreement. If Generator provides notice of assignment to RTO, RTO shall provide notice and reasonable opportunity for such lenders to cure any Beach or Default under this Agreement.  RTO shall, if requested by such lenders, provide such customary documents, including financial statements, legal opinions, consents to assignment and certificates as may be requested with respect to the assignment and status of this Agreement, provided such documents do not change the rights of RTO under this Agreement except with respect to providing notice and reasonable opportunity to cure Breach or Default.  Such customary documents and certificates shall include among other customary terms and conditions, if true at the time the statement is to be made, representations that (i) this Agreement is in full force and effect and that neither Generator nor RTO is in Default, (ii) all representations made by RTO in this Agreement are true and complete as of the specified date, and (iii) all conditions to be satisfied by RTO on or prior to the specified date have been satisfied.  In the event of any foreclosure by such lenders, the purchasers at such foreclosure or any subsequent purchaser, shall upon request, be entitled to the rights and benefits of (and be bound by) this Agreement so long as it is an entity entitled to interconnect with the Transmission System.  RTO may bill Generator for the reasonable documented cost of providing such documents and certificates.

ARTICLE 14tc "ARTICLE 14
INSURANCE" \f 67 \l 01
INSURANCE

14.1
Generator Insurancetc "14.1
Generator Insurance" \f 67 \l 02.  Without limiting any obligations or liabilities under this Agreement, Generator shall, at its expense, provide and maintain in effect for the life of this Agreement minimum insurance coverage (in any combination of primary and excess layers), as follows:

14.1.1
Workers’ Compensationtc "14.1.1
Workers’ Compensation" \f 67 \l 03.  Workers' compensation insurance in accordance with all applicable state, federal, and maritime laws, including employer's liability insurance in the amount of [To be supplied] per accident.  The policy shall be endorsed to include a waiver of subrogation in favor of RTO and its Affiliates.

14.1.2
Commercial General Liabilitytc "14.1.2
Commercial General Liability" \f 67 \l 03.  Commercial general liability insurance, including contractual liability coverage for liabilities assumed under this Agreement, and personal injury coverage in the amount of [To be supplied] per occurrence for bodily injury and property damage.  The policy shall be endorsed to include RTO and its Affiliates as additional insureds with a provision substantially in the form of the following:

In consideration of the premium charged, RTO and its Affiliates are named as additional insureds with respect to liabilities arising out of RTO's use and ownership of the Transmission System and/or the RTO Interconnection Facilities and RTO’s use of the Generator Interconnection Facilities.  The inclusion of more than one insured under this policy shall not operate to impair the rights of one insured against another insured and the coverages afforded by this policy will apply as though separate policies had been issued to each insured.  The inclusion of more than one insured will not, however, operate to increase the limits of the carrier's liability.  RTO will not, because of its inclusion under this policy, incur liability to the insurance carrier for payment of premium for this policy.

14.2
Generator Self-Insurancetc "14.2
Generator Self-Insurance" \f 67 \l 02.  At its option, Generator may, with adequate credit assurance provided to RTO, self-insure all or part of the insurance required in this Article 14; provided, however, that all other provisions of this Article 14, including, but not limited to, waiver of subrogation, waiver of rights of recourse, and additional insured status, which provide or are intended to provide protection for RTO and its Affiliates under this Agreement, shall remain enforceable.  Generator's election to self-insure shall not in any manner result in a reduction of rights and/or benefits otherwise available to RTO and its Affiliates through formal insurance policies and endorsements as specified in Section 14.1.  Generator shall be responsible for amounts of self-insurance, retentions and/or deductibles.

14.3
RTO Insurancetc "14.3
RTO Insurance" \f 67 \l 02.  RTO shall, at its expense, provide and maintain in effect for the life of this Agreement, minimum insurance coverage (in any combination of primary and excess layers), as follows:

14.3.1
Workers’ Compensationtc "14.3.1
Workers’ Compensation" \f 67 \l 03.  Workers' compensation insurance in accordance with all applicable state, federal, and maritime laws, including employer's liability insurance in the amount of [To be supplied] per accident.  The policy shall be endorsed to include a waiver of subrogation in favor of Generator and its Affiliates.

14.3.2
Commercial General Liabilitytc "14.3.2
Commercial General Liability" \f 67 \l 03.  Commercial general liability insurance, including contractual liability coverage for liabilities assumed under this Agreement, and personal injury coverage in the amount of [To be supplied] per occurrence for bodily injury and property damage.  The policy shall be endorsed to include Generator and its Affiliates as additional insureds with a provision substantially in the form of the following:

In consideration of the premium charged, Generator and its Affiliates are named as additional insureds with respect to liabilities arising out of Generator's use and ownership of the Facility and/or the Generator Interconnection Facilities and Generator’s use of the Transmission System and/or the RTO Interconnection Facilities. The inclusion of more than one insured under this policy shall not operate to impair the rights of one insured against another insured and the coverages afforded by this policy will apply as though separate policies had been issued to each insured.  The inclusion of more than one insured will not, however, operate to increase the limits of the carrier's liability.  Generator will not, because of its inclusion under this policy, incur liability to the insurance carrier for payment of premium for this policy. 

14.4
RTO Self-Insurancetc "14.4
RTO Self-Insurance" \f 67 \l 02.  At its option, RTO may, with adequate credit assurance provided to Generator, self-insure all or part of the insurance required in this Article 14; provided, however, that all other provisions of this Article 14, including, but not limited to, waiver of subrogation, waiver of rights of recourse, and additional insured status, which provide or are intended to provide protection for Generator and its Affiliates under this Agreement, shall remain enforceable.  RTO's election to self-insure shall not in any manner result in a reduction of rights and/or benefits otherwise available to Generator and its Affiliates through formal insurance policies and endorsements as specified in Section 14.3.  RTO shall be responsible for all amounts of self-insurance, retentions and/or deductibles.

14.5
Notices and Certificates of Insurance.  All policies of insurance shall provide for thirty days prior written notice of cancellation or material adverse change.  Prior to the Operation Date and annually thereafter during the term of this Agreement, each Party shall furnish, certificates of insurance to each other.

ARTICLE 15tc "ARTICLE 15
INDEMNITY" \f 67 \l 01
INDEMNITY

15.1
Indemnitytc "15.1
Indemnity" \f 67 \l 02.  Each Party shall indemnify and hold harmless the other Party, and the other Party’s officers, shareholders, stakeholders, members, managers, representatives, directors, agents and employees, and Affiliates, from and against any and all loss, liability, damage, cost or expense, including damage and liability for bodily injury to or death of persons, or damage to property of persons (including reasonable attorneys’ fees and expenses, litigation costs, consultant fees, investigation fees, sums paid in settlements of claims, penalties or fines imposed under Applicable Laws and Regulations, and any such fees and expenses incurred in enforcing this indemnity or collecting any sums due hereunder) (collectively, “Loss”) to the extent arising out of, in connection with or resulting from (i) the indemnifying Party’s breach of any of the representations or warranties made in, or failure to perform any of its obligations under, this Agreement, or (ii) the negligence or willful misconduct of the indemnifying Party or, in the case of RTO, a Transmission Owner or contractor; provided, however, that neither Party shall have any indemnification obligations under this Section 15.1 in respect of any Loss to the extent the Loss results from the negligence or willful misconduct of the Party seeking indemnity.

15.2
Indemnity Procedurestc "15.2
Indemnity Procedures" \f 67 \l 02.  Promptly after receipt by a Person entitled to indemnity (“Indemnified Person”) of any claim or notice of the commencement of any action or administrative or legal proceeding or investigation as to which the indemnity provided for in Section 15.1 may apply, the Indemnified Person shall notify the indemnifying Party of such fact.  Any failure of or delay in such notification shall not affect a Party’s indemnification obligation unless such failure or delay is materially prejudicial to the indemnifying Party.  The indemnifying Party shall have the right to assume the defense thereof with counsel designated by such indemnifying Party and reasonably satisfactory to the Indemnified Person.  If the defendants in any such action include one or more Indemnified Persons and the indemnifying Party and if the Indemnified Person reasonably concludes that there may be legal defenses available to it and/or other Indemnified Persons which are different from or additional to those available to the indemnifying Party, the Indemnified Person shall have the right to select separate counsel to assert such legal defenses and to otherwise participate in the defense of such action on its own behalf.  In such instances, the indemnifying Party shall only be required to pay the fees and expenses of one additional attorney to represent an Indemnified Person or Indemnified Persons having such differing or additional legal defenses.  The Indemnified Person shall be entitled, at its expense, to participate in any action, suit or proceeding, the defense of which has been assumed by the indemnifying Party.  Notwithstanding the foregoing, the indemnifying Party (i) shall not be entitled to assume and control the defense of any such action, suit or proceedings if and to the extent that, in the opinion of the Indemnified Person and its counsel, such action, suit or proceeding involves the potential imposition of criminal liability on the Indemnified Person, or there exists a conflict or adversity of interest between the Indemnified Person and the indemnifying Party, in such event the indemnifying Party shall pay the reasonable expenses of the Indemnified Person, and (ii) shall not settle or consent to the entry of any judgment in any action, suit or proceeding without the consent of the Indemnified Person, which shall not be unreasonably withheld, conditioned or delayed.

15.3
Indemnified Persontc "15.3
Indemnified Person" \f 67 \l 02.  If an Indemnified Person is entitled to indemnification under this Article 15 as a result of a claim by a third party, and the indemnifying Party fails, after notice and reasonable opportunity to proceed under Section 15.1, to assume the defense of such claim, such Indemnified Person may at the expense of the indemnifying Party contest, settle or consent to the entry of any judgment with respect to, or pay in full, such claim.
15.4
Indemnifying Partytc "15.4
Indemnifying Party" \f 67 \l 02.  If an indemnifying Party is obligated to indemnify and hold any Indemnified Person harmless under this Article 15, the amount owing to the Indemnified Person shall be the amount of such Indemnified Person’s actual Loss, net of any insurance or other recovery.

15.5
Limitation on Damagestc "15.5
Limitation on Damages" \f 67 \l 02.  Notwithstanding any other provision of this Agreement, the liability of a Party under this Article 15 shall be limited to direct actual damages, and all other damages at law or in equity are waived.  Under no circumstances shall either Party or its Affiliates, directors, officers, employees and agents, or any of them, be liable to the other Party, whether in tort, contract or other basis in law or equity for any special, indirect, punitive, exemplary or consequential damages, including lost profits.  The limitations on damages specified in this Section 15.5 are without regard to the cause or causes related thereto, including the negligence of any Party, whether such negligence be sole, joint or concurrent, or active or passive.  The provisions of this Section 15.5 shall survive the termination or expiration of this Agreement.  This Section 15.5 shall not be interpreted in any way to override the provisions of Sections 15.1 through 15.4.

ARTICLE 16tc "ARTICLE 16
BREACH, CURE AND DEFAULT " \f 67 \l 01
BREACH, CURE AND DEFAULT

16.1
Events of Breachtc "16.1
Events of Breach" \f 67 \l 02.  A Breach of this Agreement shall include:

(a)
The failure to pay any amount when due;

(b)
The failure to comply with any material term or condition of this Agreement, including but not limited to any material breach of a representation, warranty or covenant (other than in Sections 16.1(a) and (d)-(f) hereof) made in this Agreement;

(c)
A Party (i) is adjudicated bankrupt, (ii) files a voluntary petition in bankruptcy under any provision of any federal or state bankruptcy law or consents to the filing of any bankruptcy or reorganization petition against it under any similar law, (iii) makes a general assignment for the benefit of its creditors, or (iv) consents to the appointment of a receiver, trustee or liquidator;

(d)
Assignment of this Agreement in a manner inconsistent with the terms of this Agreement;

(e)
Failure of a Party to provide access rights, or a Party's attempt to revoke or terminate access rights, that are provided under this Agreement; or

(f)
Failure of a Party to provide to the other Party information or data that the other Party requires to satisfy its obligations under this Agreement.

16.2
Continued Operationtc "16.2
Continued Operation" \f 67 \l 02.  In the event of a Breach or Default by either Party, the Parties shall continue to operate and maintain, as applicable, such DC power systems, protection and Metering Equipment, telemetering equipment, SCADA equipment, transformers, secondary systems, communications equipment, building facilities, software, documentation, structural components, and other facilities and appurtenances that are reasonably necessary for RTO to operate and maintain the Transmission System and the RTO Interconnection Facilities and for Generator to operate and maintain the Facility and the Generator Interconnection Facilities, in a safe and reliable manner.

16.3
Notice of Breachtc "16.3
Notice of Breach" \f 67 \l 02.  The Party not in Breach of this Agreement shall give written notice of the Breach to the Breaching Party and to any other person that the Breaching Party identifies in writing to the other Party in advance.  Such notice shall set forth, in reasonable detail, the nature of the Breach, and where known and applicable, the steps necessary to cure such Breach.  

16.4
Cure and Defaulttc "16.4
Cure and Default" \f 67 \l 02. A Party that commits a Breach and does not take steps to cure the Breach pursuant to this Section 16.4 is in Default of this Agreement.  

16.4.1
Cure of Breach Other than Bankruptcytc "16.4.1
Cure of Breach Other than Bankruptcy" \f 67 \l 03.  If the Breach is not due to a bankruptcy or other event described in Section 16.1(c), the Breaching Party (a) may cure the Breach within thirty days from the receipt of such notice; or, (b) if the Breach cannot be cured within thirty days, may commence in good faith all steps that are reasonable and appropriate to cure the Breach within such thirty day time period and thereafter diligently pursue such action to completion.  

16.4.2
Cure of Breach Due to Bankruptcytc "16.4.2
Cure of Breach Due to Bankruptcy" \f 67 \l 03.  If the Breach is due to a bankruptcy or other event described in Section 16.1(c), the Breaching Party may provide an assurance of payment reasonably acceptable to the Non-Breaching Party of any amounts due to the Non-Breaching Party, including any damages that the Non-Breaching Party incurs because of the Breach.     
16.5
Right to Compel Performancetc "16.5
Right to Compel Performance" \f 67 \l 02.  Notwithstanding the foregoing, upon the occurrence of an event of Default, the non-Defaulting Party shall be entitled to (a) commence an action to require the Defaulting Party to remedy such Default and specifically perform its duties and obligations hereunder in accordance with the terms and conditions hereof, (b) withhold payments, (c) suspend performance hereunder, and (d) exercise such other rights and remedies as it may have in equity or at law; provided, however, that RTO shall not terminate this Agreement due to the failure of Generator to make a payment hereunder unless such failure could reasonably be expected to have a material adverse effect on the Transmission System.

ARTICLE 17tc "ARTICLE 17
TERMINATION OF INTERCONNECTION SERVICE " \f 67 \l 01
TERMINATION OF INTERCONNECTION SERVICE

17.1
Disposition of Facilities Upon Termination of Agreementtc "17.1
Disposition of Facilities Upon Termination of Agreement" \f 67 \l 02.

17.1.1
RTO Obligationstc "17.1.1
RTO Obligations" \f 67 \l 03.  Upon termination of this Agreement, RTO shall take the following steps:

(a)
If termination occurs prior to the construction and installation of any portion of the RTO Interconnection Facilities or Interconnection System Upgrades, RTO shall, to the extent possible, cancel any pending orders of, or return such facilities. RTO may, at its option, retain any portion of such facilities not cancelled or returned, in which case RTO shall be responsible for all costs associated with procuring, constructing and installing such facilities, except as provided in Section 4.5.3.  RTO shall refund to Generator any portion of such costs for which Generator has already paid.

(b)
RTO shall keep in place any portion of the Interconnection System Upgrades already constructed and installed.  RTO may, in its discretion, remove the RTO Interconnection Facilities at Generator’s expense. 

(c)
RTO shall perform such work that may be necessary to ensure the safety of persons and property and to preserve the integrity of the Transmission System (e.g., construction demobilization, and wind-up work).


17.1.2
Generator Obligationstc "17.1.2
Generator Obligations" \f 67 \l 03.   Upon billing by RTO, Generator shall reimburse RTO for any costs in accordance with Section 4.5.3.

17.2
Survival of Rightstc "17.2
Survival of Rights" \f 67 \l 02.  Termination of this Agreement shall not relieve either Party of any of its liabilities and obligations arising hereunder prior to the date on which termination becomes effective, and each Party may take whatever judicial or administrative actions necessary to enforce its rights hereunder.

ARTICLE 18tc "ARTICLE 18
TRANSMISSION OWNERS AND SUBCONTRACTORS " \f 67 \l 01
TRANSMISSION OWNERS AND SUBCONTRACTORS

18.1
Transmission Ownerstc "18.1
Transmission Owners" \f 67 \l 02.  RTO may utilize the services of one or more Transmission Owners as subcontractors, subject to Section 18.2, as it deems appropriate, to perform its obligations under this Agreement.  RTO shall require such Transmission Owners to comply with this Agreement in performing those obligations.  Nothing in this Agreement shall be construed to cause Generator, RTO and/or Transmission Owner to be considered partners, joint venturers, employer and employee, principal and agent, or any other business association.

18.2
Subcontractorstc "18.2
Subcontractors" \f 67 \l 02.  A Party may utilize the services of subcontractors to perform its obligations under this Agreement.  Each Party shall require its subcontractors to comply with all applicable terms and conditions of this Agreement in performing such obligations.

18.2.1
Responsibility of Principaltc "18.2.1
Responsibility of Principal" \f 67 \l 03.  The creation of a subcontractual relationship or the use by RTO of any Transmission Owner shall not relieve the hiring Party of any of its obligations under this Agreement.  Each Party shall be fully responsible to the other Party for the acts or omissions of any subcontractor (or Transmission Owner) it hires as if no subcontract had been made.  Any obligation imposed by this Agreement upon a Party shall be equally binding upon, and shall be construed as having application to, any subcontractor (or Transmission Owner) of such Party.

18.2.2
No Third-Party Beneficiarytc "18.2.2
No Third-Party Beneficiary" \f 67 \l 03.  Except as specifically set forth herein, no Transmission Owner or subcontractor or any other party is intended to be, nor will be deemed, a third-party beneficiary of this Agreement.

18.2.3
No Limitation by Insurancetc "18.2.3
No Limitation by Insurance" \f 67 \l 03.  The obligations under this Article 18 shall not be limited in any way by any limitation of subcontractor's insurance.

ARTICLE 19tc "ARTICLE 19
CONFIDENTIALITY " \f 67 \l 01
CONFIDENTIALITY

19.1
Designation of Confidential Informationtc "19.1
Designation of Confidential Information" \f 67 \l 02.  Generator may designate any written information concerning the Facility or the Generator Interconnection Facilities as confidential by marking it on the face of the document and may designate oral information concerning the Facility or the Generator Interconnection Facilities as confidential by informing RTO at the time it conveys the information to RTO.  

19.2
RTO Obligationstc "19.2
RTO Obligations" \f 67 \l 02.  RTO shall not use information that Generator designates as confidential for any purpose other than to fulfill RTO’s obligations under this Agreement.  RTO shall keep confidential any information that Generator designates as confidential for three years after the termination of this Agreement unless RTO is required by Applicable Laws and Regulations or Applicable Standards to disclose the information prior to that date.  RTO will provide Generator as much notice as is reasonably practicable before disclosing such information.  

19.3
Return or Destruction of Confidential Informationtc "19.3
Return or Destruction of Confidential Information" \f 67 \l 02. If Generator provides any information to RTO in the course of an audit or inspection of the Facility or the Generator Interconnection Facilities that Generator designates as confidential information, Generator may request RTO to return or destroy such information after the termination of the audit period and the resolution of all matters relating to that audit.  RTO shall make reasonable efforts to comply with the request for return or destruction within ten days of receiving the request and shall certify in writing to Generator that it has complied with Generator’s request.  

ARTICLE 20tc "ARTICLE 20
INFORMATION ACCESS AND AUDIT RIGHTS " \f 67 \l 01
INFORMATION ACCESS AND AUDIT RIGHTS

20.1
Information Accesstc "20.1
Information Access" \f 67 \l 02.  Each Party shall make available to the other Party information necessary to (i) verify the costs incurred by the other Party for which the requesting Party is responsible under this Agreement and (ii) carry out obligations and responsibilities under this Agreement.  The Parties shall not use such information for purposes other than those set forth in this Section 20.1 and to enforce their rights under this Agreement.

20.2
Reporting of Non-Force Majeure Eventstc "20.2
Reporting of Non-Force Majeure Events" \f 67 \l 02.  Each Party shall notify the other Party when it becomes aware of its inability to comply with the provisions of this Agreement for a reason other than Force Majeure.  The Parties agree to cooperate with each other and provide necessary information regarding such inability to comply, including, but not limited to, the date, duration, reason for the inability to comply, and corrective actions taken or planned to be taken with respect to such inability to comply.  Notwithstanding the foregoing, notification, cooperation or information provided under this Section shall not entitle the receiving Party to allege a cause for anticipatory breach of this Agreement.
20.3
Audit Rightstc "20.3
Audit Rights" \f 67 \l 02.  Subject to the requirements of confidentiality under Article 19 of this Agreement, each Party shall have the right, during normal business hours, and upon prior reasonable notice to the other Party, to audit at its own expense the other Party's accounts and records pertaining to either Party's performance and/or satisfaction of obligations arising under this Agreement.  Such audit rights shall include, but not be limited to, audits of the other Party’s costs, calculation of invoiced amounts, the RTO’s efforts to allocate responsibility for the generation of reactive support, the RTO’s efforts to allocate responsibility for curtailment or reduction pursuant to Section 4.10.2 and each Party’s actions in an Emergency Condition. Any audit authorized by this Section shall be performed at the offices where such accounts and records are maintained and shall be limited to those portions of such accounts and records that relate to obligations under this Agreement.  Any request for audit shall be presented to the other Party not later than twenty-four months after the event as to which the audit is sought. Each Party shall preserve all records held by it for the duration of the audit period.

ARTICLE 21tc "ARTICLE 21
DISPUTES " \f 67 \l 01
DISPUTES

21.1
Submissiontc "21.1
Submission" \f 67 \l 02.  Any claim or dispute that either Party may have against the other arising out of this Agreement shall be submitted for resolution in accordance with the dispute resolution provisions of the RTO OATT.  
21.2
Rights under The Federal Power Acttc "21.2
Rights under The Federal Power Act" \f 67 \l 02.  Nothing in this Article shall restrict the rights of any Party to file a complaint with FERC under relevant provisions of the Federal Power Act.

21.3
Equitable Remediestc "21.3
Equitable Remedies" \f 67 \l 02.  Nothing in this Article shall prevent either Party from pursuing or seeking any equitable remedy available to it under Applicable Laws and Regulations, except as set forth in Section 15.5.  
ARTICLE 22tc "ARTICLE 22
NOTICES " \f 67 \l 01
NOTICES

22.1
Generaltc "22.1
General" \f 67 \l 02.  Any notice, demand or request required or permitted to be given by either Party to the other and any instrument required or permitted to be tendered or delivered by either Party in writing to the other may be so given, tendered or delivered, by recognized national courier, or by depositing the same with the United States Postal Service with postage prepaid, for delivery by certified or registered mail, addressed to the Party, or personally delivered to the Party, at the address set out below:

To RTO:



[To be supplied]

To Generator:



[To be supplied]

22.2
Billings and Paymentstc "22.2
Billings and Payments" \f 67 \l 02.  Billings and payments shall be sent to the addresses shown in Section 22.1.

22.3
Alternative Forms of Noticetc "22.3
Alternative Forms of Notice" \f 67 \l 02.  Any notice or request required or permitted to be given by either Party to the other and not required by this Agreement to be given in writing may be so given by telephone, facsimile or email to the telephone numbers and email addresses set out below:


To RTO:



[To be supplied]


To Generator:



[To be supplied]

ARTICLE 23tc "ARTICLE 23
MISCELLANEOUS " \f 67 \l 01
MISCELLANEOUS

23.1
Regulatory Filingtc "23.1
Regulatory Filing" \f 67 \l 02.  RTO shall file this Agreement and any amendment to this Agreement with FERC as a Service Schedule under the RTO OATT within fifteen days after its execution. RTO shall include sufficient information for FERC to determine:  1) the reasonableness of any costs associated with the Agreement, 2) that any direct assignment of costs is appropriate, and 3) the basis for assigning or not assigning any transmission credits for any Interconnection System Upgrades to be constructed.  If Generator has executed this Agreement or any amendment to this Agreement, Generator shall, subject to Section 23.6, not protest this Agreement or the amendment, shall reasonably cooperate with RTO with respect to such filing and shall provide any information, including the rendering of testimony reasonably requested by RTO, to the extent reasonably needed to comply with Applicable Laws and Regulations.  

23.2
Waivertc "23.2
Waiver" \f 67 \l 02.  Any waiver at any time by either Party of its rights with respect to a Breach or Default under this Agreement, or with respect to any other matters arising in connection with this Agreement, shall not be deemed a waiver or continuing waiver with respect to any other Breach or Default or other matter.

23.3
Governing Lawtc "23.4
Governing Law" \f 67 \l 02.  The validity, interpretation and performance of this Agreement and each of its provisions shall be governed by the laws of the State where the Interconnection Facilities are located, without regard to its conflicts of law principles.

23.4
Headings not to Affect Meaningtc "23.5
Headings not to Affect Meaning" \f 67 \l 02.  The descriptive headings of the various Sections and Articles of this Agreement have been inserted for convenience of reference only and shall in no way modify or restrict any of the terms and provisions hereof.

23.5
Amendments and Rights under the Federal Power Acttc "23.6
Amendments and Rights under the Federal Power Act" \f 67 \l 02.  

23.5.1 Modification by the Parties.  The Parties may by mutual agreement amend Attachments A, B, C, D and E to this Agreement by a written instrument duly executed by both of the Parties.  Such amendment shall become effective and a part of this Agreement upon satisfaction of all Applicable Laws and Regulations.  Each Party retains its rights to unilaterally seek modification of the Attachments to this Agreement pursuant to Sections 205 and 206 of the Federal Power Act and pursuant to FERC's rules and regulations promulgated thereunder. 

23.5.2 Modification to Comply with FERC Interconnection Policy.  During the term of this Agreement, the FERC may establish generally applicable regulations, policies, standards, tariffs, rates, terms and/or conditions with respect to interconnection of wholesale generators to transmission systems (hereinafter referred to as "FERC Interconnection Policy"). The Parties shall make any amendment to this Agreement required by FERC Interconnection Policy, as it may be amended from time to time and as finally established after rehearing and judicial review, if any. Upon notice by either Party, the Parties shall commence negotiations in good faith of amendments required by FERC Interconnection Policy. If the Parties cannot agree on amendments to this Agreement within sixty days after the notice referenced in the immediately preceding sentence, then notwithstanding any other provision of this Agreement, the Parties may exercise any and all rights they may have under the Federal Power Act.
23.6
Severabilitytc "23.7
Severability" \f 67 \l 02.  If any provision in this Agreement is determined to be invalid, void or unenforceable by final order of any Governmental Authority having jurisdiction, such determination shall not invalidate, void or make unenforceable any other provision of this Agreement.
23.7
Entire Agreementtc "23.8
Entire Agreement" \f 67 \l 02.  This Agreement constitutes the entire agreement between the Parties with reference to the subject matter hereof and no modification as to any of the provisions hereof shall be binding on either Party unless reduced to writing and made effective pursuant to Section 23.5.  The terms and conditions of this Agreement and every Attachment referred to herein shall be amended, as mutually agreed to by the Parties, to comply with changes or alterations made necessary by a valid applicable order of any Governmental Authority having jurisdiction hereof.

23.8
Counterpartstc "23.9
Counterparts" \f 67 \l 02.  This Agreement may be executed in any number of counterparts, and each executed counterpart shall have the same force and effect as an original instrument.

23.9
Binding Effecttc "23.10
Binding Effect" \f 67 \l 02.  This Agreement and the rights and obligations hereof, shall be binding upon and shall inure to the benefit of the successors and assigns of the Parties hereto.

23.10
Conflictstc "23.11
Conflicts" \f 67 \l 02.  In the event of a conflict between the body of this Agreement and any Attachment or exhibit hereto, the terms and provisions of the body of this Agreement shall prevail and be deemed to be the final intent of the Parties.

23.11
Regulatory Requirementstc "23.12
Regulatory Requirements" \f 67 \l 02.  Each Party’s obligations under this Agreement shall be subject to its receipt of any required approval or certificate from one or more Governmental Authorities in the form and substance satisfactory to the applying Party, or the Party making any required filings with, or providing notice to, such Governmental Authorities, and the expiration of any time period associated therewith.  Each Party shall in good faith seek and use its Reasonable Efforts to obtain such other approvals. Nothing in this Agreement shall require Generator to take any action that could result in its inability to obtain, or its loss of, status or exemption under the Federal Power Act or the Public Utility Company Holding Act of 1935, as amended.

23.12
No Third Party Beneficiariestc "23.13
No Third Party Beneficiaries" \f 67 \l 02.  This Agreement does not create any rights, remedies or benefits in favor of any persons, corporations or entities other than the Parties.  The rights and obligations created by this Agreement are solely for the use and benefit of the Parties, their successors in interest and, where permitted, their assigns.

ARTICLE 24tc "ARTICLE 24
REPRESENTATIONS AND WARRANTIES " \f 67 \l 01
REPRESENTATIONS AND WARRANTIES

24.1
Generaltc "24.1
General" \f 67 \l 02.  Each Party hereby represents, warrants and covenants as follows with these representations, warranties, and covenants effective as to the Party during the full time this Agreement is effective:

24.1.1
Good Standingtc "24.1.1
Good Standing" \f 67 \l 03.  Such Party is duly organized or formed, as applicable, validly existing and in good standing under the laws of its state of organization or formation, and is in good standing under the laws of the respective State(s) in which it is incorporated and operates as stated in the preamble of this Agreement.

24.1.2
Authoritytc "24.1.2
Authority" \f 67 \l 03.  Such Party has the right, power and authority to enter into this Agreement, to become a party hereto and to perform its obligations hereunder.  This Agreement is a legal, valid and binding obligation of such Party, enforceable against such Party in accordance with its terms, except as the enforceability thereof may be limited by applicable bankruptcy, insolvency, reorganization or other similar laws affecting creditors’ rights generally and by general equitable principles (regardless of whether enforceability is sought in a proceeding in equity or at law).

24.1.3
No Conflicttc "24.1.3
No Conflict" \f 67 \l 03.  The execution, delivery and performance of this Agreement does not violate or conflict with the organizational or formation documents, or bylaws or operating agreement, of either Party, or any judgment, license, permit, order, material agreement or instrument applicable to or binding upon either Party or any of its assets.

24.1.4
Consent and Approvaltc "24.1.4
Consent and Approval" \f 67 \l 03.  Such Party has sought or obtained, or, in accordance with this Agreement will seek or obtain, each consent, approval, authorization, order, or acceptance by any Governmental Authority in connection with the execution, delivery and performance of this Agreement and it will provide to any Governmental Authority notice of any actions under this Agreement that are required by Applicable Laws and Regulations.  

IN WITNESS WHEREOF, the Parties hereto have caused this Agreement to be duly executed by their duly authorized officers or agents on the day and year first above written.

[RTO]







[Generator]

By _____________________________

By
__________________________

Name (typed or printed):




Name (typed or printed):

Title






Title

ATTACHMENT A

POINT OF INTERCONNECTION, RTO INTERCONNECTION FACILITIES, INTERCONNECTION SYSTEM UPGRADES, COST ESTIMATES AND RESPONSIBILITY, CONSTRUCTION SCHEDULE, PAYMENT SCHEDULE

This Attachment A is a part of the Interconnection and Operating Agreement between Generator and RTO dated [Supply]

1.1
Point of Interconnection:  [Supply]

See Drawing No. [Supply] dated  [Supply] which drawing is attached hereto and made a part hereof.

1.2
Metering points: [Supply]

1.3
RTO Interconnection Facilities (including metering equipment) to be constructed by RTO:  [Supply]

1.4
RTO Interconnection Facilities (including metering equipment) to be constructed by Generator:  [Supply]

1.5
Interconnection System Upgrades to be installed by RTO:  [Supply]

1.6
[Transmission Owner Proposal]
  Cost Estimates and Responsibility.  The costs indicated below are only estimates.  Generator shall reimburse RTO for all actual costs, including any applicable income tax gross-up as determined pursuant to Section 8.3 of this Agreement, associated with the construction and installation of the RTO Interconnection Facilities and the Interconnection System Upgrades.  

1.6.1
Cost of the RTO Interconnection Facilities to be constructed by RTO:  [Supply] 

1.6.2
Cost for the RTO Interconnection Facilities to be constructed by Generator: [Supply]

1.6.3
Cost of the Interconnection System Upgrades:  [Supply]

1.6.4
Total cost of RTO Interconnection Facilities and Interconnection System Upgrades:  [Supply]

1.6.5
Generator’s liability for reimbursement of RTO for taxes, interest and/or penalties under Section 4.3.1:  [Supply] This amount is not included in the total cost for RTO Interconnection Facilities and Interconnection System Upgrades stated in Section 1.6.4 of this Attachment A.

1.7
First Equipment Order.  The first date for the ordering of equipment by RTO for installing the RTO Interconnection Facilities and/or Interconnection System Upgrade is expected to be:  [Supply]

1.8
Construction Schedule.  Construction of the Facility, Generator Interconnection Facilities, RTO Interconnection Facilities and Interconnection System Upgrades is scheduled as follows:  [Supply]

1.9
[Transmission Owner Proposal]
  Payment Schedule.  Generator shall pay RTO for the installation of RTO Interconnection Facilities and Interconnection System Upgrades in accordance with the following schedule:  



Date Due




Amount Due




Total Amount Due

1.10
[Transmission Owner Proposal]
  Creditworthiness.  Pursuant to Section 12.1 of this Agreement, Generator shall maintain a guarantee, surety bond, letter of credit or other form of security that is reasonably acceptable to RTO and is consistent with the Uniform Commercial Code in the jurisdiction identified in Section 23.3 in an amount equal to the Total Amount Due stated in Section 1.9 of this Attachment A, subject to reduction on a monthly basis for uncontested amounts actually paid by Generator pursuant to Section 1.9 of this Attachment A.  In addition, as required by Section 12.1, Generator shall maintain a guarantee, surety bond, letter of credit or other form of security that is reasonably acceptable to RTO and is consistent with the Uniform Commercial Code in the jurisdiction identified in Section 23.3 in an amount equal to the amount stated in Section 1.6.5 of this Attachment A.

1.11
Permits, Licenses and Authorizations.  RTO and/or Transmission Owner shall obtain the following permits, licenses and authorizations:  [Supply]

ATTACHMENT B

FACILITY AND GENERATOR INTERCONNECTION FACILITIES

This Attachment B is a part of the Interconnection and Operating Agreement between Generator and RTO dated [Supply].

1.1
Facility.  Generator intends to own and operate a [Supply] MW electric generating facility located in [Supply] and more specifically described as follows:  [Supply]

1.2
Generator Interconnection Facilities to be constructed by Generator: [Supply] 

1.3
Permits, Licenses and Authorizations.   Generator shall obtain the following permits, licenses and authorizations:  [Supply]

ATTACHMENT C - OPERATION DATE

This Attachment C is a part of the Interconnection and Operating Agreement between Generator and RTO dated [Supply].

[Generator]

[Address]

[Address]

[Address]

Re:
[Facility]

Dear_______

On [Date], ___________ ("RTO") and _____________________ ("Generator") completed to their mutual satisfaction all work on the [Facility] and associated interconnection facilities and related equipment required to interconnect the Facility with RTO's Transmission System and have energized the Facility in parallel operation with the RTO's Transmission System.  

Thank you.

[Signature]

[RTO Representative]

ATTACHMENT D - INTERCONNECTION GUIDELINES

This Attachment D is a part of the Interconnection and Operating Agreement between Generator and RTO dated [Supply].

[The unique requirements of each generation interconnection will dictate the establishment of mutually agreeable Interconnection Guidelines that implement this Interconnection and Operating Agreement.  The Interconnection Guidelines will address, but not be limited to, the following:

(a)
System Protection Facilities;

(b)
Communication requirements;

(c)
Metering requirement;

(d)
Grounding requirements;

(e)
Transmission line and substation connection configurations;

(f)
Unit stability requirements;

(g)
Equipment ratings;

(h)
Short circuit requirements;

i)
Synchronizing requirements;

(j)
Generation control requirements;

(k)
Data provisions;

(l)
Energization inspection and testing requirements;

(m)
Any unique requirements of the Transmission Owner to which the Facility will be physically interconnected.

ATTACHMENT E - OPERATING GUIDELINES

This Attachment E is a part of the Interconnection and Operating Agreement between Generator and RTO dated [Supply].

[The unique requirements of each generation interconnection will dictate the establishment of mutually agreeable Operational Guidelines that implement this Interconnection and Operating Agreement.  These guidelines will address, but not be limited to, the following:

(a)
System Protection Facilities;

(b) 
Switching and tagging;

(c)
Communication requirements;

(d)
Metering requirements, including meter data reporting;

(e)
Data reporting requirements;

(f)
Training;

(g)
Capacity determination and verification (including Ancillary Services and certification);

(h)
Emergency operations, including system restoration and black start arrangements;

(i)
Any must-run conditions;

(j)
Stability requirements, including generation short circuit ratio considerations;

(k)
Limitations of operations in support of emergency response; 

(l)
Maintenance and testing;

(m)
Generation and operation control.

APPENDIX 6

AGREEMENT PROVIDING FOR THE COMMENCEMENT OF

INTERCONNECTION ACTIVITIES

THIS AGREEMENT is made and entered into this ____ day of ________, 20__ by and between ________________, a corporation organized and existing under the laws of the State of _________, ("Generator,") and ____________, a corporation organized and existing under the laws of the State of __________ ("RTO").  Generator and RTO each may be referred to as a "Party," or collectively as the "Parties."

RECITALS


WHEREAS, Generator is proposing to develop a __ MW generating facility or generating capacity addition to an existing generating facility to be located at _____________ (“Facility”); and 


WHEREAS, the Facility is not connected to the Transmission System; and


WHEREAS, Generator is proposing to establish an interconnection with the Transmission System; and 


WHEREAS, Generator has requested that the RTO file an unexecuted Interconnection and Operating Agreement with FERC;


NOW THEREFORE, in consideration of and subject to the mutual covenants contained herein, the Parties agree as follows:

1.0
The terms used in this Agreement with initial capitalization shall have the meanings specified in the RTO OATT.  

2.0
The Parties agree that they will be bound by the terms and conditions of the unexecuted Interconnection and Operating Agreement that is Appendix A to this Agreement and will continue to be bound by the Agreement as it may be modified by final order of the FERC.

3.0
Generator may in its discretion terminate this Letter Agreement at any time pursuant to written notice to the RTO.  Notwithstanding such termination, Generator shall pay to the RTO all costs that the RTO prudently incurs in performing under this Agreement and the unexecuted Interconnection and Operating Agreement prior to the RTO’s receipt of the Generator’s notification of such termination.

IN WITNESS WHEREOF, the Parties have caused this Agreement to be duly executed by their duly authorized officers or agents on the day and year first above written.

[RTO]






[Generator]

By _____________________________

By _____________________________

Name (typed or printed):



Name (typed or printed):

Title:






Title:

� See notes accompanying Section 4.5.


� Generators are requesting liquidated damages for a failure of the RTO to meet the agreed-to construction schedule.  These damages are intended to cover Generator’s delivery obligations under other project agreements.  Alternatively, Generators request the option to construct the RTO Interconnection Facilities and Interconnection System Upgrades.  The Transmission Owners have not agreed to assume liability for liquidated damages for the construction of facilities that would not have been required but for the interconnection of the Generator or to permit Generator to assert “step-in” rights.


� The responsibility for costs relating to RTO Interconnection Facilities and Interconnection System Upgrades is a subject of debate.  The principal options are direct assignment of these costs to the Generator or the socialization of such costs by rolling them into the RTO’s transmission rates and avoids placing the cost burden on customers who do not benefit from them. Direct assignment allocates responsibility for the cost directly to the party but for whose interconnection the RTO Interconnection Facilities and Interconnection System Upgrades would not be required. Socialization spreads these costs across the entire system, reducing the costs of interconnection for generators and encouraging capacity growth.


� Transmission Owners assert that Generators should be responsible for the costs of completing their interconnections if those interconnections are necessary to complete the interconnection of any other Generator that has “locked in” its interconnection costs by executing an Interconnection and Operating Agreement (or requesting RTO to file such an Agreement in unexecuted form with the FERC).  Generators assert that they should not be responsible for such costs, which should be rolled into the cost of transmission service.  If Generator’s version of Section 4.5.1 is adopted, there will be no need for this provision.


� If Generators’ version of Section 4.5.1 is adopted, there will be no need for this provision.  If Transmission Owners’ version of Section 4.5.1 is adopted, Generators assert that credits should be available for the costs of RTO Interconnection Facilities and Interconnection System Upgrades.


� If Generator’s version of Section 4.5.1 is adopted, this provision will not be necessary.


� If Generator’s version of Section 4.5.1 is adopted, this provision will not be necessary.


� If Generator’s version of Section 4.5.1 is adopted, this provision will not be necessary. 


� If Generator’s version of Section 4.5.1 is adopted, this provision will not be necessary. 


� If Generator’s version of Section 4.5.1 is adopted, this provision will not be necessary. 





