 DRAFT OF 16/03/01
DRAFT


Recommended Reforms to the

Japanese Electricity Market

March 2001

Carlos Lapuerta

Boaz Moselle

The Brattle Group

The Brattle Group, Ltd.

8-12 Brook Street

London W1Y 2BY

United Kingdom

Tel: +44-20-7491-0843

Fax: +44-20-7491-0846

Email: office@brattle.co.uk

Contents

2Executive Summary


71.
The Need for Competition


92.
Existing Reforms are Not Sufficient


92.1.
Factors Inhibiting Competition


132.2.
Inadequacy of Current Reforms


133.
Measures for Promoting Competition


133.1.
VIPP Auctions


143.2.
Horizontal and Vertical De-merger of Generation


183.3.
Vertical De-merger of Transmission, Distribution and Retail Supply


193.4.
Privatisation of EPDC Assets


193.5.
Limiting Capacity Expansion by Incumbents


193.6.
Review of Technical Regulations


203.7.
Liberalisation of the Natural Gas Industry


224.
Market Opening


225.
A Japanese Pool with Bilateral Financial Trading


266.
Independent Regulator


277.
Nuclear Power


308.
Carbon Emissions


319.
Stranded Costs


3210.
System Reliability




Executive Summary 

Japan’s electricity industry needs reform. Japanese consumers pay significantly higher prices than any other country in the developed world.
 If Japan’s industrial prices were reduced to match those of Italy, the next most expensive OECD country on a Purchasing Power Parity (PPP) basis,
 Japanese consumers would have saved more than $2.8 billion in 1997 alone. Electricity prices in Japan are 51% above the OECD average,
 imposing a real cost on Japanese industrial and residential consumers of roughly ¥4,500 billion per year.
 Table 1 compares Japan’s electricity prices with those of other OECD countries.

[image: image1.wmf]Table 1: Comparison of Electricity Prices (PPP Basis)

Country

Price

(US$/MWh)

Excess on OECD 

Weighted Average

Price

(US$/MWh)

Excess on OECD 

Weighted Average

[A]

[B]

[C]

[D]

[A]/[A][7]

[C]/[C][7]

Japan

[1]

106.81

72%

151.95

45%

Italy

[2]

97.47

57%

165.13

58%

UK

[3]

61.48

-1%

122.96

18%

Germany

[4]

59.77

-4%

139.46

33%

France

[5]

40.17

-35%

116.04

11%

US

[6]

40.00

-36%

80.00

-24%

OECD Weighted Average

[7]

62.15

0%

104.60

0%

Notes and Sources:

[7]: Consumption Weighted Average Price of Power in the OECD.

IEA Database

 "Energy Statistics of OECD Countries, 1960-1998" 

(2000)

Prices calculated on a Purchasing Power Parity basis.

1997

Industrial

Residential


Expensive land and a lack of significant indigenous fuel resources contribute to Japan’s high prices, but they are only partially responsible. Market and regulatory inefficiencies also play a significant part. Japanese power companies pay excessive prices for imported fuel and have little incentive to reduce these costs, because fuel costs are easily recovered from consumers. They do not take full advantage of differentiated electricity prices to promote efficient energy usage by consumers. Utilities in Japan do not currently have the right to “eminent domain,” which would allow the acquisition of property at market prices, significantly lowering the cost of construction. Finally, Japan’s power market is distorted by inefficient regulations such as the requirement that gas turbines be disassembled completely every 30 months, a practice that is inconsistent with manufacturers’ recommendations.
 

Market liberalisation is necessary to solve Japan’s problems. Competition would provide direct financial incentives for power companies to allocate resources more efficiently, and to send efficient pricing signals to consumers. Power companies would be motivated to minimise the costs of generating and transmitting power, and to implement pricing policies that efficiently shift consumption to those times when electricity generation costs are lowest. Competition would also motivate power companies to work with government officials to change inefficient regulations. International experience confirms that market liberalisation leads to significant efficiency gains.

Although a large proportion of demand is currently able to choose suppliers,
 there are few signs of active competition. Few customers have switched suppliers, and incumbents have refused to participate in tenders that would involve competition outside their traditional service territories. Prices have not changed significantly. In contrast, industrial consumers in Europe have enjoyed large price reductions following market liberalisation,
 most dramatically in Germany.

Our analysis suggests that the lack of competition in Japan is due to the highly concentrated ownership of generating capacity. The transmission links between service territories are too small to permit effective competition. Each service territory remains a distinct geographic market, in which the incumbent enjoys extraordinary market power. Prospective competitors face substantial barriers to entering the market. Other aspects of the power industry, including the history of co-operation among the power companies and conservative use of transmission capacity for economic exchanges, contribute further to the lack of effective competition. Against this background the current reform of the “economic exchange system” to permit the participation of third-parties is too minor to produce any significant change. 

Proposed Reform Package for Japan

The Japanese Government can best meet its goals with a comprehensive and radical set of reforms that simultaneously creates genuine competition and promotes other key public policy goals. We provide specific proposals for increased competition in the power industry. We recommend that the Japanese government adopt target levels of competition for specific future dates, and use our proposals as a basis for designing a reform program that can achieve those targets.

Our proposals also include measures to support the key public policy goals of reliability, energy security and environmental protection, including mechanisms that promote reliability, allow nuclear power targets to be met at least cost, and facilitate compliance with Japan’s Kyoto undertakings. Any reform program promulgated by the government should include these measures. While opponents of competition may warn that it threatens reliability or other public policy goals, experience from deregulated power markets round the world shows that competition within the appropriate regulatory framework can provide superior achievements in these important areas. 

We specifically distinguish our proposals from the regulatory approach adopted in California, which contributed significantly to the reliability problems that have attracted considerable publicity. Problems in California are not a consequence of liberalisation. Liberalised power markets can be found in the United Kingdom, Scandinavia, New Zealand, Australia and Latin America, and none has shared the California experience, which reflects a unique combination of market circumstances and egregious policy errors.

Our proposals include:

1. Measures to promote competition and reduce market concentration:

· Within the next year, require incumbent generators to auction off capacity and power commitments that would allow entrants to serve the market as if they owned generating assets directly. We call these contracts “virtual independent power producers” or  “VIPP”s.

· De-merge the generation assets of each incumbent into a number of new companies, without requiring the transfer of ownership from existing shareholders.

· De-merge the transmission, distribution, and retail supply businesses of incumbents into different businesses, to ensure full competitive neutrality with respect to these functions.

· Privatise Electric Power Development Company’s (EPDC’s) generating assets by splitting them into separate businesses and selling them to entrants.

· Prevent incumbents from building new capacity in their existing service territories, unless they can demonstrate a threat to reliability.

· Initiate a review of technical and regulatory barriers to the construction of new power plants and Liquefied Natural Gas (LNG) facilities.

· Liberalise the natural gas industry to facilitate the construction of new gas-fired power plants by entrants.

2. Open the market by increasing the number of eligible customers to 100% as soon as is feasible.

3. Establish a national power pool combined with bilateral financial trading,
 with rules that effectively grant transmission access and ancillary services to incumbents and entrants on non-discriminatory terms. Our recommended pool would also have specific characteristics to address the problem of limited interconnections between service territories. Although in a mature competitive market there is little reason to favour or disfavour a power pool, our proposal has specific advantages as a means of fostering competition in a liberalising Japanese market.

4. Establish a regulator, independent from the industry and with a specific charter to promote efficient competition.

5. Undertake measures to minimise the costs associated with nuclear power. We recommend a non-discriminatory auction of nuclear licences that would allow entrants to participate, and would allow incumbents to build nuclear power plants in each other’s service territories. If this is infeasible, we recommend the use of tenders for plant construction and transparently applied performance-based regulation to minimise operating costs.

6. Develop a program for domestic trading of carbon permits, to achieve the government’s Kyoto commitments at minimum cost.

7. Incumbents who are willing to sell off potentially stranded assets should become eligible for stranded asset recovery. We recommend a recovery mechanism that prevents excess recovery and avoids any distortion of competition.

8. Avoid unnecessary measures that would purport to enhance reliability while distorting or inhibiting competition. If specific reliability measures are deemed necessary, they should be competitively neutral and interfere with market forces as little as possible. We recommend either government tenders for capacity, or a regulated reserve requirement.

Figure 1 shows a timeline for implementing these reforms.

[image: image2.wmf]1st Year:

2nd Year:

>2 Years:

•

Design Appropriate Powers, Capabilities,

Charter, and Independence from industry

for 

Regulatory Body

•

Review 

Technical Regulations

 for

Generation and LNG

•

Regulator

 Takes on New Responsibilities

(Regulation of Transmission and

Distribution and Setting up of Pool)

•

Open 

Nuclear Franchise Auction

•

Open 

Electricity Pool

•

Begin 

Carbon Trading

•

Enact 

Stranded Cost Levy

, if necessary

•

Expand Number of 

Eligible Customers

 to

100%

Regulatory/Market Structure

•

Open 

VIPP Auction

•

Separate Management and

Accounts

 of Generation

•

Privatise

 

EPDC

•

Establish 

No Net Additions Rule

 for

Incumbents

•

Begin De-merger 

of

 

Generation,

Transmission, Distribution and Retail

Supply

•

Liberalise

 Natural Gas Industry

Promote Competition

•

Complete 

Full Vertical and

Horizontal De-merger

Figure 1:Timeline for Reforming Japan’s Electricity Industry


Our reform proposals are based on economic analysis of the Japanese market, and draw on experience of liberalised markets around the world. It is important to stress that the reforms are designed to address specific features of the Japanese market:

· We propose a pool for Japan because we see particular advantages to the arrangement in the Japanese context in the short-to-medium term. A pool introduces a degree of automatic competition, since every bid is automatically available to every consumer, and therefore will help to overcome any unwillingness to compete among traditionally friendly incumbent utilities. 

· We focus on mechanisms such as VIPPs and privatisation of EPDC because we understand that forcing divestiture of assets by the utilities may be very difficult in Japan.

· We recognise the potential sensitivity to “stranded costs” in Japan.

· We discuss at length the issue of energy security, which is of particular importance in the Japanese context.

· Our reforms include measures to help achieve Japan’s environmental protection goals.

The Need for Competition

If Japan’s industrial prices were reduced to match those of Italy, the next most expensive OECD country on a Purchasing Power Parity (PPP) basis,
 Japanese consumers would have saved more than $2.8 billion in 1997 alone. Table 1 shows 1997 power prices for Japan and a number of other OECD countries, measured in PPP terms. It confirms that even without exchange rate distortions, Japanese power prices are extremely high. Even modest improvements in the industry relative to world standards could produce substantial savings.

[image: image3.wmf]Table 1: Comparison of Electricity Prices (PPP Basis)

Country

Price

(US$/MWh)

Excess on OECD 

Weighted Average

Price

(US$/MWh)

Excess on OECD 

Weighted Average

[A]

[B]

[C]

[D]

[A]/[A][7]

[C]/[C][7]

Japan

[1]

106.81

72%

151.95

45%

Italy

[2]

97.47

57%

165.13

58%

UK

[3]

61.48

-1%

122.96

18%

Germany

[4]

59.77

-4%

139.46

33%

France

[5]

40.17

-35%

116.04

11%

US

[6]

40.00

-36%

80.00

-24%

OECD Weighted Average

[7]

62.15

0%

104.60

0%

Notes and Sources:

[7]: Consumption Weighted Average Price of Power in the OECD.

IEA Database

 "Energy Statistics of OECD Countries, 1960-1998" 

(2000)

Prices calculated on a Purchasing Power Parity basis.

1997

Industrial

Residential


Several Japan-specific factors contribute to these high prices, including expensive land and a lack of indigenous fuel resources, but they alone do not explain Japan’s high costs. Electricity prices in Japan are also elevated by inefficiencies in Japan’s market and regulatory structures:

1. Utilities currently pay unnecessarily high prices for fuel and have little incentive to reduce these costs. Taxes, custom duties, and long-term contracts incorporating fuel price premiums all contribute to the high cost of fuel.
 As regulated utilities the incumbents can pass through fuel costs, and therefore have little incentive to reduce fuel costs by bargaining effectively or seeking alternative sources.

2. Incumbents do not utilise transmission capacity efficiently. The same ability to pass-through costs removes any incentive for inter-utility trades that could reduce generation costs.
 We understand that a significant part of the limited inter-utility transmission capacity is reserved for emergency use only, further limiting transactions between the regional markets and preventing optimal use of all available capacity.
 

3. The utilities must comply with excessive and inefficient regulations, such as the requirement to disassemble natural gas turbines every 30 months, which is inconsistent with the manufacturers’ recommendations and not practised elsewhere.
 Other inefficient regulations include the prohibition on loading LNG at night, which restricts the amount of natural gas that can enter the market.

4. Utilities have poor incentives to implement mechanisms such as interruptible service and time-of-use pricing that can reduce peak loads and therefore lower the industry’s capacity requirements and associated capital costs.

Competition is necessary to address these market inefficiencies and reduce electricity prices. Competition creates incentives for the optimal use of resources, which reduces costs. Experience in other countries has shown that capacity availability tends to increase and operating costs decline as a result of market liberalisation. For example, in the US the average availability of coal plants improved by 5% and the operating costs for new coal plants declined by 50% in anticipation of competition. Similarly, in the UK, the availability of National Power’s power stations improved by 3% in the five years following privatisation. In New Zealand, operating costs declined by 13% during the five years following privatisation. 
 

Competition in supply also drives utilities to design innovative tariffs that send appropriate price signals to customers, thereby reducing costs and increasing efficiency. It also provides incentives for Japanese power companies to work with local and national authorities to create more efficient regulations that achieve the same environmental goals at lower overall cost. At present, incumbents have no incentive to lobby against inefficient administrative or regulatory requirements, because they can pass all compliance costs through to their customers.

Finally and most importantly, deregulation of the power market need not threaten Japan’s other energy policy goals: reliability of electricity supplies in the short-term, energy security in the long-term, and environmental protection. A properly designed system can accommodate, and in many cases, further these goals within a liberalised market framework.

1. Existing Reforms are Not Sufficient

Electricity customers in Japan have yet to see any significant changes resulting from liberalisation measures introduced to date. In Europe industrial consumers have enjoyed large price reductions following market liberalisation,
 most dramatically in Germany.
 In contrast, Japanese customers continue to pay extremely high electricity prices. Prices remain high because competition is not yet effective. Incumbents often appear unwilling to submit bids for new customers outside their service territories, and consequently there is little sign of consumers actively switching to new suppliers.

1.1. Factors Inhibiting Competition

Competition in Japan’s electricity market is currently hindered by three factors:

1. Japan’s regional electricity markets are extremely concentrated, especially given the lack of transmission capacity between the areas. 

2. Specific market features deter incumbents from competing vigorously with each other.

3. Substantial barriers deter entrants.

Concentration

We have calculated the Herfindahl-Hirschman Index (HHI)
 in each of Japan’s regional electricity markets. Our analysis shows that these markets are highly concentrated, even using extremely conservative assumptions about potential competition. Table 2 shows HHIs calculated assuming that:

· The competing suppliers in each market include the incumbent utility, Electric Power Development Company (EPDC), Japan Atomic Power Company (JAPC);

· The total available transmission capacity that can enter each market is a source of aggressive competition;

· 20% of the self-generation capacity in each market is used to supply power to consumers (other than the owners of the capacity) in direct competition with the incumbent utilities.

Under these assumptions, the lowest HHI for any of the regions is 3,300. All the HHIs are substantially higher than accepted measures of market concentration, which tend to be 2,000 or less. Professor Littlechild, the former UK electricity regulator, has cited an HHI of 1,750
 as marking the difference between a moderately and highly concentrated market while the U.S. Department of Justice considers markets with HHIs of 1,800 points or more to be highly concentrated. Even in the least concentrated of all areas, Shikoku, the conservatively estimated HHI exceeds the United States Department of Justice standard by approximately 85%.
International standards concerning HHIs are backed by international experience in liberalised electricity markets. For example, HHIs of less than 4,000 in England & Wales have been associated with a prolonged history of market power abuse that cost consumers in excess of £700 million per year,
 that provoked nine years of published complaints by the regulator concerning abuse,
 that resulted in numerous articles by economists confirming market power problems,
 and that ultimately prompted the forced sale of power plants by incumbents to reduce their size dramatically.

In 1996 the generation sector in New Zealand had an HHI of approximately 5,400, similar to many of the regional markets in Japan. An affiliate of the largest company, ECNZ, explicitly acknowledged its market power in published statements.
 the market power problems were so severe that within two years the government forced the break-up of the largest generator, ECNZ, into three different companies.

Appendix 1 describes HHIs, international standards, and our analysis in more detail. 

[image: image4.wmf]Area

HHI

Hokkaido

7,285

Tohoku

4,449

Tokyo

7,557

Chubu

6,182

Hokuriku

7,110

Kansai

6,567

Chugoku

4,165

Shikoku

3,373

Kyushu

6,343

DOJ Standard for "Highly 

Concentrated Market"

1,800

Sources:

Data provided by Enron Japan.

See Appendix 1 for details of calculations.

Table 2: Estimated HHIs for Japan Electricity 

Power Areas


Specific Market Features

Liberalised electricity markets often inherit characteristics that hinder effective competition among incumbents. Such characteristics exist in Japan, including vertical integration in separate geographic territories and a history of commercial agreements among power companies. In Appendix 2 we discuss market characteristics that can limit competition.

Barriers to Entry

Entry barriers in Japan include significant investment and construction costs, inflexible transmission access, and difficulties in buying power from self-generators. The current third-party access regime deters entry because it does not provide entrants a comparable flexibility to incumbents. Transmission access is granted on a point-to-point basis, and although changing points is permitted, requests can be subject to significant delay if the incumbent insists on conducting a loop flow study before accepting modifications. Third-parties are therefore prevented from flexibly changing entry or exit points on short notice. The requirement for annual contracts imposes additional restrictions on entrants, as do the requirements to buy expensive back-up and load following services.

Self-generators rely on the incumbent for ancillary services such as back-up power in case of unforeseen outages. They may be concerned about any potential deterioration in their relationship with the incumbent, especially if they and the incumbent share other commercial relationships. Such concerns may deter self-generators from selling excess capacity to entrants.

1.2. Inadequacy of Current Reforms

Japanese authorities cannot expect the reform of the current “economic exchange system” to change the situation significantly. Because each regional market is highly concentrated, incumbents do not fear competition for customers in their own territories. Therefore, incumbents have little incentive to maximise exchange opportunities outside their regions. Even if incumbents sought to maximise such opportunities, exchanges would have little impact on competition due to the limited transmission capacity between regions. Furthermore, the exchange system does not permit firm transactions, and the requirement to own physical assets deters entry unnecessarily. Little competition can be expected until more profound reforms are adopted.

2. Measures for Promoting Competition

As we indicated above, the concentration of generation capacity in Japan significantly exceeds levels that have been associated with market power problems internationally. We recommend that the Japanese government adopt target levels of competition for specific future dates, including a long-term target to reduce the HHI in each regional territory from current levels to international standards of 2,000 or below. 

Below we propose a series of measures to increase the competitiveness of Japan’s electricity market include auctions of capacity by incumbents pending a “de-merger” program, the privatisation of EPDC assets, limits on capacity expansion by incumbents in their territories, and measures for facilitating entry. We recommend that the government use our proposals as a basis for designing a reform program to achieve its target levels of competition. 

Any reform program adopted in Japan should combine the promotion of competition with measures to support the key public policy goals of reliability, energy security and environmental protection. In subsequent sections of this paper we propose such measures, including mechanisms that promote reliability, allow nuclear power targets to be met at least cost, and facilitate compliance with Japan’s Kyoto undertakings.

2.1. VIPP Auctions

The Japanese Government could achieve its reduced concentration targets by requiring all incumbents to sell their generation assets. However, we understand the reluctance within Japan to require divestiture, which is viewed as undermining private property rights. Some European governments have demonstrated a similar reluctance to divest. In France and Ireland serious market power problems are being addressed without requiring divestiture through “Virtual Independent Power Producer” (“VIPP”) auctions. In addition to avoiding forced divestiture, VIPP auctions can be implemented quickly. We recommend that the Japanese government implement a VIPP auction within the next year, as a first step in enhancing market competition. 

A VIPP auction provides capacity to independent parties without transferring ownership of the incumbent’s generation assets. Figure 2 outlines the steps involved.

[image: image5.wmf]Figure 2: VIPP Auction Process

Entrants bid for “virtual” generating

capacity

Entrants win and pay auction capacity

price (X ¥/MW)

During any hour of the year, winner

has right to buy power from incumbent

(at Y ¥/

MWh

) and to re-sell it.

Incumbent auctions fixed quantity of

“virtual” generating capacity


1. The incumbent auctions a fixed quantity of “virtual” capacity contracts that include pre-specified energy prices, or pre-specified price indices, for delivering power to one or more designated points.

2. Independent suppliers bid into the VIPP auction.

3. Capacity is awarded to the highest bidders until all of the capacity is assigned. Winning bidders pay the VIPP capacity price per MW of capacity that they have purchased, as determined by the type of auction (for example, the auction may be a “uniform price” or “pay-as-bid” auction). 

4. Finally, the winning bidders have the right to buy energy from the incumbent at the fixed or indexed energy prices as determined before the auction. The winning bidders can re-sell this energy to other power companies, or deliver it directly to end-users.

Appendix 3 provides more details on the VIPP auctions recently announced/implemented in France and Ireland.

2.2. Horizontal and Vertical De-merger of Generation

In this and the next section we describe a complete program of “unbundling” that would fully separate the different functions (generation, transmission, distribution and supply) of the incumbent utilities. Figure 3 illustrates the process we recommend: first, complete vertical and horizontal separation of generation,
 followed later by vertical separation of transmission, distribution and supply.

[image: image6.wmf]G

T

D

S

T

D

S

T

D

S

G

1

G

5

….

G

1

G

5

….

Figure 3: De-merger Proposals

G: Generation

D: Distribution

T: Transmission

S: Supply

Step 1

Step 2


We recommend that separation take place via de-merger, to avoid any forced transfer of ownership. De-merger involves dividing and allocating generation, transmission, and distribution assets to separate companies. The employees, management, accounts, and legal relationships of the companies are separated. After de-merger, the shareholders of an incumbent power company own separate sets of shares: one set for each of the “de-merged” companies. Ownership of all de-merged companies remains initially with the existing owners. However, the de-merger permits separate trades of stock for each of the companies involved. Ownership can therefore diffuse over time from voluntary purchases and sales of stock. 

The Need for De-merger of Generation

Our proposal implies both horizontal and vertical de-merging of generation. Horizontal de-merging refers to the separation and allocation of generation assets to new companies while vertical de-merging involves the separation of ownership of generation from that of transmission, distribution, and retail supply.

Horizontal de-merger of generation will significantly reduce market concentration in Japan’s regional markets. While the VIPP auction reduces concentration by allowing entrants immediate access to existing capacity, it is not an adequate long-term solution. The VIPP mechanism does not allow entrants to make important operational decisions such as the addition or retirement of units, or the purchase of fuel. De-merger is a more profound reform that approximates the competitive impact of divestiture, while avoiding the forced transfer of ownership.

 Vertical de-merger of generation from transmission achieves two goals. First, it prevents potential discrimination against entrants, encouraging new entry and increasing competition. Second, it prevents potential manipulation (short and long term) of transmission constraints to raise prices. Vertically-integrated owners of generation have a natural incentive to use their control of transmission assets to deter entry by potential competitors. Excessive charges for third party access (“wheeling”) represent only one of the many potential forms of abuse. Experience in Europe and the United States confirms the difficulty of identifying and preventing transmission abuse, despite the best efforts of dedicated regulators.
 European and US regulators have increasingly recognised the need for strict separation of transmission from other activities, to prevent such abuse.

Later in this paper we recommend a pool mechanism that could mitigate the potential for discrimination by requiring transmission operators to ensure despatch based on the pool rules and bids received (or compensate accordingly). However, even if this mechanism works perfectly in preventing discrimination it cannot address the second problem: manipulation of constraints to raise prices. For example, a vertically-integrated transmission operator might avoid capacity expansion because congestion led to higher pool prices in its area. This would not entail discrimination, since it would benefit all owners of generation, but would clearly be an anti-competitive abuse.

Our recommendation would also separate generation from distribution and retail supply. Separating generation from distribution is advantageous because continued integration presents similar problems to those discussed above in relation to transmission, for customers that take power from the distribution system rather than connecting directly to the high-voltage network. Separating generation from retail supply is desirable because continued integration can impede competition by preventing supply businesses from approaching the purchase of power with competitive neutrality. First, established suppliers tend to favour their generation affiliates over equally efficient third-parties, especially if they continue to have to supply a significant number of captive customers and can pass on their generation costs. Second, vertical integration impedes the emergence of a liquid market that would provide useful market signals to potential entrants. In vertically-integrated industries, incumbent supply businesses effectively purchase electricity from their generation affiliates, without yielding any transparent information about market prices or value.

Ownership Separation

We recommend ownership separation rather than less radical measures such as accounting, management or legal unbundling. We understand that it may be difficult to impose ownership separation in Japan, even though de-merger of assets avoids any forced transfer of ownership rights. However, ownership separation provides the most complete and irreversible guarantee of non-discrimination. It is therefore most likely to promote competition and to foster entry.

The example of the United Kingdom gas industry provides striking evidence of the benefits of ownership unbundling. The national gas utility British Gas was privatised as a vertically integrated company, and discrimination against third-party shippers was commonplace in its early years. Such abuse has ended following the vertical demerger that created Transco as a separately owned transmission company.
 The electricity industry in the United Kingdom enjoys the same benefits of non-discrimination, because of the complete separation of the transmission grid.
 Both industries have seen large-scale successful entry under the regime of separately owned transmission. 

Alternatives to De-merger

It will be difficult to promote effective competition without significant horizontal and vertical demerger of generation. However, if such measures cannot be implemented then we recommend an alternative program comprising:

· Continued use of VIPPs to provide competition in generation.

· Any feasible measures to reduce concentration of ownership of generation in each regional market (including the measures discussed below relating to privatisation, restraints on capacity expansion by incumbents, and incentives for divestiture to qualify for stranded cost recovery).

· Strict management and legal unbundling of transmission.

We specifically recommend against relying on accounting separation to provide non-discriminatory access to transmission. Experience to date in Japan and elsewhere shows that it is unlikely to be fully effective in preventing discrimination. The European Commission has recently acknowledged that the requirement for account unbundling in the 1998 Gas Directive is inadequate to prevent discrimination, and has proposed strengthening it to a requirement for strict management and legal unbundling. While account unbundling may prevent the most obvious forms of discrimination in tariff-setting, it cannot prevent other forms of abuse. Discrimination can occur on many dimensions other than transmission charges, including the nature and flexibility of the services offered, the allocation of capacity, and the provision and pricing of ancillary services.

If ownership separation is not feasible we therefore recommend that the Japanese government strengthen current unbundling requirements to require strict legal and management unbundling. Transmission management should be performed by separate staff in a legally separate firm, located in separate facilities. The pay and promotion of transmission managers should be determined by objective criteria relating to their management of the transmission system and independent of the performance of the rest of the firm. The firm should institute a compliance program to ensure genuine separation of control and respect for commercially confidential information.

A requirement for legal and management unbundling is consistent with regulatory practice in Europe and the US. As mentioned above, the recently proposed amendments to the EU Gas Directive would replace account unbundling with a requirement for strict management and legal unbundling, with similar requirements to our own recommendations above. Regulators in the United States have required a similar form of separation by setting up “Regional Transmission Operators” (“RTOs”). RTOs are responsible for operating and controlling the transmission grid, must operate independently from the market participants, and are subject to regulated rates. However, RTOs are not linked to the ownership of transmission assets. They operate the transmission assets on behalf of incumbents, who retain ownership.

2.3. Vertical De-merger of Transmission, Distribution and Retail Supply

As the final stage in the process shown in Figure 3 we recommend de-merger of transmission, distribution and retail supply into separate businesses. Complete ownership separation of transmission and distribution from retail supply provides the best possible guarantee of non-discriminatory access. A vertically integrated retail supplier may be able to discriminate against competing entrants, just as vertically integrated generators can do in the wholesale market. Competition in the market for smaller customers not only provides benefits to those customers themselves, but also improves the functioning of the wholesale market by promoting greater liquidity and efficiency in a variety of ways.

Strict separation of retail supply from distribution and/or transmission is consistent with regulatory practice in many jurisdictions, including Norway, New Zealand, the United Kingdom and parts of the United States. In the UK the transmission company cannot engage in distribution or supply (or generation). The UK regulator has required accounting separation between distribution and supply businesses, and increasingly requires additional forms of management separation. Recently some firms have voluntarily chosen ownership separation, reflecting the fundamentally different nature of the distribution and retail supply businesses.

Finally, we suggest that the government consider vertical demerger of transmission from distribution, and encourage the formation of a single national transmission company out of the transmission assets sold off by the utilities. This company could also purchase the transmission assets of the Electric Power Development Company (EPDC) to give it unified control of the Japanese high-voltage grid, allowing for efficient operation of the system.

As in the previous section, we recommend that where de-merger is infeasible the government should require strict legal and management unbundling, rather than relying on account unbundling.

2.4. Privatisation of EPDC Assets

The Electric Power Development Company (EPDC) owns and operates hydro, coal-fired, and geothermal generating stations and sells all of its power at cost to the regional utilities. In order to promote competition and facilitate entry in generation, we recommend that the Japanese Government privatise EPDC’s assets. Each station should be sold separately and incumbents should be barred from purchasing any portion of EPDC. This will encourage potential entrants to participate in the privatisation, maximise the number of new market participants in Japan’s electricity market, and reduce the market concentration of Japan’s regional electricity markets. The Japanese Government may also want to consider related measures to promote entry in generation. Such measures might include divesting JAPC and promoting the privatisation or leasing of municipally-owned hydro assets.

2.5. Limiting Capacity Expansion by Incumbents

We recommend that the Japanese Government implement a “no net additions” rule that would require incumbents to divest existing capacity in return for adding new capacity. With a “no net additions” rule, incumbents could only build as much capacity as they either retired or sold to third-parties. Every MW of additional demand in an area would be met by entrants. Of course, under some circumstances, incumbents might claim that third-parties were not planning on sufficient capacity additions to serve demand. Reliability concerns could justify legitimate exceptions to the rule. We recommend that incumbents be allowed to expand their total available capacity in an area if it is proven necessary for reliability reasons.

2.6. Review of Technical Regulations

Several regulations deter entry into Japan’s generation market. Modifying the regulations will be a complex task. We recommend that this year the Government launch a study to review regulations that affect entry, and develop recommendations for possible reform to encourage additional competition. We specifically recommend inclusion of the following two subjects:
1. Significant investment and construction costs: Building new generation in Japan is complicated by the lack of available sites, strict certification processes, and high operating standards.
 We recognise that some of these barriers are related to Japan’s shortage of land and high risk of earthquakes and must remain in place. However, we recommend that the government review regulatory barriers concerning site approvals and operating standards, to see whether any of these regulations impede new entry unnecessarily.

2. Eminent domain: Currently neither incumbents nor entrants can secure the right to “eminent domain” for new power stations in Japan.
 This can lead to significant delays and increased costs for the construction of new capacity. We recommend that the government review the possibility of granting new power station projects the entitlement to acquire sites at fair market prices.

2.7. Liberalisation of the Natural Gas Industry

We recommend liberalising the natural gas industry to facilitate the construction of new gas-fired power plants by entrants, and by incumbents in each other’s service territories.

Japanese authorities have recently adopted third-party access to natural gas pipeline infrastructure. However, the access regime has not yet developed fully. An independent regulator of the natural gas industry does not yet exist, and there are no legal or regulatory provisions that would ensure transparent derivation of third-party tariffs from underlying costs. Further development of the third-party access regime is important for competition in the electricity industry.

A comprehensive analysis of the natural gas industry in Japan is beyond the scope of this paper. However, we believe that two specific developments are critical and should be pursued by Japanese authorities in the next two years:

1. Third-parties must have regulated access to LNG facilities. 

2. Incumbents should be obligated to expand the capacity of pipelines or LNG facilities if entrants are willing to pay for them. 

Allowing third-party access to LNG facilities on a non-discriminatory is beneficial in two ways. First, it would maximise the utilisation of existing assets. Japanese ratepayers currently bear the costs for these regulated assets. The incremental revenues from third-party access would offer the possibility of rate reductions to Japanese consumers.

Second, regulated access to LNG facilities would significantly reduce barriers to the construction of new gas-fired plant by entrants. Although negotiated access is theoretically possible, in the absence of regulated access entrants building new gas-fired power plants would likely have to construct LNG terminals. This need increases the lead time before a power plant could commence operations. To construct a combined-cycle gas turbine could in principle take as little as eighteen months, while a LNG terminal can take three years. Moreover, the requirement to build a new LNG terminal may unnecessarily restrict the available sites for a new power plant, and would naturally complicate the process of securing regulatory approval. Finally, full use of an efficiently-sized LNG terminal requires an extremely large power plant. A size ranging from 350MW to 450MW is now common for efficient CCGTs. However, to utilise fully a new LNG terminal might require a CCGT significantly larger than 1,000 MW. There are few CCGTs in the world of this size. In the absence of third-party access, construction of such a large CCGT could only be avoided if the project developer found a market for the LNG terminal’s excess capacity. However, this would likely require sales of natural gas to third-parties using the existing or new pipeline infrastructure. Sales would not be easy due to the difficulty of finding a market for the gas, possible constraints to the existing pipeline infrastructure, the limitations of the current access regime, and the costs and regulatory hurdles to building new pipeline infrastructure.

In the absence of regulatory or legal reform, incumbents are not expected to voluntarily co-operate to offer third-party access to LNG facilities. Japan’s existing gas companies might themselves be interested in constructing new power plants, and would not be interested in competition from entrants. Other Japanese gas companies may have incentives to protect the power companies by refusing third-party access, because of their significant commercial relationships with the power companies in their area. Mandatory third-party access to LNG facilities would prevent Japanese gas companies from using their ownership of these assets to restrict competition. Third-party access would therefore be fully consistent with international principles of competition law, which prevents the owners of “essential facilities” from denying access to protect or enhance market power.

An obligation to expand the capacity of pipelines or LNG terminals is important. Japan does not have an integrated pipeline network of broad geographic coverage. It is difficult to obtain sites for new power plants, and some sites would no doubt require new pipeline infrastructure. Without first examining the potential costs and benefits, we cannot responsibly recommend a national project to develop the Japanese pipeline infrastructure. 

However, the net benefits of expanding the infrastructure are clear if a user is willing to pay. Although entrants might build pipeline infrastructure independently, in most cases the incumbent gas company can do it more efficiently, while ensuring that the expansion does not impair existing facilities. The same logic applies to LNG terminals as to pipelines. Our recommendation is also consistent with international principles of competition law. Refusal to expand essential facilities, despite an entrant’s willingness to pay all reasonable costs, can be interpreted as an act of monopolisation. Consistent with our reasoning, the European Gas Directive authorises Member States to require network expansion when entrants are willing to pay.

3. Market Opening

Householders in Japan currently pay extremely high prices for electricity. In 1997 residential customers paid 45% more than the OECD weighted-average price of electricity to the domestic sector (see Appendix 4). Experience has shown that introducing competition to the domestic sector can bring about price reductions for consumers. In the UK, the National Audit Office has estimated that, since the introduction of competition in the electricity market, domestic consumers who have switched supplier have saved £299 million ($428 million) a year, £143 million ($204 million) of which can be directly attributed to competition.
 As mentioned above, retail competition also has indirect benefits for the wholesale market.

The European Commission recognises the benefits of rapidly opening up the market to domestic consumers. In recently revised versions of the Electricity and Gas
Directives, the Commission has proposed that, in all EU Member States, domestic customers should be able to choose their electricity supplier by the beginning of 2005, just two years after opening up of the market to all industrial and commercial consumers.

Although 100% market opening should be the eventual goal, we understand that it might be beneficial to open only gradually, allowing experience first to develop with competition. Experience has indicated that full market opening requires modifications to metering and billing systems, and sufficient entry to ensure competition for even the smallest customers. We recommend that the Japanese Government adopt a program to open the market as quickly as possible and aim to achieve full eligibility within the next three to four years.

4. A Japanese Pool with Bilateral Financial Trading

We recommend that Japan establish a national pool combined with bilateral financial trades All generators, would be required to participate in the pool if they wish to transmit power over the high-voltage system. However, generators would also be free to engage in bilateral financial trades (“Contracts for Difference”), ruling out any possibility of a crisis as seen in California. 

All generators including incumbent utilities, municipalities and self-generators would participate in the pool by submitting bids. Similarly, eligible customers would submit bids to purchase power from the pool. Pool rules would, however, allow generators to arrange Contracts for Differences (“CfDs”) directly with individual customers.
 We would expect traders to also participate in the pool and ancillary services to be provided on an equal basis to all participants.

In a mature competitive market there is little reason to favour or disfavour a power pool.
 Our proposal is however designed as an interim measure to foster competition in Japan, bringing it closer to a mature competitive market. At present there are several advantages to implementing an organised pool in Japan. First, a national pool would prevent discrimination by:

· Allowing entrants to buy power anonymously from both incumbents and self-generators. Non-discriminatory access to power encourages third-party participation, thereby increasing the liquidity of the electricity market.

· Providing a mechanism for entrants to anonymously sell power. Customers who buy from the pool may end up consuming the power generated by entrants, but are not obliged to contract directly with entrants, eliminating any fears of commercial retaliation by incumbents.

· Giving entrants non-discriminatory network access with considerably more flexibility than the current “point-to-point” transmission regime.

· Providing entrants access to necessary ancillary services, including balancing power, on a non-discriminatory basis.
 

Second, the pool would enhance competition by:

· Forcing incumbents to compete with each other for tenders. Because incumbents are required to participate in the pool they cannot continue their practice of avoiding direct competition by not participating in tenders. 

· Establishing a uniform product and, if designed properly, providing transparent pricing. Transparent pricing facilitates the detection of anti-competitive behaviour by competition authorities. Authorities could identify whether bids seem in line with costs or appear to be gaming the market because their costs cannot be explained by underlying costs. 

We would expect that the vast majority of power consumed would be purchased via long-term financial contracts, as occurs in other systems that combine a compulsory pool with voluntary financial contracting.
 The former UK regulator Professor Littlechild suggests that no more than one or two percent of industrial customers now purchase at pool prices (i.e., do not purchase via financial contracts).
 The ability to engage in financial contracting makes our proposed system fundamentally different from that in California.

As discussed earlier, there is limited transmission capacity available between Japan’s regional markets. Therefore, we recommend that the pool employ “market-splitting” to account for the capacity limitations of the Japanese interconnectors and the 50Hz/60Hz frequency difference between East and West Japan. When no transmission constraints are binding, a generating plant in one area can supply customers in the all areas and vice-versa, causing there to be a single pool price in all areas. When one or more constraints bind, market-splitting requires the pool to treat constrained areas as separate markets. We illustrate the concept in Figure 4 where G represents generating plants and D represents consumers. In this example, market-splitting would treat zone A as a separate market to zone B.  

[image: image7.wmf]G

1

D

4

D

3

D

2

G

3

G

2

D

1

D

5

Constraint

Zone A

Zone B

Figure 4: Constrained Transmission System


Where constraints separate markets, the pool price in each zone would be set by the relative demand and marginal cost of generating capacity in each zone. Figure 4 illustrates.that the pool price in Zone A might equal 2,000 ¥/MWh while the pool price in Zone B would equal 3,000 ¥/MWh. As this example implies, we recommend that the pool involve a uniform price for all electricity within unconstrained areas. A uniform price facilitates entry by reducing the need to know the costs of other market participants. It reduces the information advantage of incumbents, and allows efficient use of low-cost generating capacity. Entrants can bid in at their marginal cost
 and receive the same price as their competitors, while operators of nuclear plants and run-of-river hydro can ensure full utilisation by submitting bids of zero.

[image: image8.wmf]S

S

D

D

Figure 5: Prices in Isolated Zones

Zone A

Zone B

€

30/

MWh

€

20/

MWh


Although market-splitting results in different prices in different zones, it does not prevent supplies from flowing between constrained areas. For example, a generator in zone A of Figure 5 could still supply a consumer in zone B. However, the price that the generator in zone A would receive for supplying the zone B customer would be the zone A pool price and not the zone B pool price. An alternative way of looking at this scenario is that, for supplying the zone B consumer, the generator in zone A receives the zone B pool price (3,000 ¥/MWh in Figure 5) but must pay the difference between the zone A and B pool prices (1,000 ¥/MWh) to use the interconnector.  The generator then effectively receives the zone A pool price (20 ¥/MWh) for the transaction. In a competitive market, the value of interconnector access would equal the difference between the two pool prices. If generators had to bid for interconnector capacity to supply zone B, they would bid up to a price equal to the difference between the zone A and zone B pool prices (1,000 ¥/MWh). 

Market-splitting implicitly forces competition across territories. In comparison, separate pools with interconnector auctions would raise transaction costs and rely on incumbents to compete with each other interconnectors.voluntarily because it would not require incumbents to compete through a single pool. Our market-splitting proposal also prevents existing long-term exchange commitments from deterring competition between areas. Long-term exchange could however still be honoured financially through CfDs.

By providing price signals between constrained and unconstrained zones, market-splitting clearly indicates the value of expanding interconnector capacity. If the implied value of the interconnector, equal to the price differential between markets, exceeds the cost of capacity expansion, then expansion makes economic sense. We would therefore propose forced interconnector expansion in response to high price differentials between markets. This proposal could be implemented by a regulator who, witnessing a high price differential, would require the transmission operator to prove that expansion was not needed.

5. Independent Regulator

We recommend that the Japanese Government ensure that regulatory responsibility for the electricity industry reside with an independent regulatory agency. An independent regulator is rapidly becoming an international standard as countries recognise its value in assuring neutrality towards potential entrants, even where governments continue to own significant energy assets. The establishment of an independent regulator assures entrants that market neutrality will continue even if the regulator’s staff changes or if a new government comes to power.

A strong regulator offers significant advantages and is typically associated with increased stability and regulatory transparency. The European Commission’s recent proposed  amendments to the Electricity and Gas Directives recognise the importance of an independent regulator. Under the new directives, all Member States would be required to establish a regulatory authority independent from the industry.

Regulatory authorities can facilitate the accumulation of industry-specific regulatory, technical, and economic expertise. Expertise allows regulators to respond to competitive disputes quickly, and to anticipate and prevent disputes by behaving pro-actively. In Germany and New Zealand, the absence of industry-specific regulators forces access disputes to be litigated in the court system or before competition authorities. Litigation has proven extremely expensive, time-consuming, and ineffective in reforming the terms of third-party access. In Appendix 5 we discuss the problems caused by the absence of independent regulators in New Zealand.

International experience reveals that the regulator should have broad powers to implement regulatory reform. In the UK, for example, the regulator complained that it had no power to fine companies even for clear violations of regulations.
 The regulator also lacked the power to make desired changes to the electricity pool, because it was structured as a multilateral contract between generating companies, supply companies, and other large consumers, and excluded the regulator. We therefore recommend that Japan’s regulator have broad regulatory powers. Appendix 7 describes the UK regulator’s frustration with the inability to obtain significant Pool reform. 

We also recommend that Japan’s regulator have the authority to set and approve system transmission tariffs. This will increase the transparency of transmission access and rates in Japan, encouraging new entrants. In Spain, the regulator is required to comment on network tariffs and other policy decisions, but final decisions are still made by the Industrial Ministry. The regulator’s comments have involved serious complaints about the lack of transparency and other problems with the Ministry’s decisions, but the Ministry does not incorporate the regulator’s suggestions.
 Spain’s experience demonstrates how regulators with insufficient power can cause inefficient regulation and create regulatory uncertainty for potential entrants. In the proposed new Electricity and Gas Directives, the Commission recognises the importance of giving regulators power and urges that regulators have the authority to set transmission tariffs.
Finally, we recommend that the regulator have a clear charter. International experience shows that, in making important decisions, regulators will frequently refer to their statutory duties. The charter may include a range of different goals from reducing  prices to ensuring security of supply. We specifically recommend that the Japanese regulator’s charter include non-discrimination and the development of effective competition. These goals clarify the importance of the regulator’s neutrality, helping to attract potential entrants to the power sector. Similar charters can be found for the regulators in several different countries.

6. Nuclear Power

The Japanese Government finds nuclear power extremely attractive because Japan has almost no natural resources and currently relies on imports for about 80% of its energy supply.
 Nuclear power provides fuel security for Japan, and as a carbon-free source of electricity, furthers Japan’s goal of meeting its Kyoto commitments. 

The substantial investment costs and strict standards associated with building and operating nuclear plants are significant barriers to new nuclear investment. In a liberalised electricity market, neither incumbents nor entrants will invest in new nuclear generation if investing in gas-fired stations is economically more attractive. It may therefore be necessary to implement measures to support continued investment in nuclear power. We provide two possible approaches:

· Our favoured approach involves a “franchise auction” for new nuclear investment. Under this proposal, the government would subsidise the construction of nuclear plant, but would not subsidise its operation. Plant would be built and operated by the qualified firm that is willing to accept the least subsidy. The firm would have to commit to keep the plant in operation for a fixed number of years.

· If this is infeasible we recommend a program combining tendering for plant construction with regulated nuclear power rates, using transparently applied “performance-based regulation” to minimise operating costs.

The Need for Change

Currently, Japan’s regional incumbents are responsible for building new nuclear plants in response to the Government’s nuclear capacity goals. This is an inefficient mechanism for new nuclear investment because the incumbents have little incentive to minimise their investment costs and are not necessarily the most knowledgeable companies for building nuclear plants. Because the incumbents can recover their investment costs through their regulated rates, they are not concerned about fully optimising their investment decision. Additionally, the existing nuclear investment program does not account for the locational efficiencies of building more nuclear capacity in one region rather than another and does not allow entrants that may be more knowledgeable about constructing and operating a nuclear plant to invest in Japan.

Franchise Auctions for Nuclear Plant

Under the “franchise auction” scheme, the Japanese Government would project its desired nuclear capacity over a specific time period and solicit bids from firms. A single “bid” would represent the lump sum payment that the firm requires in return for its commitment to build and operate a nuclear plant of specified capacity, for a specified length of time. The lowest bids would win licenses and would effectively represent the minimum payment required for new nuclear investment. The auction would allow the Japanese Government to continue to subsidise nuclear power but in a non-discriminatory way.
 We recommend that Japanese authorities apply our proposed approach to its future as well as currently planned nuclear additions.
We further recommend that the Japanese Government guarantee to cover all nuclear waste disposal costs. Although this guarantee places additional costs on the Government, it is intended to reduce the total cost of nuclear investment for the Government. The guarantee would significantly increase the number of bidders in the nuclear license auction, making the auction more competitive and driving down total costs to the Government. More bidders would participate in the auction because the Government’s guarantee would not only remove the cost uncertainty associated with the disposal of nuclear waste but also the fear that the Government might increase costs in the future through stricter regulations. 

Finally, Japan’s re-processing facilities are a key element of Japan’s nuclear policy. Japan currently operates an uranium enrichment facility and is planning to open a re-processing facility in 2003.
 The costs associated with these facilities are higher than international costs.
 As a result, we recommend that the government make re-processing services available to all investors at internationally competitive rates and recover any “stranded costs” through a competitively neutral levy. The levy could be applied as a surcharge on electricity usage and subsidise re-processing costs as a competitively neutral charge.

Tenders Plus PBR

We recognise that there may be some reluctance to implement a franchise auction, which in many ways represents a radical departure from current practice. While it remains our preferred approach, we therefore provide an alternative recommendation. If the “franchise auction” cannot be implemented, we recommend that the Japanese Government use tenders for the construction of new nuclear plants but continue to regulate nuclear power rates. The rates should be determined using “incentive” or “performance-based regulation” (PBR). 

Japanese authorities currently apply cost-of-service regulation (COS), which provides little incentive for utilities to reduce costs. In contrast, PBR is designed to reward utilities for reducing costs and has been shown to provide improved rate predictability for customers and save administrative and transaction costs by avoiding excess regulatory management of the utility’s operations.

PBR cannot be properly applied if costs are not accurately estimated. We therefore recommend that the costs associated with nuclear plant operation should be published in detail, and that determination of the PBR rates involve the greatest possible transparency.

7. Carbon Emissions

Under the Kyoto Protocol, the Japanese Government is committed to reducing its GHG emissions to 6% below 1990 levels over the period 2008-12. Current plans for achieving that target rely on a wide variety of policies. In the energy sector, key measures include the increased promotion of nuclear power, and significant increases in energy efficiency.

The current plan for achieving the Kyoto targets is subject to two criticisms. First, it will not achieve the required reductions at least cost. The program relies largely on “command-and-control” techniques such as requirements to install new technologies and/or meet specific sectoral targets. Experience shows that command-and-control based programs fail to minimise costs, for a number of reasons. The program designer chooses where the reductions must be made, and lacks sufficient information to determine which sectors can reduce at least cost. The use of mandated techniques and standards also fails to provide any incentive for low cost abaters to reduce by more than the minimum required, or for participants to develop new abatement techniques.

A second problem has been identified in a recent IEA review of Japanese energy policy, which expressed some scepticism as to whether the current program will produce the expected reductions in energy sector emissions. The IEA team voiced concerns about the achievability of both the planned nuclear expansion and the proposed increases in energy efficiency.

Here we put forward a proposal that is complementary to energy market liberalisation, and will allow the Japanese Government to achieve its target at least cost, and with greater certainty. We recommend the use of a system of tradable carbon permits. These would be issued by the government, and would be required for either the sale or the combustion of fossil fuels. The quantity of permits required would be determined by the CO2 content of the fuel.

Tradable carbon permits are preferable to command-and-control type systems because they provide the same environmental benefits, but at a lower cost to Japanese society. Firms with the cheapest abatement opportunities will reduce their emissions as much as possible in order to sell their permits to firms with the most expensive abatement possibilities, who will purchase additional permits rather than engage in high cost abatement. In contrast, a command-and-control type program is likely to “share the pain” by requiring both to engage in significant abatement efforts. The introduction of tradable permits allows for the same reduction at lower total cost.

The use of tradable permits also guarantees that any required target can be achieved, because the government can simply issue the requisite number of permits. In contrast, command-and-control programs that rely on specific mandated technologies and performance standards run the risk of mis-estimating their impact on total emissions.

The latter argument also points to the use of tradable permits rather than a carbon tax, since the reductions achieved by a particular level of tax cannot be perfectly estimated or guaranteed in advance.

A tradable permit program is complementary to market liberalisation. It relies on firms having strong incentives to minimise costs, as is the case in a liberalised market. At the same time, it provides an opportunity for firms to reduce costs and find new sources of profit through innovative approaches to emissions reduction. Our recommendation would also address a specific concern about liberalisation, that it may lead to a “dash to coal”. Carbon permits would discourage the use of coal—new coal plant could still be built, but only if its efficiencies were sufficient to pay for offsetting emissions reductions elsewhere.

Finally, we propose that carbon permits be auctioned off rather than “grandfathered”.  The additional cost imposed by permits will anyway largely be passed on to consumers. Grandfathering is therefore unnecessary, and risks providing an unjustified windfall to the recipients of permits. The auction revenues should be used to fund stranded costs and subsidies for nuclear generation.

8. Stranded Costs

Incumbents who are willing to sell assets should thereby become eligible for stranded cost compensation. Selling of assets is an efficient way to reveal the value of each incumbent’s stranded costs. In a competitive market, the price paid for an asset equals the net present value of the future revenue recoverable from the asset. The difference between this asset sale price and the regulatory asset base is the amount of stranding due to the incumbent because of market liberalisation. 

Recovery of stranded costs should occur through a competitively neutral levy on the pool price. This approach is preferable because consumers pay the same levy irrespective of which supplier they choose. In addition, a levy of this type has a minimal impact on consumer demand because it is typically small relative to the total delivered price, and demand for electricity is inelastic, particularly in the short-run.

Our proposed approach avoids many of the defects with stranded cost recovery mechanisms adopted elsewhere. The stranded cost recovery policy applied to Spain’s electricity market in 1996 seriously mishandled the issue. Not only were stranded significantly overestimated but the recovery mechanism distorted the market. In addition, Spanish consumers were exposed to serious market power abuse.

9. System Reliability

Electricity deregulation is viewed as a potential threat to system reliability. This scepticism is not accurate, however, as the ability of the electric industry to provide secure, reliable power is expected to improve following market liberalisation. Although some electricity markets have experienced reliability problems during the deregulation process, these problems are not a direct result of liberalisation. Instead, they have been caused by poor planning, a lack of price signals for ensuring reliability, and flawed market rules.  

Reliability is not always provided efficiently or guaranteed in a regulated market. First, regulators’ capacity margins typically require more investment than is economically efficient
 and, coupled with the utilities’ ability to recover costs, do not ensure that reliability is met at least cost. Second, regulated utilities do not always consider the efficiency and reliability gains of pooling resources or adding new generation in smaller increments. Finally, incumbents’ failure to send efficient price signals to customers can itself jeopardise system reliability during periods of scarce capacity.

Competitive markets, as opposed to regulated electricity markets, ensure reliability by providing price signals for the amount and location of new investments needed. Investors base their capacity addition decisions on prices from both spot and forward markets. Prices in these markets rise as immediate and long-term capacity margins fall, signalling investors that there is scare capacity in the market. In a competitive market, therefore, price signals replace the regulatory commissions’ approval of utilities’ capacity plans for future capacity investments.

California’s experience does not prove that deregulation threatens system reliability. Instead, it shows how poorly designed regulation can result in serious market flaws that cause reliability problems. California must address two areas of critical importance in order to remedy its current situation. First, it must remove the current regulatory barriers deterring new generation investment. Second, it must allow consumers to receive price-signals according to their time of use. Without price signals, consumers can not react to periods of scarce supply by reducing their consumption. California’s recent market experience is discussed in more detail in Appendix 8.

If designed properly, competitive markets can foster greater reliability than regulated markets and at lower cost. Competitive price signals promote conservation-oriented pricing policies and result in economical operating and investment decisions. Real-time pricing ensures short-term reliability while forward markets provide a long-term market for scarce capacity. As long as the competitive market is well designed to provide accurate and timely price signals, investors will make the necessary decisions to ensure system reliability. 

We recommend that the Japanese Government adopt the most competitive generation market structure feasible in order to ensure system reliability. Liberalisation has resulted in improved reliability in the UK
 and there is no reason that the same will not be true for Japan. However, we recognise that the government may be reluctant to trust market forces to ensure reliability due to perceived similarities between Japan’s and California’s markets, such as the existence of barriers to building new generation or transmission capacity in both markets. Therefore, we present two alternatives for providing reliability in a liberalised market: 

1. Tenders for Capacity: Colombia’s market is dominated by hydropower and therefore its capacity margin can fluctuate enormously from year to year depending on annual weather conditions. To ensure that there is sufficient capacity available, Colombia has proposed auctioning capacity contracts that obligate generators to make available specified amounts of capacity at a certain price. Similarly, the proposed revisions to the EU Electricity Directive would allow Member States to tender for generation capacity as a means of ensuring security of supply.

2. Reserve Requirement: The PJM Interconnection, the largest centrally-dispatched, bid-based electricity market in North America, calculates the amount of generation capacity needed for continued system reliability and allocates the operating reserve obligation to each supplier based on its share of summer peak load. Each supplier is then responsible for installing or purchasing the necessary capacity to meet its own obligation.
 PJM’s approach has guaranteed that more than enough capacity will be on-line in 2001 and 2002.

Although they require additional regulatory oversight, both of these alternatives are consistent with efficient competition and do not discriminate among market players. They will not therefore deter entry or delay competition in Japan’s electricity market.



















� IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 70 (based on 1997 data and historical exchange rates).


�  The PPP avoids any distortion due to exchange rates and so enables realistic comparison of prices in different countries. It gives exchange rates that reflect the relative purchasing powers of different currencies. For example, the 1997 OECD PPP rate of ¥165 for US$1 means that a representative “basket” of goods that cost $100 in the US would have cost ¥16,500 in Japan. 


� In 1997 the OECD weighted average price of power, measured on a Purchasing Power Parity (PPP) basis to avoid exchange rate distortions, was $82.00/MWh, against a figure of $123.50/MWh for Japan.


� Japanese total consumption in 1997 was 659TWh. The difference between the Japanese and the OECD weighted average prices on a PPP basis gives a total difference of $27bn (using the OECD 1997 PPP rate of ¥165 for US$1).


� IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 70-71.


� IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 87. At present customers representing 28% of total demand are theoretically free to choose supplier.


� A recent EC paper (DG Tren, Communication: Completing the internal energy market, 15.3.2000) notes price reductions since liberalization of 35% in the UK, 20% in Finland, 15% in Sweden and 25% in Germany. It further notes that prior to liberalization prices in Finland and Sweden were already among the lowest in the EU.


� German industrial power prices fell 26% between April 1998, when market liberalisation was introduced, and January 2000 according to the Dow Jones and VIK (Association of the German Power Industry) Electricity Price Index. Press Reports indicate that some customers experienced as much as a 60% price reduction in the year following market liberalisation. (Edmund Andrews, “In Germany, Radical Power Deregulation Benefits Households”, New York Times, October 28, 1999). 


� Under our proposal participants would be allowed to engage in bilateral financial trades that effectively hedge against exposure to pool price risk, as occurs in the United Kingdom and Scandinavia. This differs fundamentally from the approach taken in California, where the pool is obligatory in the sense that incumbents are obliged to rely exclusively on the pool without being allowed to hedge their risks through bilateral financial contracts. Under no circumstances do we recommend that Japan should copy this approach.


�  The PPP avoids any distortion due to exchange rates and so enables realistic comparison of prices in different countries. It gives exchange rates that reflect the relative purchasing powers of different currencies. For example, the 1997 OECD PPP rate of ¥165 for US$1 means that a representative “basket” of goods that cost $100 in the US would have cost ¥16,500 in Japan.


� IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 70.


� In 1996-97, about 1% of the total energy exchanged between regions was a result of economic transfers. [CITE]


� Cite. Part of the emergency capacity could be released on an interruptible basis without threatening system security. The Italian regulator has recently required release on an interruptible basis of interconnector capacity reserved for emergency use (EU Energy 3, 2 March 2001, p.7).


� IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 70-71. In October 1999, the Japanese Government formed an Energy Safety Committee to review these regulations and to institute new regulations that would rely more on self-governance rather than government involvement. However, depending on the size of the unit, regular inspections and/or disassembly for gas turbines are still required every two to three years. Operators can extend the inspection periods through direct application to the Ministry.


�  Japan’s Law on Harbour Regulations, Article 6 “Restriction on Port Entry at Night” restricts ships from entering port from sundown to sunup.


� For a critique of the use of such policies in Japan see IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 85.


� IEA, Electricity Reform, Power Generation Costs and Investment, p. 29 and 38.


� A recent EC paper (DG Tren, Communication: Completing the internal energy market, 15.3.2000) notes price reductions since liberalization of 35% in the UK, 20% in Finland, 15% in Sweden and 25% in Germany. It further notes that prior to liberalization prices in Finland and Sweden were already among the lowest in the EU.


� German industrial power prices fell 26% between April 1998, when market liberalisation was introduced, and January 2000 according to the Dow Jones and VIK (Association of the German Power Industry) Electricity Price Index. Press Reports indicate that some customers experienced as much as a 60% price reduction in the year following market liberalisation. (Edmund Andrews, “In Germany, Radical Power Deregulation Benefits Households”, New York Times, October 28, 1999). 


�  As of March 2001, there had been about 25 open tenders but only one instance where an utility applied for a tender in another utility’s territory. Tokyo Electric bid for the MITI Tender, which closed on August 10, 2000, but was placed third after Diamond Power and Tokyo Electric, the incumbent utility. 


� The HHI is a quantitative measure used by economists to analyse market concentration. It is described in more detail in Appendix 1.


� Littlechild, S.C., “Competition and Change”, Wilson Campbell Memorial Lecture, 10 March, 1997.


� Brealey RA and Lapuerta C, “A Report on Generator Market Power in the Electricity Market of England and Wales,” (Nov. 1997), Volume I, p.15 (cited in Utility Week, “Generators Cost Consumers £700m” Vol. 8, No. 9 (6 Mar. 1998), p. 3). Also cited by Ofgem, “Report on Pool Price Increases in Winter 1997/98,” (June 1998).


� Nine years of Ofgem reports documenting the presence of market power in the England and Wales electricity pool from 1991.  “Report on Pool Price Inquiry,” (1991) (“There is no doubt that the two major generators have recently been able to increase Pool prices significantly”). “Review of Pool Prices,” (1992) (“National Power and Powergen together have market power, and excercised it in a significant way”). “Pool Price Statement,” (1993) (“When both generators wish to increase Pool prices, they can do so, and by significant amounts”). “Decision on a Monopolies and Mergers Commission Reference,” (1994) (“Experience to date suggests that the present extent of competition is not significant to restrain National Power and Powergen if they wish to increase prices”). “Generators’ Pool Price Undertaking 1994/5,” (1995) (The dominant generators manipulation of Pool prices in January 1995 provided “further clear evidence of [their] market power”). “Report on Pool Price Increases 1997,” (1997/8) (“The ability of the two major generators to prevent… falls in generation prices… and indeed to increase SMP, demonstrates an unacceptable extent of market power, which is being exercised at the expense of customers…”). “Pool Price – Consultation,” (1998/9) (“Many generators have demonstrated the ease with which they can change strategies to create high or unstable prices…a complex pattern of abuse that is difficult for most customers to detect, let alone understand”). “Rises in Pool Prices – Decision Document,” (1999) (“The present detailed investigation into Pool prices in Summer 1999, the third investigation in three years, provides more evidence of the ability and willingness of certain generators to exercise their market power”).


� Newbery, “Power Markets and Market Power,” The Energy Journal, Vol. 16, No. 3 (1995), p. 39-66. Helm and Powell, “Pool Prices, Contracts and Regulation in the British Electricity Supply Industry,” Fiscal Studies, No. 13 (Feb. 1992), p. 89-105, at 96. Von der Fehr, and Harbord, “Spot Market Competition in the UK Electricity Industry,” The Economic Journal (May 1993), p. 531-546. Gray, Helm and Powell, “Competition versus Regulation in British Generation,” in (ed.) McKerron and Pearson, “The British Energy Experience: A Lesson or a Warning?” (London: Imperial College Press) (1996), p. 216. Wolfram, “Measuring Duopoly Power in the British Electricity Spot Market,” The American Economic Review, (Sept. 1999), p. 805-826.


� The affiliate acknowledged that ECNZ had “the ability to hold prices by withdrawing [plant] from the market.” (Infratil Update, Infrastructure and Utilities NZ Ltd, March 1998, p. 2)


�  [CITE].


� Typically a bid would indicate willingness to pay (for example) 10 million ¥/MW/yr for up to 50MW/yr, and 8 million ¥/MW/yr for up to an additional 30MW/yr. 


� For illustrative purposes, Figure 3 shows generation separated into five separate companies. The actual number chosen should depend on the concentration targets set by the government as well as a full analysis of each regional market.


� We have documented problems of discrimination by vertically-integrated incumbents in German power markets (“Transmission Access in Germany Compared to Other Transmission Markets” February 1999. See also “Netzzugang in Deutschland - ein Ländervergleich (Tiel I & II)”, C. Lapuerta, W. Pfaffenberger and J. Pfeifenberger, Energiewirtschaft, March/April 1999). We have also documented similar problems in the EU’s major gas markets (“Third-Party Access to Natural Gas Networks in the EU,” March 2001). In FERC’s RTO Final Rule, 18 CFR Part 35, Docket No. RM99-2-000, Order No. 2000, December 20, 1999, it recognised that “instances of actual [transmission] discrimination may be undetectable in a non-transparent market and, in any event, it is often hard to determine, on an after-the-fact basis, whether an action was motivated by an intent to favour affiliates or simply reflected the impartial application of operating or technical requirement.” (p. 38). 


� In 1997 British Gas split into two separate companies with no cross-shareholdings: a supply company (Centrica) and a transmission company (BG Transco). For an account of discriminatory behavior by British Gas prior to the split see C. Lapuerta and B. Moselle, “Network Industries, Third Party Access and Competition Law in the European Union”, Northwestern Journal of International Law and Business, Spring 1999, Vol. 19, Number 3, p. 467.


� In the United Kingdom, transmission ownership and operation were separated from the generation and retail business in 1990. Today, the National Grid Company (NGC) is solely responsible for operating the transmission gird and its rates are regulated according to performance-based regulation (PBR). Most importantly, NGC is prohibited from owning or operating any generation or distribution assets and cannot be owned by any other market participant.


� For a detailed analysis of the direct and indirect benefits of retail competition, including its impact on the wholesale market, see a recent paper by the former UK electricity regulator Professor Stephen Littlechild (S.C. Littlechild, “Why we need electricity retailers: A reply to Joskow on wholesale spot price pass-through”, University of Cambridge Department of Applied Economics WP 8, August 2000).


� IEA, Energy Policies of IEA Countries, Japan 1999 Review, Figure 20, p. 70.


� We understand that the Land, Infrastructure and Transport Ministry has recently compiled a draft bill to expedite expropriations of land for dams, roads, and other public projects.


� See, e.g., Faull & Nikpay, The EC Law of Competition, (Oxford: Oxford University Press) 1999, ¶ 3.174, and Aspen Skiing Co. v. Aspen Highlands Skiing Corp., 472 U.S. 585 (1985).


� Directive 98/30/EC, Article 17.2 (“Member States may take the measures necessary to ensure that the natural gas undertaking refusing access to the system on the basis of lack of capacity or a lack of connection shall make the necessary enhancements as far as it is economical to do so or when a potential customer is willing to pay for them.”)


� UK National Audit Office, “Giving Domestic Customers a Choice of Electricity Supplier”, January 2001, p. 19.


� As mentioned above, the former UK electricity regulator Professor Stephen Littlechild has recently produced a detailed analysis of the direct and indirect benefits of retail competition, including its impact on the wholesale market (S.C. Littlechild, op cit).


� CfDs are financial contracts that specify a fixed strike price (¥/MWh) and volume (MWh). Customers participating in a CfD will pay the pool price for power but will settle any discrepancy between the pool price and the CfD price directly with the generator. In California incumbent utilities cannot enter into financial contracts, contributing to the problem of financial distress. However, this will be prevented in Japan by allowing financial contracts as is currently allowed in the UK pool.


� For discussion of this issue see our report “State Policies for the Rational Evolution of Liberalised Electricity Markets in Europe: Lessons from International Experience”, December 2000.


� FERC defines ancillary services as: 1) Scheduling, System Control and Dispatch, 2) Reactive Supply and Voltage Control, 3) Regulation and Frequency Response, 4) Energy Imbalance, 5) Spinning Reserve, and 6) Supplemental Reserve. FERC, Order No. 888, Docket Nos. RM95-8-000 and RM94-7-001, April 24, 1996, p. 207-215.


� For the UK see Review of Electricity Trading Arrangements Background Paper 2: Electricity Trading Arrangements in Other Countries, Offer, February 1998, p. 31.


� Littlechild, op cit, p.19 (“I doubt whether more than one or two percent of industrial customers buy at Pool price now”).


� The marginal cost is simply the short-run cost incurred in actually running the plant. For thermal plants it normally comprises mostly fuel costs plus some short-run O&M costs.


� There are potential disadvantages to uniform prices as opposed to “pay-as-bid” systems. A uniform price auction could encourage “bid shading” to raise payments for inframarginal units. See C.D. Wolfram, “Electricity Markets: Should the Rest of the World Adopt the UK Reforms?”, Regulation;22(4) (1999), p. 48-53, and J.Bower and D.W.Bunn, “Model-Based Comparisons of Pool and Bilateral Markets for Electricity”, The Energy Journal, Vol. 21 No.3, pp.1-29. However, we envisage this to be a second order concern in Japan at the moment. If it were a serious concern, we would recommend looking at the Vickrey auction as a potential solution (see Appendix 6).


� In June 1998, The Director General of Electricity Supply (DGES) found that PowerGen had violated its license by closing a power station with insufficient notice: “The DGES concludes that PowerGen was in breach of its licence obligation in this respect. The Electricity Act provides the DGES with no direct enforcement powers in respect of a past breach of licence and this reinforces his view that further steps need to be taken to increase competition in generation so as to reduce vulnerability to plant closures in future" (Offer, Report on Pool Price Increases in Winter 1997/98 (June 1998), p. 39. 


� See, e.g.,Consejo de Administración de la CSEN: “Informe Sobre el Protocolo para el Establecimiento de una Nueva Regulación del sistema Eléctrico Nacional” (14 Jan. 1997), (criticizing the lack of transparency of the Ministry’s stranded cost estimates (p. 83), and the failure to include consumers in the decision-making process (pp. 10-11)), and “Informe 7/1999 de la Comisión Nacional de Energía Sobre el Proyecto de Orden Ministerial por la que se Actualizan los Parámetros del Sistema de Precios Máximos de los Suministros de Gas Natural para Usos Industriales” (citing its history of repeated calls for tariffs set according to objective and transparent principles (¶ III), and complaining that the lack of information prevented effective tariff review (¶ IV)).


� The Comisión Nacional de Energía in Spain was specifically created to “ensure effective competition in the energy systems,” (Eduardo Salinas La Casta, The Role of the National Electricity Regulatory Commission in View of Liberalisation (presented at the Spanish Power Conference: Madrid) Oct. 19-20, 1999. In the United Kingdom, §2 of the Utilities Act 2000 requires the Gas and Electricity Markets Authority to “protect the interests of consumers of gas and electricity, wherever appropriate by the promotion of effective competition in generation, transmission, distribution and supply” (quoted from The Gas and Electricity Markets Authority and the Gas and Electricity Consumer Council: Memorandum of Understanding (Nov. 2000), p. 1). The Irish electricity regulator is required by law to “have regard to the need…to promote competition in the generation and supply of electricity” (Electricity Regulation Act, 1999, Part II, §9, subsection 4, (a)).


� IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 59. 


�  Japan could also apply this approach to other plant types, depending on its fuel diversity goals.


� IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 54.


� [CITE]


� The Brattle Group and Professor David Sappington, White Paper on Incentive Regulation: Assessing Union Electric’s Experimental Alternative Regulation Plan, prepared for Ameren Corporation, February 1, 2000.


� IEA, Energy Policies of IEA Countries, Japan 1999 Review, p. 46-47.


� The short-run price elasticity of demand for electricity is typically estimated at about 0.1.


� Further details can be found in our report “Stranded Cost Recovery: International Experience”, August 2000.


� For example, the US Energy Information Administration noted that the aggregate US reserve margin in 1982 was 33%, and concluded that “utilities had planned and built more capacity than was actually needed by the time the capacity was completed” (Performance Issues for a Changing Electric Power Industry, DOE/EIA-0586, January 1995, p. vii). 


� Since deregulation in the UK, there have been no high-voltage transmission outages and the quality of distribution service has steadily improved (see Appendix  8).


� PJM Interconnection, LLC, PJM Reserve Requirements Manual, Section 1: Generating Capacity Requirement, Revised 00, Effective Date: 08/19/97.


�  FERC Staff, Investigation of Bulk Power Market, Northeast Region, November 1, 2000, p. 1-6. PJM’s reserve margin is projected to be more than 27% in 2002.





1
23


