On-peak year 2001  - the ATC values are listed in the two excel documents.
I.    ATC (MW) values – rate B for contingencies – with off line-units included.


[image: image1.wmf]NORTH

 

WEST

 

SOUTH

 

498

 

828 

 

420 

 

(

*

)

 

1034 

 

52

5

 

332 

 


(*) if the two most limiting elements were upgraded, the atc for that transfer would become 1035MW.

II.   Base case transfer values (MW).


[image: image2.wmf]NORTH

 

WEST

 

SOUTH

 

720

 

3341

 

55

 


III.  TTC values (MW) = ATC + base case transfers,

 
[image: image3.wmf]NORTH

 

WEST

 

SOUTH

 

1218

 

3761 

(

*

) 

 

575

 


(*) if the two most limiting elements were upgraded, the ttc for that transfer would become 4376MW.

On-peak year 2001

I.    ATC (MW) values – rate B for contingencies – without off line-units.


[image: image4.wmf]NORTH

 

WEST

 

SOUTH

 

480 

 

824 

 

446 (*) 

 

2262 

 

525 

 

337 

 


(*) if the first most limiting element were upgraded, the atc for that transfer would become 850MW.

II.   Base case transfer values (MW).


[image: image5.wmf]NORTH

 

WEST

 

SOUTH

 

720

 

3341

 

55

 


III.  TTC values (MW) = ATC + base case transfers,

 
[image: image6.wmf]NORTH

 

WEST

 

SOUTH

 

1200 

 

3787 

(

*

) 

 

580 

 


(*) if the first most limiting element were upgraded, the ttc for that transfer would become 4191MW.










_1049785622.unknown

_1049786098.unknown

_1049786136.unknown

_1049786335.unknown

_1049785836.unknown

_1049785495.unknown

