
CHANGE ORDER NUMBER  2

to


PURCHASE CONTRACT ENA-2-99


By and Between


WESTDEUTSCHE LANDESBANK GIROZENTRALE, NEW YORK BRANCH


ACTING THROUGH ITS AGENT


ENRON NORTH AMERICA CORP.


AND


GE PACKAGED POWER, INC.


For The Purchase Of


24 LM6000 GAS TURBINE GENERATOR SETS

CHANGE ORDER NUMBER  2

PART I  REQUIREMENTS
1.
In accordance with Contract ENA-2-99, Article 11, Purchaser hereby amends the Purchase Contract to include all changes set forth in this Change Order Number 1.

2.
Summary of Changes:

Supplier shall provide each and every item of materials, equipment, labor and expendables necessary as set forth in Seller's letter dated 06 March 2000 by David F. Davis and hereby accepted by Purchaser.


PART II COST
1.
The costs for the scope of supply as set forth in Changes set forth in PART I shall be added or deleted as appropriate from the Purchase Contract Scope of Supply for the firm fixed prices as set forth herein. 

2.
Summary of Cost:


a.
Dual Fuel Option for 2 Units; $280,000 per Unit
$ 560,000.00


b.
Exhaust Stack 45’ (Standard Base) for 4 Units;  $198,000 per Unit
$ 792,000.00


c.
Exhaust Stack 45’ (Heavy Base) for 4 Units;  $233,000 per Unit
$932,000.00


d.
2200 Ton Chiller Module (quantity 2);  $950,000 per Unit
$1,900,000.00



c.
Total of a through d above:
$4,184,000 .00

3.
Summary of the Purchase Amount:


a.
Purchase Amount through Change Order #1:
$ 338,848,000 .00


b.
Total value of Change Order Number  2 



(the "Purchase Amount Increase"):
$ 4,184,000.00


c.
Purchase Amount through Change Order #2:
$ 343,032,000 .00

4.
Upon execution of this Change Order Number  2, the Purchase Amount for ENA-2-99 shall be increased to Three Hundred Forty-three   Million,   Thirty-two  Thousand,    U.S. dollars ( $ 343,032,000 .00) and constitutes full compensation for the supply and delivery of the materials described herein and the Scope of Supply in accordance with the Agreement and for any and all additional materials, equipment, labor and expendables required in connection with fulfilling the terms of this Change Order Number 2, including  Seller updating its drawings as necessary to include the increased Scope of Supply hereunder.


PART III TERMS AND CONDITIONS
1.
The terms and conditions of this Change Order are as set forth in the Purchase Contract ENA-2-99 between Westdeutsche Landesbank Girozentrale, New York Branch acting through its agent Enron North America Corp.and GE Packaged Power, Inc., with the Effective Date of [       2000] (the "Purchase Contract") and this Change Order is subject to the Purchase Contract.   

2.
The effective date of this Change Order Number  shall be [              ] 2000.

4.
Agreed and Accepted:

Enron North America Corp., as Agent

By:                                                       


Michael J. Miller 

Title:

Vice President

Date:                                                   
and,

GE Packaged Power, Inc., as Seller

By:                                                       
Title:
                                                 
Date:                                                   

Westdeutsche Landesbank Gironzentrale, New York Branch

By:                                                       
Title:


Date:                                                   
Contract ENA-2-99

CHANGE ORDER 1


