Question & Answers for Cinergy Corp.

As of November 30, 2000

1. Provide forecast for the overhaul budget.

Additional clarification needed to correctly answer question.
2.  Provide forced outage (trips) reports since inception which should

include details of hours out, reasons, etc.  From the limited info we have,

we are surprised by the higher than expected trips, at least at one of the

units.  Any proposed solutions?

Need to refer to the monthly operator’s report.  Also, refer to the logs at the plant.  Enron does not have outage report numbers since inception.  At this time we have no proposed solutions.

3.  What is the latest info on complaints on noise from neighbors?  New

petitions; responses; etc.

We have not received any new information regarding any noise issues.  
4.  What were the hours of operation in 1999 and 2000?  There were some

conflicts in the various info provided.

Numbers are given in the management presentation.  Presentation should clear up any previous conflicts.

5. Was PSD every applied for?

No, PSD has never been applied for.

6.  Unit #4 seems to be running right at the 25 ppm for NOx.  If it does go

over 25 ppm, does it violate any regulations, permits, promises, etc.?

These numbers are based off of a three-year rolling average, giving more flexibility to fluctuate around the number.

7.  The actual O&M numbers are higher than budget (almost twice the budgeted

number).  What cause this?

Refer to Dave Kellermeyer

8.  High bearing temperatures have caused trips.  We understand that Enron

recommended this to be considered a Warranty Item.  Was it ever resolved

under warranty.

This should be on the warranty list.  Need to check.

9. Why was utilization much higher with unit 1?

Due to the physical position of the unit it was usually the first unit to be turn on and dispatched.  Also, due to the better heat rate with a steam unit, we would usually run the steam units first before the other units. 

