Compressor Station Discharge Permit

New Mexico

Regulatory Agency:
New Mexico Energy, Mineral and Natural Resources Department

Phone #: 
(505) 476-3491

Permit: 
Discharge Plan Permit, regulated under New Mexico Oil Conservation Division

Permit Application:
Discharge Plan Application for Service Companies, Gas Plants, Refineries, Compressor, Geothermal Facilities and Crude Oil Pump Stations

Application Due Date:
Allow 60 days

Permit Fee:
$50 Application Fee and additional Permit Fee determined based on horsepower of the station

Notes:
Discharge Plan should follow attached guidelines

Required Information:
Required information is listed in the Application.  Listed below is some of the information required.  Refer to the Application for a complete list of specific instructions and requirements.

· Facility location                                                     

· Large scale topographic map showing exact location

· Name, telephone number and address of the landowner of the facility site

· Description of the facility with a diagram indicating location of fences, pits, dikes and tanks on the facility

· Description of all materials stored or used at the facility

· Description of present sources of effluent and waste solids.  Average quality and daily volume of waste water must be included

· Description of current liquid and solid waste collection/treatment/disposal procedures

· Description of proposed modifications to existing collection/treatment/disposal systems

· Routine inspection and maintenance plan to ensure permit compliance

· Plan for reporting and clean-up of spills or releases

· Geological/hydrological information for the facility.  Depth to and quality of ground water must be included.

· Facility closure plan, and other information as is necessary to demonstrate compliance with any other OCD rules, regulations and/or orders

