RAILROAD COMMISSION OF TEXAS

OIL AND GAS DIVISION

Field Guide for the Assessment and Cleanup of Soil and Groundwater Contaminated with Condensate From a Spill Incident

(Statewide Rules 8, 20 and 91)
Introduction
This Field Guide will help the District Offices and responsible parties clean up condensate spills in a manner that assures the goals established by Statewide Rules 8, 20 and 91 are met.  

Statewide Rule 8 provides that no person conducting activities subject to regulation by the Commission may cause or allow pollution of surface or subsurface water in the state.  Rule 20 provides that operators shall give immediate notice of a fire, leak, spill or break, followed by a letter giving the full description of the event including the volume of products lost.  Rule 91 provides that cleanup requirements for hydrocarbon condensate spills and crude oil spills in sensitive areas will be determined on a case-by-case basis.

Statewide Rule 91 distinguishes two categories of spills: (a) crude oil spills into non- sensitive areas; and, (b) (i) hydrocarbon condensate spills and (ii) crude oil spills in sensitive areas.  Rule 91 establishes clear goals for cleanup of crude oil spills in non sensitive areas: immediate removal of all free oil; immediate vertical and horizontal delineation; specifying the “area of contamination” that must be delineated and disposed of or remediated, and specifying a final cleanup level of “1.0% by weight total petroleum hydrocarbon.”  Rule 91 is less clear about the second category of spills.

It stands to reason that hydrocarbon condensate spills and crude oil spills in sensitive areas, which pose greater risks, should at least follow standards established for the equally important but less threatening spills.  Over time the Commission has come to believe the lack of enumerated standards for condensate spills hamstrings field personnel and perpetuates unacceptable risk to the water and subsurface water of the state.  Commission staff therefore implements the following field guide to establish bench marks and protocols that, when met and followed, will demonstrate that condensate spills have been addressed in a manner that complies with Statewide Rules 8, 20 and 91. 

This Guide provides notice of criteria field personnel may employ in judging whether a hydrocarbon condensate spill response is adequate or inadequate.  This guidance is intended to make operators and responsible persons aware of the Commission staffs’ position and afford an opportunity for voluntary compliance.

Approved Criteria
It is recommended that field personnel use the following criteria to evaluate compliance with Statewide Rules 8, 20 and 91 after a condensate release: 

A. Determine whether the operator/responsible person:

1.   Provided notice to the RRC as described in Statewide Rule 20 (a) (1);

2.
Removed all free liquids immediately;

3.
Used grab samples and analytical testing for Total Petroleum Hydrocarbons (TPH) and benzene, toluene, ethyl benzene and toluene (BTEX) to verify that delineation has been achieved.   Knowledge about product composition is helpful in determining appropriate analytical methods.  TPH analyses should use standard industry methods, which include but are not limited to, 418.1, modified 1005 (to include carbon fractions up to C-35), 1006, or Massachusetts VPH/EPH.  BTEX analyses should use EPA-approved methods, which include 8260 or 8021B.  Additional methods may be used provided that the operator/responsible party demonstrates that the method is appropriate to characterize the specific condensate.

B. When reportable releases are immediately excavated, determine whether the operator/responsible person: 

1.
Provided analytical results from one confirmation sample of TPH and BTEX at the base of the excavation where deepest spill penetration has occurred.

[NOTE: Pursuant to Statewide Rule 20, all condensate releases are reportable.]

C. When reportable releases are not immediately excavated, determine whether the                  operator/responsible person:

1.
Provided surface soil delineation based on 5 sample locations (in a 5-spot pattern) or more, analyzed for TPH and BTEX;

2.
Conducted soil and groundwater delineation based on the following:

a. First Groundwater Zone is a Limited Resource (Class III)
ADVANCE \d6
i.   For delineation, a minimum of 5 soil sample locations (in a 5-spot       pattern) analyzed for TPH and BTEX; 

ii. Horizontal and vertical soil delineation to the following Limited      (Class III) Groundwater protection limits:

Limited (Class III) Groundwater Protection Limit

Compound
Residential Limit (mg/kg)
Industrial Limit (mg/kg)

TPH
11000
31000

Benzene
2.6
2.6

Toluene
820
820

Ethylbenzene
760
760

Xylenes
12000
12000

iii. The first groundwater zone is defined in this guide as a Limited        (Class III) groundwater resource if it meets the following criteria:

(a) The groundwater zone within ½ mile radius of the condensate release is not capable of yielding water with less than 10,000 mg/kg total dissolved solids (TDS); and

(b) The groundwater zone within ½ mile radius of the delineated edge of the condensate release is not being used for any human or ecological purpose.

b. First Groundwater Zone is an Unlimited Resource (Class I or Class II) 

i. For delineation a minimum of 5 soil sample locations (in a 5-spot     pattern) analyzed for TPH and BTEX.

ii. Horizontal and vertical soil delineation to the following Unlimited      (Class I or II) Groundwater protection limits:

Unlimited (Class I and Class II) Groundwater Protection Limit

Compound
Residential Limit (mg/kg)
Industrial Limit (mg/kg)

TPH
110
310

Benzene
0.026
0.026

Toluene
8.2
8.2

Ethyl benzene
7.6
7.6

Xylene
120
120

iii. The first groundwater zone is defined in this guide as an                  Unlimited (Class II) groundwater resource if it meets the                  following criteria: 

(a) The groundwater zone within ½ mile radius of the delineated edge of the condensate release is capable of yielding water with less than 10,000 mg/kg TDS; or

(b) The groundwater zone within ½ mile radius of the delineated edge of the condensate release is being used for any human or ecological purpose.

iv. The first groundwater zone is defined in this guide as an unlimited       (Class I) groundwater resource if it meets the following criteria: 

(a) There is a public water supply well located within ½ mile 
radius of the delineated edge of the condensate release that is 
screened at any depth;  or

(b) The groundwater zone within ½ mile radius of the delineated edge of the condensate release is the only reliable source of groundwater that is less than 800 feet below the ground surface and is capable of yielding greater than 5,000 gallons per day of water with less than 1000 mg/kg TDS; or

(c) The groundwater zone within ½ mile radius of the delineated edge of the condensate release is capable of yielding greater than 144,000 gallons per day of water with less than 3,000 mg/kg TDS that meets primary drinking water standards.

v. For Unlimited (Class I or Class II) groundwater resources, determine whether there is a need for, and if so, whether the operator/responsible person installed monitor well(s) and conducted groundwater sampling.  

D. Where impacts to Unlimited (Class I and II) groundwater have been confirmed, determine whether the operator/responsible person used permanent monitor wells to delineate resources to the following limits:

Groundwater Limit

Compound
Maximum Contaminant Level (MCL) mg/l

TPH
1.1*

Benzene
0.005

Toluene
1.0

Ethyl benzene
0.7

Xylenes
10.0

*  Not a maximum contaminant level

E. Where impact to Limited (Class III) groundwater resources have been confirmed, has the    operator/responsible person delineated to limits that are 100 times the (Class I and II) limits listed above.

F. For all condensate releases, has the operator/responsible person provided the following      documentation:

1. A summary of the events related to the immediate or emergency activities that took place following discovery of the release, including the total volume of condensate released and recovered.

2. A description of the released condensate, including the API gravity (if                         available) and any additional condensate properties. Gas chromatographs may be useful for this purpose.

3. A topographic map showing the release location and the proximity of all domestic water supply wells within a ½ mile radius of the delineated edge of the release.

G. In appropriate cases, consider requesting the following additional documentation: 

1. Analytical data in support of delineation.

2. A remedial investigation report, including total volumes of impacted media 


     recovered and disposed, soil investigation and verification results and                    groundwater investigation results.

3. An annotated map of the free-phase and dissolved-phase of any groundwater    contaminant plume. 

4. Subsurface soil characterization and/or geologic cross-sections, including      stratigraphy and lithology of the subsurface.

Page 6 of  6

