









06/15/01

CAISO DEC BIDDING:


Decremental bidding into the CAISO allows the output of a unit to be decreased to aid the CAISO in system operation.  

1. EPMI submits a bid to the CAISO indicating a willingness to decrease a unit within certain parameters at predetermined economic levels. 

2. The CAISO communicates the desired output of the unit in 10-minute increments to the EPMI Real-Time group via the ADS system.  

3. The EPMI Real-Time group then notifies the unit’s control room of the new output by phone.

4. The Generator receives notification of output and revenue through current Volume Management System.

Anticipated pricing structure:

The CAISO provides energy to the unit at the 10-minute decremental price listed on their website.  This energy fulfills the unit’s day-ahead physical obligation.  EPMI and the generator split the difference in revenue between the unit’s generating cost and the 10-minute decremental price. 

