Confidential and Proprietary


PROJECT WHEAT

Document and Information Request

For

Enron

Wheatland Facility

Susan Flanagan

Vice President of M&A

DPL Inc.

(937) 258-5506

Fax (937) 259-7386

Email DPLFLAN@Aol.com

1.0 `
Management/General
Date Requested
Date Received
Status
Comments

1.1 
Please provide copies of all contracts and sub-contracts (including all contracts and subcontracts that are currently being negotiated) for the Wheatland facility, including but not limited to, Enron contracts with OEC, interconnection agreements, fuel contracts, maintenance/service contracts, water supply and makeup contracts, etc.
10/17/00




1.2 
Please provide a copy of Westinghouse Warranty Documents.
10/17/00




1.3 
Please describe the control area and scheduling services provided by Enron affiliate under separate contract.
10/17/00




1.4 
Please provide a copy of the lease between Lake Acquisition and West Fork. In addition, provide any drawings, maps and photos associated w/ the lake.
10/17/00




1.5 
Please provide a copy of Document 01.02.23 “Easements / Right of Ways”.
10/18/00




1.6 
Please provide a copy of Document 01.02.23.10 “Carnahaw Easement”.
10/18/00




1.7 
Please provide a copy of the survey by Matthew W. Wannesmuehler of Benardin Lochmueller & Associates”.
10/18/00




1.8 
Please provide a copy of Document 01.03.02 “Westinghouse Proposals”.
10/18/00




1.9 
Please provide current Salary and bonus structure, resumes and employment contracts for existing site personnel
10/18/00




1.10 
Please provide any documents regarding leases, ownership, options, etc. for the property adjacent to the facility.
10/18/00




1.11 
Please list any litigation or disputes that involve or are a result of the site development/operation or other litigation pending involving the LLCs.
10/18/00




1.12 
Please supply details of related party transactions/agreements pertaining to the Wheatland facility including administrative support, gas supply, electric supply and dispatch, environmental services, legal support, technical support, etc.
10/18/00




1.13 
Please provide a breakdown of all O&M costs (current year and 3 year forecast) and the methodology used to develop the forecast. Provide any scheduled capital expenditures over the next 3 years.
10/18/00




1.14 
Provide a schedule of all employee training completed to date and scheduled for the next year.
10/18/00




1.15 
Please provide a copy of the IPALCO and Cinergy open access tariffs filed w/ FERC and any supporting documentation indicating status.
10/18/00




1.16 
Please provide a copy of any other power agreement for the facility not included in the Deal Bench data room.
10/18/00




2.0 
Technical
Date Requested
Date Received
Status
Comments

2.1 
Please provide all scheduled maintenance for the next three (3) years.
10/17/00




2.2 
Please provide a list of Westinghouse modifications or upgrades for the 501D’s.

· List of modifications/upgrades that Enron has incorporated, or anticipates incorporating, into the facility.

· ENRON’s plans for mitigating any turbine blade cracking issues associated w/ these machines. 
10/17/00




2.3 
Please provide any studies conducted toward the expansion of the facility for more simple cycle gas turbines, or toward the conversion of the facility to a combined cycle plant. Please include the Technical and Economic backup.
10/17/00




2.4 
Please provide any Westinghouse bulletins related to the Wheatland facility.
10/17/00




2.5 
Please provide a copy of the “Engineering Drawings – Construction Drawings and Plot Plans” and all one-line diagrams of the Power Block and Switchyard.
10/17/00




2.6 
Please provide the startup curves for cold, warm and hot starts for all four units.
10/17/00




2.7 
Please provide information explaining the apparent difference in the output and performance of Unit 3.
10/17/00




2.8 
Please provide a copy of the Oct. 2000 maintenance outage work scope and final outage report.
10/18/00




2.9 
Please explain the gas pressure related issues identified in the June Operation Report from C. Norris to M. Robbins dated July 10, 2000.
10/18/00




2.10 
Please provide your procedure for storing and handling “critical” spare parts (i.e.; WDPF boards).  Provide your definition for classifying parts as “critical” and your list of “critical” spare parts.  
10/18/00




2.11 
Please provide the following gas pipeline information:

· Points of gas receipt used for the site

· Has the interruptible contract caused any supply disruptions or problems w/ lack of pressure?

· The root cause for the units being inoperable due to pressure

· Can the existing gas contracts be assigned to purchaser?

· How does the pipeline treat hourly and daily gas use imbalances? 

· How much notice is needed for unit startup and shut down?

· Can the plant operate w/o a gas nomination?
10/18/00




2.12 
How much pipeline capacity is available for the facility?
10/18/00




2.13 
Were other pipelines considered for use during the facility planning and development stages? Why were the other pipelines not used (please provide supporting data)?
10/18/00




3.0 
Financial
Date Requested
Date Received
Status
Comments

3.1 
Please provide the annual and three (3) year Business Plans, including the additional capital forecasted
10/18/00




3.2 
Please provide any analysis of capital cost estimates to determine the feasible of adding combined cycle or additional simple cycle generation to the site
10/17/00




3.3 
Please provide all LLC financial statements, including income statements and balance sheets on a quarterly and annual basis. Please provide monthly management reports.
10/18/00




3.4 
Please provide details of all liabilities of the LLCs as well as any commitments and contingencies or pending litigation, including employee obligations.
10/18/00




3.5 
What is the station power consumption rate and how much has been paid for this consumption in 2000?  Please provide the monthly cash flows.
10/18/00




4.0
Environmental
Date Requested
Date Received
Status
Comments

4.1
Please provide emission profiles with and without evaporative cooling, at load ranges of 0 – 100% (in 5% increments) at ambient temperatures of –15, -5, 5, 15, 25, 35, 45, 55, 65, 75, 85, and 95 degrees F, that include the #/hr and ppmvd of NOx CO, SO2, VOC, and particulates, as adjusted for site elevation.  Emission profiles should also include output, heat rate, exhaust flow, exhaust temp.
10/18/00




4.2
Please provide copy of emissions compliance testing conducted in accordance with NSPS and Permit to Construct and any emissions testing to validate equipment warranties.
10/18/00




4.3
Please provide copy of plant monitoring data for fuel nitrogen and sulfur content.
10/18/00




4.4
Please provide water-to-fuel ratio data during all operating hours.
10/18/00




4.5
Please provide copy of Title 5 application submitted to IDEM.
10/18/00




4.6
Please provide copy of Phase II Acid Rain Application
10/18/00




4.7
Please provide results of CEM certification.
10/18/00




4.8
Please provide explanation of stack gas stratification issues.
10/18/00




4.9
Please provide NOx, CO2 and CO CEM reports for all operating hours, including ppm, #/hr, #/mmBtu and cumulative TPY.
10/18/00




4.10
Please provide copy of CEM Standard Operating Procedures and QA/QC manual.
10/18/00




4.11
Please provide information on initiation of water injection after startup (i.e. when water injection can be safely initiated).
10/18/00




4.12
Please provide copy of Preventive Maintenance Plan
10/18/00




4.13
Please provide copy of Compliance Response Plan
10/18/00




4.14
Please provide copy of SPCC Plan
10/18/00




4.15
Please provide copy of Affidavit of Construction
10/18/00




4.16
Please provide copy of Operation Permit Validation letter.
10/18/00




4.17
Please provide explanation of revision to the Permit to Construct dated 3-13-00.
10/18/00




4.18
Please provide potable water supply agreement.
10/18/00




4.19
Please provide any data on local water supplies, including well logs of local wells.
10/18/00




4.20
Please provide copies of any Phase II environmental assessments conducted on any properties included in this transaction.
10/18/00




4.21
Please provide detail on any zoning restrictions related to stack height or noise.
10/18/00




4.22
Please provide water quality analyses of water withdrawn from lake.
10/18/00




4.23
Please provide copy of water quality control procedures, including methods for pH and conductivity adjustments.
10/18/00




4.24
Please provide explanation of raw water filtering requirements, prior to demineralization.
10/18/00




4.25
Please provide copy of custom schedule request to USEPA.
10/18/00




4.26
Please provide costs associated with operation and maintenance of CEMs including annual RATA testing, calibration gases, spare parts, etc.
10/18/00




4.27
Please provide copy of contract with Ecolochem for demineralization of water.
10/18/00




4.28
Please provide copy of CEM warranty agreement with CISCO.
10/18/00




4.29
Please provide determination of SARA reporting requirements under 311 and 312.
10/18/00




4.30
Please provide explanation of need for a mercaptan  odorizing station.
10/18/00




4.31
Please provide copies of any hydrologic studies performed at the associated properties.
10/18/00




4.32
Please provide schedule of all environmental, health and safety required training and associated procedures.
10/18/00




4.33
Please provide maximum water withdrawal rates from the lake reservoir and explain any limitations.
10/18/00




4.34
Please provide the attachments to Section 3 of the Monitoring Plan, including the natural gas sulfur content documentation and flue flow meter documentation.
10/18/00




4.35
Please provide information of the CO CEM system, including equipment and calculation method.
10/18/00




Status Legend:  A = Actual date received, P = Partial Response Received

DocReq 001013b
10/18/00
- 6 -


