                          UNITED STATES OF AMERICA

                    FEDERAL ENERGY REGULATORY COMMISSION

     Before Commissioners:   Curt H‚bert, Jr., Chairman;

                           William L. Massey, and Linda Breathitt.  

     Removing Obstacles To Increased 

     Electric Generation And Natural Gas Supply        Docket No. EL01-47-000

     In The Western United States

       ORDER REMOVING OBSTACLES TO INCREASED ELECTRIC GENERATION AND

       NATURAL GAS SUPPLY IN THE WESTERN UNITED STATES AND REQUESTING

         COMMENTS ON FURTHER ACTIONS TO INCREASE ENERGY SUPPLY AND

                        DECREASE ENERGY CONSUMPTION 

                          (Issued March 14, 2001)

     Introduction

          In this order, the Commission announces certain actions it

     is taking within its regulatory authorities under the Federal

     Power Act, the Natural Gas Act, the Natural Gas Policy Act, the

     Public Utility Regulatory Policies Act, and the Interstate

     Commerce Act to help increase electric generation supply and

                                           1

     delivery in the Western United States,  in order to protect

     consumers from supply disruptions.  In light of the severe

     electric energy shortages facing California and other areas of

     the West in recent months, which are  likely to prevail into the

     foreseeable future, the Commission has examined all of its rate

     and facility certification authorities in the areas of electric

     energy, natural gas, hydroelectric and oil to determine how it

     can help increase electric energy supply.   

          We have examined both electric supply-side and demand-side

     actions that need to be taken, as well as how to best assure the

     input of natural gas needed for electric power production.  While

     our authorities are somewhat limited, we are taking steps to

     immediately help increase supply from existing power sources and

     to provide regulatory incentives to build new electric and

                                 2

     natural gas infrastructure.    California's dependence on

               1

                For purposes of this order, we are concerned with what

          actions may affect electricity supply and demand in the United

          States portion of the Western Interconnection, which is the area

          encompassed within the United States portion of the Western

          Systems Coordinating Council (WSCC). 

               2

                We recognize that the States are also working on these

                                                        (continued...)

          Docket No. EL01-47-000    -2-

     electric generation and natural gas resources located in other

     states and the impact that California's energy shortage is having

     throughout the Western Interconnection underscores the regional,

     interstate nature of the energy marketplace.

          The Commission recognizes that the actions announced here,

     by themselves, will not solve the electricity crisis facing

     California and other areas of the West and will not prevent

     electricity blackouts in the summer of 2001.  However, we wish to

     elicit whatever additional electric supply there is from existing

     resources and, equally important, to identify and work

     constructively on medium and longer term solutions, including new

     infrastructure that can help avert future recurrences of the

     current electric supply shortage in the West.  Of course, our

     efforts are only a small part of the electric supply picture,

     since State regulators, not this Commission, have siting

     authority for electric generation and transmission facilities, as

     well as for natural gas local distribution facilities.  Moreover,

     State regulators have the most significant authorities to

     encourage demand reduction measures.  Accordingly, as discussed

     below, the Commission intends to meet with State regulators this

     spring.

          In summary, this order provides for or describes the

     following actions effective on the date of issuance of this

     order.  Except as specifically noted in the text, these actions

     expire on December 31, 2001:

          
    Requires the California ISO and transmission owners

               within the WSCC to prepare and file a list of grid

               enhancements that can be completed in the short term.

          
    Extends and broadens the temporary waivers of operating

               and efficiency standards, and fuel use requirements,

               for qualifying facilities through December 31, 2001.

          
    Waives prior notice requirements and grants

               authorization of market-based rates, through December

               31, 2001, for wholesale power sales from generation

               used primarily for back-up and self generation and

               located at businesses within the WSCC.

          
    Authorizes wholesale customers and retail customers

               (where permitted under state rules) who reduce

          2

           (...continued)

          issues, as exemplified by the Western Governors' Action Plan, and

          this Order is intended to complement what the states are doing. 

          See Western Governors' Association website at

          http://www.westgov.org/wieb/power/index.htm.

          Docket No. EL01-47-000    -3-

               consumption to resell their load reduction at wholesale

               at market-based rates.

          
    Waives the prior notice requirements for wholesale

               contract modifications to facilitate demand-side

               management.

          
    Where there are cost-based wholesale rates in effect

               subject to a formula, the Commission will permit DSM

               costs to be treated consistently with other types of

               incremental and out-of-pocket costs.

          
    The Commission has realigned its staff to be able to

               respond as quickly as possible to applications for new

               gas pipeline capacity.

          
    The Commission staff will hold a conference this spring

               to discuss with hydroelectric licensees, agencies, and

               others the possibility of increased generation

               consistent with environmental protection.

          
    The Commission urges all FERC hydroelectric licensees

               in the WSCC to immediately examine their projects and

               propose any efficiency modifications that may increase

               generation.  The licensees should detail to the

               Commission any environmental impacts, including impacts

               from changes to discretionary operations, that could

               occur if there are changes resulting from proposed

               efficiency modifications.

     The Commission seeks comment on the following proposals, which,

     unless specifically noted otherwise, would apply through December

     31, 2001:

          
    Premiums on equity returns, and 10-year depreciation,

               for projects that increase transmission capacity in the

               short term.

          
    Premiums on equity returns, and 15-year depreciation,

               for transmission upgrades involving new rights of way

               that can be in service by November 1, 2002.

          
    Premiums on equity returns for new interconnection

               facilities required for new entrants that can be in

               service by November 1, 2002.

          
    Allowed revenue recovery for non-capital intensive

               expenditures made to increase transmission capacity on

               constrained interfaces. 

          Docket No. EL01-47-000    -4-

          
    Allowing rolling in of interconnection and upgrade

               costs associated with new supply, rather than directly

               assigning such costs to the generator.

          
    Use of the interconnection authority contained in

               section 210(d) of the Federal Power Act to help

               alleviate impediments to electric supply reaching load.

          
    Waiving the blanket certificate regulations to increase

               the dollar limitations for natural gas facilities under

               automatic authorization to $10 million and for prior

               notice authorizations to $30 million.

          
    Offering blanket certificates for construction or

               acquisition and operation of portable compressor

               stations to enhance pipeline capacity to California.

          
    Offering rate incentives to expedite construction of

               projects that will make additional capacity available

               this summer on constrained pipeline systems.

          
    Allowing for greater operating flexibility at licensed

               hydroelectric projects to increase generation while

               protecting environmental resources.

     I.  Electric Generation and Transmission

          The problems that California and the West have been

     experiencing with regard to electricity supply/demand imbalances

     and high market prices result from transmission constraints,

     generation inadequacy, and inadequate demand-side response.  The

     actions described in this section address those factors.

          A.  Electric Transmission Infrastructure

                                                                 3

          Our December 15 Order on California electricity issues  

     implemented several immediate measures designed to stabilize the

     California markets.  The elimination of the requirement that the

     investor-owned utilities (IOUs) sell all of their resources into

     and buy all of their requirements from the California Power

     Exchange (Cal PX) allowed the IOU's to use their 25,000 MW of

     generation to serve their load without buying it at spot 

     prices.  This, in conjunction with the elimination of the Cal

     PX's single price auction at bids above $150, terminating the Cal

     PX's rate schedule entirely as of May 1, 2001, and implementing a

     5% bandwidth for scheduling error in the Cal ISO's real time

               3

                San Diego Gas & Electric Company, et al., 93 FERC 
 61,294

          (2000), reh'g pending.

         Docket No. EL01-47-000    -5-

                                                    4

     market was intended to provide immediate help.    Nevertheless,

     the crisis in California's electricity power supply system

                5

     continues.    Stage 3 System Emergencies (declared when operating

     reserves are below 1.5 percent) have become the order of the day

     and the threat of rolling blackouts is fast becoming routine. 

     While our December 15 Order eliminated the chronic over-reliance

     on spot markets to meet the electric needs of 32 million

     Californians, we are now faced with the hard work of building up

     the infrastructure of the Western grid.

                                                                 6

          Our November 1 Order on California electricity matters  

     discussed at considerable length many long term measures which

     need to be implemented with speed and deliberation in order to

     restore safe, reliable and economical power to the consumers in

     the West.  As a complement to the vital initiative of increasing

     generation supply, we focus today on where we believe this

     Commission can have the greatest impact -- fostering the

                                                       7

     installation of critical transmission investment.    There is

     little doubt that the supply shortage is real and that we must

     take bold action.  Interconnecting new supply to the bulk power

     system, upgrading that system to ensure that the new supply can 

     reach load reliably, and eliminating bottlenecks which prevent

     maximum utilization of existing supply must be accomplished

     efficiently and expeditiously.  With this in mind, we propose

     herein a package of economic incentives aimed at ensuring the

     timely completion of upgrades to the Western grid needed to

     better use existing supply and to accommodate new supply.  We

     also propose that these incentives be implemented by way of a

     limited Section 205 filing which would not open up existing rates

     to review.

               4 -- See San Diego Gas & Electric Company, et al., 94 FERC

          
 61,085 (2001) (Commission found that Cal PX was violating the

          December 15 Order, and if unremedied, would cost consumers

          substantial amounts of money and exacerbate the dysfunctions in

          the market).

               5 -- Moreover, other Western states, particularly those in the

          Pacific Northwest, are also projected to have supply problems

          this summer, depending on rainfall and summer temperatures.

               6 -- San Diego Gas & Electric Company, et al., 93 FERC 
 61,121

          (2000), reh'g pending.

               7 -- Of course, we expect transmission providers to make maximum

          use of existing facilities.  We remind transmission providers of

          their obligation to keep their Available Transmission Capacity

          (ATC) figures current, including updating Capacity Benefit Margin

          and Transmission Reliability Margin.  Accurate ATC is crucial to

          facilitating power sale transactions that can relieve stresses on

          electric systems.  

          Docket No. EL01-47-000    -6-

          First, some grid enhancements may be underway or may not

     require initial siting and acquisition of rights of way, such as

     reconfiguring or reconductoring existing lines or using existing

     towers for additional circuits.  These types of projects offer

     the greatest potential for improving grid capacity at present

     constraints in the shortest period of time.  We direct the Cal

     ISO and the transmission owners in the WSCC to prepare and file,

     for informational purposes, a list of such projects within 30

     days of the date of this order.  The filing should clearly

     describe each project, its impact on grid capability at present

     constraints, the status of state certification if necessary, its

     cost and a definite completion date.  

          In order to provide incentives for the construction of such

     projects at the earliest date possible, we propose to give

     transmission owners of projects that increase transmission

     capacity at present constraints and can be in service by July 1,

     2001, a cost-based rate reflecting a 300 basis point premium on

     equity and a 10-year depreciable life.  Those that can be in

     service by November 1, 2001 will receive a cost-based rate 

     reflecting a 200 basis point premium and a 10-year depreciable

     life.  In order for our incentives to have their desired effect

     as quickly as possible, transmission owners must be given

     certainty at the outset.  Therefore, we propose that, in

     implementing the equity premium, we would use a uniform baseline

     cost of equity for all jurisdictional transmission providers in

     the WSCC of 11.5%.  This figure is in line with the most recent

                                                       8

     allowance we have approved for a western utility.    Accordingly,

     we propose that projects which qualify for a 300 basis point

     premium would be afforded a return on equity of 14.5%.

          Second, for system upgrades that involve new rights of way,

     add significant transfer capability and can be in service by

     November 1, 2002, we propose to permit transmission owners a

     cost-based rate reflecting a return on equity of 12.5% (a 100

     basis point premium) and a 15-year depreciable life.

          Third, we propose that facilities needed to interconnect new

     supply to the grid which go in service as required to accommodate

     the in-service date of the new entrant will also be afforded a

     cost-based rate which reflects a return on equity of 13.5% (a 200

     basis point premium) if in service by November 1, 2001 and 12.5%

     (a 100 basis point premium) if in service by November 1, 2002.

          Fourth, to the extent that transmission owners can increase

     transmission capacity on constrained interfaces without capital

     intensive expenditures by, for example, installing new technology

     on existing facilities to better control voltage and power flow

               8

                See Southern California Edison Company, Opinion No. 445, 92

          FERC 
 61,070 (2000).

          Docket No. EL01-47-000    -7-

     or by implementing new operating procedures, we propose to allow

     them to increase the revenue requirement of their network service

     rates to ensure that each additional MW of capacity will generate

     revenues equal to the provider's current firm point-to-point

     rate.

          In an effort to provide the incentives to promote needed

     infrastructure without economically disadvantaging new supply, we

     request comment on whether to assign 

     the cost of any interconnection or system upgrade to a particular

     load or supply or, alternatively, to roll these costs into the

     average system rate.  We recognize that it has been our policy to

     allow the cost of interconnection and the cost of certain

     incremental system upgrades to be borne by those loads or

     supplies on the margin.  However, the entire Western

     Interconnection is in a state of stress and there may soon be no

     power available at any price.  In these circumstances, it is

     imperative that our pricing policies minimize the cost of entry

     upon individual entrants.  

          B.  Extension of Waivers for Qualifying Facilities

                                               9

          In an order issued December 8, 2000,   the Commission

     granted certain temporary waivers of operating and efficiency

     standards for Qualifying Facilities (QFs) to allow increased

     generation.  The temporary waivers were to expire January 1,

                                                                  10

     2001, but were subsequently extended through April 30, 2001.    

     Because of the capacity shortages in California and other areas

     in the West now and in the foreseeable future, we find good cause

     to extend those temporary waivers through December 31, 2001 and

                                   11

     apply them to the entire WSCC.  

          In the December 8 Order, we stated that section 292.205(c)

     of the Commission's regulations allows the Commission to waive

     any of its operating and efficiency standards for qualifying

     cogeneration facilities "upon a showing that the facility will

               9

                San Diego Gas & Electric Company, et al., 93 FERC 
 61,238

          (2000)(December 8 Order).

               10

                 San Diego Gas & Electric Company, et al., 93 FERC 
 61,294

          (2000).

               11

                 In a letter to the Chairman of the Commission dated

          February 8, 2001, Governor Gray Davis of California requested

          that these waivers be extended until October 15, 2001, and the

          Secretary of Energy endorsed this request in a letter to the

          Chairman dated March 5, 2001.

         Docket No. EL01-47-000    -8-

                                          12

     produce significant energy savings."     We find that the same

     factors of serious supply and demand imbalances that supported

     our waiver in the December 8 Order continue to exist.  Therefore,

     consistent with the goals of PURPA, we find that extending such

     waiver through December 31, 2001 will provide for improved

     reliability of electric service by increasing the availability of

                      13

     needed capacity.     As in the December 8 Order, we will waive

     the operating and efficiency requirements to allow qualifying

     cogenerators to sell their output above the level at which they

     have historically supplied this output to the purchasing utility. 

     A facility's seasonal average output during the two most recent

     years of operation will define its historical output.  We require

     that all additional output from the cogenerators be sold

     exclusively through a negotiated bilateral agreement at market-

     based rates. This arrangement will benefit both parties and help

     serve load and reserves 

     in California and the WSCC at a time when generation resources

     are inadequate.

          In addition, consistent with our action in the December 8

     Order, we will extend through December 31, 2001, the waiver for

     the qualifying small power production facilities in the WSCC with

     respect to their fuel use requirements under section 292.204(b)

     of the Commission's regulations based on the finding that the

     situation in California and the interconnected WSCC presents

     evidence of "emergencies, directly affecting the public health,

     safety, or welfare, which would result from electric power

               14

     outages".     In granting this temporary extension of the waiver,

     we place the same restriction as detailed above and require that

     the small power QFs sell their excess production only to load

     located within the WSCC through negotiated bilateral contracts.

          C.  Additional Capacity From On-site Generation

          Many businesses have installed generators at their business

     location to meet a portion of their own demands or to serve as a

     backstop to their purchase of electricity from the local grid. 

     These generators may provide a ready source of generation

     capacity during periods when power markets are facing a temporary

                         15

     generation shortage.    In 

               12

                 18 C.F.R. 
292.205(c) (2000); see also 16 U.S.C. 
825h

          (1994) (general authority to waive regulations as the Commission

           may find necessary or appropriate ).

               13

                 16 U.S.C. 
 2601.

               14 -- 18 C.F.R. 292.204(b)(2) (2000).

               15 -- We have in fact approved a tariff under which the owners

                                                        (continued...)

          Docket No. EL01-47-000    -9-

     order to facilitate the use of existing on-site generators to

     meet demand, the Commission will adopt a streamlined regulatory

     procedure to accommodate wholesale sales from such facilities

     that will serve load within the WSCC.  For the period beginning

     with the issuance date of this order through December 31, 2001,

     owners of generating facilities located at business locations in

     the WSCC and used primarily for back-up or self-generation, who

     would become subject to the Federal Power Act by virtue of sales

                                   16

     of power from such facilities,   will be permitted to sell power

     at wholesale from such facilities to non-affiliated entities

     within the WSCC without prior notice under section 205 of the

     FPA.  Pursuant to FPA section 205(d), we find good cause to waive

     the prior notice requirements for such sales.  Further, the

     Commission hereby grants waiver of its regulations consistent

                                           17

     with our orders on market-based rates,   and authorizes market-

     based rates during the identified time period, subject to the

     following requirements:  The wholesale purchasers of power from

     such facilities must report to the Commission the names of each

     such seller from whom power was purchased, the aggregate amount

     of capacity and/or energy purchased from each seller, and the

          15

            (...continued)

          of such generation could sell electricity to a power marketer. 

          InPower Marketing Corporation, 90 FERC 
 61,329 (2000) (InPower).

               16

                 We note that while entities become "public utilities"

          subject to the Federal Power Act when they commence the sale of

          electric energy at wholesale in interstate commerce, they cease

          to be public utilities when such sales cease (assuming they

          engage in no other activities that would make them public

          utilities) without further Commission action.  See Century Power

          Corporation, 72 FERC 
  61,045 at 61,279 (1995).

               17

                 See, e.g., InPower, 90 FERC at 62,105; Reliant Energy,

          Inc., et al., 91 FERC 
 61,073 at Appendix B (2000).  The

          Commission has generally waived for such sellers the following

          parts of its regulations in 18 C.F.R.:  most of Subparts B and C

          of Part 35 (documentation), Part 41 (accounting verification),

          Part 101 (prescribed Uniform System of Accounts), and Part 141

          (annual reports).  In addition, where requirements are statutory,

          the Commission has allowed such sellers to make shortened filings

          to satisfy Part 33 (disposition of facilities) and Part 45

          (interlocking positions), and has granted blanket authorizations

          for issuances of securities (Part 34).

          Docket No. EL01-47-000    -10-

                                                18

     aggregate compensation paid to each seller.    To minimize the

     number of required reports, the purchaser may make 

     one report for all purchases pursuant to this paragraph, and, if

     it otherwise files quarterly transactions summaries with the

     Commission, may include this report as a separate section of its

     transaction summary for the first calendar quarter of 2002.  If

     the purchaser does not otherwise file quarterly transactions

     summaries, it should file this report with 

                                       19

     the Commission by April 30, 2002.   

          This measure does not abrogate or supersede any existing

     contracts or obligations, exempt any person from existing

     environmental, safety, or reliability requirements, authorize the

     feeding of power into the grid where not otherwise authorized,

     authorize a retail customer to violate any rules or retail tariff

     provisions that have been properly imposed on the retail sales

     made to those customers, or impose new substantive obligations on

     any person.  This measure only streamlines Commission filing

     requirements for certain actions that are otherwise agreed to

     among the relevant 

              20

     parties.   

               18

                 Although we are asking all wholesale purchasers who seek

          to take advantage of these special procedures to file these

          reports, it is not our intent to assert jurisdiction over any

          wholesale purchaser who is not otherwise subject to our

          jurisdiction, and the submission of such reports will not alter a

          purchaser's jurisdictional status.  Further, to the extent these

          waivers and authorizations include sales by on-site generators

          into energy markets administered by an independent system

          operator (ISO) or power exchange, the ISO or power exchange in

          that case may file the required reports with the Commission.

               19

                 These streamlined procedures are similar to those placed

          into effect last summer.  See Notice of Interim Procedures to

          Support Industry Reliability Efforts and Request for Comments, 91

          FERC 61,189 (2000).  They are offered as an option.  Any public

          utility seller may also follow standard filing requirements if

          desired.

               20 -- The waivers and authorizations granted here apply only to

          sales from on-site generators used primarily for back-up or self

          generation, and thus would apply up to the amount of capacity and

          related energy available from such units.   The waivers and pre-

          granted authorizations do not permit an on-site generator that

          purchases power to resell its purchased power at wholesale. 

          However, assuming such a resale is not contrary to the  on-site

          generator's retail authorizations or purchased power contract,

          and is not otherwise encompassed within a DSM program, a rate

                                                        (continued...)

          Docket No. EL01-47-000    -11-

          With respect to interconnections necessary to accomplish

     sales described above, to the extent mutually-agreed upon

     interconnection agreements become jurisdictional through the use

     of the interconnection for a jurisdictional sale during the

     specified period, 

     the Commission waives the prior notice requirement for those

     agreements for the duration of the interim period.  Filing of

     such jurisdictional interconnection agreements may be postponed

     and made along with the reports of sales pursuant to the

     procedures discussed above.

          D.  Purchases of Demand Reduction

          It is widely accepted that dropping even a few megawatts off

     the system at peak periods is more efficient and economical than

     the incremental cost of generating them.  Demand reduction offers

     a short-term and cost-effective means to provide additional

     resources during times of scarcity.  Therefore, the Commission

     will allow, effective on the date of this order,  retail

     customers, as permitted by state laws and regulations, and

     wholesale customers to reduce consumption for the purpose of

     reselling their load reduction at wholesale.  By providing

     additional load resources when generating resources are scarce,

     these "negawatts" should help maintain the reliability of the

     grid.  To stimulate the development of this program, the

     Commission is granting a blanket authorization to allow these

     sales at market-based rates.  We are granting blanket

     authorization consistent with our discussion concerning sales

     from generating facilities located at business locations and used

     primarily for back-up or self-generation.  Consistent with our

     monitoring of generation sales at market-based rates, the 

     Commission will require that similar information on these

                                                    21

     transactions be reported on a quarterly basis.   

          These transactions are considered wholesale when they

     involve the sale for resale of energy that would ordinarily be

          20

            (...continued)

          schedule for the sale could be filed with us.  In such case, the

          Commission will be receptive to granting waivers and

          authorizations consistent with these where there is customer

          consent.

               21

                 We note that the ISO instituted a market-based wholesale

          demand responsiveness program on a four-month trial basis during

          the summer of 2000.  Under this program, the ISO paid

          participants a monthly "capacity" payment in return for the ISO's

          ability to curtail these loads.  Initial participation in the

          ISO's trial program reached 180 MW.

          Docket No. EL01-47-000    -12-

     consumed by the reseller.  These transactions can occur in

     several ways.  An aggregater can line up retail load to acquire

     enough negawatts to resell in a manner similar to what

     aggregaters do when they sell power to retail load under retail

     choice programs.  In addition, wholesale and retail load with

     contract 

     demand service could resell their contract demands if the value

     of power is greater than the value of consumption. 

          Our December 15 Order on California issues directed, as a

     longer-term measure, that the Cal ISO pursue establishing an

     integrated day-ahead market in which all demand and supply bids

                                 22

     are addressed in one venue.     We seek comments on the

     desirability of accelerating action on this.

          We realize that states play an important role in regulating

     retail electric service and that allowing retail load to reduce

     consumption for resale in wholesale markets raises legal,

     commercial, technical and regulatory issues.  But, given the dire

     supply situation in California and throughout the WSCC, the

     Commission is compelled to explore every regulatory opportunity

     to help the market to operate more efficiently and to help ensure

     short-term reliability throughout the Western Interconnection. 

     Moreover, safeguards 

     may be needed to protect and enhance retail demand-side

     management (DSM) programs.  Our intention is not to undermine

     existing state DSM programs or other state rules governing retail

     sales, but to promote complementary wholesale programs. 

     Therefore, we request comments on how helpful this action is and

     how well it can be accomplished consistent with state

     jurisdiction over retail sales.

          E.  Contract Modifications to Promote DSM

          Related to the section above, there may be opportunities for

     public utilities to make other types of demand-side arrangements

     with their wholesale customers.  For example, some wholesale

     requirements customers may have the ability to enter into

     arrangements with their own retail customers to reduce load or

     obtain power from an industrial generator.  Or, a partial

     requirements customer may have access to generating capacity on

     its own system.   We want to ensure that public utilities will be

     able to work with their customers to negotiate mutually

     beneficial arrangements on short notice.  Since time may be of

     the essence as these opportunities are discovered and negotiated,

     we find good cause to waive the FPA's prior notice requirement

     for any rate schedule amendments that may be required to

     effectuate these types of arrangements.  Thus, to the extent a

     mutually agreeable DSM alternative changes the terms and

               22

                 December 15 Order, 93 FERC at 62,016-17.

          Docket No. EL01-47-000    -13-

     conditions of a contract within our jurisdiction, we will grant

     waiver of the filing of prior notice of the change.  This measure

     will be effective upon the date of issuance of this order.  By

     December 31, 2001, the public utility supplier must amend the

     filed rate schedule.  The filing must consist of a report

     containing the following information: the FERC rate schedule

     numbers, the load reduction negotiated under the DSM arrangement

     (MW/MWh), total compensation, and the name of each affected

                         23

     wholesale customer.   

          F.  DSM in Cost-Based Rates

          While most power sales are currently transacted under

     market-based rates, there are occasions when utilities continue

     to operate under cost-based rates.  Often, these cost-based rates

     incorporate formulas that are intended to track the actual out-

     of-pocket (i.e., incremental) cost that was incurred to generate

     or purchase the energy.  During periods of generation shortage,

     some utilities may be in a position to engage in DSM transactions

     with their wholesale and retail requirements customers in order

     to free up capacity for resale to neighboring utilities.  These

     transactions will not take place unless any DSM expenditures can

     also be recovered under the rate formula, as are all other out-

     of-pocket costs.  However, most rate schedules define out-of-

     pocket or incremental cost in terms of expenses incurred to

     generate power, rather than costs incurred to compensate a

     preexisting customer to reduce load.  A few jurisdictional

     utilities have amended their cost-based pricing formulas to

     recognize the fact that DSM costs are a form of out-of-pocket or

                       24

     incremental cost.      In order to eliminate any disincentive to

     rely on DSM as a source of supply during generation shortages, we

     clarify that DSM costs should be 

     treated consistently with all other types of incremental and out-

     of-pocket costs.  This measure will be effective upon the date of

     issuance of this order.

          G.  Interconnections

          Section 210(d) of the FPA authorizes the Commission, on its

     own motion, after it follows certain procedures, to issue an

     order requiring the same actions an applicant may request with

     respect to interconnections, namely:

               23

                 This paragraph also applies to revisions to contracts to

          permit a wholesale customer's participation in any utility DSM

          programs, including those of an ISO or power exchange.

               24

                 See, e.g., Wisconsin Electric Power Company, Docket No.

          ER99-2180-000.

          Docket No. EL01-47-000    -14-

          (A) the physical connection of any cogeneration facility,

          any small power production facility, or the transmission

          facilities of any electric utility, with the facilities of

          such applicant, 

          (B) such action as may be necessary to make effective any

          physical connection described in subparagraph (A), which

          physical connection is ineffective for any reason, such as

          inadequate size, poor maintenance, or physical

          unreliability, 

          (C) such sale or exchange of electric energy or other

          coordination, as may be necessary to carry out the purposes

          of any order under subparagraph (A) or (B), or

          (D) such increase in transmission capacity as may be

          necessary to carry out the purposes of any order under

          subparagraph (A) or (B). 

          We seek comments on whether the exercise of the Commission's

     authority under this section could help alleviate any existing

     impediments that may be preventing generating resources from

     reaching load.  If the exercise of this authority may be

     warranted, we seek comments on whether the Commission could make

     some of the required findings generically for the WSCC region in

     order for the Commission to respond quickly if appropriate

     circumstances arise. 

          H.  Longer-term Regional Solutions

          This order focuses primarily on short term regulatory

     actions that this agency can take to improve energy supply

     conditions in California and throughout the Western

     Interconnection.  Because of the emergency conditions confronting

     the West, we are proposing interim rate measures to stimulate

     much-needed investment in transmission 

     and generation infrastructure.  However, in the long term, we

     believe that decisions regarding investment in new electric and

     gas infrastructure   including appropriate incentives for such

     investment -- should be approached from a regional perspective

     that recognizes the interstate nature of the wholesale energy

                                      25

     marketplace.  In Order No. 2000,     the Commission recognized

     that many of the economic and reliability issues confronting the

     electric industry could only to be addressed on a regional basis. 

     The current supply and demand electricity crisis in California is

     no exception.  Any long-term solution to address the crisis and,

     more importantly, to prevent its recurrence, must be developed on

               25

                 Regional Transmission Organizations, 65 FR 809 (January 6,

          2000), FERC Stats. & Regs. 
 31,089 (1999), order on reh'g, Order

          No. 2000-A, 65 FR 12,088 (March 8, 2000), FERC Stats. & Regs.

          
 31,092 (2000), petitions for review pending sub nom., Public

          Utility District No. 1 of Snohomish County, Washington v. FERC,

          Nos. 00-1174, et al. (D.C. Cir.).

         Docket No. EL01-47-000    -15-

     a west wide basis, with appropriate input from all of the

     affected states. Recent events have demonstrated the regional

     nature of the electricity markets in the West.  Problems of

     inadequate generation supply and poor demand responsiveness are

     made worse by localized electric transmission and gas pipeline

     capacity bottlenecks and by fragmentation of Western market

     rules.  A west wide RTO, or a seamless integration of Western

     RTOs, is the best vehicle for designing and implementing a long-

     term regional solution.

          An RTO of sufficient scope and regional configuration would

     foster investment in new generation by providing open and fair

     transmission access.  By eliminating transmission rate

     "pancaking," the RTO could provide sellers and buyers throughout

     the Western Interconnection with additional trading

     opportunities.  These opportunities should help the entry of

     additional generation supplies.  An RTO of sufficient scope and

     regional configuration would make optimal use of existing

     transmission through regional congestion management, motivate

     needed facility expansion, and bring credibility to the siting

     process through coordinated regional transmission planning.  A

     west wide RTO could also implement a regional "demand exchange"

     program to reduce load when supplies are low.  Importantly, a

     west wide RTO could develop uniform market rules that would

     facilitate regional trade, lower supply costs, and improve

     reliability.

          We take this opportunity to reiterate that the Commission

     remains committed to the policy course laid out in Order No.

     2000.   We will continue to work closely with transmission

     owners, market participants, and affected state utility

     commissions  to encourage the further development of RTOs.  We

     intend to act expeditiously on the compliance filings we have

     received in order to provide guidance to the industry and

     certainty to the regional marketplace.   Long term market

     solutions to the supply and demand problems which have confronted

     California and its neighbors throughout the Western

     Interconnection will require fully functional RTOs sooner, rather

     than later.

     II.  Natural Gas Pipeline Capacity

          Natural gas is an important fuel source for electric

     generators.  Recently, there has been a significant escalation in

     the market price for natural gas.  There also are reports of

     pipeline capacity constraints in moving gas to where it is needed

     for electric generation.

     The Commission will do what it can to increase pipeline capacity

     where appropriate. 

          The Commission has several types of jurisdiction over new

     pipeline construction. In general, a natural gas company that

          Docket No. EL01-47-000    -16-

     wishes to construct and operate new pipeline capacity for the

     transportation of natural gas in interstate commerce must first

     obtain a certificate of public convenience and necessity under

     section 7 of the Natural Gas Act. 

     In addition to its certificate jurisdiction, the Commission has

     authority, delegated by the Secretary of Energy, over the siting

     and construction of facilities for the import or export  natural

     gas under Section 3 of the Natural Gas Act as well as authority

     under Executive Order No. 1045 to issue Presidential Permits for

     such facilities if they are located at the international border. 

     Authority to construct interstate gas pipeline facilities may

     also be found in the Commission's regulations implementing

     Section 311 of the Natural Gas Policy Act of 1978.  Under these

     regulations, facilities to transport gas on behalf of a qualified

     shipper can be constructed on a self-implementing basis, without

     prior Commission approval as long as they are constructed in

     compliance with applicable environmental requirements.

          The Commission is continuing to examine its staffing

     resources and has realigned its environmental expertise in order

     to ensure that gas infrastructure projects that could serve,

     directly or indirectly, to increase energy supplies to California

     and the West are expeditiously processed.  Having the hydro and

     gas environmental staff in the same office has allowed for the

     assignment of expertise to accommodate gas projects as they are

     filed.  When certain expertise is required to prosecute an

     application expeditiously, the Commission has the ability to

     readily bring in, as an example, an individual with knowledge of

     historic preservation issues.  In the last seven months, the

     Commission has issued certificates for three projects that could

                       26

     benefit the West.     Several more certificate applications are

     pending, and the Commission is committed to moving quickly on

                         27

     these projects too.   

               26

                  This represents almost 119,000 Mcf/d of capacity.  See

          Questar Southern Trails Pipeline Company, 92 FERC 
 61,110 

          (2000); Tuscarora Gas Transmission Company

          93 FERC 
 62,102 (2000); Northwest Pipeline Corporation, 94 FERC

          
 61,101 (2001).

               27

                  There are eight pending pipeline proposals that represent

          2.3 Bcf/d of new capacity for the West, including the Rocky

          Mountain region.  They are: North Baja Pipeline Company, LLC,

          Docket Nos. CP01-22-000 et al.; Questar Pipeline Company, Docket

          No. CP00-68-000; Kern River Gas Transmission Company, Docket No.

          CP01-31-000; Colorado Interstate Gas Company, Docket No. CP00-

          452-000; Colorado Interstate Gas Company, Docket No. CP01- 45-

          000; Wyoming Interstate Company, Ltd., Docket No. CP00-471-000;

          Northwest Pipeline Corp., Docket No. CP01-49-000; and El Paso

          Natural Gas Company, Docket No. CP01-12-000.   In addition, El

                                                        (continued...)

          Docket No. EL01-47-000    -17-

          Because the traditional process for obtaining a certificate

     for new construction can be expensive and time consuming for

     applicants, the Commission has recently adopted a number of

     methods to expedite the process.  For instance, the Commission's

     regulations offer blanket certificates for eligible facilities.

     Facilities that are not eligible to be built under a blanket

     certificate may receive a "preliminary determination" resolving

     all nonenvironmental issues in the proceeding within 180 days of

     filing.  The Commission also adds to pipeline capacity available

     for interstate service by issuing certificates of limited

     jurisdiction when the public interest requires. 

          In response to the present conditions in California and the

     West, the Commission has realigned its resources, including its

     environmental staff, as mentioned above, to allow it to respond

     as quickly as possible to any applications to construct new

     capacity.  The Commission is actively considering what other

     actions the Commission may take and is soliciting comments on

     ways to expedite the approval of pipeline infrastructure needed

     to serve California and the West.

          During this winter, natural gas pipelines, especially in the

     West, have for the most part been fully utilized.  Planned

     maintenance of pipelines, and concomitant reductions in

     transmission capacity, usually occur during the spring and

     summer.  The Commission is looking for ways to avoid reduction in

     the amount of capacity and gas supplies in California and the

     West during this period.  For example, portable compressors may

     add additional capacity or relieve capacity constraints on

                                  28

     pipeline systems this summer.    We will be receptive to

     proposals that achieve these goals. We will also be receptive to

     rate proposals that provide an incentive to expedite construction

     to add capacity or relieve capacity constraints on pipeline

     systems this summer. 

          In considering what actions it could take to expedite

     further its ability to respond to the present energy crisis in

     California and the West consistent with its environmental

     responsibilities, the Commission is also concerned that any

          27

            (...continued)

          Paso Natural Gas Company is proposing to acquire and convert to

          gas use a 785 mile crude oil pipeline extending from Arizona to

          California, which would replace existing capacity.

               28

                  In Northwest Pipeline Corporation, Docket No. CP01-62-000

          (February 7, 2001) the Commission approved a proposal by

          Northwest to use existing portable compressors at three

          compressor stations to relieve capacity constraints on its

          system, which were forcing imposition of Operational Flow Orders

          and the purchase by shippers of more expensive gas supplies.

          Docket No. EL01-47-000    -18-

     actions that it approves should not come at the expense of

     reducing the quality of service to existing customers.  

          Of course, some actions the Commission takes to expedite new

     capacity for gas to serve California and the West may only be

     effective to the extent there is available local  distribution

     capacity to deliver gas downstream of the interstate pipeline. 

     The availability of sufficient local take-away capacity, however,

     is a matter that is within the control of the states rather than

     of this Commission.  We ask that the pipelines coordinate their

     efforts with local distribution companies, public utilities and

     state officials to ensure that the additional capacity on the

     interstate pipeline will be able to get to all entities (e.g.

     LDCs, generators, industrials) that need the gas supply.

          Accordingly, the Commission requests the views of interested

     persons on how it might further exercise its authority over new

     pipeline construction to alleviate the present crisis. In

     particular, the Commission solicits the views of interested

     persons on the following proposals:

          1) waiving the blanket certificate regulations to increase

          the dollar limitations for facilities under automatic

          authorization to $10 million and for prior notice

          authorizations to $30 million;

          2) offering blanket certificates for construction or

          acquisition and operation of portable compressor stations to

          enhance pipeline capacity to California.

          3) offering rate incentives to expedite construction of

          projects that will make additional capacity available this

          summer on constrained pipeline systems.

     The Commission's current policy of allowing rolled in rates for

     facilities built under the current blanket authorization of $

     20.6 million or less would continue to apply.  However, we

     request comments on whether blanket authorizations exceeding $

     20.6 million should also be rolled in.

     III.  Hydroelectric Power

          Hydropower is a critical component of the Western states'

     generating assets, particularly in the Northwest.  While

     approximately 40 percent of the total capacity  in the 11-state

     WSCC is hydropower based, hydropower accounts for fully 65

     percent of the Northwest generation.  The Commission regulates

     326 projects in the WSCC with a combined total capacity of 24,600

     MW.  Clearly any action taken to enhance the generation from

     these projects, consistent with protecting critical environmental

     resources, can improve the energy picture for the Western states. 

         Docket No. EL01-47-000    -19-

     The current hydrologic conditions, however, are not conducive to

     maximizing hydropower generation during the summer of 2001. 

          General practice in the region calls for the coordinated

     efforts to fill hydropower reservoirs by the beginning of the

     summer peak electricity season by depending as much as possible

     on non-hydropower generation resources during the winter off-peak

     season.  In plentiful water years, the Pacific Northwest is able

     to export hydropower to the southern part of the region during

     the summer and import fossil-fueled generation during the winter

     from the south to help meet off-peak loads and allow reservoir

     storage to refill for the next peak cycle.  This coordinated

     effort has been hampered recently because demands within the

     Northwest restrict the amount of power available for export, and

     hydrologic conditions have hampered reservoir replenishment.

          Forecasted river flows for spring and summer 2001 indicate

     below average flows across the Pacific Northwest and California. 

     These predictions are based on past precipitation amounts,

     existing reservoir and river levels, and forecasted

     precipitation.  Precipitation in the Northwest fell to low levels

     in November and December 2000, raising concerns about available

     hydropower.  Stream flow conditions likewise fell to low levels

     in early January.  Although the situation has improved recently,

     particularly in California, some parts of the Pacific Northwest,

     such as the upper Columbia River region, are still forecasted to

     have drastically low stream flows. 

          Where operation of hydroelectric facilities would affect

     flow-dependent environmental resources, the Commission's licenses

     have included operating constraints, such as requirements for

     minimum stream flow, minimum reservoir fluctuation,  run-of-river

     operating mode, ramping rates, and flood control.  Such measures

     serve to protect resources including resident and anadromous

     fish, water quality, recreation, municipal and industrial water

     supplies, and agricultural resources.  These operating

     constraints act to reduce the energy production, peaking

     capacity, and other power benefits of hydropower projects. 

     Granting some relief from these operating constraints would

     provide power systems with greater flexibility to meet power

     demands in the West.

          Modification of these operational constraints on the

     currently licensed projects has the potential to increase

     generation from existing hydroelectric facilities, provide

     additional power during peak-load periods, and increase the

     ability of projects to provide ancillary services to the power

     system.  Of the 326 projects licensed by the Commission within

     the WSCC, 200 have provisions that limit operational flexibility. 

     These 200 projects represent a total capacity of 21,000

     megawatts.  Greater flexibility in the dispatch of this capacity,

          Docket No. EL01-47-000    -20-

     consistent with protecting environmental resources, could act at

     critical times to enhance the reliability of the system. 

          Modification of these operating constraints, however, would

     need to be done in a way that balances the generation

     improvements with protecting the environment.  Before making

     changes to specific project licenses, the Commission would need

     to work closely with federal and state agencies to ensure that

     environmental resources, including species listed under the

     Endangered Species Act, are protected.  This is consistent with

     the President's February 16, 2001 Memorandum to the Secretaries

     of Defense, Interior, Agriculture, and Commerce and the

     Administrator of the Environmental Protection Agency, which

     states:

          I hereby direct all relevant Federal agencies to

          expedite Federal permit reviews and decision procedures

          with respect to the siting and operation of power

          plants in California.  All actions taken must be

          consistent with statute and ensure continued protection

          of public health and the environment while preserving

          appropriate opportunities for public participation.

          In addition, Commission review of licensed projects

     indicates that many hydropower projects are potentially capable

     of more fully using the available water resources to contribute

     to the electric capacity and energy needs.  Existing projects are

     capable of improvements in these principal areas: (1) addition of

     new capacity units, (2) generator upgrading through rewinding,

     (3) turbine upgrading through runner replacement, and (4)

     operational improvements through such means as improving

     coordination of upstream and downstream plants, increasing

     hydraulic head, and computerization.  The Commission encourages

     all licensees to immediately examine their projects and propose

     any efficiency modifications that may contribute to the nation's

     power supply.

          In order to expedite review of particular projects with the

     potential for increased generation, the Commission staff will

     hold a conference to discuss with agencies, licensees, and

     others, methods to address environmental protection at projects

     while allowing for increased generation.  We expect to hold a

     staff conference as soon as possible this spring.  Notice of the

     location and time of the meeting will be published.

          Finally, the Commission seeks comments on ways to allow for

     greater operating flexibility at Commission-licensed hydropower

     projects while protecting environmental resources.  Comments

     should consider:  (1) methods for agency involvement, (2) ways to

     handle and expedite Endangered Species Act consultation, (3)

     criteria for modifying licenses, and (4) identification of

          Docket No. EL01-47-000    -21-

     processes that could be implemented to provide efficiency

     upgrades.

     IV. Oil Pipelines

          Although oil and oil products are not used significantly for

     electric generation in the West, there are some generators that

     rely on such products.  The Commission has jurisdiction under the

     Interstate Commerce Act (ICA) over the rates and charges of

     pipelines engaged in the transportation of oil and oil products

     in interstate commerce.  The ICA requires that all pipelines

     charge just and reasonable rates for their service, provide and

     furnish transport upon reasonable request, and establish

     reasonable through routes with other carriers.  The ICA prohibits

     pipelines from receiving rebates for service provided or making

     or giving undue preferences or advantages to shippers.

          The Commission has no authority under the ICA to require

     certificates of public convenience and necessity as a basis for

     starting operations.  That authority rests with local

     jurisdictions.  Since the Commission no authority over

     construction of oil pipelines, courts have held that

     environmental issues are separate from the rate issues over which

     the Commission has jurisdiction, and the Commission thus has been

     relieved of any responsibility under the National Environmental

     Policy Act.  The Commission also has no authority over

     abandonments of service or authority to order extension of lines.

          Following enactment of the Energy Policy Act of 1992, the

     Commission provided an indexing, or a price cap, methodology as a

     simplified method for oil pipelines to change their rates.  The

     index approach has simplified the filing of rate changes.   The

     Commission in recent years has also concluded  that use of the

     term contracts and differential pricing to allocate risk is

     permissible under the Interstate Commerce Act to advance a number

     of innovative pricing proposals.  The Commission will explore

     with oil pipelines other types of innovative proposals that could

     lead to ensuring an adequate flow of petroleum product into the

                        29

     California market.   

     Request for Comments/Conference 

          The Commission seeks the views of industry participants,

     organizations, and state regulatory authorities on the actions

     and proposals identified herein, and on what other measures the

               29

                 In addition, oil pipelines rely upon electricity for

          pumping, and to the extent pumping is affected by electric

          curtailments, oil products may not get delivered to generators

          that rely on such products.  We request any comments as to

          whether this is a serious concern.

          Docket No. EL01-47-000    -22-

     Commission and others could take to assist in improving the

     supply/demand balance in California and elsewhere in the West. 

          We request that any comments be submitted to us by March 30,

     2001.  Such comments should be concise and focused.  Interested

     persons should submit an original and 14 copies of any comments

     to the Office of the Secretary, Federal Energy Regulatory

     Commission, 888 First Street, N.E., Washington, D.C. 20426, and

     should reference Docket No. EL01-47-001.

          Finally, the Commission intends to hold a one-day conference

     with state commissioners and other state representatives from

     Western states to discuss price volatility in the West, as well

     as other FERC-related issues recently identified by the Governors

                        30

     of Western states.     A Commission notice specifying the details

     of this conference will be issued in the near future.

     The Commission orders:

          (A) The California ISO and the transmission owners in the WSCC

     are directed to prepare and file in this docket, within 30 days of the

     date of this order, a list of grid enhancements that could be made in

     the short term.

          (B) Temporary waivers of certain operating and efficiency

     standards and fuel use requirements for qualifying facilities are

     granted to such facilities located in the WSCC through December 31,

     2001, as discussed in the body of this order.

          (C)  For entities in the WSCC meeting the qualifications for on-

     site or back-up generation, and entities reducing load for resale, as

     discussed in the body of this order, and who satisfy the reporting

     requirements discussed herein, the following advance waivers and

     authorizations are hereby granted for the period beginning the date of

     this order through December 31, 2001:

               (1)  The prior notice requirement of section 205 of the

               Federal Power Act is hereby waived.

               (2)  Waiver is hereby granted for Parts 35, 41, 101, and 141

               of the Commission's regulations.

               (3)  Authorization is hereby granted to issue securities and

               assume obligations and liabilities, provided that such issue

               or assumption is for some lawful object within the corporate

               purposes of the eligible entities, compatible with the

               30

                 See Western Governors Association, "Suggested Action Plan

          to Meet the Western Electricity Crisis and Help Build the

          Foundation for a National Energy Policy" (March 2001).  A copy of

          this document has been filed in this docket.

              public interest, and reasonably necessary or appropriate for

               such purposes.

               (4)  The full requirements of Part 45 of the Commission's

               regulations, except as noted, are hereby waived with respect

               to any person now holding or who may hold an otherwise

               proscribed interlocking directorate involving any eligible

               entity.  Any such person instead shall file a sworn

               application providing the following information:

                    (a)  full name and business address; and

                    (b)  all jurisdictional interlocks, identifying the

                    affected companies and the positions held by that

                    person.

          (D)  The prior notice requirement for rate schedule changes to

     accommodate demand side management, as discussed in the body of this

     order, is hereby waived, conditioned on the public utility complying

     with the filing requirements set forth herein.

     By the Commission.  Commissioner Massey dissented in part with a

     separate 

                                       statement attached.

     ( S E A L )

                                        David P. Boergers,

                                              Secretary.

                           UNITED STATES OF AMERICA

                      FEDERAL ENERGY REGULATORY COMMISSION

     Removing Obstacles To Increased

     Electric Generation And Natural Gas Supply        Docket No. EL01-47-000

     In The Western United States

                             (Issued March 14, 2001)

     MASSEY, Commissioner, dissenting in part:

          Clearly the Commission should do whatever we can to help

     alleviate the continuing market crisis in the western states.  This

     order is a very limited attempt to do so, but it makes errors of

     omission and commission from which I must dissent.

          Let me first focus on the error of omission, or as I see it,

     "ignoring the elephant in the living room."  Today's order focuses on

     quick fixes to help narrow somewhat the gap between supply and demand

     in the west.  I do not believe any of my colleagues seriously believes

     these measures will close that gap substantially.  The California ISO

     projects deficiencies of up to 6,800 Mws for this summer.  And I think

     that it is generally agreed that demand in California and elsewhere in

     the west is not responsive enough to prices.  The Commission has

     previously found that the dysfunctional market in California is not

     producing just and reasonable prices.  Addressing these problems is a

     long term endeavor.  Unfortunately, market participants are forced to

     purchase in today's markets, and at prices that are arguably unlawful.

          Last summer in our NSTAR and New York ISO orders, we found that

     these conditions   supply shortages and a lack of demand

     responsiveness   prevented these northeastern electricity markets from

     operating as typical competitive markets and that price mitigation was

              1

     needed.     Yet today's order fails to address price relief in the

     short term for consumers in the western part of our nation where the

     same conditions exist and are much worse.

           I am very concerned with the economic effects the current market

     meltdown is having.  An article in yesterday's Wall Street Journal

     reported that the current western energy crisis could cut disposable

     household income by $1.7 billion and cost 43,000 jobs over the next

     three years in Washington state alone.  Some fear that it could tip

     the region into a recession.  Moreover, the current volatile and high

     prices, which will be worse by 

                                        2

     magnitudes this coming summer, are devastating consumer and investor

     confidence in a market based approach to electricity regulation.  Over

     the past three  months, I have attended and spoken at two separate

     conferences sponsored by the Western Governors Association dealing

     with these issues.  Scores of market participants and western public

     officials spoke passionately and eloquently about the nature of the

     problems they face.  Certainly the issue of supply is a big problem

     that must be addressed, but so is the issue of price.  Without

     protection, there is huge concern about what the summer will bring in

     terms of high prices and volatility.  If the west experiences another

     summer like the last, I fear for the future viability of this agency's

     policy favoring wholesale competition.  The political viability of a

     market based approach for electricity may suffer irreparably.

          Thus, this order should have established an investigation under

     section 206 of the Federal Power Act into the appropriateness of

     effective price mitigation until the longer term solutions are in

     place and the markets operate normally.  This investigation would

     assess, through comments, whether conditions in the western

     interconnection are preventing competitive market operation, how long

     those conditions are expected to last, and what the Commission can do

     to provide immediate price mitigation to ensure that prices are just

     and reasonable.  We would also inquire about how any mitigation

     measures should be applied and how long they should last.  A specific

     sunset provision is important to maintain investor confidence that

     price mitigation is temporary and imposed only to deal with a poorly

     functioning market and to provide an incentive to ensure that the

     market problems are addressed expeditiously.

          And finally, a section 206 investigation into wholesale

     electricity prices in the western interconnection would set a refund

     effective date 60 days hence so that the Commission can protect

     consumers if our investigation finds that prices are not just and

     reasonable. 

          I attach the utmost importance  to initiating such an

     investigation. I dissent from this order for its failure to do so. 

          Having said that, I support many of the measures that today's

     order puts in place immediately, such as:  extending and broadening

     temporary waivers of QF standards; facilitating market based rate

     authority for sales from back up and self generation at business

     locations; authorizing customers to "sell" load reduction at wholesale

     and at market based rates; facilitating wholesale contract changes to

     allow demand side management and facilitating demand side cost

     recovery in wholesale contracts.  Many of these same actions were

     authorized by the Commission last year in our May 2000 reliability

     initiative.  They were good ideas last year and they are good ideas

     now. 

               1

                92 FERC 
 61,065 (2000), and 92 FERC 
 61,073 (2000).

                                        3

          Beyond those measures, I have strong reservations about the

     proposed premium on equity returns for certain transmission and

     interconnection facilities.  Some of these proposals could result in a

     14.5% return on equity.  There is no particular rationale for that

     level of return other than to simply throw money at the problem. 

     Moreover, the Commission was very careful just a little over a year

     ago in Order No. 2000 to limit such incentive rate treatments to RTO

     participation.  The premiums offered here are done so outside of the

     RTO context.  I therefore must dissent from this order's proposal on

     equity premiums.

          I also have concerns with the hydro provisions of this order. 

     The Commission urges all WSCC hydropower licenses to examine their

     projects for the purpose of reporting possible efficiency

     modifications that could result in increased generation and to

     identify any environmental impacts that could occur if the efficiency

     changes are made.  The primary focus of my concern relates to the

     notion that the Commission might urge licensees to unilaterally modify

     discretionary operations to increase electricity generation, without

     taking adequate responsibility for any environmental downside

     associated with such a decision.  Healthy fisheries in California and

     the west are not a frill, but an integral part of the region's

     economy.

          There is already great concern about these facilities.  For

     example:

     ù    The Columbia River and most of its tributaries are draining an

          abnormal amount of rain, providing concern that there will not be

          nearly enough water to allow juvenile salmon to reach the ocean. 

          Reservoirs across western Washington, most notably on the Cowlitz

          River, are down to some of the lowest levels since dams were

          constructed in the 1960's.

     ù    The 717 foot high Dworshak Dam which contains one of the most

          critical storage reservoir in the West, is a half-million acre

          feet short of water. The 54 mile reservoir is nearly 50 feet

          lower than normal. This facility is critical to the survival of

          the endangered chinook salmon. So far, almost 200,000 acre feet

          of water have been diverted from Dworshak.

          For the above reasons, I will dissent in part to today's order. 

                                        ________________________

                                        William L. Massey

                                        Commissioner

