ELECTRICAL

Summary

Outlets (approx 61)

Floor Outlet (2)

GFI (approx 10)

Paddle Switches (approx 45)

Dimmer Switches (13)

Cans (approx 35)

Ceiling fixtures, mounting only (approx 40)

Ceiling fan, mounting only (11)

Exhaust fans (6)

Rough in pool electric

Dryer (1), Range (2), Washing Machine (1), & Water Htr (2) outlets.

A/C- inside and outside units<2–3 ton/each> (2)

200 amp service Outside (1)

125 amp inside panel (1)

Smoke Detectors (9)

Telephone Outlets (approx 6)

Cable Outlets (approx 7)

Permit if needed (1)

Room by Room 

Entry and Stairs

  Outlets – 2 entry

                  1 GFI front porch

                  2 GFI ceiling front porch-Christmas lights

  Light Fixtures – Recessed – 2 entry; 3 stairs

                             Hanging – 1 entry

                             Front porch – 2 lanterns

  Switches – Bottom of stairs – 2 paddles

                     Top of stairs – 2 paddles

                     Entry – 3 paddles by front door (dimmer on recessed); 1 paddle by living                                

                                  Room

Powder Room

  Outlet – 1 GFI

  Light fixture – 1 over sink

  Exhaust fan – 1

  Switches – 2 paddles (sink, fan)

Master Bedroom

  Outlets – 5

  Fan – 1 (no light)

  Light Fixtures – Recessed 4 

  Switches – 1 Lutron slide to off fan/light control

Master Bath

  Outlets – 1

                 2 GFI  

  Light Fixtures – 2 recessed

                             2 over sinks

                             2 fluorescent - closet

                             1 plain for toilet

                             1 exhaust fan

  Switches – 6 paddles (2 doubles, 2 singles)

Living Room

  Outlets – 4

                 1 GFI (back porch)

                 2 floor

  Light Fixtures – 5 small recessed for book shelves and mantle

                             4 recessed

                             1 fan (no light)

                             3 lanterns back porch

 Switches – 2 paddles (small recessed, back porch)

                    1 Lutron slide to off fan/light control (for fan and recessed lights)

Kitchen/Dining

  Outlets – 5

                 5 GFI

  Light Fixtures – 4 recessed

                             1 hanging

                             3 under cabinet

  Switches – 4 paddles 

                     2 dimmer (recessed and hanging)

Office/Pantry

  Outlets – 7 

  Light Fixtures – 1 pantry (plain)

                             5 recessed

                             1 ceiling fan (no light)

                             1 fluorescent under cabinet desk

  Switches – 1 Lutron slide to off fan/light control

                     3 paddles (pantry, 1 recessed in back entry, florescent)

Garage

  Outlets – 3 GFI

  Light Fixtures – 3 fluorescent

                             2 outside lanterns

                             2 garage door openers

  Switches – 2 paddles (florescent, outside)

                     2 garage door openers

Game Room

  Outlets – 6

                  3 GFI

  Light Fixtures – 2 fans with lights

                             1 under bar counter

                             2 plain (bar closet, game closet)



     Pool table light



  Switches – 2 Lutron slide to off fan/light control

                     4 paddles (bar, 2 closets, pool table)

Bedroom #2 and Computer Nook

  Outlets – 6

                 1 GFI

  Light Fixtures – 1 ceiling fan with light

                             1 plain light in closet

                             1 over sink

                             1 recessed over computer

  Switches – 1 Lutron slide to off fan/light control

                     3 paddles (closet, sink, computer)

Utility Room

  Outlets – 4 (1 220)

                 2 GFI

  Light Fixtures – 1 ceiling fan with light

                             1 exhaust fan

  Switches – 1 Lutron slide to off fan control

                     2 paddles (light, exhaust fan)

Bedroom #3

  Outlets – 5 

                  1 GFI

  Light Fixtures – 2 plain (closet and tub area)

                             1 over sink

                             1 ceiling fan with light

  Switches – 1 Lutron slide to off fan/light control

                     4 paddles (closet, sink, tub, fan)

Bedroom #4

  Outlets – 5

   Light Fixtures – 1 ceiling fan with light

                              1 plain for closet

  Switches – 1 Lutron slide to off fan/light control

                     1 paddle (closet)

Bedroom #5

  Outlets – 5

  Light Fixtures – 1 ceiling fan with light

                             1 plain in closet

  Switches – 1 Lutron slide to off fan/light control

                     1 paddle (closet)

Bathroom #3

  Outlets – 3

                  1 GFI

  Light Fixtures – 1 over sink

                             2 plain (closet, tub)

                              1 exhaust fan

  Switches – 4 paddles (sink, tub, closet, fan)

Media Room

  Outlets – 5

  Light Fixtures – 1 ceiling fan (no light)

                             4 recessed

                             2 lanterns for upper front balcony    

  Switches – 1 Lutron slide to off fan/light control

                     1 paddle (upper front balcony) 

