EMERGENCY 

ACTION PLAN

BROWNSVILLE PEAKING FACILITY

948 BEECHGROVE ROAD

BROWNSVILLE, TN 38012

DECEMBER 1999

TABLE OF CONTENTS

I. GENERAL INSTRUCTIONS AND EMERGENCY PROCEDURES

A. Emergency Contacts

B. General Emergency Procedures

C. Contingency Plan and Agency Responsibilities

D. Agreement With Outside Spill Cleanup Contractor

E. Emergency Classifications

F. Emergency Chain of Command and Notifications

II. EMERGENCY RESPONSE EQUIPMENT

A. General Description of Fire Fighting & Emergency Equipment

B. Emergency Response Equipment List

III. SPECIFIC RESPONSE TO EMERGENCIES

A. Fire / Explosions

B. Hazardous Material Spills

C. Plant Evacuations

D. Bomb Threats

E. Natural Disasters

IV.
FACILITY INFORMATION AND WASTE OPERATIONS

A. General Address and Location

B. Hours of Operation and Associated Personnel

C. Description of Facility and Hazardous Waste Operations

V.
DRILLS AND INSPECTIONS

A. Emergency Response Drills

B. Fire Inspections

VI.
LIST OF BULK HAZARDOUS MATERIALS AND STORAGE / HANDLING AREAS

VII.
MATERIAL SAFETY DATA SHEETS FOR BULK HAZARDOUS MATERIALS

VIII. SITE LAYOUT MAP

SECTION I

GENERAL INSTRUCTIONS

AND

EMERGENCY PROCEDURES

A.
EMERGENCY CONTACTS
PRIMARY EMERGENCY RESPONSE COORDINATOR

Dean Frederick, Plant Supervisor

Work:
(901) 772-9003

825 W Thomas St



Home:
(901) 772-2559

Brownsville, TN 38012


Cell:
(901) 780-7000

Responsibilities:

1. Notify all regulatory agencies as necessary

2. Advise alternate coordinator of incident

3. Activate emergency procedures as defined in this plan

4. Complete initial and final incident reports and submit to appropriate agencies

5. Notify OEC / ENRON management

6. Brief incident and accident plan

7. Designate appropriate emergency equipment to utilize

8. Establish communication procedures

9. Notify outside Contractor if necessary

ALTERNATE COORDINATOR 

Mitchell Hurt, Plant Manager


Work:
(901) 772-9003

2711 Cedar Grove Cove


Home:
(901) 380-1028

Cordova, TN 38018



Cell:
(901) 780-9064

Greg Myers, Technician


Work:
(901) 772-9003

16 Rachel Drive Apt #1


Home:
(901) 660-3387

Jackson, TN 38305

EMERGENCY RESPONSE AGENCIES

1. State of Tennessee



Day Phone:
(901) 661-6200

Environmental Field Office




362 Carriage House Drive

Jackson TN, 38305

Air Pollution Division



Day Phone:
(901) 661-6235

Mike Wellons

Water Pollution Division


Day Phone:
(901) 661-6201

Pat Patrick

2.
National Response Center


24 Hour:
(800) 424-8802

NOTE:
By calling this number, all Federal reporting requirements

for any hazardous spill will be met.


2. CHEMTREC




24 Hour:
(800) 424-9300

Chemical Transportation Emergency Center

3.
Haywood County Central Dispatch

24 Hour:
911 or







(901) 772-1215

4.
Brownsville Fire Department


24 Hour:
911 or


19 Franklin Street West




(901) 772-1215


Brownsville, TN 38012




Chief:
Chris Lee



Business:
(901) 772-1369

5.
Brownsville Police Department

24 Hour:
911 or


111 Washington Ave. North




(901) 772-1215


Brownsville, TN 38012


Chief:
Gill Kendrick



Business:
(901) 772-1266

6.
Haywood County Sheriff Department
24 Hour
911 or


1 Washington Ave North




(901) 772-1215


Brownsville, TN 38012


Sheriff:   Lemuel Marler


Business:
(901) 772-2412

7.
Ambulance Emergency Service

24 Hour:
911 or


111 Washington Ave. North




(901) 772-1215


Brownsville, TN 38012




(901) 772-4141


Chief:
Jimmy Studdard


Business
(901) 772-4979

8.
Haywood County Emergency 

24 Hour:
911 or

Management / Rescue





(901) 772-1215


111 Washington Ave. North







Brownsville, TN 38012


Acting Head:
Ed Ellington


Business
(901) 772-1227

NOTE:
Contacting the Haywood County Emergency Management Agency will automatically involve the Tennessee Emergency Management Agency and the Federal Emergency Management Agency depending on the severity and level of the emergency.

9.
Emergency Cleanup Contractors


Advanced Response Corporation

24 Hour:
(877) 343-9272


Kenneth Knibbs



Business:
(901) 344-9272








Fax:

(901) 344-9238


CB Specialty Services



24 Hour:
(877) 624-6555


Clayton Chaney



Business:
(901) 624-6555








Fax:

(901) 624-6556


Four Seasons




24 Hour:
(800) 868-2718


Jim Whitehead



Business:
(901) 745-3800








Fax:

(901) 745-3876

10.
TVA System Emergencies


24 Hour:
(888) 882-4010

11.
ANR Pipeline




24 Hour
(313) 496-2230








Local

(901) 772-2588

B.
GENERAL EMERGENCY PROCEDURES

In the event of an emergency including fire, explosion, spill or any unplanned sudden or non-sudden release of hazardous waste or hazardous waste constituents to the air, soil, or surface water:

1. Contact the primary or alternate Emergency Response Coordinator.  The Emergency Coordinator will assist in identifying the character, exact source, amount and the extent of any discharged materials.

2. Activate internal facility alarms or communication systems to notify all facility personnel.  If facility evacuation is required, begin shutdown of the facility as follows.

A. The Control Room Operator on shift will be responsible for ensuring that site power has been de-energized and natural gas secured as he exits.

B. All personnel will evacuate by safest route to the assembly area (evacuation routes and assembly area are indicated on the site lay-out map).

C. The Alternate Emergency Response Coordinator will take a headcount to account for all personnel.

D. The Emergency Response Coordinator will assign additional responsibilities as necessary and will direct personnel in response activities.

3. Notify the appropriate state and or local emergency response agencies.

4. Follow the appropriate procedures outlined in section III of this plan to begin initial response for any particular situation.

5. Assess possible hazards to human health or the environment that may result from discharge, fire or explosion both directly and indirectly.  Take steps to minimize the risks to human health or the environment.

6. Immediately notify appropriate local authorities if an assessment indicates that an evaluation of local areas may be advisable.  Immediately notify the appropriate state or local authorities and be prepared to report the following:  type of substance and estimated quantity discharged, location of discharge, actions that are proposed to contain, clean-up and remove the substance, and any other information concerning the discharge which may be requested at the time of notification.

7. Take all reasonable measures necessary to ensure that fires, explosions, and discharges do not occur, recur, or spread to other hazardous waste at the facility.  This may include stopping processes or operations, collecting and containing released waste, and removing or isolating containers.

8. If the facility stops operations in response to fire, explosion, or discharge, the Emergency Coordinator (or designee) shall monitor for leaks, pressure build-up, gas generation, or ruptures in valves, pipes, or other equipment where appropriate.

9. Immediately after an emergency, the Emergency Response Coordinator shall provide for treating, storing or disposing of recovered waste, contaminated soil or surface water, or any other material that results from a discharge, fire or explosion at the facility.

10. The Emergency Response Coordinator shall ensure that in the affected area(s) of the facility that:

A. No waste that may be incompatible with the discharged material is treated, stored, or disposed of until the clean-up procedures are completed.

B. All emergency equipment listed in the plan is cleaned and fit for its intended use before operations are resumed.

The Emergency Response Coordinator shall notify all appropriate state and local authorities that the facility is in compliance with the above provisions before operations are resumed in those affected areas of the facility.

11. The Emergency Response Coordinator shall ensure that entry is made into the plant logbook to record the time, date, and details of any incident that requires the implementation of the plan.  Within 15 days after the incident, the Emergency Response Coordinator shall submit a copy of the report of the incident to the proper state and local authorities and agencies.

C.
CONTINGENCY PLAN AND AGENCY RESPONSIBILITIES
PURPOSE
The Haywood County Emergency Management Agency is the local agency with responsibility for emergency planning and response throughout Haywood County.

ASSIGNMENT OF RESPONSIBILITIES
Copies of the Brownsville Peaking Facility Emergency Action Plan will be sent to the following agencies:

· State of Tennessee Environmental Field Office, Air Pollution and Water Pollution Divisions.

· Brownsville Fire Department

· Brownsville Police Department

· Haywood County Sheriff Department

· Haywood County Emergency Management Agency

1. Haywood County Emergency Management Agency

A. Appointed by the County Commissioner

B. Establishes, maintains and coordinates emergency operations, plans and coordinates in an oversight fashion departmental checklists and standard operating procedures.

C. Direction, control, coordination, and delivery of emergency operations within Haywood County.

D. Initiate alerts, warnings, emergency bulletins, and activation for the emergency management system for Haywood County.

E. Integrates countywide emergency management efforts with state level policies, procedures, and other operating guidelines.

2. Haywood County Sheriff’s Department

A. Responsible for establishing traffic flow control in emergency situations and for the timely, safe evacuation of affected areas of Haywood County.

B. Will also assist in evacuations, maintain security in evacuated areas, and assure response to incidents on a priority-based system of operations.

3. Brownsville City Police Department

A. Responsible for establishing traffic flow control in emergency situations and for the timely, safe evacuation of affected areas of Brownsville City.

B.
Will also assist in evacuations, maintain security in evacuated areas, and assure response to incidents on a priority-based system of operations.

4. Brownsville City Fire Department

A. Provides for the controlled response of fire companies to incident sites

B. Participates in hazardous materials incident response

C. Assists in evacuation warnings and operations as required

D. Assistance with debris clean-up

E. Containing and extinguishing fires

F. Light and heavy rescue operations

G. Emergency lighting

H. Emergency first aid

HAZARDOUS SUBSTANCE
RISKS:
Hazardous substances in the plant have been catalogued.  Risks have been identified along with their locations.

MSDS’s
A catalogued copy of Material Safety data Sheets for all substances in the plant is kept available in a readily accessible location within the plant.  MSDS’s for the plant’s bulk hazardous materials are included in Section IX.

RELEASES
In the event of a hazardous release, determine size if possible, and direction of flow.  Notify state and local agencies as required.

EVACUATION
Plant personnel will evacuate the plant and report to the assigned area upon hearing announcement as outlined in section II.

D.
AGREEMENT WITH OUTSIDE CONTRACTOR FOR SPILL CLEAN-UP
1. Agreement with Advanced Response Corporation will be inserted later.

2. Agreement with CB Specialty Services will be inserted later.

3. Agreement with Four Seasons will be inserted later.

4. In the event of a spill / discharge or other emergency during delivery, transportation, or pickup, the contractor’s operator will use initiative to IMMEDIATELY and safely take appropriate action to protection of human health and the environment.

A. Secure the area to unauthorized access by personnel or other vehicles.

B. Keep all sources of ignition, including cigarettes, flares, etc., away from the scene.

C. Set up warning signals around the scene to prevent further accidents.  Flame producing signals, such as flares, should not be used during incidents involving combustible or flammable materials.

D. Attempt to contain the spill and stop or reduce the flow of the leak.

E. Obtain help in the immediate area to assist in securing the site.

F. Operator will next contact  (or have responsible person from the immediate area call) their Emergency Response Coordinator and provide information regarding the spill.

G. Operator is to continue to monitor the scene and remain in contact with the Emergency Response Coordinator while an appropriate course of action is determined.

H. The Operator’s Emergency Response Coordinator, Operator at scene, or other authorized individual, shall be responsible for contacting the appropriate authorities as well as the necessary Contractor’s for assistance.

E.
EMERGENCY CLASSIFICATIONS
The deployment of personnel to respond to an emergency is dependent upon the severity of the incident.  The first level of emergency will utilize site-available resources and personnel.  As the level of response needed increases, additional assistance will be brought in as warranted by the size of the incident, ability of the facility to control it, and the gravity of the situation.

The plant uses the following emergency classifications for determining appropriate response actions.

Local Emergency:


A fire or spill within the facility’s capacity to manage internally  (i.e., small “wastepaper

Basket” fires, spill less than 100 gallons).

Site Emergency:

A fire or spill requiring the assistance of local emergency departments and/or the Clean-

up Contractor  (i.e., an explosion, spill of more than 100 gallons, generally kept on site).

General Emergency:

A fire or spill whose size and exposure exceeds the capabilities of the facility, requiring 

an increased level of assistance from local, regional, or state emergency response 

agencies and/or possible threat to the community or environment  (i.e., explosion / 

uncontrollable fire, complete loss or secondary containment / discharge of material off-

site).

SECTION II

EMERGENCY RESPONSE 

EQUIPMENT
A. GENERAL DESCRIPTION OF FIRE FIGHTING AND 

EMERGENCY EQUIPMENT & EMERGENCY RESPONSE EQUIPMENT LIST
I.
Fire Fighting and Safety Equipment
A. Fixed Fire Fighting Systems

1. Raw water Tank provides source of water and hose connection for pumper truck from local fire department.  Tank Capacity is 120,000 gallons

2. FM200 flooding systems for all four Combustion turbine Electrical Packages, Mechanical Packages, and Turbine Enclosure Packages.

3. Fixed Dry Chemical fire suppression system for all four Combustion Turbine Exhaust Bearing accesses tunnels.

B. Fire Extinguishers

LOCATION 
TYPE
SIZE
SERIAL NUMBER

Mule
ABC dry chem
5 lb
001

Ford Truck
ABC dry chem
5 lb
002

Maintenance Bay Southeast
ABC dry chem
10 lb
003

Maintenance Bay Northeast
ABC dry chem
10 lb
004

Admin Building Mens Restroom
ABC dry chem
10 lb
005

Admin Building Hallway North
ABC dry chem
10 lb
006

Admin Building Hallway South
ABC dry chem
10 lb
007

Admin Building Breakroom
ABC dry chem
10 lb
008






C. Safety equipment

1.
SCBA’s located at units #1, #3 & #4 mounted underneath the Generator breakers.

II.
Spill Response Equipment
A. Mobile Equipment Cart

1. 10 absorbent pillows

2. 1 pair safety goggles

3. 2 emergency repair epoxy sticks

4. 1 plastic bag

5. 60 absorbent wipes

6. 40 absorbent mats

7. 60 feet of absorbent containment sock

Communication Equipment
A. Fixed Communication Systems

1.
Dial Telephone system

B. Portable Equipment

1.
Six hand-held and one base station, two-way radios are available for internal communications throughout the plant
.

C. Alarms

1.
Individual alarm indications of all fixed area fire fighting systems

SECTION III

SPECIFIC RESPONSE

TO

EMEREGENCIES

A.
FIRE / EXPLOSIONS
Normal Hours:

1) In the event of the discovery of an explosion or a fire, notify the control room immediately.

2) Personnel shall use all safe and reasonable means to control emergency area and prevent further spread of fire or threat of additional explosions.

3) Upon notification of a fire emergency, the Control Room Operator will notify (via alarm, page, two way radio, cell phone, or telephone) plant supervision as follows.

A.
Emergency Response Coordinator:


Dean Frederick

B.
Alternate Emergency Response Coordinator:

Mitchell Hurt

C.
Alternate Emergency Response Coordinator:

Greg Myers

4) The ERC shall direct the shutdown of material movements and appropriate equipment.

5) The alternate will follow up to see that this is done properly

6) All other trained personnel shall report to the Control Room (or other designated area) for deployment.

7) Personnel assignments will be evaluated by the ERC

8) Any personnel called out from home in an emergency situation shall park clear of the plant entrance and report to the Control Room (or other designated area).

9) The alternate shall account for all personnel and report to the ERC.

10) All inquiries from third parties regarding the situation shall be directed to the ERC or person in charge at the Command Center which shall be established either in the Control Room or in another designated area depending on the location and type of emergency.  Other employees are to refer such inquiries accordingly.

11) The Administrative Assistant, or the Control Room Operator, shall receive incoming calls and direct them to the ERC or appropriate persons.

12) One technician shall be stationed at the entrance gate to the facility to direct outside emergency departments as applicable.

13) The ERC will serve as incident commander and shall remain in this capacity until relieved by higher authority; then stand-by to assist in response coordination.

After Hours:

1) The Control Room Operator shall determine the need for immediate actions including ambulances and police needs as well as back-up fire fighting equipment.

2) The Control room Operator shall immediately contact the ERC and take appropriate action including equipment shutdown, as applicable.

3) The Control Room Operator will contact the Alternate ERC as applicable.

4) Personnel shall use all safe and reasonable means to control emergency area and prevent further spread of fire of threat of additional explosions.

5) All other trained personnel shall report to the Control Room for deployment.

6) Personnel assignments will be evaluated by the Control Room Operator.

7) Any personnel called out from home in an emergency situation shall park clear of the plant entrance and report to the Control Room.

8) Upon arrival of the ERC or outside higher authority, the Control room Operator will be relieved as incident commander, and will be deployed as required.

B.
HAZARDOUS MATERIAL SPILL
1) In the event of discovery of a spill, notify the Control Room immediately.

2) Personnel shall use all safe and reasonable defensive means to control spill area and prevent further spread of spilled material.  If spill presents a hazard to human health or safety, evacuate the area and immediately notify the Control Room of the hazard.  Instruct other personnel at the scene to exit the area.

3) Upon notification of a leak / discharge to the Control Room, the Control Room Operator will notify  (via two-way radio, cell phone, or telephone) the ERC.

4) Spill response actions will initiate with the deployment of trained personnel and the Mobile Spill Equipment Cart

5) Depending on the nature and location of the incident, the ERC shall direct the shutdown of material movements and appropriate equipment.  The Alternate will follow up to see that this is done properly.

6) Personnel will be deployed to clean-up small spills and repair small leaks.  In the case of a large spill, such as that from one of the CT lube oil sumps, spill response will deploy personnel and equipment to adjacent drainage areas, containment materials and booms will be used to prevent further spreading off-site into adjacent waterways.

7) Containment measures also include putting absorbent blankets over and absorbent socks around the adjacent storm-water catch basins.

8) A major incident (Site or General Emergency) may require additional assistance from local emergency departments and the facility’s Clean-Up Contractor.  On-site personnel will make every reasonable attempt to bring the incident under control.  However, should this not be possible, or a further threat to health or the environment exists, facility personnel efforts will be supplemented by the outside agencies.  The Clean-Up Contractor will provide the necessary personnel and equipment for protection / clean up of the surrounding waterways as necessary.  The ERC will make the determination when to all for outside assistance.

9) Estimated time for containment of small spills by on-site personnel is one (1) hour.  Estimated time for containment of a large spill by facility personnel and the Clean-Up Contractor is three (3) hours.

C.
PLANT EVACUATIONS
1)
Major incidents (Site or General Emergencies) may require the evacuation of personnel.  Evacuations will be one of two categories: Local Evacuation or Site Evacuation.  In the case of Local Evacuation, all personnel are directed to leave the particular area of the site, and assemble in the designated assembly area that will be announced over the two-way radio system.  In the case of Site Evacuation, all personnel will de directed to leave the site and assemble at the main access road gate.  The evacuation order can only be give by the ERC, or Alternate ERC, and will be announced by all means possible.

2) Upon issue of an evacuation order, facility personnel shall initiate emergency shutdown procedures, and follow the evacuation routes to the assembly area as shown on the Site Layout Map.

3) A head count shall be performed by the Alternate and reported to the ERC.

4) Personnel will not be allowed to re-enter the local area / site for any reason without the permission of the ERC.

SECTION IV

FACILITY INFORMATION

AND

WASTE OPERATIONS
A.
GENERAL ADDRESS & LOCATION

BROWNSVILLE PEAKER I, LLC

948 BEECHGROVE ROAD

BROWNSVILLE, TN 38012

B.
HOURS OF OPERATION AND ASSOCIATED PERSONNEL
OPERATING HOURS

The site is manned 24 hours a day, seven days a week, every day of the year with the hours of actual operation varying depending upon dispatch.

LIST OF PERSONNEL
Mitchell Hurt

Plant Manager


cell/ 901-780-9064 

home/ 901-380-1028

Dean Frederick:
Plant Supervisor

cell/ 901-548-4443 

home/ 901-772-2559

Susan Greenwell:
Administrator


home/ 901-772-7969

Greg Myers:

Technician


home/ 901-660-3387

Mike Stevens:

Technician


home/ 901-772-9321

Thomas Robertson:
Technician


home/ 901-660-3380

Shane Hanson:
Technician


home/ 901-660-4769

C.
DESCRIPTION OF FACILITY AND HAZARDOUS WASTE OPERATIONS
DESCRIPTION OF FACILITY
Brownsville is a natural gas fired peak power facility consisting of 4 Westinghouse 501 Gas Turbines that put out a total of 460 MW.

DESCRIPTION OF HAZARDOUS WASTE OPERATIONS
1. Lubricating oil for the Combustion Turbine Lube Oil reservoirs.

2. Gear oil for various auxiliary equipment gear casings.

3. Various greases for use on the Combustion Turbine associated auxiliary equipment and Balance of Plant Equipment.

4. Approximately 1,800 gallons of Mercaptan is stored for odorization of natural gas.

5.
50 gallons of Varsol mineral spirits used as a solvent for washing out gear casings.

SECTION V

DRILLS

AND

INSPECTIONS

NOTE:

DRILLS AND INSPECTIONS WILL BE INSERTED LATER

SECTION VI

LIST OF HAZARDOUS MATERIALS

AND

STORAGE  / HANDLING AREAS

Hazardous substance
CAS Number (s)
Maximum Storage Capacity

Mercaptan
75-66-1

75-33-2

107-03-9
2,000 gallons

Mineral Oil (Transformer)

48,470 

Ethylene Glycol
107-21-1

111-46-6
31,000 gallons

Varsol (mineral spirits)

55 gallons

Lubricating Oil (Combustion Turbine)

10,000 gallons

Facility Hazardous Substance Bulk Storage / Handling Areas

Identification
Description
Location
Substance Stored
Total Volume

Mercaptan Storage Tank
Fully contained within steel tank.  Concrete secondary containment
Gas Yard at North End of Site
Mercaptan
1,800 gallons

GSU Transformer #1
Fully contained within transformer.  Concrete secondary containment.
GSU Transformer #1 yard just north of  Control Room
Transformer mineral oil.
22,570 gallons

GSU Transformer #2
Fully contained within transformer.  Concrete secondary containment.
GSU Transformer #2 yard just north of  MCC building
Transformer mineral oil.
22,570 gallons

Station Auxiliary Transformer #1
Fully contained within transformer.  Concrete secondary containment
West of MCC building
Transformer mineral oil.
1,263 gallons

Station Auxiliary Transformer #2
Fully contained within transformer.  Concrete secondary containment
West of MCC building
Transformer mineral oil.
1,263 gallons

Station Service Transformer #1
Fully contained within transformer.  Concrete secondary containment
West of MCC building
Transformer mineral oil.
402 gallons

Station Service Transformer #2
Fully contained within transformer.  Concrete secondary containment
West of MCC building
Transformer mineral oil.
402 gallons

Gas Heater
Fully contained within steel tank.  Concrete secondary containment
Gas Yard at North end of Site
Ethylene Glycol
31,000 gallons

55 gallon drum
Fully contained within 55 gallon drum.  No secondary containment.
Maintenance area of Admin Building
Mineral Spirits
55 gallons

55 gallon drum
Fully contained within 55 gallon drum.  No secondary containment.
Maintenance area of Admin Building
CT Lube Oil
165 gallons

CT #1 Lube Oil Reservoir
Fully contained within Lube Oil piping system and sump reservoir
South West side of Site
CT Lube Oil
2,500 gallons

CT #2 Lube Oil Reservoir
Fully contained within Lube Oil piping system and sump reservoir
West Central side of Site
CT Lube Oil
2,500 gallons

CT #3 Lube Oil Reservoir
Fully contained within Lube Oil piping system and sump reservoir
West Central side of Site
CT Lube Oil
2,500 gallons

CT #4 Lube Oil Reservoir
Fully contained within Lube Oil piping system and sump reservoir
North West side of Site
CT Lube Oil
2,500 gallons

SECTION VII

MATERIAL SAFETY DATA SHEETS

FOR

BULK HAZARDOUS MATERIALS

SECTION VIII

SITE PLAN
