Public Affairs - Japan

24 May 2001

Outline for Review of Regulation Relating to Power Plant Development in Japan

1. Scope and Content

1.1. Definition

1.1.1. Overview of current regulations governing the construction, ownership and operation of independent power plants and related facilities in Japan

1.2. Generating Facilities Development

1.2.1. List and describe applicable laws, ordinances, codes and standards

· National regulation

· Local regulation (where available()

· Civil law and voluntary processes (local government voluntary agreements, compensation for fishing rights, etc.)

1.2.2. Separate processes into requirements at different stages

· Facility development requirements

· Business start-up requirements

· Operational compliance requirements

1.2.3. Set parameters of study

· Site type: greenfield, brownfield, inside the fence

· Plant size 

· Generating plant type: gas, coal, oil 

· Related facilities: port, LNG terminal, coal yard, fly ash enclosure, environmental protection equipment, fuel storage, stack, other relevant plant

· Transportation access (land, sea) 

1.2.4. Describe processes for each defined item or combinations

1.2.5. Describe effects on processes of indeterminate or variable factors

1.2.6. Create flow charts with timescales for separable items and combinations

1.2.7. Create combined flow charts with timescales for representative projects

1.3. Transmission Facilities Development and Access

1.3.1. Describe applicable laws, ordinances, codes and standards

· National regulation

· Local regulation (where available()

· Utility terms and conditions

1.3.2. Set parameters of study

· Grid access suitability

· New transmission path or reinforcement of existing lines

1.3.3. Separate processes into requirements

· Site location requirements (suitability for grid connection)

· Utility requirements (estimated timescales, costs, contractual, operational)

1.3.4. Describe processes for each item or combination

1.3.5. Describe effects on processes of indeterminate or variable factors

1.3.6. Create flow charts with timescales for separable items

1.3.7. Create combined flow charts with timescales for representative projects

1.4. Analysis of Specific E-Power Projects

1.4.1. Describe individual projects

1.4.2. Assign modular flow chart and add local characteristics as needed to modular flow charts

1.4.3. Review of action taken to date

1.4.4. Estimate time-scales

1.4.5. Define certainties and risks for individual projects

1.5. Strategy for accelerating the process and overcoming current roadblocks

1.6. Annex: Description of International Processes and Standards

1.6.1. Describe IPP precedents in Japan

1.6.2. Describe Enron models

1.6.3. Describe OECD best international practice

2. Implementation

2.1. Target Completion Date: 15 June, 2001

2.2. Schedule

	Week 1
	· Form consultation group:

· Ariga, Crowther, Kimura, Suzuki

· Identify main holders of information

· Engineering: Nakamura, Kobayashi

· Environmental Assessment: Uno

· Fishing Compensation: Yoshisako

· IPP development: Ariga, Suzuki

· E-Power Project leaders: Fujinaga, Kuwabara, Shirota, Suzuki, Yamamoto

· Enron Developers: Cattigan, Foote, 

· Identify areas that require new or additional research

· Confirm & collate relevant existing information

	Week 2
	· Confirm structure and available detail

· Initiate drafting of text

· Request additional information from E-Power staff as necessary

· Assign additional research needs

	Week 3
	· Complete first draft

	Week 4
	· Circulate within E-Power for review

· Complete and distribute report


( In some cases local regulations are not readily available to the public








