EXHIBIT 1

Facilities 

	CPU UNITS
	
	
	
	
	

	
	Unit 9
	Unit 8/6
	Unit 7
	
	

	Unit Type
	STAG Combined Cycle
	Simple Cycle/CC
	Conventional 400lb Steam
	
	

	Min Capacity
	                     12.00 
	 5/8 
	                        4.00 
	
	

	Max Capacity
	                     22.00 
	 12.7/6.8 
	                        7.50 
	
	

	Min Heat Rate
	                   12,500 
	 21,000/13,100 
	
	
	

	Max Heat Rate
	                   11,500 
	 17,300/11,900 
	                    19,500 
	
	

	Preferred Min Run Time
	                     16.00 
	                      16.00 
	                    120.00 
	
	

	Acceptable Min Run Time
	                     12.00 
	                      12.00 
	                      60.00 
	
	

	Min Off Time
	
	
	
	
	

	Cold Start Time
	                       2.00 
	                        3.00 
	                      12.00 
	
	

	Warm Start Time
	                       1.00 
	                        2.00 
	                        8.00 
	
	

	Hot Start Time
	                       0.50 
	                        1.00 
	                        2.00 
	
	

	Ramp MW/min
	                       2.00 
	                        1.50 
	                        0.50 
	
	

	Weekly Starts
	                            7 
	                             5 
	                             1 
	
	

	Monthly Starts
	                          28 
	                           20 
	                             4 
	
	

	Yearly Starts
	                          96 
	                           48 
	                           20 
	
	

	Start Costs
	
	
	
	
	

	VOM
	 $ 2.00
	 $2.00 
	 $ 2.00 
	
	

	Dual Fuel?
	Yes
	Yes
	No
	
	

	2nd Fuel
	LS #2
	LS #2
	 -- 
	
	

	Dual Fuel Heat Rate
	
	
	 -- 
	
	

	Dual Fuel VOM
	 $2.00 
	$2.00 
	 -- 
	
	

	Historical Availability 
	
	
	
	
	

	Project Availability
	
	
	
	
	


	
	
	
	
	
	

	Yazoo City UNITS
	
	
	
	
	

	
	Unit # CT1
	Unit # ST2
	Unit # ST3
	Unit # CT1/ST3
	TOTAL

	Unit Type
	SIMPLE CYCLE
	400 LB STEAM
	600 LB STEAM
	COMBINED CYCLE
	SYSTEM

	Min Capacity
	                       3.00 
	                        2.00 
	                        6.00 
	                        15.00 
	

	Max Capacity
	                     14.50 
	                        5.00 
	                      12.00 
	                        23.00 
	32.00

	Min Heat Rate
	 ? 
	 ? 
	 ? 
	                      12,000 
	

	Max Heat Rate
	                   17,000 
	                    16,000 
	                    15,000 
	                      10,700 
	       12,000 

	Preferred Min Run Time
	
	                      16.00 
	                    120.00 
	                        16.00 
	

	Accepwtable Min Run Time
	
	                      12.00 
	                      60.00 
	                        12.00 
	

	Min Off Time
	
	
	
	
	

	Cold Start Time
	                       0.17 
	                        1.00 
	                        6.00 
	 .17/2.00 
	

	Warm Start Time
	                       0.17 
	                        0.50 
	                        1.00 
	 .17/.50 
	

	Hot Start Time
	                       0.17 
	                        0.10 
	                        0.50 
	 .17/.10 
	

	Ramp MW/min
	                       2.00 
	                        1.00 
	                        1.00 
	 2.00/1.00 
	

	Weekly Starts
	                          14 
	                             7 
	                             1 
	                               7 
	

	Monthly Starts
	                          31 
	                           31 
	                             4 
	                             31 
	

	Yearly Starts
	
	
	
	
	

	Start Costs
	
	
	
	
	

	VOM
	 $                    2.00 
	 $                     2.00 
	 $                     2.00 
	 $                       2.00 
	

	Dual Fuel?
	YES
	NO
	NO
	YES
	

	2nd Fuel
	LS #2
	
	
	LS #2
	

	Dual Fuel Heat Rate
	
	
	
	
	

	Dual Fuel VOM
	 $                    2.00 
	
	
	 $                       2.00 
	

	Historical Availability
	
	
	
	
	

	Projected Availability
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	HRSG is rated at 95,000 lbs./hr and conventional boiler is rated at 120,000 lbs./hr. The two steam turbines are supplied

	from a common header off these two boilers. ST2 can not be operated by its self.
	
	

	Availability factors are as of May 1, 2001, unless otherwise updated periodically.
	
	


Exhibit 2

Existing Transactions and ET Fuel Costs

Off-System Contracted Resources

	Resource
	Amount MW
	Hour Limitation
	Reliability
	Term
	Delivery Point
	Scheduling
	Minimum Delivery

	SEPA
	11
	1500
	
	None
	Into Entergy
	1.  Submit annual schedule by June 20
2.  Monthly breakdown (by week) 10 days prior to beginning of month
3.  Weekly breakdown (by hour) by preceding Wednesday
	

	Cajun
	7
	NA
	Firm System Capacity (as firm as native load)
	5/31/2010
	Into Entergy
	Week ahead by COB Thursday
Hourly changes with approval
	At least 25% of contract capacity

	EPI-Isis
	7
	NA
	Unit Contingent, Transmission Contingent
	5/31/2010
	Into Entergy
	16 hours in advance
	

	EPI-Ritchie
	1
	NA
	Unit Contingent, Transmission Contingent
	5/31/2010
	Into Entergy
	16 hours in advance
	


Gas Contracts

· SNS transportation agreement between Clarksdale and Texas Gas

Firm transportation agreement between Yazoo City and Mississippi Valley Gas (LDC)

· EXHIBIT 2

ASSET MANAGEMENT SERVICES

EPMI shall perform the following services in accordance with the terms of the Agreement:

Contracted Resources

· Manage existing natural gas contracts

· Make recommendations concerning purchase of fuel

· Schedule natural gas, fuel oil and transportation; release natural gas for economic reasons

· Load Forecasting to facilitate power purchase and scheduling

· Optimized scheduling of firm contracted power

· Manage network service contract

· Arrange for backup and replacement resources, as needed

· Risk management services

· 24 hour trading of natural gas 

· Long term trading

Market Activities

· Enter wholesale transactions to secure power and gas to serve MDEA native power load

· Dispatch MDEA generation to serve native load and/or sell Products to the wholesale market

Owned Resource Management

· Make recommendations concerning economic dispatch of generation assets

· Conduct basic engineering review and recommendations for optimization of power generation equipment  [need description concerning scope of review]

· Risk management services

· 24 hour trading of power

· Long term trading

Hardware/Software Installation and Setup

· Hardware and software monitoring and control systems installation and tie-in to Houston control room

· Provide and configure/program server and router in Clarksdale control room

· Arrange for installation of frame relay line to be installed into Clarksdale control room

· Complete necessary technical work to connect router and server to Clarksdale control room

· Installation of monitoring and control software on remote server in Clarksdale 

· Set-up of internet based monitoring systems

· Set-up of web site for information access to MDEA

· Development of operational procedures

· Hardware, communication line, etc between Clarksdale and Yazoo City to be done by MDEA

Exhibit 3

SCHEDULING SERVICES

EPMI shall perform the following services in accordance with the terms of the Agreement:

· NERC tagging and scheduling

· Arrange for ancillary services

· Satisfy all of the SPP protocol requirements to become a Scheduling Entity

1. Proof of registration and certification requirements; 

2. Proof of completion of the Connection Agreement to the SPP Private Network and Site Survey request;

3. Maintain financial security requirements with appropriate indemnification obligations;

4. Maintain a 24-hour, seven day per week scheduling and trading operation with qualified personnel;

5. Install, operate, and maintain all systems and infrastructure for proper operation of the duties of “full function scheduling” including technical interfaces for EDI and any other SPP interfaces;

6. Submit schedules for supply, load, and transmission capacity from all entities it serves;

7. Communicate planned outages and report scheduled and forced maintenance outages; and

8. Dispatch and communicate emergency orders from the ISO.

· Participation in market testing in SPP, SERC, or successor RTO(s) or NERC regions with regard to scheduling services, as necessary

EXHIBIT []

REPORTS

EPMI will electronically mail or fax the following informational reports to MDEA’s Energy Coordinator the Business Day following the reported day by approximately 3:00 pm CPT.    

1) Profit & Loss, Risk Statement – This statement will track daily and life to date changes in profit and loss as well as various risk indicators for MDEA’s power output for the Term of this Agreement.  These statements shall not include any information about  Existing Transactions.

2) Schedule of Trades – This schedule will track the daily power trades from MDEA.

WHILE EPMI WILL ENDEAVOR TO PROVIDE RELIABLE INFORMATION IN THE REQUIRED REPORTS, EPMI SHALL NOT RESPONSIBLE FOR ANY INACCURATE INFORMATION OR FOR ANY ACTIONS OR INACTION BY  MDEA BASED ON THESE REPORTS.  MDEA IS EXPECTED TO VERIFY THE ACCURACY OF INFORMATION CONTAINED IN THE REQUIRED REPORTS AND TO PROMPTLY NOTIFY EPMI OF ANY INCONSISTENCY OR ERRORS THAT IT MAY DISCOVER.  IT IS IMPORTANT TO NOTE THAT THESE REPORTS WILL BE BASED ON MARKET INFORMATION THAT EPMI ESTIMATES AND THEREFORE THESE REPORTS ARE ONLY ESTIMATES TO BE USED AS ROUGH INDICATORS AND NOT THOROUGH ANALYSIS THAT COULD BE USED FOR MDEA’S RISK POLICY.  MDEA MUST CONDUCT ITS OWN RISK ANALYSIS TO DETERMINE MDEA’S ACTIONS IN REGARD TO ITS RISK POLICY.  DUE TO EPMI’S PROPRIETARY INFORMATION CONTAINED IN MANY OF THE FORMULAS THAT ARE USED TO CALCULATE THE INFORMATION CONTAINED IN THESE REPORTS, EPMI WILL NOT BE ABLE TO PROVIDE THE NECESSARY DETAILED BACKGROUND INFORMATION IN ORDER FOR MDEA TO ANALYZE HOW THESE REPORT FIGURES WERE CALCULATED.

EXHIBIT []

HARDWARE AND SOFTWARE TO BE UTILIZED

	No
	part number
	Description
	Qty

	Last Revised 02/12/2001
	 
	 
	 

	 
	 
	Corp Domain Controller
	 

	1
	161063-001
	PROLIANT DL380 PIII 933mhz
	1

	3
	128278-B21
	256MB REG 133MHZ SDRAM DIMM
	2

	4
	143397-001
	DL380 275W HOT PLUG REDUNDANT PWR
	1

	5
	142673-B22
	18.2GB Wide Ultra3 SCSI 10000rpm
	2

	6
	142671-B22
	9.1 Wide Ultra 3 SCSI 10,000 RPM 1"
	2

	7
	317450-B21
	Compaq NC3122 Fast Ethernet NIC
	2

	8
	157866-001
	Compaq Remote Insight Lights-Out Edition 
	1

	 
	 
	 
	 

	 
	 
	 
	 

	 
	 
	Rack & Accessories
	 

	9
	120665-B21
	Compaq Rack 9122 (22U)
	1

	10
	169940-B21
	Rack Blanking Panel Kit (Opal) (U.S.)
	1

	11
	185152-406
	Rack Internal Trackball Keyboard (Opal) (US)
	1

	12
	400336-001
	Server Console Switch, 1X4-Port KVM
	1

	13
	110936-B21
	CPU to Server Console Cable, 12'
	2

	14
	192186-001
	Rack-Mountable UPS XR3000 low voltage 
	1

	15
	152991-001
	Compaq 17" Monitor
	1

	 
	 
	 
	 

	 
	 
	 
	 

	 
	 
	Routers/Switches/Hubs
	 

	16
	 CISCO2621
	Cisco -Dual Ethernet Modular Router w/ IOS IP 
	2

	17
	S26AP-12107T
	Cisco -IP ENTERPRISE PLUS  
	2

	18
	MEM2600-32U40D
	Cisco -24 to 40 MB DRAM Factory Upgrade 
	2

	19
	MEM2600-8U16FS
	Cisco -8 to 16 MB Flash Factory Upgrade 
	2

	20
	WIC-1DSU-T1
	Cisco -1-Port T1/Fractional T1 DSU/CSU WAN Interface card
	2

	21
	WS-C2912-XL-EN
	12-port 10/100 Switch (Enterprise Edition)
	2


	No.
	Part #
	Description
	Unit Cost
	Qty

	OSI/PI
	 
	 
	 
	 

	1
	PI-BP (1K Tags)
	OSI PI Archive 1000 Tags
	                               6.00 
	1000

	2
	PI-IN-WW-INTCH-NT
	Wonderware Interface
	                                  -   
	1

	3
	PI-IN-OS-PI-NT
	PI to PI Interface
	                                  -   
	1

	4
	PI-IN-GE-9070E
	GE 90-30/70 Interface
	                        5,000.00 
	1

	4
	PI-SDK
	PI API on NT
	                           250.00 
	1


EXHIBIT E

FORM OF PARENT GUARANTY 
EXHIBIT F

ACCOUNTING CHART

EXHIBIT []

EARLY TERMINATION INCENTIVE

FEE THRESHOLDS

A. If the termination is effective prior to ____,  2003, the amounts specified in Section 16(b)(3)(a) and (b) shall be revised as set forth below based upon the month in which the termination is effective:

	Month in which termination is effective
	Minimum Incentive Fee Termination Payment

	April, 2001
	

	May, 2001
	

	June, 2001
	

	July, 2001
	

	August, 2001
	

	September, 2001
	

	October, 2001
	

	November, 2001
	

	December, 2001
	


	January, 2002
	

	February
	

	March
	

	April
	

	May
	

	June
	

	July
	

	August
	

	September
	

	October
	

	November
	

	December
	

	January, 2003
	

	February, 2003
	

	March, 2003
	

	April, 2003
	

	
	


Exhibit XX

MDEA EPMI Incentive Fee Calculation

MDEA and EPMI are financially incented to create value within the transaction through Profit and Savings.  MDEA and EPMI will share the Profits and Savings according to the following percentages:

· MDEA 60% and

· EPMI 40%.

Total Daily Profit per MWh is calculated as the sum of the product of MWh sold and the realized market price less the Production Cost. 

Savings per MWh is calculated as the positive difference between (a) the MDEA Production Cost for units that would have run if market power were not purchased to serve system load, and (b) the delivered cost of market power purchased to serve system load.

Total Daily Savings is the product of (a) the Savings per MWh calculated for the day, times (b) the total MWh for the same day of market power purchased to serve system load.

Production Cost = [(delivered gas cost x unit heat rate) + VOM] + [unit start charge/MWh block]

Delivered gas cost is the daily, midpoint posting for ________ under the Gas Daily Daily Price Survey.

Unit heat rate is the heat rate for each effected unit as specified in Exhibit “1”, Facilities.

VOM is the variable operation and maintenance cost for operating each effected unit as specified in Exhibit “1”, Facilities.

Unit Start Charge is the cost to start-up each effected unit as specified in Exhibit “1”, Facilities, and includes (a) start-up gas quantity required for the effected unit times the delivered gas cost.

EXHIBIT DOC
Page 3

