Procedure Change Description

Procedure Number/Name: 
E-508, Electrical Emergency Plan

Version:
3.0 (Attachment A = 1.8, Attachment C = 1.0)

Date:
2/6/2002

Reason for Changes:

· To bring procedure up to date.

Description of Changes: 

· Re-defined “PTO Control Centers” as “Power Grid Operations Centers” to better include Pasadena, Lassen and future participating entities.

· Added Lassen MUD and their share of firm load shedding.

· Added requests for action for Reliability Coordinator.

· Added consideration of operating constraints when ordering interruptible and firm loads to be shed or restored.

· Added clarification for declaration of an Emergency Stage when Operating Reserves are, or are forecast to be LESS than the appropriate percentage for that Stage (Stage 1= less than minimum required by WSCC MORC; Stage 2= 5%; Stage 3= 1.5%).  Also added clarification for termination of an Emergency Stage when Operating Reserves reach, or exceed the above noted percentages.

· Added Alert and Warning Cancellation notice verbiage; added Stage 3 Electrical Emergency Notice of Load Interruption Cancellation and Extension notice verbiage; added Alert and Warning Extension notice verbiage.

· Added information regarding advance notices (48 hr, 24 hr and 1 hr) to Policy section.

· Added WSCC MORC to definitions section.

