Procedure Change Description

Procedure Number/Name: 
E-511, Load Reduction Programs 

Version:
4.2

Date:
8/01/2001
Reason for Changes:

· Voluntary Demand Response Program (VDRP) has been terminated.

· Changed the confirmation of DLCP offers to occur from the CAISO Help Desk instead of the Hour Ahead Desk.
Description of Changes: 

· Removed all references for the Voluntary Demand Response Program (VDRP).  This Program was triggered by a phone call to PG&E and an e-mail to the other IOUs, whenever activated.  The DLCP is still a valid program but the VDRP has been eliminated.  NO more phone calls need to be made to PG&E for the VDRP program.

· Changed all references with relation to responsibilities for the DLCP from the Senior Grid Resource Coordinator to the HA Desk.

· Changed the responsibility for DLCP curtailment offer confirmation to be conducted by the Help Desk/SMSC.

