[image: image1.wmf]Graph to show expected emissions for Transwestern Project

-25

-15

-5

5

15

25

35

Ambient Temp (Deg C)

Power (kW)

project power, kw

50% project base

load, kw

 25vppm co

 80 vppm co

24800

16750

12400


� EMBED Excel.Sheet.8  ���








[image: image2.wmf]Graph to show expected emissions for Transwestern Project

-25

-15

-5

5

15

25

35

Ambient Temp (Deg C)

Power (kW)

project power, kw

50% project base

load, kw

 25vppm co

 80 vppm co

24800

16750

12400

_1044455477.xls
Chart2

		-25		-25		-25		-25

		-20		-20		-20		-20

		-15		-15		-15		-15

		-10		-10		-10		-10

		10		10		10		10

		15		15		15		15

		25		25		25		25

		35		35		35		35

		40		40		40		40



24800

16750

12400

project power, kw

50% project base load, kw

25vppm co

80 vppm co

Ambient Temp (Deg C)

Power (kW)

Graph to show expected emissions for Transwestern Project

33000

12398.5

37950

34500

33000

12426.5

33925

31280

33000

12432.5

31625

28750

33000

12437

29900

25990

29400

11086.5

23345

20355

28500

10609

21850

18975

26000

9687

19780

17077.5

23500

8800.5

17825

15180

22200

8373

16847.5

14317.5



Sheet1

		

						TRANSWESTERN PROJECT

				-25		-20		-15		-10		10		15		25		35		40

		project power, kw		24797		24853		24865		24874		22173		21218		19374		17601		16746

		std brochure		33000		33000		33000		33000		29400		28500		26000		23500		22200

		25vppm co		37950		33925		31625		29900		23345		21850		19780		17825		16847.5

		80 vppm co		34500		31280		28750		25990		20355		18975		17077.5		15180		14317.5

		50% project base load, kw		16500		16500		16500		16500		14700		14250		13000		11750		11100

		std brochure 50%		12398.5		12426.5		12432.5		12437		11086.5		10609		9687		8800.5		8373

		long co 25		33000		29500		27500		26000		20300		19000		17200		15500		14650

		long co 80		30000		27200		25000		22600		17700		16500		14850		13200		12450



&A

Page &P



Sheet1

		



24800

16750

12400

project power, kw

50% project base load, kw

25vppm co

80 vppm co

Ambient Temp (Deg C)

Power (kW)

Graph to show expected emissions for Transwestern Project



Sheet2

		



12400

&A

Page &P



Sheet3

		



&A

Page &P



Sheet4

		



&A

Page &P



Sheet5

		



&A

Page &P




