Exhibit C

Fixed Specifications
In addition to the contract guarantee points, the following specifications can be considered fixed with respect to this purchase order.

Exhaust Stack Height:

Each Unit contains an exhaust stack which discharges the powerplant exhaust gas.  The preferred height of this stack will be determined by local regulations and dispersion analyses.  This stack may be any height up to 40 feet without impacting the price of the purchase order

Hazardous Materials

Anticipated hazardous materials inventory at the site is as follows:


Normal
Maximum


Amount
Amount

Chemical
On Site
On Site





Preconverter Catalyst - 20-30% Ni, 30-35% NiO, balance ceramic substrate
250 lbs
500 lbs

Sulfur Sorbent -  Activated Carbon, may contain up to 25% CuO or KOH
4000 lbs
8000 lbs

Lubricating Oils
5 gallons
10 gallons

Misc. Cleaning Chemicals
5 gallons
10 gallons





Type and location of required gas and liquid connections to unit at site

see attached drawing, “Purchaser/Seller Interconnection Summary”.

