Enron – GE Contract Review

Rev 10/5/00

 XXXX

Closed Item or no action required           

Exhibit
Action

EXHIBIT A  BASIS CONDITIONS
Project Specific – No action required

EXHIBIT A-1 BASIS FUEL
Project Specific – No action required

EXHIBIT A-2 SELLER FUEL SPECIFICATION
GEI 41040 – No action required

EXHIBIT B  SCOPE OF WORK/SPECIFICATION
E. Booth to issue GT spec for review.

GE spec is job specific.  Need to agree on what should be included.  GE will provide a list

EXHIBIT B-1  SPECIFICATION
See above

EXHIBIT B-2 GUARANTEED READY TO SHIP DATE
Project Specific – No action required

EXHIBIT B-3 PERFORMANCE GUARANTEES AND SPECIFIC PERFORMANCE GUARANTEES
Project Specific – No action required

EXHIBIT B-4  APPROVED VENDORS
Project Specific – No action required

EXHIBIT B-5 NOT USED


EXHIBIT B-6 LIQUIDATED DAMAGES
Project Specific – No action required

EXHIBIT C-1  SELLER PARENT GUARANTEE


EXHIBIT C-2 PURCHASER’S GUARANTEE


EXHIBIT D  SAMPLE STANDBY LETTER OF CREDIT- RETENTION FUNDS


EXHIBIT E  COMMUNICATIONS
No Action required

EXHIBIT F  PERFORMANCE TEST GUIDELINES
Use Goldendale

EXHIBIT F-1  SOUND LEVEL TEST GUIDELINES
Use Goldendale

EXHIBIT F-2 EMISSIONS TEST GUIDELINES
Project Specific based on GEK - 28172

EXHIBIT G-1  PERFORMANCE TEST CERTIFICATE
No action required

EXHIBIT H-1  TECHNICAL DIRECTION OF INSTALLATION
GE to offer comments

EXHIBIT H-2  TRAINING
No action required

EXHIBIT I  CANCELLATION CHARGE
Project Specific – No action required

EXHIBIT I-1 MILESTONE PAYMENT SCHEDULE
Project Specific – No action required

EXHIBIT J  QUALITY


EXHIBIT K  PROJECT PLANNING


EXHIBIT L  EQUIPMENT REQUIRING INSURABILITY CERTIFICATE


EXHIBIT M-1  NOT USED


EXHIBIT M-2 COMMISSIONING SPARES AND SPECIAL TOOLS


EXHIBIT N-1  PURCHASE AMOUNT RECONCILIATION
Project Specific – No action required

EXHIBIT N-2  OPTIONS
Project Specific – No action required

EXHIBIT O  HAZARDOUS MATERIAL NOTIFICATION


EXHIBIT P  UNIT SERIAL NUMBER
Project Specific – No action required

EXHIBIT Q NOT USED


EXHIBIT R  OBSERVATION POINTS
Enron –GE need to review the current list

EXHIBIT S  FINAL WAIVER  OF LIENS FORM


EXHIBIT T  DOCUMENT DELIVERY SCHEDULE AND DOCUMENT DELIVERY STATUS
Project Specific – No action required

Page 1 of 2

