Bonneville Power Administration 

Transmission Business Line 

Business Practices 

FY 2002-2003 Rate Period

Comment Solicitation on Business Practice

Implementing the 2002 Rate Case Settlement

Effective October 1, 2001

Section VI

Available Transfer Capability Methodology

Posted: February 12, 2001

CHANGE:  Comment period extended to March 2, 2001.

Please review and comment on Section VI, Available Transfer Capability Methodology Business Practice by close of business February 23, 2001.  Please reference the specific section for which you are providing comments.

Comments should be submitted by E-mail to:  

Madalton@bpa.gov
AND

Jmcneilkeister@bpa.gov
All customer comments and BPA's Transmission Business Line's (BPAT) responses to those comments will be posted on BPAT's OASIS website on or about March 16, 2001.

Bonneville Power Administration 

Transmission Business Line  (BPAT)

Business Practices 

2002-2003 Rate Period
Table of Content

SECTION

Page No. 

I. Commonly Used Acronyms 

II. Scheduling Procedures 

A.
General Terms

B.
Specific Transmission Services

1.1
Firm Point-to-Point (PTP) Transmission Service 

1.2 Non-Firm Point-to-Point (PTP) Transmission Service

1.3
Network Integration (NT) Transmission Service


Table A - Reservation Timing Requirements

Table B - Priorities for Competing 


                     Reservation Requests

III. Remote Resources and Remote Loads

IV. Sheltering Basics

V.
Redispatch and Curtailment Procedures

VI.
Available Transfer Capability Methodology 

VII. Customer Load and Resource 

 SECTION VI

Available Transfer Capability (ATC) Methodology
1. BPAT computes ATC in accordance with the methodologies specified by the North America Electric Reliability Council (NERC) and the Western Systems Coordinating Council (WSCC).  The primary standard BPAT relies upon for ATC methodology is the WSCC document “Determination of Available Transfer Capability within the Western Interconnection”.  This document can be found on WSCC’s web site at www.wscc.com/criteria/htm.  

2. BPAT computes ATC by first determining the Total Transfer Capability (TTC) for each constrained transmission path based on standard WSCC reliability criteria.  The ATC determination will be based on the status queue of all transmission requests submitted to BPAT.  For path reservation of transactions that involve only one Point of Receipt (POR) and one Point of Delivery (POD), the ATC across the path is deducted one for one based on transmission rights or usage respectively of the path.  For situations that involve multiple PORs and/or multiple PODs, BPAT will provide or have the Transmission Customer forecast the load at the PODs.  BPAT or the Transmission Customer will then estimate the likely resource dispatch at the PORs for each time period for which ATC is being calculated.  BPAT uses a power flow computer model to determine a forecasted usage of the constrained transmission paths based upon these load and resource estimates.  This forecasted usage is then deducted as a committed use from the path’s ATC for that time period.  

3.
If the constrained path is subject to a nomogram, BPAT applies a Transmission Reliability Margin (TRM) to the ATC calculation to determine the firm ATC for sale.  BPAT’s firm ATC offerings are based on conservative assumptions in order to minimize the Transmission Customers’ exposure to Curtailments.  The TRM BPAT applies to the particular path is based on this principle.  The TRM itself is sold as non-firm (including NT non-firm) transmission.  BPAT does not deduct a Capacity Benefit Margin (CBM) for its ATC calculations. 


Page 1

