[image: image1.png]GE Wind Energy




FilesDownload Version 1.0.0



The FilesDownload application is designed based on SUB352-C, SCADA data backup procedure (attached).

Requirements:

1. The FilesDownload application must be installed in C:\Visupro on Park PC

2. If MetMast is installed, in the Network Overview from VisuPro, the Plant Name of the MetMast must be in this format:  Met#  (#)

Installing FilesDownload Application:

1. From the CD provided, double click on DwnldSetup.EXE

2. Follow the prompted installation screen.   NOTE:  This application must be installed in C:\Visupro


Running FilesDownload:

1. Go to C:\Visupro directory and double click on FilesDownload.exe

To create a shortcut on the Desktop, left-click, drag and drop FilesDownload.exe to the Desktop

2. Select the appropriate download date

3. Click on the Download button to download

4. Click Exit when finished

Application Files
Description

C:\Visupro\TodayHH_MM_Sec
When downloading is completed, the application saves all downloaded files in this folder located at directory where the application is installed (Park PC, C:\Visupro). 

Today=download date, HH=hour, MM=minute, Sec=second

C:\Visupro\DownloadLogMonDDYY.log
Logs the downloading status (Mon=abbr. Month, DD=2-digit Date, YY=2-digit Year).  User must Exit by clicking the Exit button.

C:\Visupro\CurtailIP.dat
Contain the IP address of the Park PC that has the curtailment software installed.

[image: image2.png]Files Download

Select a dowrload date- Cutaiment Data-
= I™ Include Cutsient Data
1P Address:

7 Wednesday

[192168.0.253
o

Dowrlaad Stalus
TCUtaN Cutal200206db dovrioaded <
TbCurtail Cutal200206 ob dowrioaded
Dowrload met 2 (32] data faled

WG 32 not found!
840001001\ CrnlLog DB dowrioaded
340001001\ErDev.DB donnloaded
840001007 \FreeAnat. DB dowrioaded
840001007 \InvLog DB dowlosded
34000100T\LKMO205 b cowrloaded
C:isupro) 340001001 KMO205 cb o found
540001007 \Mindna. DB dowrloaded
340001001\M0n0206.cb dovioaded

| Download | Ext





Originator: Kim Nguyen

Created Date: June 17th, 2002


[image: image3.png]GE Wind Energy



_1084797996.bin

