[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Sun., March 17, 2002  (Moore, Alvarado, Barnes, Coash, Cochran)

	0640
	ONG 3
	I talked with Jim over there about their nom of 6.5 today.  They asked if we could bank that until tomorrow’s gas day due to they are doing a storage test there and we would have to put a unit on and send them more than the 6 and batch that. They just don’t have the room for it today and said hopefully tomorrow they’ll be able to take that.

Moore



	0830
	Cunningham
	I asked Cunningham to go to 100 injection.

Coash



	1025
	Keystone
	I’ve asked Darrel Mason to go out and put another unit on at Keystone.  Sid Richardson nom has gone from 25 to a 41 nom.  One unit cannot handle that amount of gas.

Alvarado



	1222
	Conoco Maljamar
	They have lost their plant.  They should be back on shortly.  Ryan their operator did call in to advised us.

Alvarado



	1300
	Stevens Co. 6
	The #1 unit went down.  They called and said they are going to leave it down.  They don’t have enough gas to put it back on.

Coash



	1316
	Atoka 3
	Unit 762 has gone down. Contacted OCC and will be talking to the on call shortly.

Alvarado



	1336
	
	Conoco Maljamar is flowing gas back to us again.

Alvarado



	1406
	Atoka 3
	Unit 762 is back on.

Alvarado



	1710
	Williford OK 
	I received an alarm in here about 15 minutes ago on the H2O.  It looks like the monitor has gone whack or something here.  It’s showing 1768# of water. Got a hold of Larry Crawford.  He is going to go out and check it after he eats.  He’s pretty sure there is not really a problem there other than the monitor.   Everything else there looks good but he will check it and let us know.

Moore




1830 to 0630 Shift Sun., March 17, 2002  (Munson, Welsh, Cummings, Muntz, Davis)

	2020
	Highlands Crawford
	We’re showing high moisture at Highlands Crawford.  It looks like there might be a problem with the telemetry being locked up or we may have a saturated cell.  Jim Risher is going to go out and check into in.

Muntz



	2140
	Highlands Crawford
	Jim Risher called in after going to check the high moisture reading at Highlands and said that the reading is inaccurate.  He said there is a problem with the machine and since it is a brand new machine he is going to contact a factory rep tomorrow morning and let them know that we’re not getting good readings off of this.  He pulled a stick and we’re reading about 5# which is the lowest that they’ve been out there in about a week with moisture.  Things are looking OK as far as actual moisture.

Munson



	1747
	Alexandria
	The unit went down during shift change.  I called the on call person for the Willmar team and got a hold of Mitch Olson.  He was able to pull the unit up and didn’t find any alarm.  He wasn’t sure why it went down.  He sent a reset command to it and everything cleared so the unit is ready.  At this point we don’t need it because we’ve got 737# out at Benson.

Calhoun



	1847
	Ogden
	Unit #18 went down.  I called the on call person.  Also I started unit #17 and it on in its place going east.  Also at 1945 I put unit #15 on going east.  I did get a call back from Chris the on call person.  He said that they had a piston over-travel on unit #18 so I took it down.  He was calling some of the crew members out to start pulling doors on the unit and see if they can find out what the problem was there.

Calhoun



	1945
	
	Talked to Chris again at Ogden.  On unit #18 they found a problem with a bearing inside the unit.  That was because of the piston over-travel.  It was a pin bushing.  They were going to have to start tearing into the unit to get the piston out so they could replace the pin bushing.  They were talking at this point that it could be up to about a 20-24 hour project.  They were going to start on it tonight and see how far they could get.  In the meantime they called out some more of the team members.  They were going to put on some horizontals to make up the difference.  They were planning on putting units 8 and 10 on the Redfield service and then freeing up the TLA’s so that we could use them to go east and also north.

Calhoun



	2010
	Ogden
	They put units 8, 9 and 11 on Redfield service and swung all of the TLA’s over to the east discharge, cracking some of that gas back to the north.

Calhoun



	2115
	Hubbard
	I put the unit on so that I could help to lower the east discharge out of Ogden to make it easier on their units and also get more gas going out east because zone D line packs hadn’t turned around.  They were still falling a little bit.

Calhoun



	2130
	LS Power Whitewater
	They called in.  They were shutting down for the night and were planning a 0540 start in the morning.

Calhoun 



	2240
	Redfield
	Roger called in.  He was concerned about Redfield pressure on the discharge.  I called Ogden and let them know that they were having problems at Redfield.  I talked to Jerry at Ogden.  He said they were in the process of getting another unit up to see if they could pull that away a little better.

Calhoun



	2310
	Minnegasco
	Got a call from Denny.  He said that he wanted to inject an additional 39.5 million at Glenwood.  We already had an order for 19.  Our total accum for the day was going to end up being 59.  We had to bump that flow rate up to 114 to come in for the day.

Calhoun



	2315
	Madison
	They called and wanted a flow rate change of 47 to 38.

Calhoun



	2353
	Clifton
	We had an earlier alarm.  We called Stan with the Clifton team.  We had a station control alarm.  He said that they’ve been having that problem with that.  He went out and checked it out.  He said there was a gas sensor alarm out there, didn’t have any immediate problem but it was something that they did have to check out.  Everything is fine.  He just called to tell us he is leaving.

Welsh



	0100
	Cunningham
	We asked Gloria to go to 50 injection.  That will leave about 50 more million in our system.  We’re going from 100 down to a 50 on the injection.  She is going to put that order in for us ASAP.

Welsh



	0115
	
	We went ahead and had Gloria at Cunningham take the injection to zero.  So now we’re not injecting anything at Cunningham.  We can use that gas north.

Welsh



	0300
	Owatonna
	Put the unit on.  We wanted to get more pack up at Farmington and on up north.

Calhoun



	0320
	Guthrie Center
	Went ahead and put the unit on so I can get more suction up to Ogden.

Calhoun




slb


