[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Sat., Feb. 2, 2002  (Hardy, Henley, Spain, Monden, Muntz)

	0620
	Amoco LaPlata
	Called and spoke with Nester.  It looks like they are coming in short for the gas day that we’re in.  The order goes up 1 million.  I asked him if he could pick up his rate to us.  He’s going to try to do that.  I asked him if he didn’t think that he was going to be able to make the upcoming day rate to give me a call so we could do something about that.

Henley



	0715
	LaGrange TBS
	Guy with Wisconsin Gas called and said the pressure at the TBS was fluctuating.  Notified the OCC for the contact person for Platteville team, Dave Pauls. He got a hold of Lenny.   Lenny called me back.  We talked about the TBS.  He said that he was going to do some more checking into it because he thinks there may be a problem out there.

Monden



	0829
	Gallup
	Unit just went into peak alert and it was already slowed down due to high probability.

Henley



	0847
	Whitehall Interc. #3
	Relief valve was relieving.  Called OCC, spoke with Steve.  He is the one who called me on it.  He informed me that Scott Mayer from the Farmington team was going out there.

Monden



	0910
	Ogden
	Unit 13 – Put it on line pumping east.  It is cracking north.  Holding about 900# going east towards Hubbard in order to increase the north flow.  Was cracking about 50 million.  Hopefully this will add about another 100 million to go north.

Monden



	1008
	Beatrice
	Had OCC get a hold of the on call person Rick.  Discussed with him the Trailblazer, in order to get the flow in of about 405 and it’s doing about 390, if he could help us check things out at the station to see why we’re not quite getting that in.  We feel like we ought to be able to flow that in with the compression that we have on at this time.

Monden



	1011
	Ogden
	Unit 13 has gone down.  Notified OCC.  They got a hold of Darrel on the Ogden team.  He is going to go check it out.

Monden



	1030
	Bushton
	Kenny from MidCon called.  We had a problem delivering that gas at the Bushton interconnect.  The problem was on their side.  It was a regulator that was pinching off the flow to them.  We ended up about 5 million short for Feb. 1 gas day.  We’re going to delivery the 5 million make up now that they have their problem fixed.  We’ll deliver 5 million on a zero nom for Feb. 1.

Spain



	1040
	Hugoton
	Dan called in from the Hugoton field team.  Margaret had called him out earlier to check on a low battery voltage at the Rolla TBS.  He changed the battery out and we’re showing good volts out there right now.

Spain



	1040
	Humboldt TBS
	OCC got a hold of Cathi Kruse.  She said she would get a hold of the measurement tech to check out the interconnect to see why the measurement wasn’t coming in on the second run.

Monden



	1044
	Humboldt TBS
	Cathi Kruse had called back about the second run problem.  She got a hold of the measurement tech.  The tech told her that it probably just sheared a pin and that he would take care of it Monday.  I called MidAmerican gas control and spoke with Dave.  Told him that it would be taken care of Monday.  He said they’ll keep doing a rough estimate of whatever the first run is doing.

Monden



	1055
	Griffith Power Plant
	Yesterday there was an alarm received in here that’s a general station alarm.  The gas control, Tom Tucker and George Harp checked that out.  They couldn’t find anything wrong with it at that time but the alarm never did get cleared.  I followed up on that and talked with George from Citizens.  He said that he couldn’t find a problem with it either and that he had the guy that installed the program check into it and he couldn’t find a problem although we are still reading in alarm here.  He’s going to check into it further on Monday.  They are aware that we do have this alarm and they are going to check registered numbers with the gas control support and see if they can find the problem here.  Everything is running good.  George was in the office and checked on his laptop too to insure that everything was running good and everything looked good from here so we’re going to disregard this for now.

Henley



	1101
	Palmyra
	Dale Johns has got unit 23 on going “CD” to “D”.

Monden



	1156
	Ogden
	Had unit #13 on.  It has gone down again.  Darrel had gone out to the site and put unit #11 on which is a horizontal.  He let it run for awhile to let the suction cool off.  Darrel thought that the unit recycled gas too long while warming up the oil and the unit went down on high suction temp so he’s letting the suction cool off for awhile.  I called him to get some gas started someway more gas going north.  We put 17 on pumping east, cracking north.

Monden



	1225
	Beaver Co. 7
	Unit 4 is down.  Talked to Mike.  He’s sending someone out to check the unit out for us.

Hardy



	1311
	Farmington
	Chromatograph BTU’s are zero.  Called OCC and they got a hold of Bill Schmeling.  He notified Mike Schneider.  They will check into the chromatograph on Monday to see if it either had liquid in it or something may be wrong with the chromatograph.  He said he didn’t pull any BTU’s to work any measurement interconnects.

Monden



	1321
	Ventura
	Control station alarm – Notified OCC, they got a hold of Jeff O’Toole.  He is going to go check it out.

Monden



	1400
	Mullinville
	I called and spoke to Ray.  Asked him to increase the pressure to PEPL delivery.  We equalized on our pressure there and the flow shut off.  He’s going to raise the pressure to them.

Spain



	1319
	Ventura
	The station control alarm was a power blip which had activated their generator and put it on line.  Jeff said when he got out there that the generator did switch off and go back to purchase power.

Monden



	1423
	Beatrice
	Rick called in and said with the Trailblazer control valve on the “C” line, it had hydrocarbons in the operator.  They cleaned that out and getting ready to put the operator back on.  Then they will put another unit on there in order for us to get the Trailblazer gas in.

Monden



	1500
	Station 9
	Unit 903 just went down.  Ron Arnold is going out to check on it for us.

Henley



	1510
	Station 1
	Unit 102 is down.  OCC is getting a hold of the on call for us.

Henley



	1537
	Station 1
	Unit 102 is back on line.

Henley



	1620
	Stevens Co. 2
	Unit #6 went down.  Paul is going out for us.

Spain



	1636
	Station 4
	Earlier at 1528 I had a station alarm and an inverter failure alarm.  Howard was out at the station.  He said he was going to check into that for us.  It is now 1636 and we’ve lost the whole station.  Howard and Robert are on site and they are working on it.  They don’t know what the problem is as of yet.  OCC is getting a hold of additional help for them.

Henley



	1705
	PNM
	Just spoke with Amy Mulligan from scheduling.  She said that PNM was coming after an additional 15 at Rio.  She said that we would see that scheduled late on our last noms.  Going to go ahead and up the rate accordingly.

Henley



	1720
	Station 4
	Back on line with units 401 and 402.  Told them to hold it there.  It looks like we can get by with two units.

Henley




 1830 to 0630 Shift Sat., Feb. 2, 2002  (Barry, Armitage, Hall, Braswell)

	1812
	
	Called Western Gas Benedum.  They are flowing 19.7 flow rate on a 12 million schedule.  I asked if they could cut that back a little closer to rate.  They said it wouldn’t be a problem.

Barry



	1800
	Stevens 2
	Got a call from Jeff.  He got the unit back on.

Hall



	1819
	Duke
	Just called and talked to Jim.  Told him that according to our accumulator they need to run about 16.  He said he’d see if he couldn’t bump it up a little bit.

Hall



	1830
	Station 5
	Got a call from Eugene.  They lost that unit earlier today on high discharge temp.  Just not enough gas coming to the unit right now.  Have about 113-114# differential going across the station.  He’s going to keep the unit down for right now and open up the bypass as soon as he gets 50# across the station.

Braswell



	2240
	Atoka 3
	Unit 845 down.  Called the OCC for the on call.

Braswell



	2312
	WT2
	Lost unit 3.  Called the OCC for the on call.

Braswell



	0110
	Ogden
	Have lost one of the Redfield units.  Apparently the pressure has gone straight up.  Trying to get a hold of the plant to get them to check it.

Armitage



	0142
	Ogden
	14, 15, 16 all three of the little units, 2000’s at Ogden are down.  The men are at the plant and they are working on computers problems right now.  I’m trying to get a hold of Redfield at present.

Armitage



	0005
	
	Called the OCC and requested the on call for Roger Mills.  We’re receiving 6 million from the Aquila Beckham interconnect in the Roger Mills area.  I’m not able to get any kind of relief.  Pressure in that section of pipe has been going up steadily.  The 16” regulator that we normally utilize to relieve pressure on that line is not reacting.  At this time I did request the on call for the Roger Mills station.  Jim did call back.  He said that due to the AC power failures in that area that they had manually blocked that in.  He will go out and open the valve where I can control the pressure on that line segment.

Barry



	0230
	Ogden
	The men have called in from the plant.  They said neither one, 17 or 18, would run on Redfield but they had the other three units back up on line.  I told him it’s not showing up here.  He said no, they’ve got a problem with the cable. Asked him what kind of cable it was, he said fiber optics.  It could really be a real mess now because if it is a fiber optics cable and some of the fibers are broken they will have to replace the whole cable.

Armitage




slb  

