[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Tues., Jan. 1, 2001  (Cochran, Coash, Alvarado, Moore, Barnes)

	0730
	Heartland Corn
	The pressure is down to 299.  I just called and visited with them and made them aware that the pressure is getting pretty low and they might want to consider switching over to an alternate fuel for a few hours until things turned around later this morning.  He said he would pass it on to his boiler man and they’d probably go ahead and make the switch.

Cochran



	0825
	TW Keystone
	Advised Mark Ethridge of the 20 increase from Sid Richardson plant to a 56 rate thus requiring a second unit on.

Barnes



	0831
	Jal
	Received an H2S spike in here.  Received an alarm of .26.  Demand scanned it which it came right back down but it was enough to knock that unit off line.  I got a hold of Carlos and he’s headed that way.  I also notified Sid Richardson.  They did say they didn’t have any H2S there.

Moore



	0933
	Jal
	Unit 1 is back on the line.

Moore



	1001
	Pampa
	We took that unit down there, no demand.

Moore



	1055
	Beaver Co. 5
	Unit 4 is down.  Dennis called in.  He said he was going to leave it for a little while because it was down on low suction.

Moore



	1100
	Station 9
	Advised Dustin Jolly that we’re not communicating with the station.  He will check on location and see if there is anything he can do.  Meanwhile Rodney Thompson is checking out Enron’s communication there also.

Barnes



	1122
	Station 1
	The station is down. Units 1 and 3 were on.  It’s down, no demand, by Merlyn Coffman at my request.

Barnes

 

	1144
	Canadian River
	Station down – Advised the on call Clitus on the Canadian team.

Barnes



	1147
	WT2
	Spoke with the on call at WT2 to load the unit that is on.  He’ll do that from his home by computer.  If this doesn’t take care of the delivery we’ll need to put a second unit on at WT2.

Barnes



	1214
	Station 9 & 8
	VSAT’s have been reset thanks to Rodney Thompson.  Scada communication has resumed.  Advised Dustin Jolly at station 9.

Barnes



	1220
	Cunningham
	Asked Cunningham to go to a 350 withdrawal.

Coash



	1220
	Beckham Co. 
	Received an AC power fail alarm at that point.  Got a hold of Ken on the Elk City team.  He said he would contact the power company and see what is going on. Wanted to make sure they are aware of the situation.

Moore



	1254
	WT2
	Unit 2 on as requested due to increased noms.

Barnes



	1314
	Canadian River
	Units 1 and 3 back on.

Barnes



	1340
	Waterloo
	I just dropped unit #7, no demand.

Cochran



	1341
	Beckham Co.
	The AC power failure alarm has cleared.

Moore



	1415
	Cunningham
	Asked Cunningham to go up to 450 withdrawal.

Coash



	1519
	Canadian River
	It’s down again.  Advised Rudy Godino.

Barnes



	1552
	Phillips Fullerton
	Their flow dropped off.  I made a call out and I talked with Henry.  They have a nom of 24, flowing about 18 at this time.  He said that they lost a turbine out there.  They are working on the problem.  Hopefully we’ll be able to get the flow back up soon.

Moore



	1552
	Phillips Plymouth
	At this time they are flowing about 46.  Flow needed is 49 to make rate for the day.  I called out to Tim and let him know that they were also about 2 short in yesterday’s gas day.  He’s going to adjust to come in for the day.

Moore



	1610
	Waterloo
	Just dropped unit #2, no demand.

Cochran



	1600
	Canadian River
	Units 1 and 3 back on again.

Barnes



	1630
	Waterloo
	I just dropped unit #3, no demand.

Cochran



	1635
	Oakland
	They’ve got eight horizontals on “BC” to “BC”.  I just requested they drop one at this time.

Cochran



	1645
	Oakland
	Requested they drop another horizontal on the “BC”.  That will take them down to six.

Cochran



	1710
	Guthrie
	Just shut the unit down, no demand.

Cochran




1830 to 0630 Shift Tues., Jan. 1, 2001  (Calhoun, Cummings, Welsh, Munson)

	1835
	Sublette
	Unit #23 went down on low suction.  Oneok lost some units out at the Haskell Co. station.  At 1900 the suction pressure came back up and I was able to restart unit #23 from here.

Calhoun



	1930
	Artesia
	Terry Youngren reports that Agave is having some problems on their line with freezing.  This is on the new Agave 12” tie-in at Loco Hills.  Due to the problems with the freezing on Agave’s side the Abo gas had to be switched back over and delivered straight to us instead of going through Agave.  Bob Chambers at the Abo plant is in the process of switching this gas back.  He’s been in touch with Terry Youngren.

Munson



	1940
	Monahans
	We have a low battery voltage alarm at the Mobil Pyote fuel run.  I informed Ken on the Monahans team.  He said that he would probably check into it tomorrow morning.

Munson



	1957
	
	Heartland Corn curtailed themselves.  I did not call until after they had moved a boiler over.  He said that they had been out and looked at the line pressure and had chosen to switch themselves.

Cummings



	2100
	PEPL
	Their gas control guy called and said they had batched their nom and they were going to shut it in.

Calhoun



	2220
	LS Power Whitewater
	They called in and said they were shutting down for the night and they were going to start back up at 0440 in the morning.

Calhoun



	2230
	P1
	We have a unit alarm at the P1 station.  I notified Butch and he went out and took care of it.  He said it was a glitch in the system, that there were no problems at the site.

Munson



	0000
	Cunningham
	Cut them from 450 order down to 350.  We were stacking up north and had slowed everything down, was growing pretty fast on the central so I went ahead and cut them.

Calhoun



	0000
	Clifton
	I took unit #28 down.  It was on the “E” line with the other turbine.

Calhoun



	0147
	Stevens Co. 6
	Unit #5 went down.  I talked to Steve Benavidez.  He wanted us to watch the suction pressure and if it got up over 33# to call him back and he would go out.  Otherwise he was just going to wait until morning.

Calhoun



	0229
	Stevens Co. 7
	Unit #2 went down. Steve Benavidez was on his way out there to put it on.

Calhoun



	0233
	Hugoton
	Lost unit #14.  Alex Brechbuhler went out there and he put unit #12 on at 0313.

Calhoun



	0315
	Canadian River
	Units 1 and 3 have gone down.  I notified Rudy.  He is going to take care of things.

Munson



	0430
	Canadian River
	Rudy has units 1 and 3 back on line.

Munson



	0430
	Sublette
	Unit #21 went down.  It was on the “A” line field service.  Rick Titus is going out there to get it back on.  Also I got a low temperature on the “B” line discharge temperature.  He was going to check into that also.

Calhoun



	0437
	Tate
	Lost unit #6.  Jeff was on his way out there to put it back on.

Calhoun



	0515
	
	NGPL just called to tell me that we may lose Trailblazer.  Their CIG receipt which is the only receipt gas in that end of the pipe, a valve had shut off between them and CIG, 500 million.  He has already shut the only other delivery they have out there.  He will give me all of the line pack that he’s got but he doesn’t expect it to last long.

Cummings




slb  

