[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Wed., March 13, 2002  (Hardy, Henley, Spain, Monden, Muntz)

	0658
	ONG 3
	I just shut ONG 3 in. I talked to Jerry at Roger Mills.  He’s taking the unit off the line.  We accumed 18.3 for the gas day which will cover the nom for the 12th, 13th and the upcoming 14th.

Muntz



	0720
	Ogden
	Chris called and said they want to change out a starting air valve gasket on unit 13.  Unit 13 is running right now.  He said it won’t take but five minutes and the unit would be back on line.

Hardy



	0720
	
	SPS called to say that they are coming on at Huron.

Hardy



	0957
	P1
	Asked Butch to bring on the P1 turbine to help build up our pressure towards P3 on the suction side so we’d have more gas to build up our pack past P3.

Monden



	0957
	Citizens Flagstaff
	The flamatic meter had failed on a digital.  Notified station 2 and spoke with Chad.  He said he would get a hold of Glen to check it out.

Monden



	0809
	El Paso Blanco
	Their flow has dropped off by roughly 200 million.  I called El Paso and spoke with Richard in their gas control.  He said that their White Rock compressor is down and that is one of the major compressor stations that pulls on Blanco.  He had no estimated time yet for it to come back on line but he did say that they were going through to reduce noms.

Monden



	0825
	P1
	The unit is on line.

Monden



	0826
	Jal
	ESD alarms have cleared.  Yard piping is reloaded again.

Muntz



	0830
	Griffith El Paso
	Nom is 6.797.  I spoke with Chris.

Monden



	0835
	Atoka 1
	Unit 719 down.  Louis called in and said that Cooper is out there to re-torque heads and adjust valves.  Estimated time is three hours.

Monden



	0830
	North Branch
	Brought the station on.  Benson pressure is slowly falling.  It’s currently 571.

Hardy



	0855
	Citizens Flagstaff
	Glen has the digital flame heater alarm back to normal.

Monden



	0900
	GPM Linam Ranch
	Frank just called and said he has the east meter run closed at Linam Ranch.

Muntz



	0905
	Austin #1A
	Talked to Dave with the Owatonna team.  Told him that we have a low station flowing temperature alarm out there.  He’s going to go and re-light it for us again.

Hardy



	0915
	Atoka 2
	Carl called in and said they are shutting down 760 to do some minor maintenance.  Will be down approx. four hours.

Monden



	0931
	Highlands Crawford
	Bennie on the Carlsbad team pulled three tubes in 15 minute intervals.  He said it averaged out about 9#.  He’s going to get a hold of Johnny Lamb with Duke and inform him that the moisture is still high coming through this interconnect and see if the can work on it a little more to get this moisture back down.  We’ll give it some more time and address it this afternoon.

Monden



	0935
	Tama
	We got a zero on the station flowing temperature alarm.  I talked to Tom.  He’s going to go out there and re-light the heater for us.

Hardy



	1011
	Jal
	I just conferenced Carlos at Jal with Trey at Sid Richardson.  Carlos has got his unit on at Jal and ready to load it up.  Trey is going to start sending some gas from Sid Richardson over.  We have an intraday nom of 25 million coming to Jal.

Muntz



	1005
	Alex
	Brought the unit on to help bring the Benson pressure up.

Hardy



	1020
	Atoka 2
	Unit 760 is down.  Jerry is going to take care of it for us.

Henley



	1040
	Adele #1
	We’ve got a low temperature alarm out at the station. Stacey is on his way to go check on the heater.

Hardy



	1108
	Atoka 1
	Unit 794 is down due to the unit at Atoka 2 being down, #760.  Unit 794 went down on high discharge.

Monden



	1113
	El Paso Blanco
	Spoke with Richard in their gas control about their turbine being down.  The unit at White Rock is still down he said and he has no estimated time of return at this time.

Monden



	1150
	Tama TBS
	Tom with the Waterloo field team called back.  He’s showing that instead of the gas temperature being zero degrees he is showing 53.  I also told him that we’re not showing a delivery pressure.  We’re showing zero where he’s showing about 50#.  We think there is something wrong.  He’s going to call some people to help him look into it.

Hardy



	1232
	El Paso Blanco
	Richard called from their gas control.  He said they did have their turbine back on line.

Monden



	1240
	SP1Q
	Tim Pietsch called in to say he’s got the scada fixed out there.  He’s headed toward Mound to fix it for us.

Hardy



	1400
	Tescott
	Kim just called in.  They had an ESD, station project lined up for today.  They started it about 8:10 this morning.  They just completed it so the station is back in normal operating mode.

Spain



	1412
	Griffith Citizens Interc
	On the Citizens interconnect that has both El Paso and TW, Martin Convoy is at the interconnect to fine tune split flows between the two companies of TW and El Paso.  Then he will notify when he’s done with his testing.

Monden



	1445
	Atoka 2
	Unit 760 is back on line.  At Atoka 1 unit 719 is also back on line.

Monden



	1455
	Alexandria
	I brought the unit down because the suction and discharge pressures were slowly coming together.

Hardy



	1630
	Finney Co. 3
	Unit #3 went down.  Dave Powers is going to send someone out for us.

Spain



	1702
	Atoka 1
	Unit 719 has gone down.  Mondo is headed to the site to put the unit back up.

Monden



	1702
	
	The Walden hub that services the RTU of Keystone and the Keystone interconnect and El Paso Keystone on NNG is not working properly.  Darrel Mason is headed to the site to check things out.

Monden



	1740
	Citizens Griffith
	Martin Convoy is through with his testing in between the two interconnects with the two companies.  He has left it in the El Paso service so we can finish accuming that nom.  He said he is through with the interconnect.

Monden



	1750
	
	Monument indicates and ESD.  Notified the OCC for a contact person.  They got a hold of Jim Risher on the Carlsbad team and he’s headed to the site.

Monden



	1756
	Station 4
	Unit #3 on line at 1730.

Monden




1830 to 0630 Shift Wed., March 13, 2002  ()

	1823
	Burdett
	Have lost the units at Burdett due to a gas detection.  Have got a man on his way to the plant to put it back on.

Armitage



	1858
	Finney 2
	Unit 5 is down.  Have got a call out for the on call.

Armitage



	1932
	Northrop
	I have received a dehy failure.  Called the OCC and requested the on call.

Barry



	2008
	
	Received a unit 1 alarm at station 7.  Called the station and talked to Billy out there.  Of course nothing is running at the station.  He knows that as well but he went and checked out and called me back just a few minutes ago.  He said just acknowledge the alarm and that it’s probably just a bad signal or something but it’s nothing to be concerned about at this time.

Braswell



	2310
	El Paso Blanco
	Talked to George up there.   He told me that they are just not able to come up on rate.  Right now I have a setpoint in there of about 317.  They need to do about 327 to rate out.  They are spotting about 276 right now.  He said they’re not going to be able to do a whole lot until their pressures get ______.  Their pressure is pretty much rising along with our.  Right now they’re projected to come in on 286 on a 304 nom.

Braswell



	0351
	Tescott
	Have tried to start #5.  It has gone into alarm.  Have OCC looking for the on call for Tescott.

Armitage



	0450
	Tescott
	#5 is up and running.  It has not gone on line totally yet but it is up and running.

Armitage




slb


