[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Mon., March 18, 2002  (Hall, Armitage, Barry, Monden)

	0614
	Beaver Co. 5
	Unit #4 down.  Notified OCC.  They got a hold of Stanley Luck.  He said they’ll put the unit on when they get out to work this morning because it has been going down on low suction for the lack of gas.

Monden



	0846
	
	Ken with Griffith called in.  He said they are having a major upset at the Griffith plant.  He said the plant will be down until further notice.  He will give us a call once they get back to operational status.

Barry



	0710
	Tescott
	Unit 5 has gone down due to high discharge temperatures.

Armitage



	0934
	Beaver Co. 5
	Unit #4 is back on line.

Monden



	1052
	Linam Ranch
	Spoke with Harvey the operator. Their flow has gone to zero.  He said they are trying to bring their plant back on line.

Monden



	1400
	Lyons
	One of the men from Lyons called in and said they had a water leak.  They were going to have to shut about 75% of the field in and dig it out and fix the water leak.  They should have it done this afternoon because they needed to get it fixed before the water came in over the gas.

Armitage




1830 to 0630 Shift Mon., March 18, 2002  (Munson, Welsh, Cummings, Calhoun, Davis)

	2020
	NGPL Eddy Co.
	NGPL called to say that they have a problem with their compressor at the Eddy Co. site.  The compressor had some mechanical problems and is unavailable for the rest of the night.  They would like to move the gas to the Winkler location.  There is a nom of approximately 30 at Eddy and they’ve accumed about 10 so far so this remainder of 20 will be moved to Winkler.  NGPL will adjust the flow rate to come in for the day for both of these locations combined.

Munson



	1750
	Farmington
	Shut down unit #6.  We were packed up north and I needed to get out from underneath unit #3 at North Branch.

Calhoun



	1805
	North Branch
	Shut down unit #3 because we were stacked up going out west towards Alexandria and Benson.

Calhoun



	1811
	Oakland
	Unit #19 went down.  Jeff went out and put unit #18 on in its place.

Calhoun



	1848
	Ogden
	Shut down unit #14, it was on the east discharge, cracking north.  That was primarily due to we were stacked up going out east.

Calhoun



	1856
	Ogden
	They lost unit #8 on Redfield.  I called the on call person.  They were out at the station working on unit #18 so it shouldn’t take them too long to get the unit back on.

Calhoun



	1905
	Ogden
	They put unit #11 on Redfield.

Calhoun



	1955
	Owatonna
	The unit went down on recycle.  It was recycling over 75% and probably went down on gas temperature.  I called Jim Von Ruden.  He was able to reset it from the house.

Calhoun



	2115
	Ogden
	Unit #11 went down on Redfield service.  They went ahead and put unit #14 on Redfield.

Calhoun



	2135
	NBPL
	They called and said CC was done testing.

Calhoun



	2145
	Guthrie Center
	Shut the unit down.  We had plenty of suction up at Ogden and starting to get stacked up there.

Calhoun



	2150
	Ogden
	Shut down unit #15 that was on the east discharge.  Still trying to back off out east.

Calhoun



	2200
	LS Power Whitewater
	They were going to shut down for the night.  Got a 0415 start in the morning.

Calhoun



	0030
	Bushton
	Went ahead and shut it in.  We’re building pack too fast and the north is backing down so we took it to zero.  At 0100 we went ahead and shut unit 31 down at Clifton on the high side, “E” line, no demand.

Welsh



	2345
	
	The Beaver plant lost power.  The whole lean stream is down.

Cummings



	0200
	Bushton Products
	We noticed the volume is starting to fall off on the lean side, the volume that we were getting from Beaver before their power went out.  We notified Bushton Products and they are going to slow down.  We did talk to our Bushton facility also and they are going orchestrate that between the two of them to see if they are going to slow down, hold back or what, and try to keep it going as long as they can.  What I told them was that down at the Beaver station they are waiting to get commercial power back on for the “D” line units out of their system.  They don’t want to use up all of their auxiliary due to running the big high side unit there and they’ll lose their air pressure eventually if they are not careful so they elected to just shut those units off on the lean stream on the “D” coming out of Beaver.

Welsh



	0455
	NBPL Ventura
	CC was there getting ready to test.  They wanted to go ahead and get us to take half of the change for the upcoming day.  We’re going from 754 total to 906 so that’s a difference of 152 million.  We’re going to take 75 of that for right now before he gets started testing.

Calhoun




slb


