[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Thurs., Jan. 10, 2002  (Munson, Calhoun, Welsh, Cummings)

	0740
	Red Cedar
	I called the Red Cedar plant and talked to Jack.  Asked him to bring his CO2 down within our tariff parameters. He said he would work on bringing it down, try to run it below 2.8 for the day today.

Munson



	0730
	Cunningham
	Talked to Gloria this morning.  She said they had a work-over rig that was doing some work over close to their section 19 in the storage field.  Evidently it had fractured into the storage field and they had gas blowing out of a 2-7/8” pipe.  They did have a blow out preventer out there this morning on location and they were just waiting for daylight.  Then they are going to put the blow out preventer on it to get the gas shut back in.  They will keep us informed through the day on that.  She did say that they could injections at the storage field or withdrawals.

Calhoun



	0815
	Macksville
	Had them split out the “E” line so we could go with an 860 MAOP that was on their suction piping in the yard.

Calhoun



	1102
	Bushton
	Talked to Ed.  He was going to put a unit on pumping “D” to “E”.  This is to help move the volumes up the “E” line and also get off of Beaver.  They were up on high differential across their units.

Calhoun



	1302
	
	Got a call from Peoples Sunflower.  They were going to bring on the one unit to do another test today.  They said they’d probably only run for about an hour at the max.

Calhoun



	1345
	Macksville
	Had them open up their isolation valves on the “E” line to let that come back into the plant.  That way they’d be able to either run their units or we could utilize Cunningham to inject or withdraw.

Calhoun



	1420
	Cunningham
	Talked to Rusty.  He said they got the well plugged that was blowing gas.  Also he was needing to test their automation.  They had people from Wonderware and Bristol there that were making some changes in the software. They needed to do either an injection rate or a withdrawal rate. At the time I told him I thought it would be better to do a small injection rate to test their software out.  They are going to bring it on for about 50 million rate for 30 minutes to an hour to test that.

Calhoun



	1601
	Peoples Sunflower
	They called in and they were shutting the unit down.

Calhoun




1830 to 0630 Shift Thurs., Jan. 10, 2002  (Hardy, Muntz, Spain, Henley, Monden)

	2100
	Terra Chemical
	The scada is out.  Had Ken Poole check into it.  He said it is out at the site, probably on the modem.  Spoke with Darrel Belt and he agreed because there are three telephone companies that they have to contact in order to try to get the telephone problem fixed.  He will issue it tomorrow and turn in a trouble ticket but from speaking to him later they’ve already sent some of the telephone out, checking out their telephone lines.  He said it probably won’t get fixed until in the morning.

Monden



	2129
	NBPL
	Compressor station 13 – Spoke with Leon on when they were going to get their compressor station back up.  He said that they were waiting on parts and would have it up as soon as possible.

Monden



	2213
	Ventura
	Wayne went out to the site and reset the turbine alarm.  We have got off the discharge of the unit.  Discharge is now 957.

Monden



	0035
	Ogden
	Switched 16 to pump east, pulling off the “BC”.  Then shut 17 down in order to back off on the flow going north.

Monden



	0150
	Stevens Co. 6
	Unit #3 is down.  Tom Bromwell is going out for us.

Spain



	0210
	Stevens Co. 6
	I just got an ESD alarm.  All of the units are down at 6.  Tom Bromwell, don’t know if he’s out there or not but he headed that way about 20 minutes ago.

Spain



	0220
	NBPL
	Leon said they had compressor station 13 back on line.

Monden



	0238
	Palmyra
	Shut unit #21 down due to high differential reaching 300#.

Monden



	0230
	ANR Red Deer
	I just spoke with gas controller with ANR.  He OK’d that I increase the flow setpoint at ANR Red Deer from 62 to 80 to help relieve some pressure at P3.  ANR’s nom for the upcoming day increases up to 90.  This will allow to pre-deliver approximately 5 million for the gas day that we’re finishing up.

Muntz



	0335
	Sublette
	Unit #23 went down.  It’s on the Haskell service.  Russell is going out.

Spain



	0401
	Station 9
	Jesse just brought unit 903 on line pulling off the west and pumping up the Panhandle and to the mainline to relieve pressure at WT1.

Muntz



	0408
	North Branch
	Shut unit #2 down in order to fill up, pack the gas in between North Branch and Farmington.

Monden



	0422
	Ogden
	Put unit 13 on from “BCD” to “D” north.

Monden



	0422
	Farmington
	Unit #3 has gone down.  Notified OCC for the contact person.

Monden



	0431
	Farmington
	OCC got a hold of Brad Peek to check out unit #3.  I had sent a start command to #4 to get it started warming up so we could pump more gas north.

Monden



	0440
	Stevens Co. 6
	Tom called in.  He reported they had a partial ESD gas freeze-off that knocked the station down.

Spain



	0454
	Farmington
	Unit #3 is back on line and unit #4 is on line also.

Monden



	0510
	Linam Ranch
	Charlie called to let us know that they were bringing the coal plant down.  This will raise the BTU of their delivery up.  Charlie said that they would done with the coal plant about noontime.

Hardy



	0511
	Griffith
	I called Tom Tucker and let him know that the plant pressure was up to 620, still increasing.  Tom said that if it gets up around 635 to call him again and he would go out and shut the valve off.

Muntz




slb  

