[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Wed., Feb. 20, 2002  (Barry, Hall, Armitage, Braswell)

	1300
	Waterloo
	Called the OCC. They got a hold of the on call Ronnie.  Just wanted to make sure that they got the Waterloo AC power failure clear.  It came in at 10:21 which is about the time probably that their generator kicked off this morning for it’s normal Wednesday run.  He said he would go clear it for us.

Hall



	1047
	Tescott
	Have sent a start command to unit 5.  Put it on the “E” line going north.

Armitage



	1101
	Clifton
	Have put a start in 30 to put it on line on “CD” suction to “D” discharge going north.

Armitage



	1115
	Cunningham
	Have issued Cunningham an order to go to 375 withdrawal.

Armitage



	1620
	Two Harbors #1 MN
	Got an alarm on the flow temperature.  I called the OCC.  They got a hold of the on call John.  He got a hold of Vern Dittberner who takes care of that TBS.  He said that Vern said that he wasn’t concerned about it and he would take care of it tomorrow.

Hall



	1738
	Woodward Co. 1
	We have unit 3 down. Bill Foresman called me before I had actually received the alarm. He said he had one of the personnel on his team on the way to Woodward Co. 1.

Barry




 1830 to 0630 Shift Wed., Feb. 20, 2002  (Barnes, Alvarado, Moore, Cochran, Coash)

	1841
	Atoka 1
	Unit 794 is being taken down by Louis Bustos.  He has got some items that he needs to check on this unit.  They’ve been having some problems with it.  Then he’s going to put the unit back on.

Alvarado



	1851
	Atoka 1
	Unit 794 is back on.

Alvarado



	1900
	Ogden
	Put #17 on, half going east and half north.

Coash



	1802
	Plainview
	Station alarm cleared.

Barnes



	1822
	Woodward Co. 1
	Unit 3 back on.

Barnes



	2000
	Woodward Co. 2
	The analog data has been in history since 1611 this afternoon.  Ken Poole says it’s at the MTU on location.  Bill Foresman called at this time to say that he’s aware of it and that he may go out there later and try to put that back in service.  The digital data is updating and it’s OK.

Barnes



	2000
	Atoka 1
	Unit 794 has gone down.  Got a hold of Louis Bustos on he cell phone and turned him back around to go check this unit back out.

Alvarado



	2037
	WFS
	I have contacted WFS gas control and spoke with Ron the controller.  Advised him that they were about 11.5 short to us on a spot.  Advised him to go ahead and try to get on order.  They had some problems last night and weren’t able to come in on rate.  He said he was going to try to make it up at Kutz.

Alvarado



	2041
	Atoka 1
	Unit 794 is back on.

Alvarado



	2251
	Atoka 1
	Unit 794 has gone back down.  We contacted the Artesia team on call through the OCC.  I did speak with Jerry.  He is going to be going out to put this unit back on.

Alvarado



	2331
	Woodward Co. 2
	Scada communication is now back in service.

Barnes



	0012
	Atoka 1
	Unit 794 is back on.  Jerry is saying that they are having problems with the governor at this time.  They are going to have to rework it in the morning, put some new parts in it.  He said if it goes back down again tonight they are just going to leave it down until in the morning.

Alvarado



	0140
	WFS Milagro
	Ron their gas controller call and advised me that they had lost compression, El Cedro compressor station.  It’s going to affect the flow at Milagro to us.  He said we’re going to be seeing our rate drop out.

Alvarado



	0150
	Minnegasco
	They increased their withdraw at Grundy for another 39.3 million.  That will bring their total withdraw out of Grundy up to 98 for the day.

Coash



	0230
	Cedar Rapids
	Talked with MidAmerican.  It looks like their projected to come in about 10 over the scheduled nom plus their 20 allowance.  I talked with Dave.  He said they plan on truing that up with Storage in the morning.

Coash



	0350
	Atoka 3
	Unit 761 has gone down.  Contacted OCC and I spoke with John their on call guy.  He will be going out to put this unit back on.

Alvarado



	0500
	Sublette
	I lost unit #24.  It looks like it is due to the fact that Oneok lost something behind the Haskell service.  As soon as the pressure gets back up to 130-135 after Oneok gets their stuff back on then we’ll go ahead and try to do a start on 24 from here.  I visited with Rick at Sublette about it and if we have any problems he will go out.

Cochran




slb  

