[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Wed., Jan. 23, 2002  (Hall, Barry, Braswell, Armitage)

	0706
	Farmington
	Called the OCC.  I had tried to put on #2 and it wouldn’t go.  They got a hold of Tim the on call.  He said he would get somebody to go out and get it going for us.

Hall



	0723
	Alex
	Called the OCC who got a hold of the on call.  He said that he would get with Mark or Dean and see if they could get Alex reset and get it on line for us.  Told him that it has 811-812 bypass pressure at Alex but Benson is down to 560 and still falling.  That’s the reason I needed the unit on.

Hall



	0900
	ANR Greensburg
	ANR and NNG will be down approximately an hour doing some work on the _____ run.

Armitage



	1000
	Cunningham
	Have issued Cunningham an order to go to 275 due to the line packs dropping some.  We are going to try to catch it before it gets completely out of hand again.

Armitage



	0939
	Jal
	I’m showing a delmar malfunction.  I called the OCC and requested the on call.

Barry



	0931
	Atoka 1
	Unit 794 down – Called the OCC for the on call.

Braswell



	0930
	Station 1
	Received alarms on the ESD _____ and also a station alarm.  They have some welding apparently going on at station 1.  They said as soon as they finish it they will put everything back in service.  Should last about 1 to 1.5 hours.

Braswell



	0945
	Atoka 2
	Unit 843 down.  Called the OCC for the on call.  Talked to Cody.  He said they were doing some oil changes out there.  They will get the unit on as soon as he’s finished.

Braswell



	1105
	Alex
	Mitch just called in from out there.  He’s going to get Alex going for us.  He said there was an actuator on a valve that didn’t do what it was supposed to.  That’s the reason why Alex didn’t come on line like it was supposed to .

Hall



	1207
	GPM Linam Ranch
	Showing 38.5 scheduled for the current gas day.  They are flowing 23.  I called the plant.  They said they are showing a 35 scheduled but they are going to go ahead and raise their rate up.

Barry



	1200
	NBPL
	Got a call from Geri asking if we could take 30 million at Grundy Center for approximately an hour to help them out.  I told her no problem.  We do have a nom there.

Hall



	1301
	Alex
	Just talked to Mitch.  He’s got it back on.

Hall



	1355
	Corn Belt
	Got a call from a fellow with Corn Belt saying that on 1/28 we’ll be limited to 6000 HP at Hubbard from 9:00 in the morning until 1600.  It’s due to line maintenance that Alliant will be doing.  I passed this on to Pat who is on the same team as Pierre and also Pierre who called in after talking to OCC and they got a hold of him.

Hall



	1417
	Pierz
	Just got a call from Mitch.  He said the 479 that we are seeing is the actual pressure.  That’s pressure that is trapped in between Viking’s header and our suction header.  It’s just a small segment of pipe.  He doesn’t have enough tubing to run it over to where the reading should be coming off of so he will either fix it tomorrow or it might be Friday before he gets it fixed.  If we need to see what the pressure is on Viking’s side all we have to do is just to have them open their valve up and we’ll see what their pressure is.

Hall



	1415
	Duke Energy Receipt
	Received an H2S analyzer malfunction alarm.  Called the OCC for the on call.

Braswell



	1632
	
	Received a call from Conoco Maljamar.  They called to inform me that they were having some problems out at the Conoco Maljamar point.  Their personnel out at the Conoco point were pigging the line earlier today and ran into some problems with water.  They will probably come in a little bit today on their nom.  The scheduled nom is 31.567 and they’re actually spotting right now 26.5.  He said they will continue to flow but they probably won’t come in on rate for today’s gas day.

Braswell




1830 to 0630 Shift Wed., Jan. 23, 2002  (Barnes, Moore, Coash, Cochran, Alvarado)

	1827
	Perryton Barlow
	Unit 1 went down.  I got a hold of Steve Rima and he’s on the way out.

Moore



	1915
	Duke Energy/WT1
	H2S low alarm and H2S analyzer malfunction alarm are cleared however the H2S grain reading of –0.150 will not zeroed to correct the zero until tomorrow per Bob Alston who needs a part.

Barnes



	2028
	Perryton Barlow
	Earlier Steve called.  He left unit 1 down and put unit 2 on line.  Now unit 2 is down.  I had OCC get a hold of the on call.  This time I talked with Melvin.  He’s going to go out and check it.  I also let him know about Northrop station.  The moisture has been right at about 9# for almost two hours now.  He said he would check it while he is out.

Moore



	2143
	SoCal
	Don Young with SoCal gas control called to say they will not be able to take all of their nom of 594.921 today.  He is unsure at this hour what their accum will be.  SoCal projected accum at this time is 564 on a 595 which equals 31 short.  I have called him twice already on my shift.  Each time he said he would make rate.  Line pack is 3195.

Barnes



	2140
	Skellytown
	The oxygen has come up to .22%.  I made a call out and talked with Eric Haiduk. He said he would contact Cargray to see what was going on.

Moore



	2246
	Brownfield
	I received a station alarm in here.  Made a call out and talked with Charlie May.  He said it’s probably because of the seal oil level has drained back out.  They worked on this a couple of days ago.  He will go out and check it.

Moore



	2315
	Northrop
	Received a call back from Melvin.  He pulled two tubes out there.  One was 6# and one was 4.5#.  I’m still showing 19.5 here.  He said there has to be a problem with the Rock.  He will notify Larry Crawford and he’ll try and look at that tomorrow.  There is not anything else he can do tonight.

Moore



	2350
	Brownfield
	Received a call from Charlie May.  He went out and checked it.  He said the station alarm is due to low cooling water level.  He said it’s probably going to stay I alarm state tonight.  He’ll go back out in the morning and fill it back up.

Moore



	0013
	SoCal
	Flow rate has increased and will now make the nominated rate for the day.

Barnes



	0056
	Oasis Waha
	The flow there went to zero.  I called over there and talked to Amy.  She said they lost a unit and they have an operator on the way out.

Moore



	0155
	Sublette
	Unit 21 has gone down.  It looks like it went down on low suction after looking at our trends.  I contacted the on call Mike Burnam with the Sublette team.  He has elected to leave this unit down.  He said if Oneok does call him wanting the unit back on they have his number where they can get a hold of him and he’ll go out and put this unit back on.

Alvarado



	0254
	Tate
	Unit #6 has gone down.  I’ve contacted OCC and spoke with Lonnie.  Lonnie is going to go out and check this unit for us.

Alvarado



	0433
	Tate
	Unit #6 is back on.

Alvarado




slb  

