[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Sun., Feb. 24, 2002  (Calhoun, Davis, Cummings, Armitage, Munson)

	1135
	Station 5
	I asked Charlie to put the automatic 6” regulator in service for us so we can control flow through 5 from here in gas control.

Munson



	0910
	
	Put a call out for one of the men to go put the Pampa turbine on due to Plainview having nozzle problems.

Armitage



	1000
	
	The Pampa turbine is on the line.

Armitage



	1224
	Hemphill 1
	Unit 1 is down.  The men have called in.  They are on the way to the station.

Armitage



	1140
	Red Cedar
	I called the plant and talked to Delbert.  Asked him to bring his CO2 down with spec.

Munson



	0600
	Madison
	They wanted to go from 40 to 32.

Calhoun



	0945
	Palmyra
	Called the on call person Bob.  Asked him to go out and put a unit on “CD” to “D”.  That was to help pull some of the pack away from Beatrice to see if we could get Trailblazer coming in.

Calhoun



	1000
	Ventura
	Bumped the rate up from 700 to 725 so that we could get on the new day rate.

Calhoun



	0900
	
	We cut Glenwood back from 155 to shut in.  That was for the new day noms.  They didn’t have an order out there and Minnegasco did some backhauls on the previous day.

Calhoun



	0940
	North Branch
	Put unit #4 on pumping west and cracking north.

Calhoun



	1230
	Alexandria
	Put the unit on because our Benson pressure was falling pretty fast.  We were down to about 575 so I went ahead and put it on.

Calhoun



	1340
	Owatonna
	Sent a start to the unit.  I was still falling off on the suctions at Farmington and was getting into some spread problems on the little unit going west.

Calhoun



	1355
	Beatrice
	Lost unit #24 which was a 4000 pulling on the “D” line and Trailblazer.  At 1400 I got unit #23 put on in its place.  Also I called the on call person to have him go out and check the unit.  Rich Dorn went out there and found that the lubricator system on the compressors had locked up.  He was able to get it to recycle and freed up.  He started the unit up to make sure things were fine.

Calhoun



	1435
	Angus Anson
	Got a call from the operator who said they were going to bring one unit on line and probably stay on line until about 8:00 this evening.

Calhoun



	1445
	Palmyra
	Had Bob go out and put on one more unit on the “CD” to “D”.  Our pack was starting to pull away up at Ogden and also we were still pinching Trailblazer out a little bit.  We had enough room to get that unit on at Palmyra.

Calhoun



	1515
	NGPL
	I called them to let them know that we were working to try to get their flow rates in at Trailblazer and was putting on HP.  Just wanted to keep them up to date on what was going on.

Calhoun



	1530
	Station 9
	I requested Jesse through the OCC to go to station 9 and rearrange some of the valving so that we can take the suction off of the West Texas lateral and discharge to the Panhandle only and stop sending gas into the mainline.  I wanted to discuss the possibilities with him of arranging the actual suction of gas off the mainline with the West Texas lateral gas to try to relieve some of the pressure on the mainline.

Munson



	1705
	Station 3
	I asked Scott at station 3 to lower the manual setting on RPM’s for his unit so we could lower that discharge pressure at station 3.

Munson



	1705
	
	I asked Don in the OCC to locate personnel for station 7.  It looks like they have a valve closed and the station is not able to equalize.  We’re not able to flow back away from 5 towards 9 because of this.

Munson




 1830 to 0630 Shift Sun., Feb. 24, 2002  (Hardy, Henley, Spain, Muntz)

	1815
	Mullinville
	Talked to Dee.  We need him to put the turbine on the “E” line to pull gas off of Beaver.  They’re about 7# from the station shutting down.  They’ve got high pressure out there and they need to have it pulled off of them.  Dee is going to do that for us also.

Hardy



	1820
	Bushton
	Talked to the operator there to try to get him to pull gas on the “E” line north of us to get pressure off of Beaver also.  The best option available is to put a 2000 on and that will keep the “D” discharge from getting close to MAOP.  Putting on anything bigger like a 4000 or a 5500 unit would be a bit too much.

Hardy



	1858
	Station 4
	Unit 401 is down.

Henley



	1936
	Station 7
	Norm went out and opened up the block for us.

Henley



	1950
	Beaver
	Just spoke with Randy at the Beaver plant.  He’s going to have to drop a 2000 that is on the “KB”.  He’s bumping MAOP on the discharge side.  When we get some gas pulled away at Mullinville he’ll put the unit back on.

Muntz



	2003
	Gallup
	The unit is down. Pat is on his way out.

Henley



	2003
	
	I called WT1 and spoke with Randy.  The Monument Junction now is all 100% open, the control valve.  What we need to do is open up the 24 and he’s going to take care of that for me so I can send more gas down to WT2.  Suction is falling there, it’s down to 660.

Henley



	2045
	Guthrie Center
	Sent a remote start to Guthrie Center.  Need to send a little bit more gas to Ogden.  The total line pack is 3453 but it is falling.  I believe that weather will move in tonight.  We’d like to get over 3500 for the morning pull.

Spain



	2050
	Farmington
	I started unit #1.  I’ve only got the turbine on the “BC” service right now.   Need a little more gas on Farmington’s discharge.

Spain



	2116
	WT1

Maljamar Lateral
	Just spoke with Randy again regarding the Monument x-over.  That is all common now.  We are sending more gas down to WT2.  I also received an instrument fail alarm at the Maljamar lateral.  I told Randy about that.  He’s going to pass that on to Bob.  They may look at it tonight or they may wait until morning to look at it.

Henley



	2345
	Ogden
	Put unit #15 on going east, cracking north.  I need the gas north.  Got about 1048 in zone EF.  I’d like to build that up a little more before morning.

Spain



	0130
	Clifton
	Brought the Clifton turbine on the “E” line.

Hardy



	0145
	Cunningham
	I got them to take injection from 425 down to about 150 so we can move more gas north.

Hardy



	0230
	Oakland
	I called the on call person Dana and asked him to put the “D” station on out there.

Spain



	0315
	Stevens Co. 6
	Got a station ESD alarm.  All of the units are down. Tom got the page and he’s on his way out.

Hardy



	0340
	Ogden
	I tried to put unit #16 on pumping east and cracking north.  It would fire off but it would go right back down.  I reset it a couple of times and tried it again.  It still wouldn’t go.  I went ahead and put 13 on line.  It came on line all right.  I don’t think I’ll need anymore HP before the crew gets out there this morning so I’ll just pass that problem with 16 on to our day crew.

Spain



	0430
	Cunningham
	I asked Greg to shut in injection, go to zero.

Hardy



	0500
	Farmington
	I tried to start unit #3 about 20 minutes ago.  It went into alarm and never did fire off.  I sent a start to unit #6.  It’s on line now.

Spain



	0530
	Ventura Interconnect
	Leon called from NBPL.  We both see about 220 million increase for the new day with our NBPL receipts.  He told me that CC wanted to start testing, if we could take 100 now towards that new nom.  I went ahead and put it in there to see if we can get it in before the gas day starts.

Spain




slb  

