[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Tues., Jan. 29, 2002  (Cochran, Coash, Moore, Alvarado, Barnes)

	0619
	Beaver Co. 5
	Unit 4 down on low suction of 35#.  Kelly Lewis will restart it later when the field pressure has increased.

Barnes



	0700
	Wrenshall
	I just requested they go from 100 million vaporization to shut in.

Cochran



	0710
	Oakland
	Requested they drop one of the four units that are on the “D” to “D”.

Cochran



	0745
	Farmington
	Brought unit #3 on line going west.

Cochran



	0820
	Dagger Draw
	Terry is going to be calibrating at this interconnect this morning.

Alvarado



	0830
	Lips Mulcane

 12” Lateral
	Randy Kliewer with the Beaver pipeline team has called in to let us know that he’s getting ready to launch a pig on this lateral.

Alvarado



	0839
	Skellytown
	Oxygen of .229% - Advised Eric Haiduk of the Pampa team.

Barnes



	0854
	Jal
	Unit 2 on as requested.

Barnes



	0908
	Station 2
	Unit 2 has gone down.

Alvarado



	0919
	Atoka 3
	Terry Youngren has finished calibrating at Dagger Draw and is on the way to Atoka 3 to start calibrating at that interconnect.

Alvarado



	0919
	Station 2
	Unit 202 is back on.  It’s not loaded but they do have it back on.

Alvarado



	0902
	Skellytown
	Oxygen now back to a good number of .19%.

Barnes



	0920
	Owens-Corning
	Eric Haiduk is testing transmitters at this interconnect.

Alvarado



	0920
	Station 2
	Unit 202 has been loaded out at this time.

Alvarado



	0958
	Station 4
	Unit 403 has gone down, high discharge, due to the problems that we had out in front of it at station 2.

Alvarado



	1023
	Phillips Dumas
	POI 18058 – They have a unit down and cannot make the nom of 28.8.  They are only doing 19.  Advised Randy Janzen in scheduling.  He said it would be all right, that they had over delivered to us and we’ll use towards imbalance.

Barnes



	1027
	Seminole
	Unit down as requested, no demand.

Barnes



	1200
	Hugo
	I just brought the unit on line pumping west and out to the branchlines, and pumping north up to North Branch so we can get some more gas west out towards Benson.

Cochran



	
	Note
	ONG 3 delivery POI 176, to be 5 over for make up today.  Nom is 13.212 plus 5 equaling 18.212.  This is being done as requested by Joe Linhart.  It’s not going to show up in the scheduling of this gas.

Barnes



	1431
	Beaver Delhi Aquila
	POI 269 – They’re doing 21 on a 16 nom.  Advised Aquila, spoke with the station operator.  They will adjust the flow rate.

Barnes



	1512
	WT2
	Unit 3 has gone down.  Joey Green called in and said that they had been working on another unit and they released some gas near one of the sensors which caught the gas sensors, set them off causing the unit to go down.

Alvarado



	1517
	Lips Lateral
	The pig is in.  Randy said they had a very small amount of liquids that came in.

Alvarado



	1518
	WT2
	Unit 3 is coming back on.

Alvarado



	1640
	Hugo
	Just shut the unit down, no demand.  I’ve got the pressure built up at North Branch to where we’re on top going west, along with the gas coming out of Great Lakes so we don’t need the unit on at this time.

Cochran



	1640
	Palmyra
	Lost unit #19 on the “B” line.  Got a hold of personnel, Randy.  He’s headed out there to see about getting it back on.

Cochran



	1656
	Loop area
	I have received a call from the Loop Navajo fire department, station 80, in reference to a strong odor of gas smell along the TW pipeline in that area.  I spoke with Emil Begay at 928-686-3253.  They have two fire units in the area trying to locate to see if there is a leak on our pipe.  I have contacted our personnel at station 3 and passed the information on to them.  I have requested that they contact our people and try to get them on site as soon as possible.

Alvarado



	1700
	
	In reference to the gas detection, possibly gas leak in the Loop area, I have contacted OCC and I have established a conference bridge for the Loop personnel and management.

Alvarado



	1705
	Skellytown
	Oxygen of 0.23% - Advised Eric Haiduk and he will call the Skellytown operator.

Barnes




 1830 to 0630 Shift Tues., Jan. 29, 2002  (Munson, Cummings, Welsh, Calhoun)

	1915
	Redfield
	Took their order from 350 down to a 300.  That’s due to we were starting to stack up at Ogden and zone C.  Also we were running about 20 million short on our NBPL totals so I was needing to get them cut so I could get the NBPL gas in also.

Calhoun



	1915
	Faribault
	Took the unit down because both Faribault and Owatonna were running on bottom.  I had plenty of suction at Farmington and the units going west were down on bottom also so I just went ahead and got Faribault out of the way.

Calhoun



	2001
	
	Spoke to Mitchell Ellenberger.  They are running short to us.  He said several operators behind him are doing PM’s on their compressors.  Hopefully the gas will come back tonight.

Cummings



	1840
	Station 3
	JB checked in from station 3 to report that they have closed down the conference bridge regarding the possible leak in the station 3 area.  All of the team has gone home.  They finished all the checks for the evening and nothing turned up.  He said that they could find nothing.  He in particular was the one who went to the actual site where the reported possible problem was where someone smelled gas and nothing was found.  Earlier on Jesse’s shift there was a possible gas leak reported when someone in the area smelled gas.  JB said everything is buttoned up for the evening, everything OK.

Munson



	2015
	Madison
	They wanted to go from 36 million down to 34.5.

Calhoun



	2032
	Minnegasco
	Got a call from Daugherty.  They wanted to cut their withdrawal at Grundy.  They had an order in there for 34.033.  They wanted to cut it by 20 million down to 14.033.  I told him it wouldn’t be any problem.

Calhoun



	2100
	Ogden
	Shut unit #15 down.  It was on Redfield going north.  We had already cut Redfield by 50.  Valve #90 that cracks the “BC” gas in from the south had come open about 40% so I wanted to see if the other two units on Redfield service could go ahead and pull it in.

Calhoun



	1950
	Burdett
	Unit 6 went down.  I tried to remotely start unit 2.  It didn’t get a successful start so Mark and Ike went out.  At 2206 they called back and they did go ahead and put unit 1 on.  Unit 3 is available as well as unit 6 if we need them.  Everything is restored.

Welsh



	2120
	Medford
	Got a call from Minnegasco that said they were taking their withdrawal rate at Medford from 48 down to 10.

Calhoun



	2300
	Guthrie Center
	Shut the unit down.  That’s because we were stacked up at Ogden.  Need to get off the north end also.

Calhoun



	2317
	Ogden
	Shut unit #17 down and put units 15 and 13 on in its place.  It was going east.

Calhoun



	2321
	LS Power Whitewater
	They called in and said they were on their way down and they didn’t have a start time until 2:00 to 3:00 tomorrow afternoon.

Calhoun



	2350
	Ogden
	Shut unit #13 down.  I still needed to get off of the north and I didn’t need as much going east either.

Calhoun



	0000
	Ventura
	Took unit #15, the turbine, down.

Calhoun



	0010
	Owatonna
	Shut the unit down.  I was recycling about 55% and still needed to get off of Farmington.

Calhoun



	0030
	Farmington
	Took unit #6 down.  It was on the “BC” north.  I was getting up on top and the turbine was slowing down.  Also shut unit #3 down on the Willmar discharge because all of the other units were slowed down on bottom.

Calhoun



	0035
	Lone Star Pecos
	I received the OK from William with Lone Star to flow the Pecos point an extra four hours tonight on the batch process.  This will include tomorrow’s small volume of 7 million.

Munson



	0304
	Oasis Block 16
	I noticed that the Oasis volume hadn’t shut in when they accumed their nom for the day.  I called Oasis and talked to James and he said that they are running extra until morning and this extra will be applied to the imbalance.

Munson



	0350
	Farmington
	Put unit #3 back on the Willmar discharge.  We were starting to see some load pick up out there.

Calhoun



	0445
	
	Got a call from NBPL saying that CC was wanting to start testing.  I told him to let him know that we were in the process of making some setpoint changes at the interconnect to help get some gas going north and also to get off of Oakland.

Calhoun




slb  

