[image: image1.png]



          Services provided by Northern Natural Gas

          And Transwestern Pipeline Company

Enron Transportation Services
Gas Control Event Log

0630 to 1830 Shift Wed., Jan. 30, 2002  (Cochran, Coash, Moore, Alvarado, Barnes)

	0730
	Heartland Corn
	Called them about 45 minutes ago.  The pressure is getting pretty low.  I got an answering machine and left a message.  I just called them back again and talked to an individual in the control room. They are going to switch over to propane at this time since the pressure is down to 258.

Cochran



	0740
	Owatonna
	Just brought the unit back on line.

Cochran



	0740
	Faribault
	Just hit the start on them.

Cochran



	0900
	Cunningham
	Asked Cunningham to cut back to 300 withdrawal.  Right now they are doing 390.

Coash



	0916
	Atoka 3
	Unit 845 has gone down.  I’ve contacted the Artesia team at their office.  They are getting ready to head out there.

Alvarado



	0915
	Oneok
	Talked with Karen at Bushton Processing.  Let them know that the CIG volume was going from 36 up to 52.7.

Coash



	1040
	Station 3
	Unit 303 has gone down.  I have notified the station.

Alvarado



	0937
	Seminole
	Unit 1 on as requested.

Barnes



	1038
	Brownfield
	Unit 1 down as requested, no demand.

Barnes



	1110
	Galena
	Just brought the unit on going east.

Cochran



	1120
	Hubbard
	Just brought the unit on line.

Cochran



	1125
	Station 4
	Unit 402 has gone down.  This is in reference to the unit at station 3 being down and back pressured into station 4 causing it to go down on high discharge.

Alvarado



	1209
	Station 3
	Unit 303 is back down.

Alvarado



	1229
	Station 3
	Unit 303 is back up.  We’re having problems with this unit at this time.

Alvarado



	1324
	Station 8
	I am getting a station alarm.  This is due to them having their fire eyes bypassed.  They are doing work at the station.

Alvarado



	1419
	Station 4
	Unit 402 is back on.

Alvarado



	1440
	Beatrice
	Shut the big turbine down “E” to “E”, and bypassed.

Cochran



	1510
	Minnegasco
	They just called.  They are not selling as much gas as they anticipated today so they want to take 23 million of the Grundy gas to storage.

Cochran



	1359
	Skellytown 
	Oxygen of 0.39% - Advised Eric Haiduk.

Barnes



	1515
	Redfield
	Just requested they go from 275 up to 325 withdrawal.  We’re doing 290 right now so it’s going to be an increase of about 35 million.

Cochran



	1550
	Lone Star Spraberry
	It is showing a flow of 4.8 with .5” of differential.  Lone Star accumed their 5 million nom for today and they shut it in by remote setpoint.  NNG has a flow valve manually shut and still showing this flow.  Izzy at Spraberry will tell the NNG meter tech however Lone Star gas control does not see a flow rate.  I advised them that we are reporting it to our measurement tech.

Barnes



	1558
	El Paso Keystone
	POI 169 has accumed the nom of 6.983 assigned to it yesterday, January 29, however El Paso declined to take the gas then.  I advised El Paso gas control and they will shut this in manually.

Barnes



	1622
	Skellytown
	Oxygen is now OK at 0.09%.

Barnes



	1650
	Hubbard
	I just shut the unit down.  We’re supposed to be on a peak alert from 5:00 to 7:00 so I had to take it down at this time.

Cochran




 1830 to 0630 Shift Wed., Jan. 30, 2002  (Munson, Cummings, Welsh, Calhoun)

	1925
	Beaver area
	Due to severe weather throughout the area we’re experiencing several AC power failures around the Beaver area.  Three of these examples are Beaver, Slapout and Ivanhoe.  Field personnel are taking care of most everything however the AC power alarm we have at the Slapout Tower is a little more special than the other alarms.  This involves the radio tower.  I notified the Ft. Worth control center at 1-800-722-6208.  I let them know that we had the tower outage on our tower lights.  I passed on to them the latitude, longitude and elevation in tower height.  The contact at the Ft. Worth flight center was JD.  He issued nodem number FTW01/279.  I let him know that as soon as this clears up we’ll call him back and clear the nodem.

Munson



	1803
	
	Lost all the power to all of the Beaver stations from Ivanhoe through the all the Beaver units and the Ellis Co. units.

Cummings



	1820
	Bisti
	I received a call from Cynthia with PNM regarding megawatt pricing for the Bisti unit.  She said there was going to be a change in the pricing on the megawatt per hour.  She said the pricing was going to go up and she wanted to know if we were going to be leaving the unit on.  I touched base with Darrell and he confirmed that we will be leaving the unit on.  I passed this information on the Cynthia and let her know the answer was yes.  I also asked her to fax an information sheet to us with the hours and price.

Munson



	1930
	Station 7
	Unit 703 has gone down.  I notified Brett.  He is at the location and will take care of it.

Munson



	2020
	
	We just got a call from K-N Pony Express.  They are going to shut in.  They have over delivered to us in the past and to break even they are going to shut in.  They’ve accumed 10 on a 24 order.

Welsh



	2005
	Station 7
	I called Brett at station 7 to ask him how things were looking.  He said the unit went down on seal oil drain transmitter failure.  He was doing his best to get it back on but he said he might also have some freeze problems.  I told him to keep trying.  In the meantime I considering whether to do to station 6 or 8 for additional HP.

Munson



	2055
	
	I’ve requested station 8 to come on with HP.

Munson



	2113
	
	The power company that services Beaver says that the whole grid is out for the Panhandle.  It looks like we’re looking at minimum another six hours.

Cummings



	2145
	Station 8
	Mick informed me that he hit the start button on unit 802 at this time.

Munson



	2150
	Station 7
	Billy called to say that he has unit 703 on line at this time.  I did a demand scan to force my ______ update and saw that he had it running about 230.  He said he will be speeding it up in the next 15-20 minutes.  I called Mick back and told him that 7 had their unit on but I’d like him to proceed with his start procedure and come on actually run for a little while.

Munson



	2325
	Red Cedar
	I called the Red Cedar plant and asked Jack to trim his CO2 back a little bit.  He’s running slightly over tariff.

Munson



	0005
	Station 7
	Unit 703 has gone down again.  I notified Brett at the station.

Munson



	0044
	Station 7
	Unit 703 is back up.

Munson



	2102
	Hubbard
	Brought the electric on.  We were still falling going east.

Calhoun



	2130
	Ventura Interconnect
	I was having problems with the “D” line taking our setpoints so I called the on call person for the interconnect.  Jim Frederick went out there and found ice on the radio link on the antenna.  He was able to get that cleaned off and got it back working.

Calhoun



	2130
	Minnegasco
	They wanted to reduce their withdrawal at Glenwood from 18.889 down to 8.264, so a little over 10 million.

Calhoun



	2205
	Faribault
	Shut the unit down.  We were stacked up at Farmington.

Calhoun



	2330
	Minnegasco
	They called and wanted to inject 19.76 million at Glenwood.  We had to just about double that rate to get it to come in on rate for the day.

Calhoun



	2227
	CIG Dumas
	Our valve slammed them shut.  There has been a man out there all night.  It’s now 2:00 in the morning.  He said the monitor is broken.  It needs a board for H2S.  He has locked out that valve and they are going to monitor the H2S at the Sunray plant until in the morning.  Hopefully from Spearman they can get a part for it.

Cummings



	0220
	Station 1
	I received five alarms at station 1, two air compressors, an AC power fail, intrusion alarm and a station alarm.  The units are still on line and all of the pressures look fine at the station.  I notified Mike through the OCC.  He’s going to go out there and look things over.  He said that most likely they had either an AC power failure or just a blip.  He’s concerned about his generators.  He is going to go out and look things over and make sure the generators are still on and see if he can clear the alarms.

Munson



	0302
	Station 1
	Mike Pavey just called to say that he is still in town.  He hasn’t made it out to the station yet due to problems with his vehicle.  He’s trying to take care of the problems with his truck and get out there.  He said that if the problems continue and he’s not able to make it he will notify another one of his team members and go out.

Munson



	0310
	MidAmerican
	They were running about 7.6 short at Quad Cities and about 6.7 short at Cedar Rapids.  I called Don the gas controller to see what their plans were for in the morning.  He said they planned on reducing each one of them by about 10 million on the final run this morning.

Calhoun



	0320
	LS Power Whitewater
	Talked to John.  He said that they had plans of coming on a little earlier.  They were going to come on about 0430 this morning with minimum loads and would probably peak around 0730 and anticipate it being on all day today.

Calhoun



	0325
	NIGas
	They were a little short on their order.  They were going to come in at 149 on a 153 order.  I called and talked to their gas controller and they were going to bump that rate up to see if they could come in on their order.

Calhoun



	0336
	Stevens Co. 6
	Unit 4 is down.  Called Paul with Stevens Co. 6 team and he said he will go take a look at it.

Welsh



	0350
	Station 1
	All of the alarms that I mentioned previously have cleared at station 1.  Mike is on site.

Munson



	0435
	Amoco LaPlata
	I noticed that Amoco is running a little short on their nom at the Floreda plant.  I called the plant and talked to Jason.  He said that they have indeed lost some gas somewhere behind the plant.  They are doing all they can at this time.

Munson



	0520
	Milagro
	I noticed that the WFS Milagro plant was running a little bit short to us.  I notified Terry at their gas control.  He said that he would take care of that right away.  He wants to come in on rate with us very much.  He said that it looked like El Paso had changed their pressure around where they were taking a little bit more than they should.  He was going to call them and have them adjust their pressure so we would get our gas.

Munson



	0540
	Canadian River
	We received an AC power alarm at the Canadian River station.  I notified Chris on that team and let him know that we do have power alarm at that site.  He said that there is a generator at that location that would take care of that.  Also a little bit earlier tonight the AC power failure alarms came back at the Beaver interconnect and at Ivanhoe and Slapout.  They had gone away briefly but they did return.  Helen and I both touched base with the team members in the area.  They let us know that the batteries were either fully charged at the locations or they had generators at the major locations so they were confident that they could weather the storm appropriately.  I left the nodem ticket open with the flight center so the Slapout Tower, AC power going back out is covered on that nodem.  I’m not going to clear that nodem until we’ve been fully advised by the power company that all power has been restored to a definite level where we can trust them to be on.

Munson




slb  

